International Dental (I-Dent)

STANDARDS-ONLY MANUAL

(No Interpretive Guidance)

Version 5.1, Effective February 2, 2026

SURVEY INSTRUCTIONS

Please complete the Standards Manual for the facility by assessing compliance with the standards contained in this book.

STANDARDS STRUCTURE

Standards found in this book are organized by grouping relevant standards together.  These groupings are comprised of “Sections,” “Sub-sections,” and then individual standard numbers. Each main “Section” is identified by a numerical value, “Sub-sections” have been assigned an alphabetical value, and the individual standards under the subsection have also been numbered. Based on this format, each standard has been assigned a unique identifier to include all three elements to indicate its location.

For example: The standard which states, “Each operating room is properly cleaned, maintained and free of litter and clutter” is the fourth standard under Section 2, Sub-section C.  Therefore, the unique identifier for this standard is: 2-C-4.

Please note that not all standards are necessarily in continuous sequential order. Some numbers have been reserved for future use and do not appear in the manual. The groupings within the Sections and Sub-sections of this book are intended to separate standards into logical sets of standards. Based on 40 years’ experience, such groups are likely, but not guaranteed, to be found and assessed during the same portion of the survey process.

The standards are organized into a logical hierarchy for ease of use:

- Sections are numbered (e.g., 1, 2, 3).

- Sub-sections are assigned a letter (e.g., A, B, C).

- Individual Standards are numbered under each sub-section (e.g., 1, 2, 3).

This structure creates a unique identifier for each standard: [Section]-[Sub-section]-[Standard #].

Example: The standard, “Each operating room is properly cleaned, maintained, and free of litter and clutter,” is the fourth standard in Section 2, Sub-section C. Its identifier is 2-C-4.

Please Note:

- Standard numbers are not always sequential. Some numbers are reserved for future use and do not appear in this edition.

- The groupings are designed to cluster related standards, which may facilitate a more efficient survey process.

STANDARDS BOOK LAYOUT

The standards manual layout consists of five (5) columns. The function of each column is as follows:

Standard ID:

This column contains the alphanumeric identifier for each standard.

Class:

This column indicates the anesthesia classification, based on QUAD A definitions, that is applicable to the standard. Only facilities that provide anesthesia meeting the definition of one or more of the classifications listed in this column are required to comply with it.

Note: Facilities must comply with all applicable state or national requirements governing the facility, including country and state laws and regulations relating to anesthesia. When standards conflict, the most stringent requirement applies, unless mandated by laws or regulations applicable to the facility.

Example: A facility accredited under QUAD A Class A Standards may be permitted to administer local, topical anesthesia, minimal sedation, or nitrous oxide using a standalone system for administration. However, if the facility’s state or country has a Class A–equivalent designation that specifically limits anesthesia to local or topical anesthesia only, then the facility must follow the state or national requirement. In this case, the facility may not administer oral medications to achieve minimal sedation, even if accreditation standards would otherwise allow it.

Standard / Regulatory Reference:

This column contains the text for each standard. It also indicates the corresponding regulatory reference (e.g., CMS, DHA, Florida, etc.), if applicable.

SCORING COMPLIANCE

The QUAD A accreditation program mandates 100% compliance with every standard to achieve and maintain accreditation, without exception. If a surveyor observes a single instance of non-compliance, the standard is scored as “Deficient.” The facility must submit both a Plan of Correction, as well as documented Evidence of Corrections.

Applicable standard(s) will be given a score of deficient.

QUAD A withholds accreditation until the facility submits acceptable Plans of Correction and Evidence of Corrections for all cited deficiencies. However, when a standard refers to "appropriate," "proper," or "adequate", reasonable flexibility and room for consideration by the surveyor is permitted as long as patient and staff safety remain uncompromised.

TABLE OF CONTENTS

SURVEY INSTRUCTIONS	2

STANDARDS STRUCTURE	2

STANDARDS BOOK LAYOUT	3

INTERPRETIVE GUIDANCE (IG)	Error! Bookmark not defined.

SCORING COMPLIANCE	4

ANESTHESIA CLASS REQUIREMENTS	8

Additional Guidance	12

Summary Table for Anesthesia Options	13

Nitrous Oxide	14

SECTION 1: BASIC MANDATES	15

Sub-section A: Anesthesia Options	15

Sub-section B: Basic Mandates	15

Sub-section C: Patient Selection	16

Sub-section D: Patients' Rights	17

Sub-section E: QUAD A - Mandated Reporting	19

Sub-section F: Patient Safety Data Reporting (PSDR)	21

SECTION 2: FACILITY LAYOUT & ENVIRONMENT	23

Sub-section A: Layout	23

Sub-Section B: Facility Layout	24

Subsection C: Operating Room Environment	25

Subsection D: Post-Anesthesia Care Unit (PACU) Environment	26

Sub-section E: Storage	26

SECTION 3: SAFETY	28

Sub-section A: General Safety	28

Sub-section B: Facility Safety Manual	28

Sub-section C: Hazardous Agents	29

Sub-section D: Medical Hazardous Waste	29

Sub-Section E: Fire Safety	30

Sub-section F: Exits	30

Sub-section G: Personnel Safety	30

Sub-section H: Laboratory, Radiology Services, and Laser Safety	31

SECTION 4: EQUIPMENT	32

Sub-section A: Facility Equipment	32

Sub-section B: Operating Room Equipment	32

Sub-section C: Anesthesia Equipment	33

Sub-section D: Post-Anesthesia Care Unit (PACU) Equipment	36

Sub-section E: Maintenance of Equipment	37

SECTION 5: IN CASE OF EMERGENCY	39

Sub-section A: Emergency Equipment	39

Sub-section B: Emergency Power	40

Sub-section C: Emergency Protocols	40

Sub-section F: Disaster Preparedness Plan	41

SECTION 6: MEDICATIONS	43

Sub-section A: Medications	43

Sub-section B: Intravenous Fluids	44

Sub-section D: Controlled Substances	44

Sub-section E : ACLS/PALS Algorithm	45

Sub-section F: Emergency Medications	45

Sub-section G: Malignant Hyperthermia	Error! Bookmark not defined.

SECTION 7: INFECTION PREVENTION AND CONTROL	50

Sub-section A: Infection Prevention and Control	50

Sub-section B: Hand Hygiene	51

Sub-section C: Instrument Processing	51

Sub-section D: Sterilization	52

Sub-section E: High-Level Disinfection (HLD)	54

Sub-section F: Cleaning	54

SECTION 8: CLINICAL RECORDS	56

Sub-section A: General Clinical Records	56

Sub-section B: Pre-Operative Documentation	56

Sub-section C: Informed Consent	60

Sub-section E: Laboratory, Pathology, X-Ray, Consultation, Treating Physician Reports, Etc.	61

Sub-section F: Anesthesia Care Plan	62

Sub-section G: Intra-Operative Documentation	63

Sub-section H: Intra-Operative Anesthetic Monitoring and Documentation	63

Sub-section I: Transfer to Post-Anesthesia Care Unit (PACU)	66

Sub-section J: Post-Anesthesia Care Unit (PACU) Documentation	67

Sub-section K: Discharge	69

Sub-section L: Operative Log	70

SECTION 9: GOVERNING BODY	72

Sub-section A: Governing Body	72

Sub-section B: Transfer of the Patient	74

Sub-section C: Extended Stays	74

SECTION 10: QUALITY ASSESSMENT/QUALITY IMPROVEMENT/RISK MANAGEMENT	76

Sub-section A: Quality Assessment/Quality Improvement/Risk Management	76

Sub-section B: Quality Improvement Program	76

Sub-section C: Risk Management	78

Sub-section D: Peer Review	80

SECTION 11: PERSONNEL	82

Sub-section A: Personnel	82

Sub-section B: Medical Director & Facility Director	82

Sub-section C: Surgeons/Proceduralists/Etc.	84

Sub-section D: Anesthesia Providers	Error! Bookmark not defined.

Sub-section E: Facility Staffing	85

Sub-section G: Post-Anesthesia Care Unit (PACU) Staffing	85

Sub-section H: Personnel Records	86

Sub-section I: Personnel Training	87

GENERAL GLOSSARY FOR ALL PROGRAMS	90

REFERENCES BY STANDARD	104

SPECIAL THANKS & RECOGNITION	125

ANESTHESIA CLASS REQUIREMENTS

If a facility is not in compliance with any item in this document, standard 1-A-1 will be scored as deficient.

All facilities must comply with the laws, regulations, and professional scope-of-practice requirements of their specific country or state regarding who may administer sedation and anesthesia. QUAD A acknowledges that not every licensed provider listed below will be applicable to all facilities. It is the facility’s responsibility to understand and follow its jurisdiction’s legal and regulatory requirements, as well as the scope-of-practice for each licensed provider working within the facility. When requirements differ, the more stringent requirement must be followed as long as it does not conflict with state or country law.

- Class A (Facility must meet every Class “A” requirement):

All surgical and procedural cases are performed in the facility under local, topical anesthesia, minimal sedation, or nitrous oxide using a standalone system for administration.

NOTE: Endotracheal tubes and supraglottic airways are permitted in the facility for emergency use only.

Local or Topical Anesthesia may be administered by any of the following:

- Surgeon/Proceduralist

- Physician Anesthesiologist

- Dental Anesthesiologist

- Certified Registered Nurse Anesthetist (CRNA)

- Certified Anesthesiologist Assistant (CAA) under the supervision of an anesthesiologist

- Nurse Practitioner (NP)

- Physician Assistant (PA)

- Registered Nurse (RN) under the direct supervision of a credentialed physician as permitted by state law.

Nitrous Oxide may be administered using a Nitrous-Oxide Delivery System with required safety features by a credentialed:

- Surgeon/Proceduralist

- Physician Anesthesiologist

- Pediatric Dentist

- Dental Anesthesiologist

- Oral and Maxillofacial Surgeon (OMS)

- Certified Registered Nurse Anesthetist (CRNA)

- Certified Anesthesiologist Assistant (CAA)

- Dental Assistant under the supervision of a Pediatric Dentist or Dental Anesthesiologist in accordance with State law.

- Registered Nurse, Nurse Practitioner, or Physician Assistant under the direct supervision of a credentialed physician as permitted by state law.

Anxiolytics may be administered for mild sedation by any of the following:

- Surgeon/Proceduralist

- Physician Anesthesiologist

- Dental Anesthesiologist

- Certified Registered Nurse Anesthetist (CRNA)

- Certified Anesthesiologist Assistant (CAA) under the supervision of an anesthesiologist

- Nurse Practitioner (NP)

- Physician Assistant (PA)

- Registered Nurse (RN) with an electronic or written order by a credentialed provider.

Clarifications:

- All cases performed in a Class A facility must be performed using local anesthesia with minimal sedation only. A Class A facility is not permitted to perform any cases with moderate sedation.

- No more than 500cc of liposuction aspirate may be removed.

- A single dose of analgesic or minimal sedation (anxiolytic) drug may be administered preoperatively, which results in minimal sedation, and one (1) dose of the same medication may be administered postoperatively. Any additional doses or agents are considered Moderate Sedation, requiring the facility to be accredited under facility Class B, C-M (international facilities only), or C standards. This includes doses taken by patients prior to arriving at the facility.

- The use of propofol, spinal anesthesia, epidural anesthesia, endotracheal intubation anesthesia, laryngeal mask airway anesthesia, and/or inhalation general anesthesia (excluding nitrous oxide) is prohibited.

- The combination of Nitrous Oxide and any agent that results in minimal sedation is not permitted to be administered together in a Class A facility; they are only permitted in facility Class B, C-M (international facilities only), and C facilities.

- If a facility performs procedures by administering oral anxiolytics (e.g., diazepam) in conjunction with performing major peripheral or plexus nerve blocks (interscalene, supraclavicular, femoral) or advanced regional techniques (e.g., retrobulbar block, digital, Bier block.), this practice falls under the accreditation standard for facility Class B. The use of field or nerve blocks is not permitted in facilities accredited under facility Class A accreditation standards. Digital blocks are permitted in Class A.

- Exception: Simple local infiltration anesthesia, including digital nerve blocks, is permitted under the accreditation standard for facility Class A.

- Class B (Facility must meet every Class “A” and “B” requirement):

Surgical and procedural cases are performed in the facility under intravenous sedation, regional anesthesia, analgesia, or dissociative drugs (excluding Propofol), that result in moderate (formerly referred to as conscious sedation) and without the use of endotracheal intubation or laryngeal mask airway, or inhalation general anesthesia. The use of sublingual midazolam, ketamine HCl, and ondansetron (MKO) melt is permitted.

NOTE: Endotracheal tubes and supraglottic airways are permitted in the facility for emergency use only.

Intravenous Sedation may be administered by any of the following:

- Surgeon/proceduralist

- Physician Anesthesiologist

- Dental Anesthesiologist

- Certified Registered Nurse Anesthetist (CRNA)

- Certified Anesthesiologist Assistant (CAA)

- Registered Nurse, Nurse Practitioner, or Physician Assistant under the direct supervision of a qualified physician

Field and Peripheral Nerve Blocks may be administered by any of the following:

- Physician Anesthesiologist

- Oral and Maxillofacial Surgeon (OMS)

- Dental Anesthesiologist

- Pediatric Dentist

- Certified Registered Nurse Anesthetist (CRNA)

- Certified Anesthesiologist Assistant (CAA)

Oral or Intranasal Sedation may be administered by any of the following:

- Surgeon/Proceduralist

- Physician Anesthesiologist

- Dental Anesthesiologist

- Pediatric Dentist

- Oral Maxillofacial Surgeon (OMS)

- Certified Anesthesia Assistant (CAA)

- Certified Registered Nurse Anesthetist (CRNA)

- Registered Nurse, Nurse Practitioner (NP), or Physician Assistant (PA) under the direct supervision of a qualified physician

The use of propofol, spinal anesthesia, epidural anesthesia, endotracheal intubation anesthesia, laryngeal mask airway anesthesia, and/or inhalation general anesthesia (excluding nitrous oxide) is prohibited.

- Class C-M: (A Facility must meet every Class “A” and “B” accreditation standard requirement): Class C-M is an accreditation pathway available only to international facilities.

Surgical and procedural cases are performed in the facility under moderate or deep sedation, including the use of Propofol, Epidural, or Spinal anesthesia.

The use of endotracheal intubation anesthesia, laryngeal mask airway anesthesia, and/or inhalation general anesthesia (excluding nitrous oxide) is prohibited.

Propofol may be administered by any of the following:

- Physician Anesthesiologist

- Certified Registered Nurse Anesthetist (CRNA)

- Certified Anesthesiologist Assistant (CAA)

Epidural Anesthesia may be administered by any of the following:

- Physician Anesthesiologist

- Certified Registered Nurse Anesthetist (CRNA)

- Certified Anesthesiologist Assistant (CAA)

Spinal Anesthesia may be administered by any of the following:

- Physician Anesthesiologist

- Certified Registered Nurse Anesthetist (CRNA)

- Certified Anesthesiologist Assistant (CAA)

Dissociative Drugs may be administered by any of the following:

- Physician Anesthesiologist

- Certified Anesthesia Assistant (CAA)

- Certified Registered Nurse Anesthetist (CRNA)

- Registered Nurse, Nurse Practitioner (NP), or Physician Assistant (PA) under the direct supervision of a qualified physician.

Clarification:

- The use of endotracheal intubation anesthesia, laryngeal mask airway anesthesia, and/or inhalation general anesthesia (excluding nitrous oxide) is prohibited.

- Class C: (A Facility must meet every Class “A”, “B” “C-M” (international facilities only), and “C” requirement):

Surgical and procedural cases may be performed in the facility with intravenous propofol, spinal or epidural, and general anesthesia administered by any of the following:

- Physician Anesthesiologist

- Dental Anesthesiologist

- Certified Registered Nurse Anesthetist (CRNA)

- Certified Anesthesia Assistant (CAA)

Clarifications:

- Facilities using total intravenous anesthesia (TIVA) and have no inhalational anesthetics present in the facility would not be required to have an anesthesia machine. See standard 4-C-18.

- For International Facilities: Achieving Class C accreditation requires full compliance with all Class C standards, including those for general anesthesia with an anesthesia machine, in addition to all requirements for Classes A, B, and C-M.

Additional Guidance

Table 1. ASA Continuum of Depth of Sedation: Definition of General Anesthesia and Levels of Sedation/Analgesia, 2019

Patient Monitoring – Moderate and Deep Sedation

Many of the complications associated with moderate sedation and analgesia may be avoided if adverse drug responses are detected and treated in a timely manner (i.e., before the development of cardiovascular decompensation or cerebral hypoxia). Patients given sedatives or analgesics in unmonitored settings may be at increased risk of these complications.

Patient monitoring includes strategies for the following: (1) monitoring patient level of consciousness assessed by the response of patients, including spoken responses to commands or other forms of bidirectional communication during procedures performed with moderate sedation/analgesia; (2) monitoring patient ventilation and oxygenation, including ventilatory function, by observation of qualitative clinical signs, end-tidal carbon monoxide, and pulse oximetry; (3) hemodynamic monitoring, including blood pressure, heart rate, and electrocardiography; (4) contemporaneous recording of monitored parameters; and (5) availability/presence of an individual responsible for patient monitoring. See standards in Section 8: Clinical Records, Sub-section H.

Summary Table for Anesthesia Options

| ANESTHESIA OPTIONS | Class |  |  |  |
| --- | --- | --- | --- | --- |
|  | A | B | C-M* | C |
| Local Anesthesia | X | X | X | X |
| Topical Anesthesia | X | X | X | X |
| Nitrous Oxide | X | X | X | X |
| Parenteral Sedation |  | X | X | X |
| Field and Peripheral Nerve Blocks |  | X | X | X |
| Dissociative Drugs (excluding Propofol) |  | X | X | X |
| Propofol |  |  | X | X |
| Epidural Anesthesia |  |  | X | X |
| Spinal Anesthesia |  |  | X | X |
| General Anesthesia – with or without endotracheal intubation anesthesia, or laryngeal mask airway (LMA) anesthesia |  |  |  | X |

*Applicability Note: Class C-M is an accreditation pathway available only to International Facilities

Nitrous Oxide

Only Nitrous Oxide-Oxygen Delivery Systems with the following safety features may be used in a QUAD A accredited facility:

- Alarms - Audio and/or visual alarms (e.g., low- or high-oxygen and nitrous oxide pressure alarms).

- Color Coding - Gas tanks, knobs, and hoses are coded by color (standardized nationally, but not necessarily internationally).

- Diameter index safety system - A standard for noninterchangeable, removable connections for use with medical gases helps ensure that the appropriate gas flows through the appropriate tubing and cannot be interchanged.

- Emergency air inlet - An inlet designed to remain closed as long as gases are being administered to the patient; however, when the oxygen fail-safe system turns the gases off, ambient air is allowed to enter the system so that the patient can continue to breathe through the nasal hood or face mask.

- Locks - According to national fire codes, nitrous oxide and other compressed gases must be kept in locked rooms; many manufacturers supply additional locks for the machines at the tanks, the manifold, or the mixer level to prevent staff members from accessing nitrous oxide inappropriately.

- Oxygen fail-safe system—The oxygen fail-safe system is designed so that the nitrous oxide supply will be turned off automatically when oxygen delivery is compromised or depleted. Delivery systems are required to provide a minimum oxygen liter flow that ensures 2.5 to 3.0 liters of oxygen per minute is the minimum amount being administered and that concentrations of oxygen never fall below 30% during gas delivery.

- Oxygen flush button—This mechanism allows 100% oxygen to be administered through a reservoir bag in the event of an emergency. When the button is pressed, the oxygen flush valve engages, and the system delivers oxygen straight from the pipeline or tank regulator at 45 to 50 psi at a flow rate between 35 and 75 L/min.

- Pin-index safety system—Pins protruding from the gas tank yokes have a unique configuration that fits into corresponding holes in the tank valves. This helps prevent the accidental attachment of a nonoxygen tank to the oxygen attachment portal.

- Quick connect for positive-pressure oxygen- In an emergency situation in which positive-pressure oxygen is required (e.g., to augment cardiopulmonary resuscitation), quick-connect compatibility helps ensure immediate access to positive-pressure oxygen anywhere in the office.

- Reservoir bag—An inflatable rubber reservoir bladder into which fresh gas entering the circuit is conveyed; the bag is filled gradually as gases enter the circuit and deflates with inhalation.

SECTION 1: BASIC MANDATES

| Standard ID | Anesthesia Class |  |  |  | Standard / Regulatory Reference | Score | Findings/Comments |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Sub-section A: Anesthesia Options |  |  |  |  |  |  |  |  |  |
| 1-A-1 | A | B | C-M | C | The facility practices within the Anesthesia Class for which it is accredited and in accordance with facility policies and procedures, industry standards, regulations, and laws governing the facility. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite |  |  | Test1? |
| 1-A-2 | A | B | C-M | C | All care is provided by a credentialed healthcare provider as listed in the Anesthesia Class document and in accordance with facility policies, procedures, and state/provincial and federal law. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite |  |  | Click or tap here to enter text. |
| Sub-section B: Basic Mandates |  |  |  |  |  |  |  |  |  |
| 1-B-3 | A | B | C-M | C | The facility has defined a mission statement that reflects the population it serves and the services it provides. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite |  |  | Click or tap here to enter text. |
| 1-B-4 | A | B | C-M | C | The facility has provided a set of organizational values which guide daily operations, are familiar to all staff, and are available to the public. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite |  |  | Click or tap here to enter text. |
| 1-B-5 | A | B | C-M | C | The facility must inform the public of the services. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite |  |  | Click or tap here to enter text. |
| 1-B-6 | A | B | C-M | C | The facility must ensure that no marketing and advertising regarding the competence and capabilities of the organization is misleading or implies that it provides care or services that it is not capable of providing. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite |  |  | Click or tap here to enter text. |
| 1-B-7 | A | B | C-M | C | Only recognized abbreviations are allowed to be used in the clinical record. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite |  |  | Click or tap here to enter text. |
| 1-B-8 | A | B | C-M | C | The facility must perform a self-survey review of compliance with all QUAD A standards annually prior to the expiration date of its accreditation in each of the two years between QUAD A onsite surveys. The self-survey documentation must be retained for a minimum of 3 years and include: - A completed Self-Survey checklist - A Plan of Correction for any standard identifies as non-compliant - Evidence that each plan of correction has been carried out to establish compliance with standards - Evidence that findings from the self-survey have been reviewed, included in the facility’s Quality Improvement Plan, and discussed in the facility’s Quality Improvement meetings. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite |  |  | Click or tap here to enter text. |
| 1-B-9 | A | B | C-M | C | The facility must make its final survey results publicly available. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite |  |  | Click or tap here to enter text. |
| Sub-section C: Patient Selection |  |  |  |  |  |  |  |  |  |
| 1-C-1 | A | B | C-M | C | A patient who, by reason of pre-existing or other medical conditions, is at significant risk for outpatient surgery in this facility must be referred to alternative facilities as defined in facility policy. Any surgery for which a patient must be routinely transferred to a hospital after the surgery is not appropriate for an outpatient surgical setting. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite |  | Click or tap here to enter text. |  |
| 1-C-2 | A | B | C-M | C | The facility must have a scheduling policy that includes only those procedures and/or a combination of procedures of duration and degree that permit safe recovery and discharge from the facility consistent with federal/national, state/provincial, and local regulations, if applicable. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite |  | Click or tap here to enter text. |  |
| 1-C-3 | A | B | C-M | C | The process for entry or admission to the facility for a procedure must be coordinated and defined in a policy. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite |  | Click or tap here to enter text. |  |
| 1-C-4 | A | B | C-M | C | If pediatric services are provided by the facility, there must be a written policy defining the unique perioperative care of pediatric patients. This is based upon considerations of age, BMI or weight, special needs, risk categories, surgery, facility equipment, and capability. The written policy for pediatric patients is available and current. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite |  | Click or tap here to enter text. |  |
| Sub-section D: Patients' Rights |  |  |  |  |  |  |  |  |  |
| 1-D-1 | A | B | C-M | C | A copy of the most current QUAD A "Patients' Bill of Rights" is prominently displayed, or a copy is provided to each patient. The QUAD A "Patients' Bill of Rights" is also adhered to by facility personnel. If required, an additional Patients’ Bill of Rights must be prominently displayed in accordance with prevailing laws and regulations. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite |  | Click or tap here to enter text. |  |
| 1-D-18 | A | B | C-M | C | The patient has a right to personal privacy. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite |  | Click or tap here to enter text. |  |
| 1-D-19 | A | B | C-M | C | The patient has a right to receive care in a safe setting. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite |  | Click or tap here to enter text. |  |
| 1-D-20 | A | B | C-M | C | The patient has a right to be free from all forms of abuse or harassment. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite |  | Click or tap here to enter text. |  |
| 1-D-22 | A | B | C-M | C | The patient has a right to refuse treatment. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite |  | Click or tap here to enter text. |  |
| 1-D-23 | A | B | C-M | C | All new staff must have training regarding the Patient Bill of Rights including concerns and complaints from family members / adult escorts and the various religious and ethnic concerns of the usual patient population and the policy and process for addressing concerns and complaints. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite |  | Click or tap here to enter text. |  |
| 1-D-24 | A | B | C-M | C | Any issues judged significant related to the Patient’s Bill of Rights must be brought to the attention of administration in a timely fashion. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite |  | Click or tap here to enter text. |  |
| 1-D-25 | A | B | C-M | C | The facility must have the patient acknowledge that the Bill of Rights has been reviewed and understood by the patient/legal representative. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite |  | Click or tap here to enter text. |  |
| 1-D-26 | A | B | C-M | C | The facility must provide patient privacy including gender-specific dressing and lavatory areas. This may include gender-specific dressing and lavatory areas as well as dietary provisions if provided by the facility. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite |  | Click or tap here to enter text. |  |
| 1-D-27 | A | B | C-M | C | The staff provide care in a manner that is respectful, professional, and consistent with the facility's mission statement. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite |  | Click or tap here to enter text. |  |
| 1-D-28 | A | B | C-M | C | The Patient's Bill of Rights is printed and available in the language of the majority (and substantial minority) of the patient population served. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite |  | Click or tap here to enter text. |  |
| Sub-section E: QUAD A - Mandated Reporting |  |  |  |  |  |  |  |  |  |
| 1-E-1 | A | B | C-M | C | Changes in facility ownership must be reported to the QUAD A Central Office within thirty (30) days of the change. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite |  | Click or tap here to enter text. |  |
| 1-E-2 | A | B | C-M | C | Any change in provider staff must be reported to the QUAD A Central Office, in writing, within thirty (30) days of the change, along with the appropriate credentials. Surgical Programs (ASC, OBS, OBP, PD, OMS, I-DENT, I-SURG): Surgeons, Proceduralists, and Pain Management Providers must submit medical license, board certification or board eligibility, and delineation of facility privileges. RHC: Physicians, Advanced Practice Providers (NP, PA, CNM) and licensed behavior health providers (CP, CSW, MFT, MHC) must submit professional licenses. Physical Therapy (OPT, I-PT): SLP, OT, PT, SLPA, OTA, PTA must submit professional licenses. Polyclinic: Physicians, Dentist, Advanced Practice Providers (NP, PA, CNM), Physiotherapist, and Physical Therapists must submit professional licenses. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite |  | Click or tap here to enter text. |  |
| 1-E-3 | A | B | C-M | C | Any action affecting the current professional license of any licensed facility staff must be reported in writing to the QUAD A office within ten (10) days of the time the facility becomes aware of such action. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite |  | Click or tap here to enter text. |  |
| 1-E-4 | A | B | C-M | C | Any death occurring in an accredited facility or any death occurring within thirty (30) days of a procedure performed in an accredited facility must be reported to the QUAD A office within five (5) business days after the facility is notified or otherwise becomes aware of that death. In addition to this notification, the death must be contemporaneously reported as an adverse event in the online Patient Safety Data Reporting portal. In the event of a death occurring within thirty (30) days of a procedure performed in an QUAD A-accredited facility, an unannounced survey may be performed. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite |  | Click or tap here to enter text. |  |
| 1-E-5 | A | B | C-M | C | All adverse events which occur in the facility or as a result of care provided at the facility must be communicated to the affected patient(s) and/or facility staff. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite |  | Click or tap here to enter text. |  |
| Sub-section F: Patient Safety Data Reporting (PSDR) |  |  |  |  |  |  |  |  |  |
| 1-F-1 | A | B | C-M | C | Online Patient Safety Data Reporting is performed at least every three (3) months in accordance with the due dates established by QUAD A and includes submitting random cases and all adverse events to the QUAD A portal at www.QUAD A.org. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite |  |  |  |
| 1-F-2 | A | B | C-M | C | For each surgeon/proceduralist operating in the facility, the random sample of case must include the first case performed by such surgeon/proceduralist each month during the reporting period. The facility must submit into the online Patient Safety Data Reporting portal a minimum of three (3) cases, or all cases performed by surgeons who have performed fewer than three (3) in the respective period, every three (3) months. If a surgeon/proceduralist performed fewer than three (3) cases, an exemption form must be submitted. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite |  | Click or tap here to enter text. |  |
| 1-F-3 | A | B |  | C | The facility is up to date with accurate PSDR reporting. Reportable adverse events must be submitted to PSDR, including, but not limited to: - Any unplanned hospital admission; - Any emergency department visit; - Any unscheduled return to the operating room for a complication of a previous surgery; - Any complication such as infection, bleeding, wound dehiscence, or inadvertent injury to another body structure; - Any cardiac or respiratory problems during the patient’s stay at the facility or within 48 hours of discharge; - Any allergic reactions; - Any pre- and post-procedure incorrect instrument, needle or sponge counts; - Any patient or family complaint; - Any equipment malfunction leading to injury or potential injury to the patient; - Any death occurring within 30 days of a procedure; - Any iatrogenic dental trauma | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite |  | Click or tap here to enter text. |  |
| 1-F-15 | A | B |  | C | Each adverse event submission must include: - The identification of the problem, - The immediate treatment or disposition of the case, - The outcome, - The reason for the problem, and - An assessment of the efficacy of treatment. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite |  | Click or tap here to enter text. |  |

SECTION 2: FACILITY LAYOUT & ENVIRONMENT

| Standard ID | Anesthesia Class |  |  |  | Standard / Regulatory Reference |  | Score | Findings/Comments |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Sub-section A: Layout |  |  |  |  |  |  |  |  |
| 2-A-1 |  | B | C-M | C | The Operating Suite is physically and distinctly separate and segregated from the General Office Area (waiting room, exam room(s), administrative area, physician office, staff lounge, etc.) | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite |  | Click or tap here to enter text. |
| 2-A-3 |  | B | C-M | C | There is a separate and adequately sized Post-Anesthesia Care Unit (PACU) within the operating room suite. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite |  | Click or tap here to enter text. |
| 2-A-9 | A | B | C-M | C | There is a separate waiting room which is adequately sized and adequately lighted. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite |  | Click or tap here to enter text. |
| 2-A-10 | A | B | C-M | C | There is designated area for administrative activities. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite |  | Click or tap here to enter text. |
| 2-A-11 | A | B | C-M | C | There is at least one examination room. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite |  | Click or tap here to enter text. |
| Sub-Section B: Facility Layout |  |  |  |  |  |  |  |  |
| 2-B-3 | A | B | C-M | C | The entire facility must be maintained, equipped, regularly cleaned, sanitary, and free of clutter and litter, consistent with a medical facility designed to perform procedures. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite |  | Click or tap here to enter text. |
| 2-B-4 | A | B | C-M | C | The walls, cabinets, countertops, blinds and shades, and flooring are covered with smooth and easy-to-clean material that is free from tears, breaks, or cracks. If the floors contain seams or individual tiles, they are sealed with an impermeable sealant other than silicone. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite |  | Click or tap here to enter text. |
| 2-B-5 |  | B | C-M | C | The operating room and scrub area ceiling surface or drop-in tiles are smooth, washable, and free of particulate matter that could contaminate the operating room and scrub area. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite |  | Click or tap here to enter text. |
| 2-B-6 | A | B | C-M | C | All openings to outdoor air are effectively protected against the entrance of insects, animals, etc. The facility must have policies and procedures in place and implemented to address these issues. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite |  | Click or tap here to enter text. |
| 2-B-7 | A | B | C-M | C | There are no overloaded wall plugs or overloaded extensions in use, no altered grounding plugs in use, and wires are not broken, worn, or unshielded. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite |  | Click or tap here to enter text. |
| 2-B-9 | A | B | C-M | C | The entire facility is appropriately lighted, properly ventilated, and temperature controlled for patient and personnel comfort. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite |  | Click or tap here to enter text. |
| 2-B-10 | A | B | C-M | C | The entire facility provides adequate work space and sufficient space and storage for supplies and equipment. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite |  | Click or tap here to enter text. |
| 2-B-14 | A | B | C-M | C | The lavatory facilities are sufficient to accommodate patients and staff needs. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite |  | Click or tap here to enter text. |
| 2-B-19 | A | B | C-M | C | Smoking is prohibited in the entire facility. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite |  | Click or tap here to enter text. |
| Subsection C: Operating Room Environment |  |  |  |  |  |  |  |  |
| 2-C-2 |  | B | C-M | C | Each operating room is of a size adequate to allow for the presence of all equipment and personnel necessary for the performance of the operations, and must comply with applicable local, state/provincial or federal/national requirements. There must be ample clear space on each side of the procedure table to accommodate emergency personnel and equipment in case of emergency and permit the safe transfer of the patient to a gurney for transport. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite |  | Click or tap here to enter text. |
| 2-C-3 |  | B | C-M | C | Each operating room is ventilated, temperature and humidity controlled. The facility policy defines parameters based on patient population, procedure, and monitoring frequency in accordance with industry standards. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite |  | Click or tap here to enter text. |
| 2-C-4 |  | B | C-M | C | The facility must have policies and procedures in place that address operating room cleaning, frequency and type of disinfectants used in accordance with industry standards. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite |  | Click or tap here to enter text. |
| 2-C-5 |  | B | C-M | C | There is adequate storage space within the operating room to hold equipment, supplies, and medications. Unused equipment, supplies, and medications are stored in a manner to avoid contamination. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite |  | Click or tap here to enter text. |
| Subsection D: Post-Anesthesia Care Unit (PACU) Environment |  |  |  |  |  |  |  |  |
| 2-D-1 |  | B | C-M | C | The PACU is maintained, clean and free of litter. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite |  | Click or tap here to enter text. |
| Sub-section E: Storage |  |  |  |  |  |  |  |  |
| 2-E-1 | A | B | C-M | C | Sterile supplies and equipment are stored away from potential contamination in closed cabinets/drawers; or if not, sterile supplies must be stored away from heavy traffic areas and potential contamination hazards. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite |  | Click or tap here to enter text. |
| 2-E-2 | A | B | C-M | C | Storage space for sterile supplies and equipment is organized in a manner that maintains cleanliness, sterility, and functionality, provides easy access for identification and minimizes the risk of contamination and injury to patients and staff. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite |  | Click or tap here to enter text. |
| 2-E-3 | A | B | C-M | C | As applicable to the setting, outdated medical supplies, instruments, implants, and equipment are removed and destroyed in accordance with federal/national, state, provincial, and local regulations. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite |  | Click or tap here to enter text. |

SECTION 3: SAFETY

| Standard ID | Anesthesia Class |  |  |  | Standard / Regulatory Reference | Score | Findings/Comments |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Sub-section A: General Safety |  |  |  |  |  |  |  |  |
| 3-A-2 | A | B | C-M | C | There is a reliable means of two-way communication to necessary personnel in other facility locations. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite |  | Click or tap here to enter text. |
| Sub-section B: Facility Safety Manual |  |  |  |  |  |  |  |  |
| 3-B-1 | A | B | C-M | C | There is a Facility Safety Manual that is reviewed and updated annually and is in accordance with all other federal/national, provincial, state and local regulations. For international facilities, there must be evidence that specific national, provincial, and local regulations are included. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite |  | Click or tap here to enter text. |
| 3-B-4 | A | B | C-M | C | The facility safety manual provides employees with information about hazardous chemicals used and methods to minimize hazards to personnel. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite |  | Click or tap here to enter text. |
| 3-B-5 | A | B | C-M | C | There is a written exposure control plan, which is reviewed and updated at least annually. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite |  | Click or tap here to enter text. |
| 3-B-6 | A | B | C-M | C | There is a written chemical hazard communication program, which is reviewed and updated annually. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite |  | Click or tap here to enter text. |
| Sub-section C: Hazardous Agents |  |  |  |  |  |  |  |  |
| 3-C-2 | A | B | C-M | C | All explosive and combustible materials and supplies are stored and handled in a safe manner with appropriate ventilation according to state/provincial, local or national laws and regulations. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite |  | Click or tap here to enter text. |
| 3-C-4 | A | B | C-M | C | Compressed gas cylinders are stored and handled in a safe manner according to local, state/provincial, or national laws and regulations. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite |  | Click or tap here to enter text. |
| 3-C-5 | A | B | C-M | C | Hazardous chemicals are labeled as hazardous. Any hazardous material removed from the manufacturer's container and placed in a secondary container must be properly labeled. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite |  | Click or tap here to enter text. |
| Sub-section D: Medical Hazardous Waste |  |  |  |  |  |  |  |  |
| 3-D-1 | A | B | C-M | C | All medical hazardous wastes are disposed of in sealed, labeled containers and stored in compliance with federal/national, state, provincial, and local regulations and/or OSHA (Occupational Safety and Health Administration) acceptable containers and separated from general refuse for special collection and handling. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite |  | Click or tap here to enter text. |
| 3-D-4 | A | B | C-M | C | Used disposable sharp items are placed in secure puncture-resistant containers that are located as close to the use area as is practical. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite |  | Click or tap here to enter text. |
| Sub-Section E: Fire Safety |  |  |  |  |  |  |  |  |
| 3-E-1 | A | B | C-M | C | The facility is equipped with functioning heat sensors and/or smoke detectors that are tested annually. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite |  | Click or tap here to enter text. |
| 3-E-2 | A | B | C-M | C | The number of fire extinguishers available and their location must conform to local fire codes. Minimally, a fire extinguisher is located within 75 feet of any location in the facility. Fire extinguishers are visually inspected monthly, maintenance inspections are done annually and conform to local fire codes. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite |  | Click or tap here to enter text. |
| Sub-section F: Exits |  |  |  |  |  |  |  |  |
| 3-F-3 | A | B | C-M | C | There are sufficient emergency lights for exit routes and patient care areas in case of power failure. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite |  | Click or tap here to enter text. |
| 3-F-4 | A | B | C-M | C | Hallways, stairways and elevators are sufficiently wide to allow emergency evacuation of a patient by emergency personnel and their equipment. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite |  | Click or tap here to enter text. |
| Sub-section G: Personnel Safety |  |  |  |  |  |  |  |  |
| 3-G-2 |  |  |  | C | Personnel are properly trained in the control procedures and work practices that have been demonstrated to reduce occupational exposures to anesthetic gases. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite |  | Click or tap here to enter text. |
| 3-G-3 | A | B | C-M | C | There is a written policy for what is considered to be personal protective equipment for specific tasks in the facility (e.g., instrument cleaning, disposal of biological waste, surgery, radiology protection, exposure reduction, etc.). | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite |  | Click or tap here to enter text. |
| Sub-section H: Laboratory, Radiology Services, and Laser Safety |  |  |  |  |  |  |  |  |
| 3-H-2 | A | B | C-M | C | If laboratory services are provided, these laboratory services must be provided in accordance with the Clinical Laboratory Improvement Act (CLIA) requirements at 42 CFR 493 operating under a current CLIA certificate appropriate to the level of services performed. |  |  | Click or tap here to enter text. |
| 3-H-3 | A | B | C-M | C | If x-ray equipment is used, safety measures are taken to protect patients and staff from injury. Warnings and signage exist to warn those whose health may be affected by x-rays. |  |  | Click or tap here to enter text. |
| 3-H-4 | A | B | C-M | C | If X-ray is used, staff maintain dosimetry badges and records, if applicable, for at least three (3) years. |  |  | Click or tap here to enter text. |
| 3-H-8 | A | B | C-M | C | If a laser is used, all manufacturer recommended safety precautions are actively in place prior to any usage. All safety measures are taken to protect patients and staff from injury, including appropriate eyewear, covered mirrors, covered windows, signage on the door, etc. in accordance with state/provincial laws and regulations. |  |  | Click or tap here to enter text. |

SECTION 4: EQUIPMENT

| Standard ID | Anesthesia Class |  |  |  | Standard / Regulatory Reference | Score | Findings/Comments |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Sub-section A: Facility Equipment |  |  |  |  |  |  |  |
| 4-A-1 | A | B | C-M | C | If a central source of piped oxygen is used, the system must meet all applicable local, state/provincial, and country safety codes. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 4-A-2 | A | B | C-M | C | Medical equipment and supplies are available in the facility in appropriate sizes and quantities based on the patient population served. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| Sub-section B: Operating Room Equipment |  |  |  |  |  |  |  |
| 4-B-2 | A | B | C-M | C | There is a properly functioning operating room table or chair. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 4-B-3 |  | B | C-M | C | The operating room is provided with functioning lighting in the ceiling based on the types of cases performed. Illumination for patients, machines, and monitoring equipment, and access to battery-powered illuminating systems are present. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 4-B-5 |  | B | C-M | C | Sufficient electrical outlets are available, labeled and grounded to suit the location (e.g., wet locations) and connected to emergency power supplies where appropriate. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 4-B-8 |  |  | C-M | C | “Forced air warmers,” blanket warmers, or other interventions are used to maintain the patient’s temperature when the procedure lasts more than 60 minutes. The patient's temperature is monitored periodically to ensure normothermia. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| Sub-section C: Anesthesia Equipment |  |  |  |  |  |  |  |
| 4-C-1 |  | B | C-M | C | The operating room is equipped with an EKG monitor with pulse read-out. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 4-C-2 |  | B | C-M | C | The operating room is equipped with a pulse oximeter. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 4-C-3 |  | B | C-M | C | The operating room is equipped with blood pressure monitoring equipment, including cuff sizes as appropriate for the patient population treated in the facility. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 4-C-4 |  | B | C-M | C | The operating room is equipped with oral airways including sizes specific for each size of patient population treated in the facility. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 4-C-5 |  | B | C-M | C | The operating room is equipped with nasopharyngeal airways including sizes specific for each size of patient population treated in the facility. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 4-C-6 |  | B | C-M | C | The operating room is equipped with a functional and clean laryngoscope. Laryngoscope is cleaned as appropriate, HLD or sterilized. Permitted in Class B for emergency use only. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 4-C-7 |  | B | C-M | C | The operating room is equipped with a comprehensive assortment of endotracheal tubes, stylets, and laryngeal mask airways including sizes and types for the patients being treated in the facility. Permitted in Class B for emergency use only. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 4-C-9 |  | B | C-M | C | The operating room is equipped with a positive pressure ventilation device (e.g., Ambu® bag, bag valve mask), including sizes of masks to cover the range needed for the patient population treated in the facility. If self-inflating bags are used, they must be capable of delivering positive-pressure ventilation with at least 90% oxygenation concentration. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 4-C-10 |  | B | C-M | C | The operating room is equipped with a source of oxygen and with appropriate delivery devices (e.g., nasal cannula, face mask) to provide adequate oxygen for the patient population treated and procedures performed in the facility. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 4-C-11 |  | B | C-M | C | The operating room is equipped with a source of adequate and reliable suction and suction equipment. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 4-C-12 |  | B | C-M | C | The operating room is equipped with a reliable source of oxygen, adequate for the length of the procedures performed in the facility (backup must consist of at least one full E cylinder). Backup oxygen source must have a regulator and be ready to use. If oxygen cylinders are used as backup, they must be full. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 4-C-13 |  |  |  | C | If inhalation general anesthesia is used, the operating room is equipped with an inspired gas oxygen monitor on the anesthesia machine with an audible alarm to indicate a low oxygen concentration. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 4-C-14 |  | B | C-M | C | The operating room is equipped with an end tidal carbon dioxide monitor with an audible alarm to indicate values outside the normal range which is used on all moderate sedation, deep sedation, and general anesthesia cases. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 4-C-15 |  |  |  | C | When ventilation is controlled by a mechanical ventilator, there shall be in continuous use a device that is capable of detecting the disconnection of any of the breathing system’s components. The device must give an audible signal when its alarm threshold is exceeded. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 4-C-16 | A | B | C-M | C | If nitrous oxide alone is used, then a safe delivery system is used. A safe delivery system meets these criteria: - Alarms - Gas scavenging - Color coding of tanks, knobs, and hoses - Diameter index safety system for non-interchangeable connection of gases - pin index safety system - Oxygen fail-safe system and oxygen flush capacity - Quick connection for positive-pressure oxygen delivery - Emergency air inlet - Reservoir bag - Storage in a secured area | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 4-C-17 |  |  |  | C | An anesthesia machine with a purge system to extract exhaled gaseous air to out-of-doors or to a neutralizing system is present. If inhalation anesthesia is used, a carbon dioxide-neutralizing system is required when using an anesthesia machine. An adequate and reliable waste anesthetic scavenging system exists if inhalation anesthetics are used. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 4-C-18 |  |  |  | C | An anesthesia machine is required if volatile agents are available in the facility. If total intravenous anesthesia (TIVA), spinal, or epidural anesthesia is used exclusively, and no volatile inhalation agents are available, an anesthesia machine is not required. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| Sub-section D: Post-Anesthesia Care Unit (PACU) Equipment |  |  |  |  |  |  |  |
| 4-D-1 |  | B | C-M | C | The PACU is equipped and readily accessible to handle emergencies | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 4-D-2 |  | B | C-M | C | A separate pulse oximeter is available for each patient in the PACU. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| Sub-section E: Maintenance of Equipment |  |  |  |  |  |  |  |
| 4-E-1 | A | B | C-M | C | The facility has a preventive maintenance program to ensure that all essential mechanical, electric and patient-care equipment is maintained in safe operating condition and is replaced no less frequently than according to a schedule. A qualified technician annually inspects all equipment and reports in writing that the equipment is safe and operating according to the manufacturer’s specifications. Stickers may be placed on individual equipment; however, written records must be maintained. All equipment is on a maintenance schedule, and records are kept for a minimum of at least three (3) years. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 4-E-5 | A | B | C-M | C | The manufacturer’s specifications and requirements for all equipment are kept in an organized file and followed for each piece of equipment. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 4-E-6 |  | B | C-M | C | The facility's emergency backup power equipment is tested monthly and according to the manufacturer’s recommendations to ensure proper function in accordance with federal/national, state, provincial, and local requirements, if applicable. The test results are filed and kept for a minimum of three (3) years. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 4-E-10 | A | B | C-M | C | The facility regularly conducts appropriate testing in accordance with the manufacturer's specifications for all equipment. Records of that testing are maintained within the facility for at least three (3) years. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 4-E-11 | A | B | C-M | C | All equipment not requiring a qualified technician inspection is on a preventative maintenance schedule with appropriate records kept for a minimum of 3 years (examples include manual wheelchair, manual stretcher, etc.). | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |

SECTION 5: IN CASE OF EMERGENCY

| Standard ID | Anesthesia Class |  |  |  | Standard / Regulatory Reference | Score | Findings/Comments |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Sub-section A: Emergency Equipment |  |  |  |  |  |  |  |
| 5-A-1 | A | B | C-M | C | Emergency cart is immediately available with a defibrillator or automated external defibrillator (AED), necessary drugs, and other CPR equipment (e.g., suction, pediatric defib pads) necessary for the patient population being served. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 5-A-3 | A | B | C-M | C | The standard defibrillator, or an Automated External Defibrillator (AED), is checked at least weekly for operability in accordance with the manufacturer's instructions for use, and the test results are documented and kept for a minimum of three (3) years. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 5-A-4 |  | B | C-M | C | The facility medical staff, anesthesia professionals, other clinical staff, and the governing body of the facility coordinates, develops, and revises facility policies and procedures to specify the types of emergency equipment required for use in the facility's operating room. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 5-A-5 | A | B | C-M | C | The emergency equipment must be immediately available for the use of emergency situations. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 5-A-6 | A | B | C-M | C | The emergency equipment must be appropriate for the facility's patient population. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 5-A-7 | A | B | C-M | C | The emergency equipment must be maintained by appropriate personnel. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| Sub-section B: Emergency Power |  |  |  |  |  |  |  |
| 5-B-1 |  | B | C-M | C | The emergency power source is able to begin generating ample power to operate essential electrical equipment used in the operating suite within thirty (30) seconds of a power failure. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 5-B-2 |  | B | C-M | C | The operating room(s) and PACU have an emergency power source, (e.g., a generator or battery powered inverter), with capacity to operate critical equipment (e.g., ventilators, lighting, monitoring, anesthesia, and procedure equipment) for a minimum of 90 minutes. If two or more operating rooms are used simultaneously, an adequate emergency power source must be available for all operating rooms. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| Sub-section C: Emergency Protocols |  |  |  |  |  |  |  |
| 5-C-1 | A | B | C-M | C | There must be a written protocol for emergency evacuation of the facility. The protocol must include provisions for annual drills for the emergency evacuation of patients, staff, and guests; staff training upon hire and annually. Documentation of all drills must be retained in the facility for a minimum of three (3) years. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 5-C-2 | A | B | C-M | C | A written protocol for security emergencies, such as an intruder in the facility, an unruly patient or visitor, or a threat to the staff or patients, must be documented and reviewed annually. The protocol must include provisions for annual drills for security emergencies, staff training upon hire and annually, drill documentation, and, retention of documentation for a minimum of three (3) years. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 5-C-3 | A | B | C-M | C | There must be a written protocol for fires and fire drills. This protocol must include the provision for: fire drills; staff training upon hire and annually; drill documentation and retention of documentation for a minimum of three (3) years. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 5-C-4 | A | B | C-M | C | There must be a written protocol for returning patients to the operating room or transfer to the hospital in the event of patient emergencies. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 5-C-7 | A | B | C-M | C | There must be a written protocol for a situation in which the surgeon/proceduralist, anesthesia professional, or other healthcare professional is impaired or becomes incapacitated. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 5-C-11 | A | B | C-M | C | There must be a written protocol for isolation procedures. | ☒ Compliant ☒ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| Sub-section F: Disaster Preparedness Plan |  |  |  |  |  |  |  |
| 5-F-1 | A | B | C-M | C | There is a written protocol for a disaster preparedness plan that provides for the emergency care of patients, staff and others in the facility in the event of fire, natural disaster, functional failure of equipment, or other unexpected events or circumstances that are likely to threaten the health and safety of those in the facility. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 5-F-2 | A | B | C-M | C | Facilities must conduct a biennial review and test of its disaster preparedness plan. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |

SECTION 6: MEDICATIONS

| Standard ID | Anesthesia Class |  |  |  | Standard / Regulatory Reference |  | Score |  | Findings/Comments |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Sub-section A: Medications |  |  |  |  |  |  |  |  |  |  |
| 6-A-2 | A | B | C-M | C |  | Drugs must be prepared and administered according to established policies and acceptable standards of practice. |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite |  | Click or tap here to enter text. |
| 6-A-5 | A | B | C-M | C |  | Outdated medications are removed and destroyed in accordance with federal/national, state, provincial, and local pharmacy regulations. |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite |  | Click or tap here to enter text. |
| 6-A-6 | A | B | C-M | C |  | Medications are stored in a secured area away from patient and visitor access. |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite |  | Click or tap here to enter text. |
| 6-A-7 | A | B | C-M | C |  | All drugs and biologicals given to patients must be approved by the physician/dentist with a signed order. |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite |  | Click or tap here to enter text. |
| 6-A-8 | A | B | C-M | C |  | The facility must provide drugs and biologicals in a safe and effective manner, in accordance with accepted professional practice and under the direction of an individual designated responsible for pharmaceutical services. |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite |  | Click or tap here to enter text. |
| Sub-section B: Intravenous Fluids |  |  |  |  |  |  |  |  |  |  |
| 6-B-1 | A | B | C-M | C |  | Intravenous fluids such as Lactated Ringer’s solution and/or normal saline are available in the facility, including intravenous (IV) administration sets, and various sizes of IV needles based on the patient population served. |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite |  | Click or tap here to enter text. |
| Sub-section D: Controlled Substances |  |  |  |  |  |  |  |  |  |  |
| 6-D-1 | A | B | C-M | C |  | All controlled substances are secured and locked under supervised access. Storage of controlled substances must be in accordance with applicable federal/national, state/provincial, and local regulations. |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite |  | Click or tap here to enter text. |
| 6-D-2 | A | B | C-M | C |  | There is a dated controlled substance inventory and a control record that includes the use of controlled substances on individual patients. Such records must be kept in the form of a sequentially numbered, bound journal from which pages may not be removed, or in a tamper -proof, secure computer record consistent with state and federal law. This log must be kept in the facility. |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite |  | Click or tap here to enter text. |
| 6-D-3 | A | B | C-M | C |  | All controlled substance transactions, including daily counts and wastes, require verification by two (2) licensed members of the team. (For facilities with only Schedule IV and V controlled substances, one (1) licensed and (1) authorized member of the operating room team may document verification of daily counts and wastes.) These verifications must be completed on any day that the facility is open and/or controlled substances are administered, and in compliance with federal/national, provincial, state, and local regulations. The facility must develop a policy detailing how unlicensed authorized individuals are authorized, if applicable. |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite |  | Click or tap here to enter text. |
| Sub-section E : ACLS/PALS Algorithm |  |  |  |  |  |  |  |  |  |  |
| 6-E-5 | A | B | C-M | C |  | There must be a written protocol for cardiopulmonary resuscitation (CPR). This protocol must include the provision for annual drills, staff training upon hire and annually, drill documentation, and retention of documentation for at least three (3) years. |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite |  | Click or tap here to enter text. |
| Sub-section F: Emergency Medications |  |  |  |  |  |  |  |  |  |  |
| 6-F-1 | A | B | C-M | C |  | All emergency medications, as noted, must be available and in the facility at all times. Licensed personnel in the facility must know their location. |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite |  | Click or tap here to enter text. |
| 6-F-2 | A | B | C-M | C |  | The following medication must be available in the facility at all times: IV Antihistamines (e.g., Diphenhydramine) – Minimum 50 mg. |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite |  | Click or tap here to enter text. |
| 6-F-3 | A | B | C-M | C |  | The following medication must be available in the facility at all times: Short-acting beta-blocker (e.g., esmolol or labetalol). |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite |  | Click or tap here to enter text. |
| 6-F-4 |  |  | C-M | C |  | The following medication must be available in the facility at all times: Neuromuscular blocking agents including non-depolarizing agents such as rocuronium or depolarizing agents such as succinylcholine. |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite |  | Click or tap here to enter text. |
| 6-F-5 |  | B | C-M | C |  | The following medication must be available in the facility at all times: If a Benzodiazepine is used in the facility, a reversal agent must be available (e.g., Mazicon™, Flumazenil). |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite |  | Click or tap here to enter text. |
| 6-F-6 | A | B | C-M | C |  | The following medication must be available in the facility at all times: Vasopressors other than epinephrine (e.g., Ephedrine). |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite |  | Click or tap here to enter text. |
| 6-F-8 | A | B | C-M | C |  | The following medication must be available in the facility at all times: Bronchospasm-arresting medication (inhaled beta-agonist, e.g., albuterol). |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite |  | Click or tap here to enter text. |
| 6-F-9 | A | B | C-M | C |  | The following medication must be available in the facility at all times: Anti-hypertensives |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite |  | Click or tap here to enter text. |
| 6-F-10 | A | B | C-M | C |  | The following medication must be available in the facility at all times: Seizure-arresting medication (a benzodiazepine, e.g., Midazolam). |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite |  | Click or tap here to enter text. |
| 6-F-11 | A | B | C-M | C |  | The following medication must be available in the facility at all times: Intravenous corticosteroids (e.g., dexamethasone). |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite |  | Click or tap here to enter text. |
| 6-F-13 | A | B | C-M | C |  | The following medication must be available in the facility at all times: A narcotic reversal agent (e.g., naloxone, nalmefene). |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite |  | Click or tap here to enter text. |
| 6-G-1 |  |  | C-M | C |  | If the depolarizing muscle relaxant succinylcholine is present only for use in emergency airway rescue, the facility must document a protocol to manage the possibility of malignant hyperthermia (MH) following its use, and staff training must occur on hire and then annually. |  | ☒ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |  |
| 6-G-2 |  |  | C-M | C |  | If potential malignant hyperthermia triggering agents such as isoflurane, sevoflurane, and desflurane, and/or the depolarizing muscle relaxant succinylcholine are ever used, or are present in the facility: Screening for MH risk must be documented, that includes but is not limited to a family history of unexpected death(s) following general anesthesia or exercise; a family or personal history of MH, a muscle or neuromuscular disorder, high temperature following exercise; a personal history of muscle spasm, dark or chocolate colored urine, or unanticipated fever immediately following anesthesia or serious exercise. |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |  |
| 6-G-5 |  |  | C-M | C |  | If potential malignant hyperthermia triggering agents such as isoflurane, sevoflurane, and desflurane, and/or the depolarizing muscle relaxant succinylcholine are ever used, or are present in the facility: MH crisis management must be covered in annual staff training. All clinical staff (including contracted healthcare professionals) must be trained. Annual drills are conducted for MH crisis and management including actual dilution of at least one vial of actual Dantrolene (expired OK). Staff should be assigned roles prior to drills and a written protocol outlining those personnel and their roles is on file. Documentation of drills is required. |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |  |
| 6-G-6 |  |  | C-M | C |  | If potential malignant hyperthermia triggering agents such as isoflurane, sevoflurane, and desflurane, and/or the depolarizing muscle relaxant succinylcholine are ever used, or are present in the facility: A supply of sterile water for injection USP (without a bacteriostatic agent) is available to mix with dantrolene before injection (i.e. 60ml/vial for Dantrium® and Revonto®, 5ml/vial for Ryanodex®). |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |  |
| 6-G-7 |  |  | C-M | C |  | If potential malignant hyperthermia triggering agents such as isoflurane, sevoflurane, and desflurane, and/or the depolarizing muscle relaxant succinylcholine are ever used, or are present in the facility: A minimum of 4 ampoules, 50cc’s each, of sodium bicarbonate (NaHCO3). |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |  |
| 6-G-8 |  |  | C-M | C |  | If potential malignant hyperthermia triggering agents such as isoflurane, sevoflurane, and desflurane, and/or the depolarizing muscle relaxant succinylcholine are ever used, or are present in the facility: A minimum supply of dantrolene/Ryanodex should be stocked to treat a patient of average weight (approximately 70kg) with an initial dose: Dantrium®/Revonto® - 12 vials (20 mg/vial) Ryanodex® - 1 vial (250 mg/vial). |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |  |
| 6-G-9 |  |  | C-M | C |  | If potential malignant hyperthermia triggering agents such as isoflurane, sevoflurane, and desflurane, and/or the depolarizing muscle relaxant succinylcholine are ever used, or are present in the facility: An additional* supply of dantrolene/Ryanodex and diluents are stored in the facility, or the facility has a written agreement with another source that will provide additional* dantrolene/Ryanodex and diluents on a STAT basis within 10 minutes for continued treatment and stabilization of a patient experiencing a MH episode. *Additional supply of dantrolene is defined as: Dantrium®/Revonto® - 24 vials (20 mg/vial) Ryanodex® - 2 vial (250 mg/vial) |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |  |
| 6-G-10 |  |  | C-M | C |  | If potential malignant hyperthermia triggering agents such as isoflurane, sevoflurane, and desflurane, and/or the depolarizing muscle relaxant succinylcholine are ever used, or are present in the facility: Flow sheets for any MH intervention as well as forms to rapidly communicate the progress of intervention with receiving facilities are on the emergency cart, and the facility must document and report any "adverse metabolic or musculoskeletal reaction to anesthesia". This documentation must be transportable with the patient when transferred to the receiving facility. |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |  |

SECTION 7: INFECTION PREVENTION AND CONTROL

| Standard ID |  | Anesthesia Class |  |  |  |  | Standard / Regulatory Reference | Score |  | Findings/Comments |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Sub-section A: Infection Prevention and Control |  |  |  |  |  |  |  |  |  |  |
| 7-A-10 | A |  | B | C-M | C | The facility's policies address operating/procedure room attire. This includes scrub suits, caps or hair covers, gloves, operative gowns, masks, eye protection, and all other appropriate attire based on the procedure being conducted. |  |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 7-A-11 | A |  | B | C-M | C | A sterile field is used during all operations and procedures, as applicable. |  |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 7-A-12 | A |  | B | C-M | C | The facility staff must have knowledge of infection prevention and control techniques. |  |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 7-A-13 | A |  | B | C-M | C | Reuse of single-use disposable biopsy forceps is strictly prohibited. Purchase records must be retained for three (3) years and available for comparison to procedural and pathology specimen logs. |  |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 7-A-14 | A |  | B | C-M | C | Policy and practices exist to prevent and control infections such as: proper use of antibiotics, hand hygiene, prevention of site infection, and infection event reporting. |  |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 7-A-15 | A |  | B | C-M | C | Aseptic techniques are maintained during procedures and between cases. |  |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| Sub-section B: Hand Hygiene |  |  |  |  |  |  |  |  |  |  |
| 7-B-1 | A |  | B | C-M | C | Hand hygiene is performed in accordance with current nationally recognized and/or WHO guidelines and standards of practice. Periodic hand hygiene auditing must be a part of the facility's quality activities. For surgical/procedural facilities: Scrub facilities are provided for the operating room staff. Scrub products (as appropriate), soap, and alcohol cleansers are provided for the operating room staff, consistent with current adopted guidelines and standards of practice for hand hygiene. |  |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| Sub-section C: Instrument Processing |  |  |  |  |  |  |  |  |  |  |
| 7-C-1 | A |  | B | C-M | C | The facility has a written protocol for the reprocessing of all surgical instruments and disinfection of all equipment used in patient care consistent with the manufacturer's instructions for use. |  |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 7-C-2 | A |  | B | C-M | C | There is strict segregation of dirty surgical equipment and instruments that have been cleaned and are in the preparation and assembly area. |  |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 7-C-3 | A |  | B | C-M | C | The instrument preparation and assembly area (clean processing area) are separated by walls or space from the instrument cleaning and decontamination area (reprocessing area). |  |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 7-C-4 | A |  | B | C-M | C | Single-use devices are not reprocessed unless they are approved by the FDA for reprocessing. Reprocessing of these devices is done by an FDA-approved reprocessor. NOTE: The FDA requirement does not apply to international facilities. International facilities must comply with local, state/provincial or federal/national requirements regarding reprocessing single-use devices. |  |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| Sub-section D: Sterilization |  |  |  |  |  |  |  |  |  |  |
| 7-D-1 | A |  | B | C-M | C | All instruments used in patient care are sterilized where applicable. |  |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 7-D-2 | A |  | B | C-M | C | The facility has at least one (autoclave) that uses high-pressure steam and heat, or all sterile items are single-use disposable, or the facility has contracted with an outside vendor to process instruments, if applicable. Instrument reprocessing and sterilization must follow the manufacturer's instructions for use. |  |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 7-D-3 | A |  | B | C-M | C | Additional methods in use can be chemical (Chemclave©) or gas (ethylene oxide/EO) sterilizer. |  |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 7-D-5 | A |  | B | C-M | C | The facility monitors the sterilization cycle's effectiveness in accordance with nationally and internationally recognized standards of practice and in conjunction with the manufacturer's instructions for use. This includes but is not limited to: - Monitoring each sterilizer load for the appropriate mechanical indicators (e.g., time, temperature, and pressure); - Using type 1 (external) and type 5 (internal) chemical indicators; - Weekly biological indicator (spore test) for each sterilizer; - Using a biological indicator for every load containing implantable items; and - Recording evidence of sterilization assurance monitoring for every load, and any corrective action is documented. |  |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 7-D-6 | A |  | B | C-M | C | Sterile instruments and supplies are packaged according to the manufacturer’s instructions for use (IFU) and sealed effectively. Self-sealing peel pouches must be folded on the crease and may only be double-pouched when the process is validated by the manufacturer. |  |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 7-D-7 | A |  | B | C-M | C | Each sterilized pack is labeled with the date of sterilization and, when applicable, with the expiration date. When the facility has more than one sterilizer, labels must also identify the sterilizer used. |  |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 7-D-9 | A |  | B | C-M | C | Comprehensive monitoring records that include quality control are retained for the sterilization or other disinfection process and should be reviewed and stored for a minimum of three (3) years. |  |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 7-D-10 | A |  | B | C-M | C | There is a written policy and procedure for the management of a positive biological indicator. |  |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 7-D-11 | A |  | B | C-M | C | Immediate use steam sterilization (IUSS) is not done on a routine or frequent practice. |  |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| Sub-section E: High-Level Disinfection (HLD) |  |  |  |  |  |  |  |  |  |  |
| 7-E-1 | A |  | B | C-M | C | High-level disinfection is performed upon heat-sensitive endoscopic equipment and other medical devices classified as semi-critical, but only when recommended by the manufacturer's instructions for use (IFU). |  |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| Sub-section F: Cleaning |  |  |  |  |  |  |  |  |  |  |
| 7-F-2 | A |  | B | C-M | C | The entire operating room suite is cleaned and disinfected according to an established facility policy and procedure, based on industry standards, and includes, at a minimum: - Cleaning schedule - Process for cleaning between cases - Process for terminal cleaning after the last case of the day - Use of intermediate-level, medical-grade disinfectants EPA-registered as virucidal, bactericidal, tuberculocidal, and fungicidal. |  |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 7-F-3 | A |  | B | C-M | C | There is a written policy for cleaning spills, especially spills that may contain blood-borne pathogens. |  |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 7-F-4 | A |  | B | C-M | C | All blood and body fluid spills are cleaned using medical-grade germicides that are virucidal, bactericidal, tuberculocidal, and fungicidal. A spill kit is available and readily accessible. |  |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 7-F-5 | A |  | B | C-M | C | Facility policies and procedures have been developed for use by housekeeping personnel for cleaning floors, tables, walls, ceilings, counters, furniture, and fixtures of the operating suite. |  |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 7-F-6 | A |  | B | C-M | C | Instrument handling and reprocessing areas are cleaned and maintained. |  |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |

SECTION 8: CLINICAL RECORDS

| Standard ID | Anesthesia Class |  |  | Standard / Regulatory Reference |  | Score | Findings/Comments |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Sub-section A: General Clinical Records |  |  |  |  |  |  |  |  |
| 8-A-5 | A | B | C-M | C | Clinical records must be kept secure and confidential, consistent with national patient privacy regulations. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |  |
| 8-A-8 | A | B | C-M | C | Clinical records for each patient must be accurate, legible, and promptly completed. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |  |
| 8-A-9 | A | B | C-M | C | Clinical records must be retained the number of years as required by state and/or federal law; or a minimum of three (3) years to comply with the QUAD A three-year survey cycle. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |  |
| 8-A-10 | A | B | C-M | C | Clinical records are maintained and easily accessible by the accredited facility. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |  |
| Sub-section B: Pre-Operative Documentation |  |  |  |  |  |  |  |  |
| 8-B-1 | A | B | C-M | C | Clinical records must contain patient identification. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |  |
| 8-B-2 | A | B | C-M | C | A pre-operative surgical safety checklist must be used for each patient and noted in the patient record. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |  |
| 8-B-7 | A | B | C-M | C | The pre-operative clinical record includes significant medical history and a physical examination covering the organs and systems commensurate with the procedure(s) are recorded on all patients and placed in the clinical record prior to the surgical procedure. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |  |
| 8-B-8 | A | B | C-M | C | Upon admission, each patient must have a pre-operative assessment completed by a physician who will be performing the surgery or other qualified practitioner in accordance with applicable State health and safety laws, standards of practice, and facility policy. The pre-surgical assessment must include documentation of any allergies to drugs and biologicals. This assessment must be placed in the patient's clinical record prior to the surgical procedure. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |  |
| 8-B-9 | A | B | C-M | C | The pre-procedural operative assessment includes documentation regarding special needs such as physical impairments, disabilities, religious and/or ethnic concerns. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |  |
| 8-B-10 | A | B | C-M | C | The pre-operative clinical record includes documentation of blood pressure, pulse, respiration and temperature as taken prior to the operation. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |  |
| 8-B-13 | A | B | C-M | C | The pre-operative clinical record includes documentation of any allergies and abnormal drug reactions. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |  |
| 8-B-14 | A | B | C-M | C | The pre-operative clinical record includes documentation of current medications. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |  |
| 8-B-15 | A | B | C-M | C | The pre-operative clinical record includes documentation of medical history. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |  |
| 8-B-17 | A | B | C-M | C | The pre-operative clinical record includes documentation of any previous operations. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |  |
| 8-B-18 | A | B | C-M | C | The pre-operative clinical record includes documentation of perioperative bleeding risk, including medical conditions and anticoagulant medication taken up to the day of the operation. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |  |
| 8-B-19 | A | B | C-M | C | A written pregnancy testing policy must be in place that requires discussion and documentation of the issue with each patient, as appropriate. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |  |
| 8-B-20 | A | B | C-M | C | The pre-operative clinical record includes evidence that treating physicians or consultants are contacted in cases when warranted by the history and physical examination. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |  |
| 8-B-22 | A | B | C-M | C | The pre-operative clinical record includes pre-operative diagnostic studies and laboratory procedures (entered before surgery), if performed. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |  |
| 8-B-24 |  | B | C-M | C | The surgeon/proceduralist and the licensed or qualified anesthesia professional concur on the appropriateness of the procedures performed at the facility based on the medical status of the patient, age and physiological appropriateness of the patient, and qualifications of the providers and the facility resources. This concurrence must be documented in the clinical record. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |  |
| 8-B-27 | A | B | C-M | C | A physician is responsible for determining the medical status of the patient and must examine the patient immediately before procedures and update the H & P. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |  |
| 8-B-29 | A | B | C-M | C | An anesthesia history and physical and risk assessment (e.g., physical status anesthesia classification) are recorded in the medical/dental records. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |  |
| 8-B-30 | A | B | C-M | C | An appropriate medical history and oral exam is conducted and periodically updated, which includes an assessment of the hard and soft tissues of the mouth. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |  |
| 8-B-32 | A | B | C-M | C | The facility must implement a policy related to patient health needs that are noted during the health assessment conducted preoperatively. The policy must include providing and documenting relevant patient education related to identified areas of need as applicable, such as: 1. Smoking cessation; 2. Importance of good nutrition; 3. Importance of exercise; and 4. Substance abuse resources in the medical record. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |  |
| Sub-section C: Informed Consent |  |  |  |  |  |  |  |  |
| 8-C-1 | A | B | C-M | C | Properly executed informed consent forms are always obtained, from the patient or, if applicable, the patient's representative, which includes: - A description of the proposed surgery, including the anesthesia to be used; - The indications for the proposed surgery; - Risks and benefits; - Treatment alternatives; - The surgeon/proceduralist by name to perform surgery; - Whether physicians other than the operating practitioner will be performing important tasks related to the surgery; and - Whether, as permitted by State law, qualified medical practitioners who are not physicians will perform important parts of the surgery or administer the anesthesia, and if so, the types of tasks each type of practitioner will carry out. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |  |
| 8-C-3 |  | B | C-M | C | The written informed consent provides consent for the administration of anesthesia or sedatives under the direction of the surgeon, anesthesiologist, or CRNA. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |  |
| 8-C-4 | A | B | C-M | C | The patient signs a consent form if research protocols, videography, or photography are to take place. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |  |
| Sub-section E: Laboratory, Pathology, X-Ray, Consultation, Treating Physician Reports, Etc. |  |  |  |  |  |  |  |  |
| 8-E-1 | A | B | C-M | C | Reports of laboratory, pathology, X-ray, consultation, treating physician, and any other diagnostic tests are maintained in the clinical record and are accessible for review prior to the procedure. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |  |
| 8-E-5 | A | B | C-M | C | The name of the healthcare provider appears on the reports. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |  |
| 8-E-6 | A | B | C-M | C | Outside clinical laboratory procedures must be performed by a licensed and accredited facility. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |  |
| 8-E-9 | A | B | C-M | C | The name of the pathologist must be on all pathology reports. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |  |
| 8-E-10 | A | B | C-M | C | All laboratory results must be reviewed and acknowledged by the ordering health care provider. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |  |
| 8-E-11 | A | B | C-M | C | All other reports, such as pathology reports and medical clearance reports, must be reviewed and acknowledged by the ordering healthcare provider. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |  |
| 8-E-12 | A | B | C-M | C | If tests/studies are done in the facility, the laboratory meets applicable licensure, standards, and state/provincial/national laws and regulations. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |  |
| 8-E-13 | A | B | C-M | C | All surgical specimens sent out for pathology must be documented in a pathology specimen log, which minimally includes the date, patient's name, number and type of specimen (biopsy, swab, fluid, etc.), and physician's name. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |  |
| Sub-section F: Anesthesia Care Plan |  |  |  |  |  |  |  |  |
| 8-F-12 | A |  |  |  | The anesthesia care plan is based on allergy history. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |  |
| 8-F-13 |  | B | C-M | C | An anesthesia care plan is present that is based on, at a minimum, the following: - The patient’s medical history; - The patient’s prior anesthetic experiences; - Drug therapies; - A medical examination of the patient and assessment of any conditions that might affect the patient’s pre-operative risk; - A review of the medical tests and consultations - The determination of pre-operative medications needed for anesthesia; - Providing pre-operative instructions; and, - Allergy history | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |  |
| Sub-section G: Intra-Operative Documentation |  |  |  |  |  |  |  |  |
| 8-G-2 | A | B | C-M | C | A policy for a “Time Out” protocol is in place, practiced, and documented in the clinical record prior to every procedure. This protocol must include: · A pre-procedure verification process to include clinical records and imaging studies to be reviewed by the procedure room team. Missing information or discrepancies must be addressed at this time. - Marking the procedure site where appropriate – procedural marking should at least be indicated on a separate dental diagram. · Side/Site identification will comply with the Universal Protocol standards for dental procedures. · Documented ‘Time Out’ and surgical fire risk assessment immediately before starting the procedure. · A final verification and documentation that at least two (2) members of the procedure team have confirmed the correct patient, procedure, site marking(s), and, as applicable, special equipment or requirements. · As a ‘fail-safe’ measure, the procedure is not started until any and all questions or concerns are resolved. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite |  | Click or tap here to enter text. |
| Sub-section H: Intra-Operative Anesthetic Monitoring and Documentation |  |  |  |  |  |  |  |  |
| 8-H-1 |  | B | C-M | C | A qualified anesthesia professional shall be present in the OR/procedure room throughout the conduct of all general anesthetics, regional anesthetics, and monitored anesthesia care. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite |  | Click or tap here to enter text. |
| 8-H-2 |  | B | C-M | C | Clinical records must contain evidence of circulation monitored by continuous EKG during procedures. Note: This standard does not apply if only topical and/or local anesthetic is used without the use of an oral premedication. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite |  | Click or tap here to enter text. |
| 8-H-3 |  | B | C-M | C | Clinical records must contain evidence of circulation monitored by blood pressure documented at least every five (5) minutes. Note: This standard does not apply if only topical and/or local anesthetic is used without the use of an oral premedication. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite |  | Click or tap here to enter text. |
| 8-H-4 |  | B | C-M | C | Clinical records must contain evidence of circulation monitored by heart rate documented at least every five (5) minutes. Note: This standard does not apply if only topical and/or local anesthetic is used without the use of an oral premedication. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite |  | Click or tap here to enter text. |
| 8-H-5 | A | B | C-M | C | Clinical records must contain evidence of circulation monitored by heart rate documented at least every five (5) minutes. Note: This standard does not apply if only topical and/or local anesthetic is used without the use of an oral premedication. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite |  | Click or tap here to enter text. |
| 8-H-5 | A | B | C-M | C | The clinical record must contain evidence of oxygenation and circulation monitoring by continuous pulse oximetry. When the pulse oximeter is utilized, the variable pitch pulse tone and the low threshold alarm shall be audible to the care team. Note: This standard does not apply if only topical and/or local anesthetic is used without the use of an oral premedication. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite |  | Click or tap here to enter text. |
| 8-H-9 |  |  | C-M | C | Clinical records must contain evidence of temperature monitoring when clinically significant changes in body temperature are expected. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite |  | Click or tap here to enter text. |
| 8-H-11 |  | B | C-M | C | Patient monitoring during anesthesia consists of end tidal carbon dioxide (ETCO2) sampling used on all moderate sedation, deep sedation or general anesthesia cases. Continual monitoring for the presence of expired carbon dioxide shall be performed unless invalidated by the nature of the patient, procedure, or equipment. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite |  | Click or tap here to enter text. |
| 8-H-12 |  |  |  | C | When an endotracheal tube or laryngeal mask is inserted, its correct positioning must be verified by clinical assessment and by identification of carbon dioxide in the expired gas and documented in the clinical record. Continual end-tidal carbon dioxide (ETCO2) analysis, in use from the time of endotracheal tube/laryngeal mask placement until extubation/removal or initiating transfer to a postoperative care location, shall be performed using a quantitative method such as capnography, capnometry, or mass spectroscopy. When capnography or capnometry is utilized, the end tidal carbon dioxide alarm shall be audible to the Anesthesiologist or the anesthesia professional. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite |  | Click or tap here to enter text. |
| 8-H-13 |  |  |  | C | If an anesthesia machine is used during general anesthesia, the anesthesia machine must have an alarm for low O2 concentration. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite |  | Click or tap here to enter text. |
| 8-H-14 |  | B | C-M | C | Patient monitoring during anesthesia will consist of assessing the patient's color. To facilitate this assessment, adequate illumination and exposure of the patient are necessary. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite |  | Click or tap here to enter text. |
| 8-H-15 |  | B | C-M | C | An anesthesia record is maintained in which all medications given to a patient are recorded, including date, time, amount, and route of administration. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite |  | Click or tap here to enter text. |
| 8-H-16 |  | B | C-M | C | An anesthesia record is maintained in which all intravenous fluids given intra-operatively are recorded. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite |  | Click or tap here to enter text. |
| 8-H-18 |  | B | C-M | C | An anesthesia record is maintained for each case in which IV or general anesthesia is used. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite |  | Click or tap here to enter text. |
| 8-H-19 |  | B | C-M | C | Ventilation is noted by: Clinical signs are evaluated by continual observation during regional/sedation analgesic. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite |  | Click or tap here to enter text. |
| Sub-section I: Transfer to Post-Anesthesia Care Unit (PACU) |  |  |  |  |  |  |  |  |
| 8-I-1 |  | B | C-M | C | The operating room may be used for patient recovery if only one operation is scheduled that same day, or if the recovering patient meets all discharge criteria prior to beginning the next operation, or if there is another operating room available for the next operation. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite |  | Click or tap here to enter text. |
| 8-I-2 |  | B | C-M | C | Patients transferred to the PACU will be continually evaluated and monitored as needed during transport. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite |  | Click or tap here to enter text. |
| 8-I-3 |  | B | C-M | C | Patients transferred to the PACU are accompanied by an anesthesia professional who is knowledgeable about the patient. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite |  | Click or tap here to enter text. |
| 8-I-4 |  | B | C-M | C | Patient transfer to the PACU will include the transmission of a verbal report on the patient to the PACU nurse accepting care of the patient from the anesthesia professional who accompanies the patient to the PACU. The clinical record must include documentation that the verbal report was completed. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite |  | Click or tap here to enter text. |
| 8-I-5 |  | B | C-M | C | Patient transfer to the PACU will include the transfer of information concerning the preoperative condition of the patient, the invasive procedure, related medication, and the anesthesia course. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite |  | Click or tap here to enter text. |
| 8-I-6 |  | B | C-M | C | Patient transfer to the PACU will include an anesthesia professional who remains in the post-anesthesia area until the post-anesthesia care nurse accepts responsibility for the patient. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite |  | Click or tap here to enter text. |
| Sub-section J: Post-Anesthesia Care Unit (PACU) Documentation |  |  |  |  |  |  |  |  |
| 8-J-1 |  | B | C-M | C | PACU documentation includes the patient's time of arrival in the PACU, or when recovery time started if the patient is recovered in the OR. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite |  | Click or tap here to enter text. |
| 8-J-2 |  | B | C-M | C | The patient's post-surgical condition must be assessed and documented in the clinical record by a physician, other qualified practitioner, or a registered nurse with, at a minimum, post- operative care experience in accordance with applicable State health and safety laws, standards of practice, and facility policy. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite |  | Click or tap here to enter text. |
| 8-J-4 |  | B | C-M | C | PACU documentation includes a record of all medications given to a patient, including date, time, dose, and route of administration. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite |  | Click or tap here to enter text. |
| 8-J-5 |  | B | C-M | C | PACU documentation includes a record in which all intravenous fluids given post- operatively are recorded. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite |  | Click or tap here to enter text. |
| 8-J-6 |  | B | C-M | C | PACU documentation includes a record of monitoring and assessment of: - Post-operative vital signs, including temperature, heart rate, respirations, and blood pressure; - Mental status; - Airway patency, ventilation, and oxygen saturation; and, - Pain, nausea and vomiting, hydration, drainage, and bleeding, as applicable. Patient status is recorded until the patient is discharged from the facility. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite |  | Click or tap here to enter text. |
| 8-J-9 |  | B | C-M | C | Post-operative progress notes are recorded. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite |  | Click or tap here to enter text. |
| 8-J-10 | A | B | C-M | C | There is a procedure/operative report completed by the surgeon/proceduralist, which includes procedure technique and findings. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite |  | Click or tap here to enter text. |
| 8-J-11 |  | B | C-M | C | A written, accurate post-anesthetic care report is maintained. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite |  | Click or tap here to enter text. |
| Sub-section K: Discharge |  |  |  |  |  |  |  |  |
| 8-K-4 |  | B | C-M | C | Approved and standardized discharge criteria are used and recorded (e.g., Aldrete score). | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite |  | Click or tap here to enter text. |
| 8-K-6 |  | B | C-M | C | A qualified and credentialed individual determines that the patient meets discharge criteria based upon input from the PACU staff. That individual’s name must be noted on the record, signed by that individual with the time of discharge. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite |  | Click or tap here to enter text. |
| 8-K-8 | A | B | C-M | C | Written discharge instructions, including procedures for emergency situations, are given to the responsible adult who is responsible for the patient’s care and transportation following a procedure or the patient has received discharge instructions prior to receiving sedation/anesthesia. A signed copy of the instructions is maintained in the patient’s chart. The standard does not apply if only topical and/or local anesthetic is used without the use of an oral premedication. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite |  | Click or tap here to enter text. |
| 8-K-10 |  | B | C-M | C | Patients receiving anesthetic agents other than topical or local anesthesia must be supervised in the immediate post-discharge period by a responsible adult for at least 12 to 24 hours, depending on the procedure and the anesthesia used. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite |  | Click or tap here to enter text. |
| 8-K-14 |  | B | C-M | C | The patient is transported in a suitable vehicle with a responsible adult. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite |  | Click or tap here to enter text. |
| 8-K-15 | A | B | C-M | C | Patients receiving only local anesthesia without sedation may transport themselves. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite |  | Click or tap here to enter text. |
| 8-K-16 |  | B | C-M | C | The facility must have a policy for discharge from the recovery area with approved and standardized discharge criteria. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite |  | Click or tap here to enter text. |
| Sub-section L: Operative Log |  |  |  |  |  |  |  |  |
| 8-L-1 | A | B | C-M | C | A separate dated operative log of all cases is maintained, either in a sequentially numbered, bound journal from which pages may not be removed, or in a tamper-proof, secured computer record consistent with state and federal law. This log must be kept in the facility. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite |  | Click or tap here to enter text. |
| 8-L-3 | A | B | C-M | C | An operative log must include the date of procedure. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite |  | Click or tap here to enter text. |
| 8-L-4 | A | B | C-M | C | An operative log must include the patient’s name and date of birth or other identification number. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite |  | Click or tap here to enter text. |
| 8-L-5 | A | B | C-M | C | An operative log must include record of surgery(ies) and other invasive procedures to be conducted during the case. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite |  | Click or tap here to enter text. |
| 8-L-6 | A | B | C-M | C | An operative log must include the surgeon/proceduralist’s name. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite |  | Click or tap here to enter text. |
| 8-L-7 | A | B | C-M | C | An operative log must include a record of the type of anesthesia used. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite |  | Click or tap here to enter text. |
| 8-L-8 | A | B | C-M | C | An operative log must include the name of person(s) administering anesthesia. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite |  | Click or tap here to enter text. |
| 8-L-9 | A | B | C-M | C | An operative log must include the name of person(s) assisting physician (e.g., additional physician, registered nurse - circulating or scrubbed, scrub tech, physician’s assistant, dental assistant, anesthesia assistant, or other qualified personnel). | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite |  | Click or tap here to enter text. |

SECTION 9: GOVERNING BODY

| Standard ID | Anesthesia Class |  |  |  | Standard / Regulatory Reference |  | Score | Findings/Comments |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Sub-section A: Governing Body |  |  |  |  |  |  |  |  |
| 9-A-1 | A | B | C-M | C | The facility has a governing body with full legal responsibility for determining, implementing, and monitoring policies governing facility's total operation. The governing body has oversight and accountability for the quality assessment and performance improvement program, ensures that the facility policies and programs are administered so as to provide quality health care in a safe environment, and develops and maintains a disaster preparedness plan. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite |  | Click or tap here to enter text. |
| 9-A-5 | A | B | C-M | C | The governing body/facility leadership has defined the scope and intended use of the facility, as well as the appropriate ancillary support needed for the intended surgical procedures. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite |  | Click or tap here to enter text. |
| 9-A-7 | A | B | C-M | C | The governing body/facility leadership: Is regulated by a governing rules and regulations or bylaws that has the consent of each member or the solo (1) physician. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite |  | Click or tap here to enter text. |
| 9-A-10 | A | B | C-M | C | The governing body/facility leadership: Sets policy on how individual staff deal with each other and external parties. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite |  | Click or tap here to enter text. |
| 9-A-11 | A | B | C-M | C | The governing body/facility leadership: Sets policy on staff’s role in properly dealing with patients. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite |  | Click or tap here to enter text. |
| 9-A-12 | A | B | C-M | C | The governing body/facility leadership is responsible for the operation and performance of the facility including: Determining the mission and goals of the facility, including the types of services provided and for determining, implementing, and monitoring policies governing the facility's total operation. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite |  | Click or tap here to enter text. |
| 9-A-14 | A | B | C-M | C | The governing body/facility leadership is responsible for the operation and performance of the facility including: Adopting policies and procedures for the orderly conduct of the facility and for ensuring procedures are provided in a safe and effective manner. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite |  | Click or tap here to enter text. |
| 9-A-16 | A | B | C-M | C | The governing body/facility leadership is responsible for the operation and performance of the facility including: Approving all arrangements for ancillary medical care delivered in the facility, including laboratory, radiological, pathologic, and anesthesia services. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite |  | Click or tap here to enter text. |
| 9-A-17 | A | B | C-M | C | The governing body/facility leadership must ensure that all outside services are provided in a safe and effective manner. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite |  | Click or tap here to enter text. |
| 9-A-20 | A | B | C-M | C | The facility's policies and services are developed with the advice of a group of professional personnel that includes one or more physicians / dentists, one or more physician assistants / nurse practitioners / mid-level clinical personnel, and at least one community member who is not a member of the clinic staff. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite |  | Click or tap here to enter text. |
| 9-A-21 | A | B | C-M | C | The policies, procedures, and processes adopted by the governing body/facility leadership are reviewed and revised at least annually and in accordance with any implementation timelines adopted by the governing body/facility leadership. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite |  | Click or tap here to enter text. |
| 9-A-22 | A | B | C-M | C | The governing body/facility leadership must document the content of any policies, procedures, or processes implemented in key functional areas of the facility. The governing body/facility leadership must document its approval of the policies, procedures, or processes. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite |  | Click or tap here to enter text. |
| 9-A-26 | A | B | C-M | C | The governing body/facility leadership is responsible for overseeing the program of risk management. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite |  | Click or tap here to enter text. |
| 9-A-27 | A | B | C-M | C | The governing body/facility leadership will designate a person or committee responsible for implementation and ongoing management of the risk management program. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite |  | Click or tap here to enter text. |
| Sub-section B: Transfer of the Patient |  |  |  |  |  |  |  |  |
| 9-B-3 | A | B | C-M | C | The facility must have an effective procedure for the immediate transfer to a hospital for patients requiring emergency medical care beyond the capabilities of the facility. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite |  | Click or tap here to enter text. |
| Sub-section C: Extended Stays |  |  |  |  |  |  |  |  |
| 9-C-3 |  | B | C-M | C | If the facility discharges patients to a recovery hotel following full recovery from anesthesia the facility has in place a protocol that identifies that the hotel being used for extended recovery of the patient: · Is less than thirty (30) minutes from a hospital where the physician has admitting privileges. · Has a trained registered nurse certified in BLS and ACLS, and a second BLS-certified staff member on duty at all times when there is a patient present in the hotel. · Has the ability to meet all special diet provisions of the patient. · Has a defibrillator or AED equipment. · Has first aid equipment. · Has an agreement for transportation to the hospital in an emergency as well as how an admission would be handled. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite |  | Click or tap here to enter text. |
| 9-C-4 |  | B | C-M | C | If overnight stays are permitted, the facility is in compliance with all applicable local, state/provincial, and national laws and regulations. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite |  | Click or tap here to enter text. |

SECTION 10: QUALITY ASSESSMENT/QUALITY IMPROVEMENT/RISK MANAGEMENT

| Standard ID | Anesthesia Class |  |  |  | Standard / Regulatory Reference |  | Score |  | Findings/Comments |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Sub-section A: Quality Assessment/Quality Improvement/Risk Management |  |  |  |  |  |  |  |  |  |
| 10-A-2 | A | B | C-M | C | The governing body/facility leadership must identify the specific committee or individual(s) responsible for the development, implementation, and oversight of the quality assurance and risk management program. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite |  |  | Click or tap here to enter text. |
| Sub-section B: Quality Improvement Program |  |  |  |  |  |  |  |  |  |
| 10-B-2 | A | B | C-M | C | The facility has a written quality improvement program implemented which includes surveys or projects to: - Monitor and evaluate patient care - Evaluate methods to improve patient care - Identify and correct deficiencies within the facility - Alert the facility's Quality Improvement Program to identify, track, trend, evaluate and resolve problems. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite |  | Click or tap here to enter text. |  |
| 10-B-6 | A | B | C-M | C | The facility has a written quality improvement program that includes documentation of Peer Review meetings for the prior three (3) years, which must be available for the surveyor. Facilities with a monthly case volume of 50 or fewer cases must conduct peer review meetings no less than twice per year. Facilities with a monthly case volume in excess of 50 cases must conduct peer review meetings no less than quarterly. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite |  | Click or tap here to enter text. |  |
| 10-B-19 | A | B | C-M | C | The governing body/ facility leadership must ensure that the QAPI program is defined, implemented, and maintained by the facility. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite |  | Click or tap here to enter text. |  |
| 10-B-24 | A | B | C-M | C | The quality improvement program will demonstrate measurable improvement in patient health outcomes by focusing on high risk, high volume, and problem-prone areas. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite |  | Click or tap here to enter text. |  |
| 10-B-25 | A | B | C-M | C | The quality improvement program will improve patient safety by using quality indicators or performance measure(s) by focusing on incidence, prevalence and severity of problems identified. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite |  | Click or tap here to enter text. |  |
| 10-B-26 | A | B | C-M | C | The quality improvement program will implement a process to identify and reduce medical errors. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite |  | Click or tap here to enter text. |  |
| 10-B-27 | A | B | C-M | C | The quality improvement program should include patient/service user satisfaction assessment and other performance measures. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite |  | Click or tap here to enter text. |  |
| 10-B-28 | A | B | C-M | C | The number and scope of distinct quality improvement projects conducted annually must reflect the scope and complexity of the facility's services and operations. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite |  | Click or tap here to enter text. |  |
| 10-B-29 | A | B | C-M | C | Performance improvement activities must track adverse patient events, examine their causes, implement improvements, and ensure that improvements are sustained over time. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite |  | Click or tap here to enter text. |  |
| Sub-section C: Risk Management |  |  |  |  |  |  |  |  |  |
| 10-C-1 | A | B | C-M | C | As part of an ongoing risk management program, the facility must conduct a risk assessment of its operational activities at least annually. The assessment must study the risks presented to patients and staff by medication management, fall hazards, infection prevention and control, equipment safety, patient risk resulting from long term conditions, and nutrition if any food or beverage services are available to patients. The results of the Risk Assessment must be prioritized for risk mitigation, risk management, and QA/PI (Quality Assessment/Quality Improvement) projects. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite |  | Click or tap here to enter text. |  |
| 10-C-2 | A | B | C-M | C | The facility must develop and maintain a program of risk management, appropriate to the organization. This may be carried out in conjunction with the Quality Assessment/Quality Improvement program (QA/QP). | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite |  | Click or tap here to enter text. |  |
| 10-C-3 | A | B | C-M | C | Near-miss events must be reported, analyzed, and tracked. Measures must be implemented to prevent the event from reoccurring. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite |  | Click or tap here to enter text. |  |
| 10-C-4 | A | B | C-M | C | A definition of an adverse incident must be documented in policy and procedure, including near miss events. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite |  | Click or tap here to enter text. |  |
| 10-C-5 | A | B | C-M | C | The facility has processes that report and investigate safety incidents, complaints, adverse events and near misses for patients and staff on a defined basis. The results of these investigations of adverse events are reported in the Quality Improvement/Quality Assessment meetings. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite |  | Click or tap here to enter text. |  |
| 10-C-6 | A | B | C-M | C | Adverse events must be tracked and trended on a defined basis. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite |  | Click or tap here to enter text. |  |
| 10-C-7 | A | B | C-M | C | All staff must be educated in risk management activities on commencement of employment and annually thereafter, and when there is an identified need. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite |  | Click or tap here to enter text. |  |
| 10-C-8 | A | B | C-M | C | The facility should have a process to monitor, track and trend patient satisfaction (e.g., surveys or assessments) and implement actions to improve patient satisfaction as necessary. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite |  | Click or tap here to enter text. |  |
| 10-C-9 | A | B | C-M | C | The facility must conduct an ongoing review of patient complaints and grievances, including defined response times. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite |  | Click or tap here to enter text. |  |
| 10-C-10 | A | B | C-M | C | A system is in place for leadership to receive and resolve in a timely manner any ethical dilemmas such as decisions not to treat, to discontinue treatment, or treat against the patient’s wishes. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite |  | Click or tap here to enter text. |  |
| 10-C-11 | A | B | C-M | C | A policy should document the competencies of staff handling specialized equipment. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite |  | Click or tap here to enter text. |  |
| 10-C-12 | A | B | C-M | C | A system is in effect for documenting, reporting, and follow-up on any patient and family complaints and grievances. Complaints and grievances must be formally addressed at Quality Improvement meetings. The complaints must be addressed by appropriate staff with the patient/family even if no immediate resolution is available. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite |  | Click or tap here to enter text. |  |
| 10-C-13 | A | B | C-M | C | The facility must have a written policy to make their complaint process publicly available, via posting within the facility, on the website, by distribution to patients, or through other means that eliminates barriers to patient awareness of such process. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite |  | Click or tap here to enter text. |  |
| Sub-section D: Peer Review |  |  |  |  |  |  |  |  |  |
| 10-D-4 | A | B | C-M | C | Peer review and the associated peer review meetings include at a minimum the same random cases and adverse events submitted to the Patient Safety Data Reporting since the preceding peer review meeting. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite |  | Click or tap here to enter text. |  |
| 10-D-12 | A | B | C-M | C | To be compliant, a copy of a Business Agreement must be signed by each physician working outside the facility participating in peer review, and a copy must be retained on file in the facility. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite |  | Click or tap here to enter text. |  |
| 10-D-13 | A | B | C-M | C | If peer review sources external to the facility are used to evaluate the delivery of medical care, an agreement to conduct peer review is so written as to waive the confidentiality of the clinical records. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite |  | Click or tap here to enter text. |  |
| 10-D-14 | A | B | C-M | C | Peer review may be done by a recognized peer review organization or a physician, podiatrist, or oral and maxillofacial surgeon other than the operating surgeon. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite |  | Click or tap here to enter text. |  |
| 10-D-15 | A | B | C-M | C | Peer review is conducted and contains, at a minimum, the following review of each clinical record subject to peer review: - Adequacy and legibility of history and physical exam - Adequacy of the surgical consent - Adequacy of appropriate laboratory, EKG, and radiographic reports - Adequacy of a written operative report - Adequacy of anesthesia and recovery records (with IV sedation or general anesthesia) - Adequacy of instructions for post-operative care - Documentation of the discussion of any complications | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite |  | Click or tap here to enter text. |  |

SECTION 11: PERSONNEL

| Standard ID | Anesthesia Class |  |  |  | Standard / Regulatory Reference |  |  | Score | Findings/Comments |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Sub-section A: Personnel |  |  |  |  |  |  |  |  |  |
| 11-A-2 | A | B | C-M | C | All personnel are provided with a code of ethics or behavior that governs their conduct when communicating with fellow staff or the public. |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite |  | Click or tap here to enter text. |
| Sub-section B: Medical Director & Facility Director |  |  |  |  |  |  |  |  |  |
| 11-B-7 | A | B | C-M | C | The Facility Director must be actively involved in the direction and management of the facility. |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite |  | Click or tap here to enter text. |
| 11-B-8 | A | B | C-M | C | The Facility Director is responsible for establishing and enforcing policies that protect patients. The Facility Director monitors medical and facility staff members for compliance with this policy. |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite |  | Click or tap here to enter text. |
| 11-B-10 | A | B | C-M | C | The Medical Director must be involved in planning and budgeting for the facility’s range of services. |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite |  | Click or tap here to enter text. |
| 11-B-11 | A | B | C-M | C | The Medical Director signs an Attestation that the direction and management of the facility is under his/her management. |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite |  | Click or tap here to enter text. |
| 11-B-12 | A | B | C-M | C | The Medical Director must ensure that the facility meets all local, regional and country regulations including those relating to employment health and safety, building, environmental protection, reportable diseases, and waste management. |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite |  | Click or tap here to enter text. |
| 11-B-13 | A | B | C-M | C | The Medical Director shall document the strategic plan for the facility. |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite |  | Click or tap here to enter text. |
| 11-B-14 | A | B | C-M | C | The Medical Director should document the staffing levels and what qualifications are required for each position based on the services offered at the facility. |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite |  | Click or tap here to enter text. |
| 11-B-15 | A | B | C-M | C | The Medical Director must annually review credentialing and performance for all practitioners, staff and volunteers annually, including contract employees. |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite |  | Click or tap here to enter text. |
| 11-B-16 | A | B | C-M | C | The Medical Director should review and maintain a record of the performance of all practitioners, staff and volunteers at least annually, including contract employees. This should include a record of corrective actions and educational activities. |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite |  | Click or tap here to enter text. |
| 11-B-17 | A | B | C-M | C | Each personnel file has evidence of general facility-specific orientation and training related to the individual's job duties. |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite |  | Click or tap here to enter text. |
| Sub-section C: Surgeons/Proceduralists/Etc. |  |  |  |  |  |  |  |  |  |
| 11-C-8 | A | B | C-M | C | Members of the medical staff, including both directly employed and contract medical staff, must be legally and professionally qualified for the positions to which they are appointed and for the performance of privileges granted. The facility grants privileges in accordance with recommendations from qualified medical/dental personnel. |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite |  | Click or tap here to enter text. |
| 11-C-18 | A | B | C-M | C | Dental procedures are performed only by dental health professionals who have been granted privileges to perform those procedures by the governing body of the organization. |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite |  | Click or tap here to enter text. |
| 11-C-19 | A | B | C-M | C | Personnel assisting in the provision of dental services are appropriately qualified and available in sufficient numbers for the dental procedures provided. |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite |  | Click or tap here to enter text. |
| 11-D-3 |  |  | C-M | C | An anesthesia professional must be responsible for the administration of dissociative anesthesia with propofol, spinal or epidural blocks, or general anesthesia as well as the monitoring of all life support systems. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite |  |  | Click or tap here to enter text. |
| 11-D-6 |  | B | C-M | C | If responsible for supervising anesthesia or providing anesthesia, the qualified physician must be present in the operating suite throughout the administration of anesthesia. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite |  |  | Click or tap here to enter text. |
| 11-D-19 |  | B | C-M | C | Administration of general anesthesia or deep sedation requires at least three individuals, each appropriately trained: the operating dentist, a person responsible for monitoring the patient, and a person to assist the operating dentist. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite |  |  | Click or tap here to enter text. |
| 11-D-20 |  | B | C-M | C | Administration of conscious sedation requires at least 2 individuals: a dentist and an auxiliary person trained in basic life support (BLS). | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite |  |  | Click or tap here to enter text. |
| 11-D-21 | A | B | C-M | C | The qualified individual responsible for supervising the administration of anesthesia must have knowledge of anesthetics and resuscitative techniques appropriate for the type of anesthesia being administered. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite |  |  | Click or tap here to enter text. |
| Sub-section E: Facility Staffing |  |  |  |  |  |  |  |  |  |
| 11-E-1 |  | B | C-M | C | When a patient is present in the facility to undergo a procedure under a higher level of anesthesia than meets the QUAD A definition of Class A, there is a licensed registered nurse, physician other than the operating surgeon, or physician’s assistant designated as the person responsible for patient care in all areas of the facility (i.e. operating room, operating suite, and all patient care areas), in accordance with state/local law. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite |  |  | Click or tap here to enter text. |
| 11-E-7 |  | B | C-M | C | A dentist employing or using general anesthesia or deep sedation shall maintain a properly equipped facility for the administration of general anesthesia, staffed with supervised assistant/dental hygienist personnel capable of reasonably handling procedures, problems, and emergencies. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite |  |  | Click or tap here to enter text. |
| Sub-section G: Post-Anesthesia Care Unit (PACU) Staffing |  |  |  |  |  |  |  |  |  |
| 11-G-1 |  | B | C-M | C | There is a written policy that whenever parenteral sedation, dissociative drugs, epidural, spinal or general anesthesia is administered, a physician is immediately available until the patient is discharged from the PACU. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite |  |  | Click or tap here to enter text. |
| 11-G-5 |  | B | C-M | C | A minimum of one ACLS, and when appropriate PALS as well, certified staff member must be present in the facility until all patients recovering from anesthesia have met the facility's discharge criteria for discharge from the facility. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite |  |  | Click or tap here to enter text. |
| 11-G-7 |  | B | C-M | C | All recovering patients must remain under direct observation and supervision by appropriate medical personnel who are trained in the assessment of patient vital signs, post-operative care, and safety matters until discharged from monitored patient care. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite |  |  | Click or tap here to enter text. |
| Sub-section H: Personnel Records |  |  |  |  |  |  |  |  |  |
| 11-H-2 | A | B | C-M | C | The facility maintains a manual outlining personnel policies that is reviewed annually and updated as needed. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite |  |  | Click or tap here to enter text. |
| 11-H-4 | A | B | C-M | C | The facility maintains a personnel file for all clinical and administrative employees, including direct and contract employees. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite |  |  | Click or tap here to enter text. |
| 11-H-5 | A | B | C-M | C | Each personnel record contains any health problems of the individual which may be hazardous to the employee, other employees or patients, and a plan of action or special precautions delineated as needed. To be reviewed and updated annually. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite |  |  | Click or tap here to enter text. |
| 11-H-6 | A | B | C-M | C | Each personnel record contains resume of training and experience. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite |  |  | Click or tap here to enter text. |
| 11-H-8 | A | B | C-M | C | Each personnel record contains date of employment. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite |  |  | Click or tap here to enter text. |
| 11-H-9 | A | B | C-M | C | Each personnel record contains description of duties. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite |  |  | Click or tap here to enter text. |
| 11-H-10 | A | B | C-M | C | Each personnel record contains on-going records of inoculations or refusals in accordance with local, state/provincial or federal/national requirements. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite |  |  | Click or tap here to enter text. |
| 11-H-12 | A | B | C-M | C | Each personnel record contains current certification or license if required by the state, province, region, or country. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite |  |  | Click or tap here to enter text. |
| Sub-section I: Personnel Training |  |  |  |  |  |  |  |  |  |
| 11-I-1 | A | B | C-M | C | Each personnel record has evidence of annual hazard safety training. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite |  |  | Click or tap here to enter text. |
| 11-I-2 | A | B | C-M | C | Each personnel record has evidence of annual blood borne pathogen training. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite |  |  | Click or tap here to enter text. |
| 11-I-3 | A | B | C-M | C | Each personnel record has evidence of annual standard precaution training. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite |  |  | Click or tap here to enter text. |
| 11-I-4 | A | B | C-M | C | Each personnel record has evidence of other annual safety training including operative fire safety training and structure fire safety, including operation of a fire extinguisher. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite |  |  | Click or tap here to enter text. |
| 11-I-8 |  | B | C-M | C | Anesthesia professionals, both directly employed and contract anesthesia professionals, must be trained and knowledgeable with the facility’s emergency protocol for cardio-pulmonary emergencies, safe and timely transfer of a patient to an alternative care facility when extended emergency care is needed, and other internal and external disasters. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite |  |  | Click or tap here to enter text. |
| 11-I-10 | A | B | C-M | C | The operating room personnel are familiar with the equipment and procedures utilized in treating emergencies, as discussed in standards section 5-C: Emergency Protocols. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite |  |  | Click or tap here to enter text. |
| 11-I-13 | A | B | C-M | C | Where staff cannot demonstrate competency, training, or experience in the safe operation of equipment, the facility provides and documents training or arranges training through an external provider. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite |  |  | Click or tap here to enter text. |
| 11-I-15 | A | B | C-M | C | Operating room personnel have adequate knowledge to treat malignant hyperthermia, cardiopulmonary resuscitation, and anaphylactic emergencies. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite |  |  | Click or tap here to enter text. |
| 11-I-16 | A | B | C-M | C | Health care professionals providing dental, surgical, and anesthesia services are prepared to respond to medical emergencies that may occur in conjunction with the services provided. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite |  |  | Click or tap here to enter text. |

GENERAL GLOSSARY FOR ALL PROGRAMS

Adequate: Satisfactory or acceptable in quality or quantity, encompassing size, space, maintenance, cleanliness, freedom from clutter, lighting, equipment, and supplies, etc.; it is meant to satisfy a requirement.

Advanced Cardiac Life Support (ACLS): A course that trains and certifies participants in a set of clinical guidelines for the urgent and emergent treatment of life-threatening cardiovascular conditions in adults that will cause or have caused cardiac arrest using advanced medical procedures, medications, and techniques through didactic and hands-on skills return demonstration sessions. It builds on the foundation of lifesaving basic life support (BLS) skills. It reflects science and education from the American Heart Association Guidelines Update for CPR and Emergency Cardiovascular Care (ECC). The course is approved by the American Heart Association (AHA) or an identical content course that conforms to the current AHA Guidelines.

*** Advanced practice registered nurses (APRNs): Licensed registered nurses educated at a master’s or doctoral level and in a specific role and patient population. APRNs are prepared with specialized education and certification to assess, diagnose, and manage medical issues. They can also order tests and prescribe medications. APRNs include:

- Certified registered nurse anesthetist (CRNA).

- Certified nurse practitioner (CNP).

- Clinical nurse specialist (CNS).

- Certified nurse midwife (CNM).

Adverse event: An incident in health care that causes unintended harm to patients or providers and is often preventable. Common adverse events include but are not limited to, medication errors, surgical mistakes, infections acquired in healthcare settings, falls, pressure ulcers, and communication failures. All adverse events that occur within 30 (thirty) days of the procedure must be reported to QUAD A contemporaneously when the facility learns of the event.

Air Exchanges Per Hour (ACH): The number of times that the total air volume in a room or space is completely removed and replaced in an hour.

*** Ambulatory surgical center (ASC): Ambulatory surgical center or ASC means any distinct entity that operates exclusively for the purpose of providing surgical services to patients not requiring hospitalization and in which the expected duration of services would not exceed 24 hours following an admission. The entity must have an agreement with CMS to participate in Medicare as an ASC and must meet the conditions set forth in subparts B and C of 416.2. [42 CFR 416.2]

Ambulatory Services: for the period before January 1, 2008, facility services that are furnished in an ASC, and beginning January 1, 2008, means the combined facility services and covered ancillary services that are furnished in an ASC in connection with covered surgical procedures. [42 CFR 416.2]

Anesthesia professional: A physician anesthesiologist, Certified Registered Nurse anesthetist (CRNA), Certified Anesthesiologist Assistant (CAA), and an appropriately credentialed Oral and Maxillofacial Surgeon.

** Antisepsis: The application of an antimicrobial chemical to the skin or mucous membrane to reduce the microbial population.

** Antiseptic:  An agent used for antisepsis (to kill microorganisms or substantially inhibit their growth).

** Autoclave:  A common term applied to the performance of steam sterilization under pressure, where bacteria are killed (including spores).

*** Appropriate/appropriately means especially suitable or compatible; or fitting.

Examples:

- Administrative and patient care areas must have lighting to see all tasks fully.

- Laryngoscopes are cleaned according to the manufacturer's recommendations, though sterilization is preferred.

- Oxygen delivery should be tailored to the appropriate delivery method based on patient need and type/location of the procedure.

Auxiliary Staff: Unlicensed staff who are not state-certified/licensed to independently evaluate patient physical status and cannot legally provide emergency duties beyond Basic Life Support for Healthcare Providers. Auxiliary staff includes dental assistants, registered/certified dental assistants, dental anesthesia/sedation assistants, medical assistants, surgical technicians, and other non-independently Licensed Providers.

Basic Life Support (BLS):  A course that trains and certifies participants to promptly recognize several life-threatening emergencies, give high-quality chest compressions, deliver appropriate ventilations, and provide early use of an automatic external defibrillator (AED) through both didactic and hands-on skills return demonstration sessions. It reflects science and education from the American Heart Association Guidelines Update for CPR and Emergency Cardiovascular Care (ECC) and is approved by the American Heart Association (AHA) or an identical content course that conforms to the current AHA Guidelines.

** Biological Indicator (BI): A sterilization process monitoring device commercially prepared with a known population of highly resistant spores that tests the effectiveness of the sterilization method being used. The indicator is used to demonstrate that the conditions necessary to achieve sterilization were met during the sterilizer cycle being monitored.

Business Associate Agreement (BAA): A contract between the facility and an external business or individual that performs certain functions or activities on behalf of, or provides a service to, the facility when the function, activity, or service involves the creation, receipt, maintenance, or transmission of Protected Health Information (PHI) by the business or individual. The agreement establishes the permissible uses and disclosures of PHI by the business associate, how the business associate will support patients’ Privacy Rule rights, and the responsibilities of both parties to maintain the privacy and security of PHI. The Health Insurance Portability and Accountability Act (HIPAA) Rules generally require that covered entities and business associates enter into contracts with their business associates to ensure that the business associates will appropriately safeguard protected health information.

*** Certified Anesthesiologist Assistant (CAA): A master's degree level non-physician anesthesia care provider that:

- Is certified by the National Commission for Certification of Anesthesiologist Assistants (NCAA) Note: not a CMS requirement

- Works under the direction of an anesthesiologist.

- Is in compliance with all applicable requirements of State law, including any licensure requirements the State imposes on nonphysician anesthetists; and

- Is a graduate of a medical school-based anesthesiologist's assistant educational program that—

  - Is accredited by the Committee on Allied Health Education and Accreditation; and

  - Includes approximately two (2) years of specialized basic science and clinical education in anesthesia at a level that builds on a premedical undergraduate science background.

*** Certified Registered Nurse Anesthetist (CRNA): An advanced practice registered nurse (APRN) who administers anesthesia and other medications. Physician Supervision (either the operating practitioner or of an anesthesiologist who is immediately available if needed) is required if required by state or federal law.

1)  Is licensed as a registered professional nurse by the State in which the nurse practices.

2)  Meets any licensure requirements the State imposes with respect to nonphysician anesthetists.

3)  Has graduated from a nurse anesthesia educational program that meets the standards of the Council on Accreditation of Nurse Anesthesia Programs, or such other accreditation organization as may be designated by the Secretary; and

4)  Meets the following criteria:

(I) Has passed a certification examination of the Council on Certification of Nurse Anesthetists, the Council on Recertification of Nurse Anesthetists, or any other certification organization that may be designated by the Secretary; or

(ii) Is a graduate of a program described in paragraph (3) of this definition and within 24 months after that graduation meets the requirements of paragraph (4)(I) of this definition.

5)  For certified registered nurse anesthetist services, the certified registered nurse anesthetist may review and verify (sign and date), rather than re-document, notes in a patient's medical record made by physicians; residents; nurses; medical, physician assistant, and advanced practice registered nurse students; or other members of the medical team, including, as applicable, notes documenting the certified registered nurse anesthetist's presence and participation in the service.

** Chemical Indicator (CI): A sterilization monitoring device used to monitor the attainment of one (1) or more critical parameters required for sterilization. A characteristic color or other visual change indicates a defined level of exposure based on the classification of the chemical indicator used.

***Clinic: A facility (Rural Health Clinic (RHC)) that is established primarily to furnish outpatient physician services and that meets the following tests of physician involvement:

- The medical services are furnished by a group of three or more physicians practicing medicine together.

- A physician is present during all hours of operation of the clinic to furnish medical services, as distinguished from purely administrative services. [485.703 Condition]

***Clinic Administrator: The individual responsible for the internal operation of the RHC in accordance with written policies. A qualified Clinic Administrator is designated by the facility's governing body. [§485.705(c)(1) and §485.709(b)]

*** Clinical Personnel: The entire clinical team providing services in the facility, including, but not limited to, all physicians/surgeons/proceduralists, anesthesia providers, nurses, scrub techs, physician assistants, physical/occupational/speech therapists and assistants, social workers, clinical psychologists, marriage and family therapists, mental health counselors, medical assistants, etc. Employment status (owner, employee, contractor, contracted, indirect employee, prn staff, etc.) is not a factor in defining who is included as Clinical Personnel.

** Contact Time: "Wet time," also known as "contact time" or “dwell time,” is the amount of time a disinfectant or antiseptic solution must remain wet and in direct contact with a target microorganism or on a surface to be effective. This time can range from 15 seconds to 10 minutes, which is the maximum time allowed by the US Environmental Protection Agency (EPA). The contact time is established by the product manufacturer.

** Contamination: The presence of potentially infectious pathogenic microorganisms on animate or inanimate objects or surfaces.

Contemporaneously: Originating, existing, or happening during the same period of time.

Continual: Repeated regularly and frequently in steady, rapid succession.

Continuous: Prolonged without interruption at any time.

Contract & Indirect Employees: These employees are not on the company’s payroll and are not restricted by employment laws that apply to direct employees. Work details are defined in a contract agreed upon by the company and a contractor or third-party agency.

*** Covered ancillary services: Items and services that are integral to a covered surgical procedure performed in an ASC as provided in §416.164(b), for which payment may be made under §416.171 in addition to the payment for the facility services. [42 CFR 416.2]

*** Covered surgical procedures: Surgical procedures furnished before January 1, 2008, that meet the criteria specified in §416.65 and those surgical procedures furnished on or after January 1, 2008, that meet the criteria specified in §416.166. [42 CFR 416.2]

* Deep Sedation/Analgesia: A drug-induced depression of consciousness during which patients cannot be easily aroused but respond purposefully following repeated or painful stimulation. The ability to independently maintain ventilatory function may be impaired. Patients may require assistance in maintaining a patent airway, and spontaneous ventilation may be inadequate. Cardiovascular function is usually maintained.

Decontamination: Any physical or chemical process that reduces the number of microorganisms on any inanimate object to render that object safe for subsequent handling.

Dental Anesthesiologist: A licensed DDS or DMD with specialized, hospital-based training in areas including pharmacology, internal medicine, emergency medicine, and pediatric and adult anesthesiology.

Dental Assistant: A dental team member who supports a dental operator in providing more efficient dental treatment. A dental assistant must graduate from an accredited dental assisting training program and earn certification or licensure as State law requires.

Direct Employee: A full- or part-time employee hired by a facility and paid directly through the facility’s payroll. They are considered permanent employees because the intention is to work with them long-term rather than temporarily or as needed.

***Direct Services means services provided by the clinic’s staff. [42 CFR 491.2]

** Disinfectant: A chemical agent used to kill viruses and bacteria on surfaces.  It must be an EPA-registered disinfectant with bactericidal, tuberculocidal, and virucidal properties with specific claims and instructions for HIV and HBV.

** EPA-Registered: An EPA registration number signifies that a disinfectant and its claims have been reviewed and approved by the United States Environmental Protection Agency.

Equipment: The term "equipment" refers to the requirement that the specific item named must meet current performance standards according to the manufacturer’s guidelines.

***Extension Location: A location or site from which a rehabilitation agency provides services within a portion of the total geographic area served by the primary site. The extension location is part of the rehabilitation agency. The extension location should be located sufficiently close to share administration, supervision, and services in a manner that renders it unnecessary for the extension location to independently meet the conditions of participation as a rehabilitation agency. [485.703 Condition]

Facility Director: An individual that manages all aspects of a facility's operations. Their duties include budget management, facility planning, and building system maintenance.

Facility Leadership and Governing Body: These terms are interchangeable and refer to the person or group of people with full authority and responsibility for directing, overseeing, and controlling the facility’s operations. Medicare uses the term “governing body,” while non-Medicare facilities use the term “facility leadership.” For both, the facility must define in policy the person or group of people that constitute the governing body or facility leadership.

Facility Safety Manual: A compilation of safety procedures and guidelines to follow in emergencies or unsafe situations.

*** Facility services: For the period before January 1, 2008, services that are furnished in connection with covered surgical procedures performed in an ASC, and beginning January 1, 2008, means services that are furnished in connection with covered surgical procedures performed in an ASC as provided in §416.164(a) for which payment is included in the ASC payment established under §416.171 for the covered surgical procedure. [42 CFR 416.2]

Frequent: Occurring or done on many occasions or in quick succession; happening often.

General Anesthesia: A drug-induced loss of consciousness during which patients are not arousable, even by painful stimulation. The ability to independently maintain ventilatory function is often impaired. Patients often require assistance in maintaining a patent airway, and positive pressure ventilation may be required because of depressed spontaneous ventilation or drug-induced depression of neuromuscular function. Cardiovascular function may be impaired.

Governing Body and Facility Leadership: These terms are interchangeable and refer to the person or group of people with full authority and responsibility for directing, overseeing, and controlling the facility's operations. Medicare uses the term “governing body,” while non-Medicare facilities use the term “facility leadership.” For both, the facility must define in policy the person or group of people that constitute the governing body or facility leadership.

** Healthcare-Associated Infection (HAI): An infection acquired by patients while they are receiving medical care, with confirmation of diagnosis by clinical or laboratory evidence. Infective agents may originate from endogenous or exogenous sources. HAIs, which are also known as nosocomial infections, may not become apparent until the patient has been discharged from the healthcare setting.

** Immediate Use Steam Sterilization (IUSS): An abbreviated process of steam sterilization of patient care instruments (or devices) for immediate use.

Immediately Available: Accessible (clinician and equipment) without any delay or waiting period. Examples include the physical presence of the health care professional in the facility to assess, evaluate, and provide care to a patient; a supervising physician is physically accessible and able to attend to the patient, without any delay, to address any situation requiring a supervising physician’s services; and, 1) dedicated to the facility when on duty, 2) unencumbered by conflicting duties or responsibilities, 3) responding without delay when notified.

**Infection: The invasion and multiplication of microorganisms in body tissues that cause cellular injury and clinical symptoms.

Instrument: Any tool, device, or apparatus used in medicine for the purpose of diagnosing, preventing, treating, or alleviating illness or injury. It encompasses a wide range of items, from simple tools like stethoscopes to complex machines like MRI scanners. Medical instruments can be used to examine the body, record physiological processes, administer treatments, or perform surgical procedures.

Intraoperatively: The intraoperative phase extends from the time the patient is admitted to the operating room to the time of anesthesia administration, the performance of the surgical procedure, and until the client is transported to the recovery room or post-anesthesia care unit (PACU).

** Instructions for Use (IFUs): Specific, detailed instructions provided by the manufacturer. IFUs for medical devices detail the steps required for cleaning, disinfection, and sterilization that are compatible with that device. Products approved for use in cleaning, disinfection, and sterilization will have specific IFUs to follow (e.g., dilution ratio and contact time) to ensure the product's efficacy.

Legally Qualified: Being in compliance or accordance with specific requirements or conditions. Is qualified under the applicable local, State or Federal law to hold the position for which he or she holds and has met the qualifications of the position.

Log: A written record of performance, events, or day-to-day activities. It is similar to a register, which is a written record containing regular entries of items or details.

Examples:

- On any day that controlled substances are administered, the controlled substance inventory and control record (log/register) must be updated as appropriate to reflect controlled substances administered, received, wasted, and currently stored by two licensed healthcare professionals.  (6-D-2)

- A written record (log/register) of all operative cases is maintained by the facility.  (8-L-1)

Major Blood Vessels: A group of critical arteries and veins including the aorta, coronary arteries, pulmonary arteries, superior and inferior vena cava, pulmonary veins, and any intra-cerebral artery or vein.

** Mechanical (Physical) Indicator: Monitors (embedded into the sterilization equipment) that register, record, and report parameters for each cycle (time in use, the temperature achieved, and the pressure attained in the chamber).  The information attained through the gauges and/or printouts provides evidence the sterilization system has met the set parameters (or has not, and there is a need for corrective action).

Medical Director: The clinician responsible for overall oversight of the facility.

*** Medical Staff: The organized body of licensed physicians and other healthcare providers who are permitted by law and through credentialing and privileges granted by the facility leadership to provide medical care within the facility The medical staff includes physicians, surgeons, specialists, CRNAs, NPs, PAs, and allied health professionals, as identified in facility policy.

* Minimal Sedation: A drug-induced state during which patients respond normally to verbal commands. Although cognitive function and physical coordination may be impaired, airway reflexes, and ventilatory and cardiovascular functions are unaffected.

* Moderate Sedation/Analgesia (“Conscious Sedation” or “Procedural Sedation):  A drug-induced depression of consciousness during which patients respond purposefully to verbal commands, either alone or accompanied by light tactile stimulation. No interventions are required to maintain a patent airway, and spontaneous ventilation is adequate. Cardiovascular function is usually maintained.

* Monitored Anesthesia Care (“MAC”) does not describe the continuum of depth of sedation; rather, it describes “a specific anesthesia service performed by a qualified anesthesia provider, for a diagnostic or therapeutic procedure.” Indications for monitored anesthesia care include "the need for deeper levels of analgesia and sedation than can be provided by moderate sedation (including potential conversion to a general or regional anesthetic).

National Fire Protection Association (NFPA) Business Occupancies, 2021 https://www.nfpa.org/news-blogs-and-articles/blogs/2021/05/07/occupancy-classifications-and-model-codes

- Business Occupancy is an occupancy used for the transaction of business other than mercantile (engaged in commerce) This includes clinics.

- Ambulatory Health Care Occupancies are occupancies used to provide services or treatment simultaneously to four or more patients that provide, on an outpatient basis, one or more of the following:

  - Treatment for patients that renders the patient's incapable of taking action for self-preservation under emergency conditions without the assistance of others

  - Anesthesia that renders patients incapable of taking action for self-preservation under emergency conditions without the assistance of others

  - Emergency or urgent care for patients who, due to the nature of their injury or illness, are incapable of taking action for self-preservation under emergency conditions without the assistance of others

Examples include Day Surgery, Dentists' Offices, oral surgery with sedation, and Endoscopy Centers.

*** Nurse Practitioner (NP): A person who is currently licensed to practice in the State and meets the applicable State requirements governing the qualifications of nurse practitioners. And meets at least one (1) of the following conditions:

- Is certified as a practitioner by a recognized national certifying body that has established standards for nurse practitioners and possesses a master’s or doctoral degree in nursing practice or

- Has satisfactorily completed a formal one (1) academic year educational program that:

- Prepares registered nurses to perform an expanded role.

- That includes at least four (4) months (in the aggregate) of classroom instruction and a component of supervised clinical practice.

- Awards a degree, diploma, or certificate to persons who successfully complete the program.

- Has successfully completed a formal educational program (for preparing registered nurses to perform an expanded role) that does not meet the requirements identified above in paragraph 2, and the Nurse Practitioner has been performing an expanded role in the delivery of care for a total of 12 months during the 18-month period immediately preceding the effective date of the subpart.

Nurses Note: Documentation that provides a record of nursing care provided to a patient, family, or community.

Office Surgery: Refers to invasive procedures performed under anesthesia or sedation in an outpatient provider’s office or other non-hospital setting.

Oral Maxillofacial Surgeon (OMF): A medical doctor who is specifically trained in maxillofacial surgery. Because of the focus on the oral area, typically, maxillofacial surgeons attend dental school for four years after receiving their bachelor’s degree.

Patient Safety Data Reporting (PSDR): A form of quality control performed by QUAD A accredited facilities within the outpatient setting. Those participating in the data reporting process create a system-wide culture of clinical quality and demonstrate the positive results of accreditation. PSDR reporting is required for QUAD A facilities participating in Office-Based Surgical, Office-Based Procedural, Oral Maxillofacial Surgery, Pediatric Dentistry, International Surgical, or Medicare ASC programs. Reporting PSDR data is required quarterly, including physician case review. Results of the physician case reviews are discussed during Peer Review meetings.

Pediatric Advanced Life Support (PALS): A course that trains and certifies participants in a set of clinical guidelines for the urgent and emergent treatment of life-threatening cardiovascular conditions in children that will cause or have caused cardiac arrest using advanced medical procedures, medications, and techniques through didactic and hands-on skills return demonstration sessions. It builds on the foundation of lifesaving basic life support (BLS) skills. It reflects science and education from the American Heart Association Guidelines Update for CPR and Emergency Cardiovascular Care (ECC). The course is approved by the American Heart Association (AHA) or an identical content course that conforms to the current AHA Guidelines.

Pediatric Dentist: A licensed dentist in the state where the dentist practices and who has satisfactorily completed:

- Four (4) years of dental school.

- Two (2) additional years of residency training in dentistry for infants, children, teens, and children with special needs.

- A minimum of 24 months in an advanced education program accredited by the Commission on Dental Accreditation of the American Dental Association. Such programs “must be designed to provide special knowledge and skills beyond the Doctor of Dental Surgery (DDS) or Doctor of Medicine in Dentistry (DMD) training.

- A curriculum of an advanced program provides the dentist with the necessary didactic background and clinical experiences to provide comprehensive primary oral health care and the services of a specialist.

Pediatric Patients: In Florida, pediatric patients are defined as those who are 13 years of age or under. For all other QUAD A facilities, pediatric patients are defined by facility policy and procedure, which must consider age, BMI or weight, special needs, risk categories, surgery, facility equipment, and capability, unless otherwise defined by the state.

** Peel Pouch: A sterilization pouch (or peel pack) is a disposable package validated for use in a sterilizer to allow penetration of the sterilant to the items placed inside.  After sterilization, peel pouches maintain the sterility of the processed item(s) during storage and until needed for use.  Pouches are designated as Class II medical devices and may be self-sealing or heat-sealing. “Double pouching” should only be performed if validated for the specific type of pouch and when the manufacturer’s instructions for use provide the method of packaging and the sterilization parameters.

Peer: An individual(s) of the same professional discipline and specialty who possesses sufficient training and experience to render judgment on the clinical circumstances under review.

Peer Review: The task of physicians holding one another to the ethical standards of their profession and maintaining the administration of patient safety and quality of care consistent with optimal standards of practice. The American Medical Association (AMA) publishes information regarding the peer review process and describes the composition of the Peer Review Committee as follows:

Peer review is conducted in good faith by physicians who are within the same geographic area or jurisdiction and medical specialty of the physician subject to review to ensure that all physicians consistently maintain optimal standards of competency to practice medicine. Physicians outside of the organization that are convening peer review may participate in that organization's peer review of a physician if the reviewing physician is within the same geographic area or jurisdiction and medical specialty as the physician who is the subject of peer review.

What is Peer Review? https://www.amwa-doc.org/what-is-peer-review/

Percutaneous endovascular intervention: A procedure performed without an open direct visualization of the target vessel requires only needle puncture of an artery or vein, followed by insertion of catheters, wires, or similar devices, which are then advanced through the blood vessels using imaging guidance. Once the catheter reaches the intended location various maneuvers to address the diseased area may be performed which include, but are not limited to, injection of contrast for imaging, treatment of vessels with angioplasty, atherectomy, covered or uncovered stenting, intentionally occluding vessels or organs (embolization), and delivering medications, radiation, or other energy such as laser, radiofrequency, or cryo.

Personnel: Everyone employed (including volunteers) at a facility, including both direct and indirect (contract) employees who provide care, treatment, or services to patients. The terms “personnel” and “staff” are synonymous.

** Personal Protective Equipment (PPE): Protective equipment (e.g., masks, gloves, goggles, face shields, and gowns) for eyes, face, head, and extremities; protective clothing; respiratory devices; and protective shields and barriers designed to protect the wearer from injury and minimize exposure to hazards.

*** Physician: Providers who medically diagnose patients, prescribe and manage medication, and supervise other medical staff. A licensed Doctor of Medicine (MD) or Doctor of Osteopathy  (DO) legally authorized to practice medicine or surgery in the State in which the function is performed; and a Doctor of Dental Surgery (DDS) or Doctor of Dental Medicine (DMD) who is legally authorized to practice dentistry by the State in which he/she performs such function and who is acting within the scope of his/her license and a Doctor of Podiatric Medicine

Physician Anesthesiologist: A medical doctor who has attained either a Doctor of Medicine (MD) or Doctor of Osteopathic Medicine (DO) degree and has chosen to specialize in the field of anesthesiology and specializes in anesthesia care, pain management, and critical care medicine, and have the necessary knowledge to understand and treat the entire human body.

*** Physician Assistant (PA): An individual who meets the applicable State requirements governing the qualifications for assistants to primary care physicians. And meets one of the following conditions:

1) The physician assistant is currently certified by the National Commission on Certification of Physician Assistants to assist physicians.

2) The physician assistant has satisfactorily completed a program for preparing physician's assistants that:

- Was at least one (1) academic year in length.

- Consisted of supervised clinical practice and at least four (4) months (in the aggregate) of classroom instruction directed toward preparing students to deliver health care; and

- Was accredited by the American Medical Association's Committee on Allied Health Education and Accreditation.

3) The physician assistant has satisfactorily completed a formal educational program (for preparing physician assistants) that does not meet the requirements of paragraph (2) of this definition and assisted physicians for a total of 12 months during the 18-month period that ended on December 31, 1986.

- Is licensed as a PA by the State in which the PA practices.

Polyclinic: An outpatient clinic that is a free-standing medical facility, designed to receive and undergo patients to necessary medical examinations and treatments, encompassing a minimum of two (2) different specialties which may include diagnostics, dental and Traditional Complimentary Alternative Medicine (TCAM) services, to patients that do not stay overnight.

Proceduralist: A licensed physician, usually a specialist or subspecialist, trained and qualified to perform diagnostic or therapeutic procedures. A licensed trained CRNA, NP and PA may also conduct selected procedures based on state law and scope of practice.

Procedural accreditation: This is intended for office-based facilities performing procedures in medical specialties including gastroenterology, urology/nephrology, gynecology, interventional radiology/vascular access, pain management, and dermatology. Procedures are performed by specialists including Gastroenterologists, Urologists/Nephrologists, Gynecologists, Pain Management Specialists, Dermatologists, or Interventional Radiologists/Vein Specialists, and may include minimally invasive procedures and approved minor surgical procedures (e.g.,  minor urological surgical procedures including circumcisions, vasectomies; minor dermatological procedures including mole/growth removal, minimally invasive gynecological surgeries as entered through the vagina, etc.).

Professional Appearance: relates to both the appearance of people and the appearance of the facility.

A healthcare provider’s personal appearance must project professionalism and competence to engender trust in patients. A provider also conveys professionalism in how they communicate, how they express courtesy, body language, and what they wear. E.g., as professional healthcare providers, facility staff should appear clean and well dressed. The facility should appear clean, neat, and furnished for patients, staff, and visitor comfort.

Examples:

- As professional healthcare providers, facility staff should appear clean and well dressed. When interacting with patients and patient families, the facility staff should be friendly, knowledgeable, and culturally sensitive.

- The facility should appear clean, neat, and furnished for patients, staff, and visitor comfort

Progress note: An essential tool used in healthcare to document patient information, medical history, treatment plans, and progress throughout a patient’s care. Progress notes are also a crucial communication tool among healthcare professionals, ensuring continuity of care and facilitating collaboration.

Promptly: Without delay; immediately

Public health agency: an official agency established by a State or local government, the primary function of which is to maintain the health of the population served by performing environmental health services, preventive medical services, and in certain cases, therapeutic services. [485.703 Condition]

Qualified: An individual who is qualified by education, training, licensure/regulation (when applicable, also includes registration and certification), and facility privileging (when applicable) who performs a professional service within his/her scope of practice and independently reports that professional service.

Random Sample: An unbiased representation of a group.

Example:

- For PSDR reporting, QUAD A recommends entering the first case as performed each month to obtain a random sample of cases entered into the quarterly reporting system. If no cases are performed in a given month, any other case can be selected at random from the period

Rehabilitation agency - An agency that:

- Provides an integrated interdisciplinary rehabilitation program designed to upgrade the physical functioning of handicapped disabled individuals by bringing specialized rehabilitation staff together to perform as a team; and

- Provides at least physical therapy or speech-language pathology services.

[485.703 Condition]

Routine: A habit or sequence that does not vary; things that must be done on a regular basis.

*** Rural area mean an area that is not delineated as an urbanized area by the Bureau of the Census. [42 CFR 491.2]

*** Rural health clinic: a clinic located in a rural area designated as a shortage area, is not a rehabilitation agency or a facility primarily for the care and treatment of mental diseases and meets all other requirements of this subpart. [42 CFR 491.2]

*** Secretary: The Secretary of Health and Human Services, or any official to whom he/she has delegated the pertinent authority.

*** Shortage area: a defined geographic area designated by the Department as having either a shortage of personal health services (under section 1302(7) of the Public Health Service Act) or a shortage of primary medical care manpower (under section 332 of that Act). [42 CFR 491.2]

Significant: Having or likely to have influence or effect; or of a noticeable or measurably large amount.

Examples:

- As determined by both the surgeon/proceduralist and anesthesia provider, the patient and procedural risk must be assessed pre-operatively. If this risk level is above a facility's defined threshold, then the patient should be referred to an alternative, safer facility for the operation.

- Current safe levels of ethylene oxide or glutaraldehyde exposure must be identified. Badge testing to maintain exposure under the threshold must be performed and monitored.

Staff: Anyone employed (part-time, full-time) at a facility, including both direct and indirect (contract) employees that provide care, treatment, or services to patients. The terms “personnel” and “staff” are synonymous.

** Sterile: The state of being free from all living microorganisms. In practice, it is usually described as a probability function (e.g., as the probability of a microorganism surviving sterilization being 1 in 1,000,000).

** Sterilization: A validated process that removes or destroys all viable microorganisms, including bacterial spores, to an acceptable sterility assurance level, usually 1 in 1,000,000. In a sterilization process, the presence of microorganisms on any individual item can be expressed in terms of probability (which, even though is a very low number, may never be zero).

Sufficient/sufficiently means enough to meet the needs of a situation or a proposed end. E.g., A hallway would be sufficiently wide if healthcare providers can wheel a patient in a gurney and all necessary medical equipment with the gurney in case of emergency.

Example:

- A hallway would be sufficiently wide if healthcare providers can wheel a patient in a gurney and all necessary medical equipment with the gurney in case of emergency. (3-F-4)

Supernatant fat: The fat that rises to the top and separates from other fluids or tissues during processes such as liposuction. In the context of cosmetic surgery, it is important to manage the amount of supernatant fat removed to ensure patient safety and compliance with medical regulations.

Surgeon: A licensed physician trained and qualified to perform surgical procedures.

*** Surgery is performed for the purpose of structurally altering the human body by the incision or destruction of tissues and is part of the practice of medicine. Surgery is also the diagnostic or therapeutic treatment of conditions or disease processes by any instruments causing localized alteration or transposition of live human tissue, which include lasers, ultrasound, ionizing radiation, scalpels, probes, and needles. The tissue can be cut, burned, vaporized, frozen, sutured, probed, or manipulated by closed reductions for major dislocations or fractures, or otherwise altered by mechanical, thermal, light-based, electromagnetic, or chemical means. Injection of diagnostic or therapeutic substances into body cavities, internal organs, joints, sensory organs, and the central nervous system is also considered to be surgery. (This does not include the administration by nursing personnel of some injections, subcutaneous, intramuscular, and intravenous when ordered by a physician.) Surgical procedures are invasive, including those that are performed with lasers, and the risks of any surgical procedure are not eliminated by using a light knife or laser in place of a metal knife, or scalpel.

  - Major surgery is an invasive operative procedure where one (1) or more of the following occurs:

  - A body cavity is entered.

  - A mesenchymal barrier is crossed.

  - A fascial plane is opened

  - An organ is removed

  - Normal anatomy is operatively altered

- Minor Surgery is an invasive operative procedure in which only skin, mucous membranes, or superficial connective tissue is manipulated.

*** Supervision

- Direct Supervision: The supervising physician must be immediately available if needed, meaning physically present in the facility, and prepared to immediately conduct hands-on intervention if needed. However, the physician does not need to be in the room throughout the performance of the service.

- General supervision: The service is furnished under the physician’s overall direction and control, but the physician’s presence is not required during the performance of the procedure. Under general supervision, the training of the non-physician personnel who actually perform the diagnostic procedure and maintain the necessary equipment and supplies is the physician’s continuing responsibility.

- Personal supervision: A physician must be present in the room during the procedure.

** Surgical Site Infection (SSI): An infection at the site of a surgical incision.  The SSI may be superficial, deep, or extend to organs.  Patients should be monitored for SSIs for thirty (30) days after surgery or procedures or three-hundred and sixty-five (365) days after implant placement.

Track and Trend: Track, as in keep track of, is to follow specific record(s) or specific types of information over a defined period. To trend means to follow the general movement over time of a statistically detectable change. Tracking and trending are commonly used together which means a trail of data is followed to identify changes in outcomes over time.

Examples:

- Each facility's written QI program must follow identified records or types of information over a lengthy period of time to identify changes. Based on those changes, or lack thereof, the facility must evaluate and resolve problems, then adjust the identified records or types of information as appropriate.

- Each facility's risk management program must perform an annual risk assessment. This assessment should cover risks as related to patients and staff by medication management, fall hazards, infection control, equipment safety, patient risk resulting from long term conditions, and nutrition if any food or beverage services are available to patients. The trends of these risks across the years should be noted.

- Adverse events are to be noted and discussed during periodic peer review meetings.

- All adverse events should be looked at cumulatively.

REFERENCES BY STANDARD

| Standard ID | Reference |
| --- | --- |
| 1-A-1 | American Academy of Pediatric Dentists (AAPD), Guideline on Use of Nitrous Oxide for Pediatric Dental Patients, 2009 www.aapd.org/assets/1/7/G_Nitrous.pdf American Association of Nurse Anesthesiology (AANA) Clinical Resources for Practicing CRNAs/Nurse Anesthesiologists https://www.aana.com/practice/clinical-practice/clinical-practice-resources/ AANA Professional Practice Manual https://www.aana.com/practice/professional-practice-manual/ AANA Scope of Nurse Anesthesia https://issuu.com/aanapublishing/docs/scope_of_nurse_anesthesia_practice_2.23?fr=sNDg2MDU2NDAxMjU American Society for Regional Anesthesia & Pain Medicine, Checklist for Treatment of Local Anesthetic Systemic Toxicity (LAST), 2020 https://www.asra.com/news-publications/asra-updates/blog-landing/guidelines/2020/11/01/checklist-for-treatment-of-local-anesthetic-systemic-toxicity ASA Practice Guidelines for Moderate Procedural Sedation and Analgesia, 2018 https://pubs.asahq.org/anesthesiology/article/128/3/437/18818/Practice-Guidelines-for-Moderate-Procedural ASA Statement on Safe Use of Propofol 2019 https://www.asahq.org/standards-and-practice-parameters/statement-on-safe-use-of-propofol ASA Statement on Granting Privileges for Administration of Moderate Sedation to Practitioners Who are Not Anesthesia Professionals, 2021 https://www.asahq.org/standards-and-practice-parameters/statement-on-granting-privileges-for-administration-of-moderate-sedation-to-practitioners-who-are-not-anesthesia-professionals Can a Dental Assistant Use Nitrous Oxide? https://www.northwestcareercollege.edu/blog/can-a-dental-assistant-use-nitrous-oxide/ Checklist for Treatment of Local Anesthetic Systemic Toxicity (LAST) https://www.asra.com/news-publications/asra-updates/blog-landing/guidelines/2020/11/01/checklist-for-treatment-of-local-anesthetic-systemic-toxicity Duke Anesthesiology, LAST A practical update for clinicians https://www.youtube.com/watch?v=6dnfkEsySKU Healthline, Conscious Sedation, 2018 https://www.healthline.com/health/conscious-sedation Institute for Safe Medication Practices (ISMP) Guidelines for Safe Preparation of Compounded Sterile Preparations, 2016 https://www.ismp.org/sites/default/files/attachments/2017-11/Guidelines%20for%20Safe%20Preparation%20of%20Compounded%20Sterile%20Preperations_%20revised%202016.pdf National Library of Congress, Anesthesia for Office-Based Facial Plastic Surgery Procedures, 2023 https://www.ncbi.nlm.nih.gov/pmc/articles/PMC10541158/ National Library of Medicine, Local Anesthesia Systemic Toxicity, 2022 https://www.ncbi.nlm.nih.gov/books/NBK499964/ National Library of Medicine, Procedural Sedation 2022 https://www.ncbi.nlm.nih.gov/books/NBK551685/ Nitrous Oxide, 2023, https://www.ada.org/resources/ada-library/oral-health-topics/nitrous-oxide Ophthalmology, MKO Melt Is Effective for Cataract Surgery Conscious Sedation, 2018 https://ophthalmology360.com/cataract-surgery/mko-melt-effective-cataract-surgery-conscious-sedation/ Practice Guidelines for Moderate Procedural Sedation & Analgesia 2018: A Report by the American Society of Anesthesiologists Task Force on Moderate Procedural Sedation and Analgesia, the American Association of Oral and Maxillofacial Surgeons, American College of Radiology, American Dental Association, American Society of Dentist Anesthesiologists, and Society of Interventional Radiology https://pubs.asahq.org/anesthesiology/article/128/3/437/18818/Practice-Guidelines-for-Moderate-Procedural Tumescent Formulations, Liposuction Textbook, Chapter 23, 2024 https://liposuction101.com/liposuction-textbook/chapter-23-tumescent-formulations/ Tumescent Technique for Local Anesthesia Improves Safety in Large-Volume Liposuction https://tumescent.org/tumescent-technique-anesthesia-and-modified-liposuction-technique/ US Pharmacopeia, 797 Pharmaceutical Compounding-sterile preparations. http://ftp.uspbpep.com/v29240/usp29nf24s0_c797_viewall.html |
| 1-C-4 | American Academy of Pediatrics, Age Limit of Pediatrics, reaffirmed 2023 https://publications.aap.org/pediatrics/article/140/3/e20172151/38333/Age-Limit-of-Pediatrics?autologincheck=redirected American Dental Association, Guidelines for Teaching Pediatric Pain Control and Management, 2021 https://www.ada.org/-/media/project/ada-organization/ada/ada-org/files/resources/library/oral-health-topics/ada_guidelines_teaching_pediatric_sedation.pdf?rev=86a7c539ce9d4025bc2b291223f35328&hash=2DF304CA67B8592C2290DE91E816726A Part 4: Pediatric Basic and Advanced Life Support: 2020 American Heart Association Guidelines for Cardiopulmonary Resuscitation and Emergency Cardiovascular Care https://www.ahajournals.org/doi/10.1161/CIR.0000000000000901 |
| 1-F-2 | Patient Safety Data Reporting Exemption Form https://6276684.fs1.hubspotusercontent-na1.net/hubfs/6276684/PSDR%20Exemption%20Form-2.pdf |
| 1-F-3 | National Quality Forum (NQF), Serious Reportable Events https://cms.qualityforum.org/Topics/SREs/Serious_Reportable_Events.aspx NQF List of Serious Reportable Events, https://cms.qualityforum.org/Topics/SREs/List_of_SREs.aspx |
| 2-A-1 | Facilities Guidelines Institute – Resource https://www.fgiguidelines.org/ |
| 2-B-3 | APIC Environmental Services https://apic.org/Resources/Topic-specific-infection-prevention/Environmental-services/ CDC Environmental Cleaning Procedures Best Practices for Environmental Cleaning in Global Healthcare Facilities with Limited Resources, 2024 https://www.cdc.gov/healthcare-associated-infections/hcp/cleaning-global/procedures.html CDC Environmental Cleaning Program Improvement Toolkit: A Practical Guide for Implementing the Best Practices for Environmental Cleaning in Healthcare Facilities in Resource-Limited Settings https://www.cdc.gov/healthcare-associated-infections/media/pdfs/environmental-cleaning-toolkit-guide-508.pdf |
| 2-B-4 | APIC Environmental Services https://apic.org/Resources/Topic-specific-infection-prevention/Environmental-services/ CDC Environmental Cleaning Procedures Best Practices for Environmental Cleaning in Global Healthcare Facilities with Limited Resources, 2024 https://www.cdc.gov/healthcare-associated-infections/hcp/cleaning-global/procedures.html FGI Guidelines, Application Guidance, 2024 https://fgiguidelines.org/wp-content/uploads/2022/06/FGI_determining_appropriate_room_type_2022-06-24.pdf |
| 2-B-6 | APIC Environmental Services https://apic.org/Resources/Topic-specific-infection-prevention/Environmental-services/ CDC Environmental Cleaning Procedures Best Practices for Environmental Cleaning in Global Healthcare Facilities with Limited Resources, 2024 https://www.cdc.gov/healthcare-associated-infections/hcp/cleaning-global/procedures.html CDC Environmental Cleaning Program Improvement Toolkit: A Practical Guide for Implementing the Best Practices for Environmental Cleaning in Healthcare Facilities in Resource-Limited Settings https://www.cdc.gov/healthcare-associated-infections/media/pdfs/environmental-cleaning-toolkit-guide-508.pdf |
| 2-B-7 | FGI Electrical Receptacles in Patient Care Areas: Determining Quantities, Location, and Code Compliance for Operationalizing Patient Care https://fgiguidelines.org/wp-content/uploads/2023/02/FGI-Electrical-Receptacles-in-Patient-Care-Areas-2023-02-10-Corrected-6APR2023.pdf |
| 2-C-2 | 2018 GFI Guidelines https://www.fgiguidelines.org/wp-content/uploads/2017/11/E94_HCD2017_A_New_Class_Act.pdf |
| 2-D-1 | Common Rust Issues in Healthcare Facilities and How to Deal with Them, 2024 https://thedailynotes.com/rust-issues-healthcare-facilities-deal RUST: The Silent Threat to Infection Control, 2022 https://blog.cmecorp.com/rust-the-silent-threat-to-infection-control |
| 2-E-1 | Healthcare Facilities Today, Q&A: Corrugated cardboard boxes https://www.healthcarefacilitiestoday.com/posts/QA-Corrugated-cardboard-boxes--13520 |
| 2-E-2 | 2012 edition, NFPA 101 LSC https://www.nfpa.org/codes-and-standards/nfpa-101-standard-development/101 The 18-inch Supply Storage Guideline in Sterile Processing https://www.evolvedsterileprocessing.com/post/one-misunderstood-supply-storage-guideline-the-18-inch-ceiling-limit |
| 3-A-1 | OSHA Publication 3165, Job Safety and Health: It's the Law Workplace Poster - https://www.osha.gov/publications/poster Centers for Disease Control and Prevention (CDC) https://www.Cdc.gov National Fire Protection Association (NFPA) https://www.nfpa.org/for-professionals/codes-and-standards/list-of-codes-and-standards/free-access |
| 3-B-1 | Outpatient Surgery Cultivate a Culture of Safety, 2024 https://digital.outpatientsurgery.net/view/571733896/4/ Outpatient Surgery The Essential Elements of a Staff Safety Program, 2024 https://digital.outpatientsurgery.net/view/571733896/14/ |
| 3-B-2 | OSHA Compliance Quick Start https://www.osha.gov/complianceassistance/quickstarts/health-care OSHA A to Z https://www.osha.gov/a-z#I OSHA Healthcare https://www.osha.gov/healthcare OSHA Quick Reference Guide to the Bloodborne Pathogens Standard https://www.osha.gov/bloodborne-pathogens/quick-reference CDC Tuberculosis https://www.cdc.gov/tb/index.html |
| 3-C-1 | International Code Council (ICC) 2018, Compressed Gases https://codes.iccsafe.org/content/IFC2018/chapter-53-compressed-gases ICC, 2018, Flammable and Combustible Liquids https://codes.iccsafe.org/content/IFC2018/chapter-57-flammable-and-combustible-liquids NFPA 30 Flammable and Combustible Liquids Code, 2021 https://standards.globalspec.com/std/14328537/nfpa-30 OSHA Compliance Quick Start https://www.osha.gov/complianceassistance/quickstarts/health-care OSHA A to Z https://www.osha.gov/a-z#I OSHA Healthcare https://www.osha.gov/healthcare |
| 3-D-1 | CDC Regulated Medical Waste, 2003 https://www.cdc.gov/infection-control/hcp/environmental-control/regulated-medical-waste.html#cdc_generic_section_3-3-management-of-regulated-medical-waste-in-health-care-facilities EPA Medical Waste, 2024 https://www.epa.gov/rcra/medical-waste OSHA Hazardous Waste https://www.osha.gov/hazardous-waste |
| 3-D-4 | FDA Sharps Disposal Containers https://www.fda.gov/medical-devices/safely-using-sharps-needles-and-syringes-home-work-and-travel/sharps-disposal-containers Department of Transportation (DOT) Regulations https://www.hercenter.org/regsandstandards/dot.php NIOSH - Selecting, Evaluating, and Using Sharps Disposal Containers https://stacks.cdc.gov/view/cdc/6386 USDA - Safely Using Sharps https://www.fda.gov/medical-devices/safely-using-sharps-needles-and-syringes-home-work-and-travel/sharps-disposal-containers Sharps Contain Regulations: Your Guide, 2024 https://www.danielshealth.com/knowledge-center/sharps-container-regulations-your-guide WHO Injection Safety https://www.who.int/teams/integrated-health-services/infection-prevention-control/injection-safety WHO Minimum requirements for infection prevention and control programmes https://www.who.int/publications/i/item/9789241516945 |
| 3-H-2 | eCFR Part 493-Laboratory Requirements https://www.ecfr.gov/current/title-42/chapter-IV/subchapter-G/part-493 CMS How to Apply for a CLIA Certificate, Including International Laboratories https://www.cms.gov/medicare/quality/clinical-laboratory-improvement-amendments/apply |
| 3-H-3 | Medical X-ray Imaging ¦ FDA https://www.fda.gov/radiation-emitting-products/medical-imaging/medical-x-ray-imaging#risks OSHA Ionizing Radiation https://www.osha.gov/ionizing-radiation/control-prevention Radiation Dose http://www.radiologyinfo.org/en/safety/index.cfm?pg=sfty_xray Health Physics Society Public Information Committee http://hps.org/publicinformation/ Journal of the American Dental Association Optimizing Radiation Safety in Dentistry, 2024 https://jada.ada.org/article/S0002-8177(23)00734-1/fulltext?_gl=1*1t7n6dl*_gcl_au*MzQ1MDk4MjI3LjE3MTc3MjUwMzU.*_ga*NjQ5NzI1NDczLjE3MTc3MjUwMzU.*_ga_X8X57NRJ4D*MTcxNzgwOTE5Mi43LjEuMTcxNzgwOTQwNi4wLjAuMA..#secsectitle0145) |
| 4-A-1 | The National Fire Protection Agency (NFPA) 99, 2012 https://up.codes/viewer/centers-for-medicare-and-medicaid-services/nfpa-99-2012/chapter/5/gas-and-vacuum-systems#5 World Class Healthcare Compliance, Medical Gas Systems: The Definitive Guideline https://f.hubspotusercontent20.net/hubfs/479873/bonus%20content/medical-gas-systems-guide.pdf?__hstc=1717358.4f83df3156ea0e81eee9d942814fad43.1726598873503.1726598873503.1726598873503.1&__hssc=1717358.1.1726598873503&__hsfp=2901579814&hsCtaTracking=4a8af79e-62cb-4897-ae24-627d87fe0fcc%7C030bdec8-b6d4-44c4-b056-b9088173751a |
| 4-B-6 | American Nurse, Enhancing patient outcomes with sequential compression device therapy, 2013 https://www.myamericannurse.com/enhancing-patient-outcomes-with-sequential-compression-device-therapy/ |
| 4-B-8 | Association of Anaesthetists Peri-operative warming devices: performance and clinical application, 2014 https://associationofanaesthetists-publications.onlinelibrary.wiley.com/doi/full/10.1111/anae.12626 Article ¦ Outpatient Surgery Magazine (aorn.org) Patient Warming’s Preventative Benefits, 2021 https://www.aorn.org/outpatient-surgery/article/2021-May-patient-warming-benefits Safety and efficacy of resistive polymer versus forced air warming in total joint surgery ¦ Patient Safety in Surgery ¦ Full Text (biomedcentral.com) https://pssjournal.biomedcentral.com/articles/10.1186/s13037-017-0126-0 AORN Outpatient Surgery, Implementing Safe and Effective Patient Warming, 2022 https://www.aorn.org/outpatient-surgery/article/2022-June-patient-warming |
| 4-C-1 | AANA Documenting Anesthesia Care, 2016 https://issuu.com/aanapublishing/docs/4_-_documenting_anesthesia_care?fr=sNDZlYTU2NDAxMjU Standards for Basic Anesthetic Monitoring (asahq.org), 2020 https://www.asahq.org/standards-and-practice-parameters/standards-for-basic-anesthetic-monitoring |
| 4-C-2 | AANA Documenting Anesthesia Care, 2016 https://issuu.com/aanapublishing/docs/4_-_documenting_anesthesia_care?fr=sNDZlYTU2NDAxMjU Standards for Basic Anesthetic Monitoring (asahq.org), 2020 https://www.asahq.org/standards-and-practice-parameters/standards-for-basic-anesthetic-monitoring |
| 4-C-3 | AANA Documenting Anesthesia Care, 2016 https://issuu.com/aanapublishing/docs/4_-_documenting_anesthesia_care?fr=sNDZlYTU2NDAxMjU Standards for Basic Anesthetic Monitoring (asahq.org), 2020 https://www.asahq.org/standards-and-practice-parameters/standards-for-basic-anesthetic-monitoring |
| 4-C-4 | AANA Documenting Anesthesia Care, 2016 https://issuu.com/aanapublishing/docs/4_-_documenting_anesthesia_care?fr=sNDZlYTU2NDAxMjU Standards for Basic Anesthetic Monitoring (asahq.org), 2020 https://www.asahq.org/standards-and-practice-parameters/standards-for-basic-anesthetic-monitoring |
| 4-C-5 | AANA Documenting Anesthesia Care, 2016 https://issuu.com/aanapublishing/docs/4_-_documenting_anesthesia_care?fr=sNDZlYTU2NDAxMjU Standards for Basic Anesthetic Monitoring (asahq.org), 2020 https://www.asahq.org/standards-and-practice-parameters/standards-for-basic-anesthetic-monitoring CDC Guideline for Disinfection and Sterilization in Healthcare Facilities, 2008 https://www.cdc.gov/infection-control/media/pdfs/guideline-disinfection-h.pdf |
| 4-C-6 | AANA Documenting Anesthesia Care, 2016 https://issuu.com/aanapublishing/docs/4_-_documenting_anesthesia_care?fr=sNDZlYTU2NDAxMjU Standards for Basic Anesthetic Monitoring (asahq.org), 2020 https://www.asahq.org/standards-and-practice-parameters/standards-for-basic-anesthetic-monitoring |
| 4-C-7 | AANA Documenting Anesthesia Care, 2016 https://issuu.com/aanapublishing/docs/4_-_documenting_anesthesia_care?fr=sNDZlYTU2NDAxMjU Standards for Basic Anesthetic Monitoring (asahq.org), 2020 https://www.asahq.org/standards-and-practice-parameters/standards-for-basic-anesthetic-monitoring |
| 4-C-9 | Consensus Recommendations for the Safe Conduct of Nonoperating Room Anesthesia: A Meeting Report From the 2022 Stoelting Conference of the Anesthesia Patient Safety Foundation - Anesthesia Patient Safety Foundation (apsf.org) https://pubmed.ncbi.nlm.nih.gov/32809751/ AANA Documenting Anesthesia Care, 2016 https://issuu.com/aanapublishing/docs/4_-_documenting_anesthesia_care?fr=sNDZlYTU2NDAxMjU Standards for Basic Anesthetic Monitoring (asahq.org), 2020 https://www.asahq.org/standards-and-practice-parameters/standards-for-basic-anesthetic-monitoring Positive Pressure Ventilation https://pubmed.ncbi.nlm.nih.gov/32809751/ AANA Documenting Anesthesia Care, 2016 https://issuu.com/aanapublishing/docs/4_-_documenting_anesthesia_care?fr=sNDZlYTU2NDAxMjU Standards for Basic Anesthetic Monitoring (asahq.org), 2020 https://www.asahq.org/standards-and-practice-parameters/standards-for-basic-anesthetic-monitoring |
| 4-C-10 | AANA Documenting Anesthesia Care, 2016 https://issuu.com/aanapublishing/docs/4_-_documenting_anesthesia_care?fr=sNDZlYTU2NDAxMjU Standards for Basic Anesthetic Monitoring (asahq.org), 2020 https://www.asahq.org/standards-and-practice-parameters/standards-for-basic-anesthetic-monitoring Understanding noninvasive ventilation, 2021 https://www.myamericannurse.com/understanding-noninvasive-ventilation/ |
| 4-C-11 | AANA Documenting Anesthesia Care, 2016 https://issuu.com/aanapublishing/docs/4_-_documenting_anesthesia_care?fr=sNDZlYTU2NDAxMjU Standards for Basic Anesthetic Monitoring (asahq.org), 2020 https://www.asahq.org/standards-and-practice-parameters/standards-for-basic-anesthetic-monitoring |
| 4-C-12 | AANA Documenting Anesthesia Care, 2016 https://issuu.com/aanapublishing/docs/4_-_documenting_anesthesia_care?fr=sNDZlYTU2NDAxMjU Standards for Basic Anesthetic Monitoring (asahq.org), 2020 https://www.asahq.org/standards-and-practice-parameters/standards-for-basic-anesthetic-monitoring Understanding noninvasive ventilation, 2021 https://www.myamericannurse.com/understanding-noninvasive-ventilation/ Indian Journal of Aneaesthesia, Anaaesthesia Gas Supply: Gas Cylinders, 2013 https://www.ncbi.nlm.nih.gov/pmc/articles/PMC3821267/ |
| 4-C-13 | AANA Documenting Anesthesia Care, 2016 https://issuu.com/aanapublishing/docs/4_-_documenting_anesthesia_care?fr=sNDZlYTU2NDAxMjU Standards for Basic Anesthetic Monitoring (asahq.org), 2020 https://www.asahq.org/standards-and-practice-parameters/standards-for-basic-anesthetic-monitoring International Standards Organization (ISO) ISO5358”1992(en) Anaesthetic machines for use with humans, 1992 https://www.iso.org/obp/ui/#iso:std:iso:5358:ed-2:v1:en ISO5358”1992(en) Continuous flow inhalational anaesthetic apparatus (anaesthetic machine) for use with humans, 1992 https://cdn.standards.iteh.ai/samples/11384/8da97623dbe74f6ab594cc26391c7c76/ISO-5358-1980.pdf |
| 4-C-14 | AANA Documenting Anesthesia Care, 2016 https://issuu.com/aanapublishing/docs/4_-_documenting_anesthesia_care?fr=sNDZlYTU2NDAxMjU American Nurse, Understanding end-tidal CO2 monitoring, 2012 https://www.myamericannurse.com/understanding-end-tidal-co2-monitoring/ Standards for Basic Anesthetic Monitoring (asahq.org), 2020 https://www.asahq.org/standards-and-practice-parameters/standards-for-basic-anesthetic-monitoring ASA Statement on Continuum of Depth of Sedation: Definition of General Anesthesia and Levels of Sedation/Analgesia https://www.asahq.org/standards-and-practice-parameters/statement-on-continuum-of-depth-of-sedation-definition-of-general-anesthesia-and-levels-of-sedation-analgesia |
| 4-C-15 | Standards for Basic Anesthetic Monitoring (asahq.org), 2020 https://www.asahq.org/standards-and-practice-parameters/standards-for-basic-anesthetic-monitoring International Standards Organization (ISO) ISO5358”1992(en) Anaesthetic machines for use with humans, 1992 https://www.iso.org/obp/ui/#iso:std:iso:5358:ed-2:v1:en ISO5358”1992(en) Continuous flow inhalational anaesthetic apparatus (anaesthetic machine) for use with humans, 1992 https://cdn.standards.iteh.ai/samples/11384/8da97623dbe74f6ab594cc26391c7c76/ISO-5358-1980.pdf |
| 4-C-16 | National Library of Medicine, Pin Index Safety, 2022 https://www.ncbi.nlm.nih.gov/books/NBK532908/#article-27225.s1 Anaesthesia Gas Supply: Gas Cylinders - PMC, 2013 https://www.ncbi.nlm.nih.gov/pmc/articles/PMC3821267/ |
| 4-C-17 | OSHA Anesthetic Gases: Guidelines for Workplace Exposures, 2000 https://www.osha.gov/waste-anesthetic-gases/workplace-exposures-guidelines |
| 4-E-7 | NFPA 99, 2012 Chapter 5 Gas and Vacuum Systems https://up.codes/viewer/centers-for-medicare-and-medicaid-services/nfpa-99-2012/chapter/5/gas-and-vacuum-systems#5 World Class Healthcare Compliance, Medical Gas Systems: The Definitive Guideline https://f.hubspotusercontent20.net/hubfs/479873/bonus%20content/medical-gas-systems-guide.pdf?__hstc=1717358.4f83df3156ea0e81eee9d942814fad43.1726598873503.1726598873503.1726598873503.1&__hssc=1717358.1.1726598873503&__hsfp=2901579814&hsCtaTracking=4a8af79e-62cb-4897-ae24-627d87fe0fcc%7C030bdec8-b6d4-44c4-b056-b9088173751a |
| 5-A-3 | A Study on Performance and Safety Tests of Defibrillator Equipment - PMC (nih.gov) Automated External Defibrillators (AEDs) ¦ FDA FDA-Approved AED Devices https://www.fda.gov/medical-devices/cardiovascular-devices/automated-external-defibrillators-aeds#approved |
| 5-B-2 | The No-Nonsense Guide to NFPA 110 Compliance for Emergency Power Systems https://ckpower.com/wp-content/uploads/2018/04/NFPA-110-Final.pdf CMS S&C 07-21 Generators in Ambulatory Surgical Centers (ASC) www.cms.gov/Medicare/Provider-Enrollment-and-Certification/SurveyCertificationGenInfo/Downloads/SCLetter07-21.pdf |
| 6-A-1 | AORN Guidelines in Practice: Medication Safety https://aornjournal.onlinelibrary.wiley.com/doi/epdf/10.1002/aorn.14034 USP 797 Key Changes https://www.ashp.org/-/media/assets/pharmacy-practice/resource-centers/compounding/docs/USP-797-Key-Changes.pdf ASA Statement on Security of Medications in the Operating Room, 2023 https://www.asahq.org/standards-and-practice-parameters/statement-on-security-of-medications-in-the-operating-room AANA Safe Injection Guidelines for Needle and Syringe Use, 2022 https://issuu.com/aanapublishing/docs/8_-_safe_injection_guidelines_for_needle_and_syrin?fr=sNzEyZTU2NDAxMjU American Society of Ophthalmic Registered Nurses (ASORN) Use of Multi-dose Medications https://asorn.org/professional-resources/policies-and-recommendations/asorn-recommended-practice-use-of-multi-dose-medications/ Using Multidose Eyedrops in a Health Care Setting, 2014 https://jamanetwork.com/journals/jamaophthalmology/article-abstract/1901216 USP General Chapter Labeling: Expiration Date FAQs December 2023 https://go.usp.org/USP_GC_7_FAQs?_gl=1*9t81ki*_gcl_au*MTE5NjEzMzM3OS4xNzA3NDE4MTA0*_ga*MTY4NDc2MjkyOS4xNzA3NDE4MTA1*_ga_DTGQ04CR27*MTcwNzQxODEwNC4xLjAuMTcwNzQxODEwNC4wLjAuMA |
| 6-A-2 | CDC Single-Dose or Multi-Dose https://www.cdc.gov/injection-safety/media/pdfs/Injection-Safety-For-Healthcare-P.pdf CDC Safe Injection Practices https://www.cdc.gov/injection-safety/hcp/clinical-guidance/index.html American Society of Ophthalmic Registered Nurses (ASORN) Use of Multi-dose Medications https://asorn.org/professional-resources/policies-and-recommendations/asorn-recommended-practice-use-of-multi-dose-medications/ Using Multidose Eyedrops in a Health Care Setting, 2014 https://jamanetwork.com/journals/jamaophthalmology/article-abstract/1901216 CDC Preventing Unsafe Infection Practices https://www.cdc.gov/injection-safety/hcp/clinical-safety/index.html#:~:text=Key%20points%20for%20multi%2Ddose%20vials%20*%20An,never%20exceed%20the%20manufacturer's%20original%20expiration%20date. |
| 6-A-5 | EPA Information for Hospitals, Pharmacies and Other Businesses that Have Medicines to Dispose https://www.epa.gov/household-medication-disposal/information-hospitals-pharmacies-and-other-businesses-have-medicines Search List of Extended Use Dates to Assist with Drug Shortages ¦ FDA https://www.fda.gov/drugs/drug-shortages/search-list-extended-use-dates-assist-drug-shortages |
| 6-A-6 | ISMP Launches New Perioperative Medication Safety Guidelines https://home.ecri.org/blogs/ismp-news/ismp-launches-new-perioperative-medication-safety-guidelines ISMP Facility Endorsements https://www.ismp.org/sites/default/files/attachments/2021-08/PerioperativeAssessment-Endorsers-20210817.pdf (Please note that QUAD A is an endorsing organization!) ASA Statement on Security of Medications in the Operating Room, 2023 https://www.asahq.org/standards-and-practice-parameters/statement-on-security-of-medications-in-the-operating-room AANA USP General Chapter 797, 2023 https://www.aana.com/practice/clinical-practice/clinical-practice-resources/usp-general-chapter/ AANA Safe Injection Guidelines for Needle and Syringe Use, 2022 www.aana.com/PracticeManual. AORN Guideline for Medication Safety, 2023 https://aornguidelines.org/guidelines/content?sectionid=173722338&view=book#173722338 |
| 6-A-8 | AORN Guidelines in Practice: Medication Safety https://aornjournal.onlinelibrary.wiley.com/doi/epdf/10.1002/aorn.14034 USP 797 Key Changes https://www.ashp.org/-/media/assets/pharmacy-practice/resource-centers/compounding/docs/USP-797-Key-Changes.pdf ASA Statement on Security of Medications in the Operating Room, 2023 https://www.asahq.org/standards-and-practice-parameters/statement-on-security-of-medications-in-the-operating-room AANA Safe Injection Guidelines for Needle and Syringe Use, 2022 https://issuu.com/aanapublishing/docs/8_-_safe_injection_guidelines_for_needle_and_syrin?fr=sNzEyZTU2NDAxMjU American Society of Ophthalmic Registered Nurses (ASORN) Use of Multi-dose Medications https://asorn.org/professional-resources/policies-and-recommendations/asorn-recommended-practice-use-of-multi-dose-medications/ Using Multidose Eyedrops in a Health Care Setting, 2014 https://jamanetwork.com/journals/jamaophthalmology/article-abstract/1901216 USP General Chapter Labeling: Expiration Date FAQs December 2023 https://go.usp.org/USP_GC_7_FAQs?_gl=1*9t81ki*_gcl_au*MTE5NjEzMzM3OS4xNzA3NDE4MTA0*_ga*MTY4NDc2MjkyOS4xNzA3NDE4MTA1*_ga_DTGQ04CR27*MTcwNzQxODEwNC4xLjAuMTcwNzQxODEwNC4wLjAuMA |
| 6-C-2 | Clinical Procedures for Safe Patient Care, 8.7 Transfusion of Blood and Blood Products, 2015 https://opentextbc.ca/clinicalskills/chapter/blood-and-blood-product-administration/ |
| 6-D-1 | DEA Practitioner’s Manual, An Informational Outline of the Controlled Substance Act www.deadiversion.usdoj.gov/GDP/(DEA-DC-071)(EO-DEA226)_Practitioner's_Manual_(final).pdf DEA Registration Q&A https://deadiversion.usdoj.gov/faq/registration-faq.html Narcotic Drugs: Handling and Documentation,2023 www.rn.org/courses/coursematerial-10004.pdf |
| 6-D-3 | DEA Practitioner’s Manual, An Informational Outline of the Controlled Substance Act www.deadiversion.usdoj.gov/GDP/(DEA-DC-071)(EO-DEA226)_Practitioner's_Manual_(final).pdf DEA Registration Q&A https://deadiversion.usdoj.gov/faq/registration-faq.html Narcotic Drugs: Handling and Documentation,2023 www.rn.org/courses/coursematerial-10004.pdf DEA Theft/Loss Reporting https://www.deadiversion.usdoj.gov/21cfr_reports/theft/theft-loss.html |
| 6-D-4 | DEA Practitioner’s Manual, An Informational Outline of the Controlled Substance Act www.deadiversion.usdoj.gov/GDP/(DEA-DC-071)(EO-DEA226)_Practitioner's_Manual_(final).pdf DEA Registration Q&A https://deadiversion.usdoj.gov/faq/registration-faq.html Narcotic Drugs: Handling and Documentation,2023 www.rn.org/courses/coursematerial-10004.pdf |
| 6-D-5 | DEA Practitioner’s Manual, An Informational Outline of the Controlled Substance Act www.deadiversion.usdoj.gov/GDP/(DEA-DC-071)(EO-DEA226)_Practitioner's_Manual_(final).pdf DEA Registration Q&A https://deadiversion.usdoj.gov/faq/registration-faq.html Narcotic Drugs: Handling and Documentation,2023 www.rn.org/courses/coursematerial-10004.pdf |
| 6-E-1 | Crash cart supply & equipment checklist for medical emergencies https://acls.net/acls-crash-cart AHA CPR & ECC Guidelines Algorithms https://cpr.heart.org/en/resuscitation-science/cpr-and-ecc-guidelines/algorithms |
| 6-E-4 | Crash cart supply & equipment checklist for medical emergencies https://acls.net/acls-crash-cart AHA CPR & ECC Guidelines Algorithms https://cpr.heart.org/en/resuscitation-science/cpr-and-ecc-guidelines/algorithms |
| 6-E-5 | AHA Cardiac Emergency Response Plan https://cpr.heart.org/-/media/CPR-Files/Training-Programs/2024-CERP/2024-CERP-Resources/CERP-Drills-and-Evaluation.pdf?sc_lang=en |
| 6-F-4 | Stability of Succinylcholine Solutions Stored at Room Temperature www.researchgate.net/publication/6456254_Stability_of_succinylcholine_solutions_stored_at_room_temperature_studied_by_nuclear_magnetic_resonance_spectroscopy Succinylcholine Chloride, 2023 https://www.ncbi.nlm.nih.gov/books/NBK499984/ |
| 6-F-5 | National Library of Medicine, Reversal agents in anaesthesia and critical care, 2015 https://www.ncbi.nlm.nih.gov/pmc/articles/PMC4645356/ |
| 6-F-10 | Rescue Medications for Seizures https://www.verywellhealth.com/medications-used-for-seizure-emergencies-5100921 Seizure Rescue Therapies https://www.epilepsy.com/treatment/seizure-rescue-therapies#What-are- Medical management of status epilepticus: Emergency room to intensive care unit https://www.seizure-journal.com/article/S1059-1311(19)30204-3/fulltext |
| 6-F-12 | Internet Book of Critical Care (IBCC) Local Anesthetic Systemic Toxicity (LAST), 2021 https://emcrit.org/ibcc/last/ |
| 6-G-1 | AANA Malignant Hypothermia Crisis Prevention and Treatment https://issuu.com/aanapublishing/docs/11_-_malignant_hyperthermia_crisis_preparedness_an AANA Malignant Hyperthermia https://www.aana.com/practice/clinical-practice/clinical-practice-resources/malignant-hyperthermia/ MHAUS Recommendations for Managing an MH Crisis https://www.mhaus.org/healthcare-professionals/ AORN Competency Verification Tool: Malignant Hyperthermia - RN https://aornguidelines.org/tool/content?gbosid=396610 MHAUS Recommendations for Managing an MH Crisis https://www.mhaus.org/healthcare-professionals/ |
| 6-G-2 | MHAUS Frequently Asked Questions, 2024 https://www.mhaus.org/faqs MHAUS Recommendations for Managing an MH Crisis, 2024 https://www.mhaus.org/healthcare-professionals/ |
| 6-G-5 | MHAUS Recommendations for Managing an MH Crisis https://www.mhaus.org/healthcare-professionals/ MH Crisis Hotline https://www.mhaus.org/healthcare-professionals/ 1-800-644-9737, outside of North America 001-209-417-3722 Be prepared to give your name, number, facility, and email. |
| 6-G-9 | MHAUS Recommendations https://www.mhaus.org/healthcare-professionals/mhaus-recommendations/ |
| 6-G-10 | NSHHR Reporting https://anest.ufl.edu/namhr/namhr-report-forms/ |
| 7-A-1 | CDC’s Core Infection Prevention and Control Practices for Safe Healthcare Delivery in All Settings, 2024 https://www.cdc.gov/infection-control/hcp/core-practices/index.html CDC Standard Precautions for All Patient Care, 2024 https://www.cdc.gov/infection-control/hcp/basics/standard-precautions.html?CDC_AAref_Val=https://www.cdc.gov/infectioncontrol/basics/standard-precautions.html FDA Personal Protective Equipment for Infection Control, 2020 https://www.fda.gov/medical-devices/general-hospital-devices-and-supplies/personal-protective-equipment-infection-control WHO Standard Precautions for the Prevention and Control of Infections https://iris.who.int/bitstream/handle/10665/356855/WHO-UHL-IHS-IPC-2022.1-eng.pdf?sequence=1 |
| 7-A-7 | WHO Infection prevention and control – Hand hygiene https://www.who.int/teams/integrated-health-services/infection-prevention-control/hand-hygiene CDC Clinical Safety Hand Hygiene for Healthcare Workers https://www.cdc.gov/clean-hands/hcp/clinical-safety/index.html |
| 7-A-10 | AORN Surgical Attire in the Operating Room, an AORN Guideline https://www.aorn.org/article/surgical-attire-in-the-operating-room--an-aorn-guideline#:~:text=The%20AORN%20guideline%20for%20surgical,surgical%20attire%20guidelines%20from%20AORN CDC's Core Infection Prevention and Control Practices for Safe Healthcare Delivery in All Settings, 2024 https://www.cdc.gov/infection-control/hcp/core-practices/index.html CDC Laundry and Bedding, 2003 https://www.cdc.gov/infection-control/hcp/environmental-control/laundry-bedding.html Operating Theatre Attire and Personal Protective Equipment, 2016 https://onlinelibrary.wiley.com/doi/10.1002/9781119548935.ch6 WHO Infection Prevent and Control https://www.who.int/health-topics/infection-prevention-and-control#tab=tab_1 |
| 7-B-1 | AORN e Guidelines for Hand Hygiene https://aornjournal.onlinelibrary.wiley.com/doi/abs/10.1002/aorn.13964 CDC Clinical Safety: Hand Hygiene for Healthcare Workers https://www.cdc.gov/clean-hands/hcp/clinical-safety/index.html WHO Infection prevention and control – Hand hygiene https://www.who.int/teams/integrated-health-services/infection-prevention-control/hand-hygiene Outpatient Surgery, How to Perform a Proper Hand Scrub, 2009 https://www.aorn.org/outpatient-surgery/article/2009-May-how-to-perform-a-proper-hand-scrub |
| 7-C-2 | ANSI/AAMI ST79:2017 & 2020 Amendments; Comprehensive guide to steam sterilization and sterility assurance in health care facilities https://www.standards-global.com/wp-content/uploads/pdfs/preview/1997188 |
| 7-C-4 | FDA Reprocessing Single-Use Medical Devices: Information for Health Care Facilities https://www.fda.gov/medical-devices/products-and-medical-procedures/reprocessing-single-use-medical-devices-information-health-care-facilities CDC Reuse of Single-Use Devices, 2008 https://www.cdc.gov/infection-control/hcp/disinfection-sterilization/reuse-single-use-devices.html |
| 7-D-1 | AAO Guidelines for the Cleaning and Sterilization of Intraocular Surgical Instruments - 2018 https://www.aao.org/education/clinical-statement/guidelines-cleaning-sterilization-intraocular ANSI/AAMI ST79:2017/(R)2022; Comprehensive guide to steam sterilization and sterility assurance in health care facilities https://array.aami.org/doi/book/10.2345/9781570208027 CDC Sterilization Practices https://www.cdc.gov/infection-control/hcp/disinfection-sterilization/sterilizing-practices.html CDC Recommendations for Disinfection and Sterilization Guidelines in Healthcare Facilities, 2023 https://www.cdc.gov/infection-control/hcp/disinfection-sterilization/summary-recommendations.html#tocBox |
| 7-D-2 | ANSI/AAMI ST79:2017 & 2020 Amendments; Comprehensive guide to steam sterilization and sterility assurance in health care facilities https://www.standards-global.com/wp-content/uploads/pdfs/preview/1997188 AAO Guidelines for the Cleaning and Sterilization of Intraocular Surgical Instruments - 2018 https://www.aao.org/education/clinical-statement/guidelines-cleaning-sterilization-intraocular Toxic anterior segment syndrome (TASS): A review and update, 2023 https://www.ncbi.nlm.nih.gov/pmc/articles/PMC10841787/ WHO Decontamination and Reprocessing of Medical Devices for Health-care Facilities https://iris.who.int/server/api/core/bitstreams/d128e952-f919-4462-bdb0-392312908782/content |
| 7-D-3 | CDC Ethylene Oxide “Gas” Sterilization https://www.cdc.gov/infection-control/hcp/disinfection-sterilization/ethylene-oxide-sterilization.html CDC Peracetic Acid Sterilization https://www.cdc.gov/infection-control/hcp/disinfection-sterilization/peracetic-acid-sterilization.html |
| 7-D-5 | Sample Sterilization Log Sheet https://www.crosstexbms.com/media/1216/0918-ddoc00400-rev-a_sterilization-log-sheet.pdf Sample In-Office Biological Monitoring System - Record Keeper https://www.crosstexbms.com/media/1170/recordkeeperlog_ctx1140.pdf CDC Recommendations for Disinfection and Sterilization Guidelines in Healthcare Facilities, 2023 https://www.cdc.gov/infection-control/hcp/disinfection-sterilization/summary-recommendations.html#tocBox CDC Sterilization Practices, 2023 https://www.cdc.gov/infection-control/hcp/disinfection-sterilization/sterilizing-practices.html Halyard Health Sterilization Pouches: What You Need to Know About the Essential Medical Sterilization Product, 2023 https://www.halyardhealth.com/articles/sterilization/sterilization-pouches-what-you-need-to-know WHO Decontamination and Reprocessing of Medical Devices for Health-care Facilities https://iris.who.int/bitstream/handle/10665/250232/9789241549851-eng.pdf?sequence=1 Crosstex Resources: Compliance Support and Information https://www.crosstexbms.com/resources/tools/ |
| 7-D-6 | CDC Sterilization Practices, 2023 https://www.cdc.gov/infection-control/hcp/disinfection-sterilization/sterilizing-practices.html Understanding the Parts and Functions of Surgical Instruments for Sterile Processing, 2024 https://sterileprocessingtech.org/understanding-the-parts-and-functions-of-surgical-instruments-for-sterile-processing/ WHO Decontamination and Reprocessing of Medical Devices for Health-care Facilities https://iris.who.int/bitstream/handle/10665/250232/9789241549851-eng.pdf?sequence=1 |
| 7-D-7 | CDC Sterilization Practices, 2023 https://www.cdc.gov/infection-control/hcp/disinfection-sterilization/sterilizing-practices.html WHO Decontamination and Reprocessing of Medical Devices for Health-care Facilities https://iris.who.int/bitstream/handle/10665/250232/9789241549851-eng.pdf?sequence=1 |
| 7-D-9 | CDC Sterilization Practices, 2023 https://www.cdc.gov/infection-control/hcp/disinfection-sterilization/sterilizing-practices.html CDC Best Practices for Sterilization Monitoring in Dental Settings, 2024 www.cdc.gov/oralhealth/infectioncontrol/faqs/monitoring.htmlCDC Sterilization Practices, 2023 https://www.cdc.gov/infection-control/hcp/disinfection-sterilization/sterilizing-practices.html CDC Best Practices for Sterilization Monitoring in Dental Settings, 2024 www.cdc.gov/oralhealth/infectioncontrol/faqs/monitoring.html |
| 7-D-10 | CDC Sterilization Practices, 2023 https://www.cdc.gov/infection-control/hcp/disinfection-sterilization/sterilizing-practices.html CDC Best Practices for Sterilization Monitoring in Dental Settings, 2024 www.cdc.gov/oralhealth/infectioncontrol/faqs/monitoring.html |
| 7-D-11 | ANSI/AAMI ST79:2017/(R)2022; Comprehensive guide to steam sterilization and sterility assurance in health care facilities https://array.aami.org/doi/book/10.2345/9781570208027 APIC Immediate-Use Steam Sterilization https://www.apic.org/Resource_/TinyMceFileManager/Position_Statements/Immediate_Use_Steam_Sterilization_022011.pdf CDC Flash Sterilization https://www.cdc.gov/infection-control/hcp/disinfection-sterilization/flash-sterilization.html |
| 7-E-1 | CDC Disinfection of Healthcare Equipment, 2023 https://www.cdc.gov/infection-control/hcp/disinfection-sterilization/healthcare-equipment.html WHO Decontamination and Reprocessing of Medical Devices for Health-care Facilities https://iris.who.int/bitstream/handle/10665/250232/9789241549851-eng.pdf?sequence=1 |
| 7-E-2 | Essential Elements of a Reprocessing Program for Flexible Endoscopes – Recommendations of the Healthcare Infection Control Practices Advisory Committee (HICPAC), 2015 https://www.cdc.gov/hicpac/media/pdfs/essential-elements-508.pdf CDC Disinfection and Sterilization – Summary, 2023 https://www.cdc.gov/infection-control/hcp/disinfection-and-sterilization/?CDC_AAref_Val=https://www.cdc.gov/infectioncontrol/guidelines/disinfection/index.htm |
| 7-E-3 | CDC Guidelines for Environmental Infection Control in Health-Care Facilities (2003) Appendix B. Air https://www.cdc.gov/infection-control/hcp/environmental-control/appendix-b-air.html |
| 7-F-2 | CDC Appendix B2 – Cleaning procedure summaries for specialized patient areas https://www.cdc.gov/healthcare-associated-infections/hcp/cleaning-global/appendix-b2.html |
| 7-F-3 | CDC Environmental Cleaning Procedures https://www.cdc.gov/healthcare-associated-infections/hcp/cleaning-global/procedures.html#:~:text=Confine%20the%20spill%20and%20wipe,detergent%20and%20warm%20water%20solution. OSHA Bloodborne Pathogens and Needlestick Prevention https://www.osha.gov/bloodborne-pathogens/standards |
| 7-F-4 | OSHA Worker Protections Against Occupational Exposure to Infectious Diseases https://www.osha.gov/bloodborne-pathogens/worker-protections OSHA Bloodborne pathogens https://www.osha.gov/laws-regs/regulations/standardnumber/1910/1910.1030 CDC Environmental Cleaning Procedures https://www.cdc.gov/healthcare-associated-infections/hcp/cleaning-global/procedures.html#:~:text=Confine%20the%20spill%20and%20wipe,detergent%20and%20warm%20water%20solution. |
| 7-F-5 | CDC Environmental Cleaning Procedures, 2024 https://www.cdc.gov/healthcare-associated-infections/hcp/cleaning-global/procedures.html |
| 7-F-6 | CDC Cleaning, 2023 https://www.cdc.gov/infection-control/hcp/disinfection-sterilization/cleaning.html CDC Disinfection and Sterilization Guidelines https://www.cdc.gov/infection-control/hcp/disinfection-and-sterilization/index.html |
| 8-B-2 | Implementation Manual: WHO Surgical Safety Checklist 2009 https://iris.who.int/bitstream/handle/10665/44186/9789241598590_eng.pdf?sequence=1 |
| 8-B-23 | Completion of the Updated Caprini Risk Assessment Model https://www.ncbi.nlm.nih.gov/pmc/articles/PMC6714938/ Caprini Risk Assessment Model for Venous thromboembolism, Recommended Intervention for Thromboprophylaxis Based on Risk of VTE. https://thrombosiscanada.ca/wp-content/uploads/2017/04/VTE-Risk-Assessment-Tool-Caprini-Score-Card-Eng-30Apr2018.pdf |
| 8-G-1 | ASC Quality Collaboration – Prevention of Wrong Site Surgery Toolkit https://ascquality.org/toolkits/wrong-site-surgery/ WHO Safety Checklist Tool https://cdn.who.int/media/docs/default-source/patient-safety/safe-surgery/starter_kit-sssl.pdf?sfvrsn=9cef94b8_7 WHO Surgical Safety Checklist https://www.who.int/teams/integrated-health-services/patient-safety/research/safe-surgery/tool-and-resources WHO Surgical Safety Checklist Adaptation Guide https://cdn.who.int/media/docs/default-source/patient-safety/safe-surgery/checklist-adaptation.pdf?sfvrsn=dcbb632f_6 The WHO safer surgery checklist time out procedure revisited: Strategies to optimize compliance and safety https://www.sciencedirect.com/science/article/pii/S174391911930158X AANA Patient-Centered Perianesthesia Communication, 2023 https://issuu.com/aanapublishing/docs/9_-_patient-centered_perianesthesia_communication AORN, Wrong Surgeries Up 26% in 2023 https://www.aorn.org/about-aorn/aorn-newsroom/periop-today-newsletter/periop-today-newsletter/wrong-surgeries-up-26--in-2023 |
| 8-G-2 | WHO Safety Checklist Tool https://cdn.who.int/media/docs/default-source/patient-safety/safe-surgery/starter_kit-sssl.pdf?sfvrsn=9cef94b8_7 WHO Surgical Safety Checklist https://www.who.int/teams/integrated-health-services/patient-safety/research/safe-surgery/tool-and-resources WHO Surgical Safety Checklist Adaptation Guide https://cdn.who.int/media/docs/default-source/patient-safety/safe-surgery/checklist-adaptation.pdf?sfvrsn=dcbb632f_6 The WHO safer surgery checklist time out procedure revisited: Strategies to optimize compliance and safety https://www.sciencedirect.com/science/article/pii/S174391911930158X AANA Patient-Centered Perianesthesia Communication, 2023 https://issuu.com/aanapublishing/docs/9_-_patient-centered_perianesthesia_communication AORN, Wrong Surgeries Up 26% in 2023 https://www.aorn.org/about-aorn/aorn-newsroom/periop-today-newsletter/periop-today-newsletter/wrong-surgeries-up-26--in-2023 |
| 8-H-1 | AANA Documenting Anesthesia Care https://issuu.com/aanapublishing/docs/4_-_documenting_anesthesia_care?fr=sNDZlYTU2NDAxMjU AANA Standards for Nurse Anesthesia Practice https://issuu.com/aanapublishing/docs/standards_for_nurse_anesthesia_practice_2.23?fr=sOGNhNjU2NDAxMjU ASA Standards for Basic Anesthetic Monitoring, 2020 https://www.asahq.org/standards-and-practice-parameters/standards-for-basic-anesthetic-monitoring ASA Practice Guidelines for Sedation and Analgesia by Non-Anesthesiologists https://pubs.asahq.org/anesthesiology/article/96/4/1004/39315/Practice-Guidelines-for-Sedation-and-Analgesia-by |
| 8-H-2 | AANA Documenting Anesthesia Care https://issuu.com/aanapublishing/docs/4_-_documenting_anesthesia_care?fr=sNDZlYTU2NDAxMjU AANA Standards for Nurse Anesthesia Practice https://issuu.com/aanapublishing/docs/standards_for_nurse_anesthesia_practice_2.23?fr=sOGNhNjU2NDAxMjU ASA Standards for Basic Anesthetic Monitoring, 2020 https://www.asahq.org/standards-and-practice-parameters/standards-for-basic-anesthetic-monitoring ASA Practice Guidelines for Sedation and Analgesia by Non-Anesthesiologists https://pubs.asahq.org/anesthesiology/article/96/4/1004/39315/Practice-Guidelines-for-Sedation-and-Analgesia-by |
| 8-H-3 | AANA Documenting Anesthesia Care https://issuu.com/aanapublishing/docs/4_-_documenting_anesthesia_care?fr=sNDZlYTU2NDAxMjU AANA Standards for Nurse Anesthesia Practice https://issuu.com/aanapublishing/docs/standards_for_nurse_anesthesia_practice_2.23?fr=sOGNhNjU2NDAxMjU ASA Standards for Basic Anesthetic Monitoring, 2020 https://www.asahq.org/standards-and-practice-parameters/standards-for-basic-anesthetic-monitoring ASA Practice Guidelines for Sedation and Analgesia by Non-Anesthesiologists https://pubs.asahq.org/anesthesiology/article/96/4/1004/39315/Practice-Guidelines-for-Sedation-and-Analgesia-by |
| 8-H-4 | AANA Documenting Anesthesia Care https://issuu.com/aanapublishing/docs/4_-_documenting_anesthesia_care?fr=sNDZlYTU2NDAxMjU AANA Standards for Nurse Anesthesia Practice https://issuu.com/aanapublishing/docs/standards_for_nurse_anesthesia_practice_2.23?fr=sOGNhNjU2NDAxMjU ASA Standards for Basic Anesthetic Monitoring, 2020 https://www.asahq.org/standards-and-practice-parameters/standards-for-basic-anesthetic-monitoring ASA Practice Guidelines for Sedation and Analgesia by Non-Anesthesiologists https://pubs.asahq.org/anesthesiology/article/96/4/1004/39315/Practice-Guidelines-for-Sedation-and-Analgesia-by |
| 8-H-5 | AANA Documenting Anesthesia Care https://issuu.com/aanapublishing/docs/4_-_documenting_anesthesia_care?fr=sNDZlYTU2NDAxMjU AANA Standards for Nurse Anesthesia Practice https://issuu.com/aanapublishing/docs/standards_for_nurse_anesthesia_practice_2.23?fr=sOGNhNjU2NDAxMjU ASA Standards for Basic Anesthetic Monitoring, 2020 https://www.asahq.org/standards-and-practice-parameters/standards-for-basic-anesthetic-monitoring ASA Practice Guidelines for Sedation and Analgesia by Non-Anesthesiologists https://pubs.asahq.org/anesthesiology/article/96/4/1004/39315/Practice-Guidelines-for-Sedation-and-Analgesia-by |
| 8-H-9 | AANA Documenting Anesthesia Care https://issuu.com/aanapublishing/docs/4_-_documenting_anesthesia_care?fr=sNDZlYTU2NDAxMjU AANA Standards for Nurse Anesthesia Practice https://issuu.com/aanapublishing/docs/standards_for_nurse_anesthesia_practice_2.23?fr=sOGNhNjU2NDAxMjU ASA Standards for Basic Anesthetic Monitoring, 2020 https://www.asahq.org/standards-and-practice-parameters/standards-for-basic-anesthetic-monitoring ASA Practice Guidelines for Sedation and Analgesia by Non-Anesthesiologists https://pubs.asahq.org/anesthesiology/article/96/4/1004/39315/Practice-Guidelines-for-Sedation-and-Analgesia-by |
| 8-H-11 | AANA Documenting Anesthesia Care https://issuu.com/aanapublishing/docs/4_-_documenting_anesthesia_care?fr=sNDZlYTU2NDAxMjU AANA Standards for Nurse Anesthesia Practice https://issuu.com/aanapublishing/docs/standards_for_nurse_anesthesia_practice_2.23?fr=sOGNhNjU2NDAxMjU ASA Standards for Basic Anesthetic Monitoring, 2020 https://www.asahq.org/standards-and-practice-parameters/standards-for-basic-anesthetic-monitoring ASA Practice Guidelines for Sedation and Analgesia by Non-Anesthesiologists https://pubs.asahq.org/anesthesiology/article/96/4/1004/39315/Practice-Guidelines-for-Sedation-and-Analgesia-by |
| 8-H-12 | AANA Documenting Anesthesia Care https://issuu.com/aanapublishing/docs/4_-_documenting_anesthesia_care?fr=sNDZlYTU2NDAxMjU AANA Standards for Nurse Anesthesia Practice https://issuu.com/aanapublishing/docs/standards_for_nurse_anesthesia_practice_2.23?fr=sOGNhNjU2NDAxMjU ASA Standards for Basic Anesthetic Monitoring, 2020 https://www.asahq.org/standards-and-practice-parameters/standards-for-basic-anesthetic-monitoring ASA Practice Guidelines for Sedation and Analgesia by Non-Anesthesiologists https://pubs.asahq.org/anesthesiology/article/96/4/1004/39315/Practice-Guidelines-for-Sedation-and-Analgesia-by |
| 8-H-13 | AANA Documenting Anesthesia Care https://issuu.com/aanapublishing/docs/4_-_documenting_anesthesia_care?fr=sNDZlYTU2NDAxMjU AANA Standards for Nurse Anesthesia Practice https://issuu.com/aanapublishing/docs/standards_for_nurse_anesthesia_practice_2.23?fr=sOGNhNjU2NDAxMjU ASA Standards for Basic Anesthetic Monitoring, 2020 https://www.asahq.org/standards-and-practice-parameters/standards-for-basic-anesthetic-monitoring ASA Practice Guidelines for Sedation and Analgesia by Non-Anesthesiologists https://pubs.asahq.org/anesthesiology/article/96/4/1004/39315/Practice-Guidelines-for-Sedation-and-Analgesia-by |
| 8-H-14 | AANA Documenting Anesthesia Care https://issuu.com/aanapublishing/docs/4_-_documenting_anesthesia_care?fr=sNDZlYTU2NDAxMjU AANA Standards for Nurse Anesthesia Practice https://issuu.com/aanapublishing/docs/standards_for_nurse_anesthesia_practice_2.23?fr=sOGNhNjU2NDAxMjU ASA Standards for Basic Anesthetic Monitoring, 2020 https://www.asahq.org/standards-and-practice-parameters/standards-for-basic-anesthetic-monitoring ASA Practice Guidelines for Sedation and Analgesia by Non-Anesthesiologists https://pubs.asahq.org/anesthesiology/article/96/4/1004/39315/Practice-Guidelines-for-Sedation-and-Analgesia-by |
| 8-H-15 | AANA Documenting Anesthesia Care https://issuu.com/aanapublishing/docs/4_-_documenting_anesthesia_care?fr=sNDZlYTU2NDAxMjU AANA Standards for Nurse Anesthesia Practice https://issuu.com/aanapublishing/docs/standards_for_nurse_anesthesia_practice_2.23?fr=sOGNhNjU2NDAxMjU ASA Standards for Basic Anesthetic Monitoring, 2020 https://www.asahq.org/standards-and-practice-parameters/standards-for-basic-anesthetic-monitoring ASA Practice Guidelines for Sedation and Analgesia by Non-Anesthesiologists https://pubs.asahq.org/anesthesiology/article/96/4/1004/39315/Practice-Guidelines-for-Sedation-and-Analgesia-by |
| 8-H-16 | AANA Documenting Anesthesia Care https://issuu.com/aanapublishing/docs/4_-_documenting_anesthesia_care?fr=sNDZlYTU2NDAxMjU AANA Standards for Nurse Anesthesia Practice https://issuu.com/aanapublishing/docs/standards_for_nurse_anesthesia_practice_2.23?fr=sOGNhNjU2NDAxMjU ASA Standards for Basic Anesthetic Monitoring, 2020 https://www.asahq.org/standards-and-practice-parameters/standards-for-basic-anesthetic-monitoring ASA Practice Guidelines for Sedation and Analgesia by Non-Anesthesiologists https://pubs.asahq.org/anesthesiology/article/96/4/1004/39315/Practice-Guidelines-for-Sedation-and-Analgesia-by |
| 8-I-2 | AANA Patient-Centered Perianesthesia Communication, Transfer of Care https://issuu.com/aanapublishing/docs/9_-_patient-centered_perianesthesia_communication?fr=sNTcwZjU2NDAxMjU |
| 8-I-3 | AANA Patient Centered Perianesthesia Communication, Transfer of Care https://issuu.com/aanapublishing/docs/9_-_patient-centered_perianesthesia_communication?fr=sNTcwZjU2NDAxMjU ASA Standards for Basic Anesthetic Monitoring, 2020 https://www.asahq.org/standards-and-practice-parameters/standards-for-basic-anesthetic-monitoring |
| 8-I-4 | AANA Patient Centered Perianesthesia Communication, Transfer of Care https://issuu.com/aanapublishing/docs/9_-_patient-centered_perianesthesia_communication?fr=sNTcwZjU2NDAxMjU AHRQ Tool: Handoff, 2023 https://www.ahrq.gov/teamstepps-program/curriculum/communication/tools/handoff.html APSF Improving Post Anesthesia Care Unit (PACU) Handoff by Implementing a Succinct Checklist https://www.apsf.org/article/improving-post-anesthesia-care-unit-pacu-handoff-by-implementing-a-succinct-checklist/ ASA Standards for Basic Anesthetic Monitoring, 2020 https://www.asahq.org/standards-and-practice-parameters/standards-for-basic-anesthetic-monitoring |
| 8-I-5 | AANA Patient-Centered Perianesthesia Communication, Transfer of Care https://issuu.com/aanapublishing/docs/9_-_patient-centered_perianesthesia_communication?fr=sNTcwZjU2NDAxMjU AHRQ Tool: Handoff, 2023 https://www.ahrq.gov/teamstepps-program/curriculum/communication/tools/handoff.html APSF Improving Post Anesthesia Care Unit (PACU) Handoff by Implementing a Succinct Checklist https://www.apsf.org/article/improving-post-anesthesia-care-unit-pacu-handoff-by-implementing-a-succinct-checklist/ ASA Standards for Basic Anesthetic Monitoring, 2020 https://www.asahq.org/standards-and-practice-parameters/standards-for-basic-anesthetic-monitoring |
| 8-I-6 | AANA Patient-Centered Perianesthesia Communication, Transfer of Care https://issuu.com/aanapublishing/docs/9_-_patient-centered_perianesthesia_communication?fr=sNTcwZjU2NDAxMjU AHRQ Tool: Handoff, 2023 https://www.ahrq.gov/teamstepps-program/curriculum/communication/tools/handoff.html APSF Improving Post Anesthesia Care Unit (PACU) Handoff by Implementing a Succinct Checklist https://www.apsf.org/article/improving-post-anesthesia-care-unit-pacu-handoff-by-implementing-a-succinct-checklist/ ASA Standards for Basic Anesthetic Monitoring, 2020 https://www.asahq.org/standards-and-practice-parameters/standards-for-basic-anesthetic-monitoring |
| 8-J-6 | Standards for Postanesthesia Care, 2019 https://www.asahq.org/standards-and-practice-parameters/standards-for-postanesthesia-care Practice Guidelines for Postanesthetic Care: An Updated Report by the American Society of Anesthesiologists Task Force on Postanesthetic Care https://pubs.asahq.org/anesthesiology/article/118/2/291/13600/Practice-Guidelines-for-Postanesthetic-CareAn |
| 8-K-4 | AANA Postanesthesia Care https://issuu.com/aanapublishing/docs/12_-_postanesthesia_care?fr=sMWQxZTU2NDAxMjU Aldrete score https://www.sciencedirect.com/topics/nursing-and-health-professions/aldrete-score Practice Guidelines for Postanesthetic Care: An Updated Report by the American Society of Anesthesiologists Task Force on Postanesthetic Care https://pubs.asahq.org/anesthesiology/article/118/2/291/13600/Practice-Guidelines-for-Postanesthetic-CareAn |
| 8-K-8 | AANA position paper - Discharge After Sedation or Anesthesia on the Day of the Procedure: Patient Transportation With or Without a Responsible Adult https://issuu.com/aanapublishing/docs/8_-_discharge_after_sedation_or_anesthesia_on_the_?fr=sOTE3YjU2NDAxMjU Practice Guidelines for Postanesthetic Care: An Updated Report by the American Society of Anesthesiologists Task Force on Postanesthetic Care https://pubs.asahq.org/anesthesiology/article/118/2/291/13600/Practice-Guidelines-for-Postanesthetic-CareAn Legal Update: The Ride Home: Uber Complicated or Easy Lyft? https://www.aorn.org/outpatient-surgery/article/2019-February-legal-update-the-ride-home-uber-complicated-or-easy-lyft |
| 10-D-0 | Business Associate Contracts https://www.hhs.gov/hipaa/for-professionals/covered-entities/sample-business-associate-agreement-provisions/index.html Covered Entities and Business Associates https://www.hhs.gov/hipaa/for-professionals/covered-entities/index.html Model BAA https://www.hhs.gov/sites/default/files/model-business-associate-agreement.pdf HIPAA Business Associate Agreement https://www.hipaajournal.com/hipaa-business-associate-agreement/ QUAD Sample BAA https://6276684.fs1.hubspotusercontent-na1.net/hubfs/6276684/Applications/HIPAA%20BAA%202022%20122021-2.pdf |
| 11-C-5 | Guidelines for Teaching Physicians, Interns, & Residents www.cms.gov/files/document/guidelines-teaching-physicians-interns-and-residents.pdf |
| 11-C-7 | American Board of Medical Specialties, Verify Certification https://www.abms.org/board-certification/verify-certification/ Health Guide USA, Medical License Lookup https://www.healthguideusa.org/medical_license_lookup.htm National Council of State Boards of Nursing (NCSBN) Nurse Licensure Look Up https://www.nursys.com/ |
| 11-C-9 | What's a Nurse Practitioner (NP)? https://www.aanp.org/about/all-about-nps/whats-a-nurse-practitioner American Association of Physician Assistants https://www.aapa.org/career-central/become-a-pa/ |
| 11-C-10 | AMA Code of Ethics https://code-medical-ethics.ama-assn.org/principles |
| 11-D-8 | American Society of Dentist Anesthesiologists: Parameters of Care, 2018 https://pmc.ncbi.nlm.nih.gov/articles/PMC6148692/ Guidelines for the Use of Sedation and General Anesthesia by Dentists, 2016 https://www.ada.org/-/media/project/ada-organization/ada/ada-org/files/resources/research/ada_sedation_use_guidelines.pdf?rev=313932b4f5eb49e491926d4feac00a14&hash=C7C55D7182C639197569D4ED8EDCDDF6 Parameters of Care: Clinical Practice Guidelines for Oral and Maxillofacial Surgery, Anesthesia in Outpatient Facilities (AAOMS ParCare 2023) https://aaoms.org/wp-content/uploads/2024/08/parcare_anesthesia_in-outpatient.pdf |
| 11-G-2 | US Legal Direct Supervision Law and Legal Definition https://definitions.uslegal.com/d/direct-supervision/ |
| 11-H-3 | OSHA https://www.osha.gov/laws-regs/regulations/standardnumber/1910/1910.1020 Health Information Privacy https://www.hhs.gov/hipaa/for-professionals/privacy/laws-regulations/index.html ADA Title 42 Section 12101 Equal Opportunity for Individuals with Disabilities https://www.ada.gov/law-and-regs/ada/ |
| 11-H-5 | ADA Title 42 Section 12101 Equal Opportunity for Individuals with Disabilities https://www.ada.gov/law-and-regs/ada/ (Refer to Section 12112(d) Medical Examinations and Inquiries). |
| 11-H-10 | Healthcare Personnel Vaccination Recommendations www.immunize.org/wp-content/uploads/catg.d/p2017.pdf OSHA Hepatitis B Vaccination Protection https://www.osha.gov/publications/bbfact05 OSHA Hepatitis B Declination (Mandatory) www.osha.gov/laws-regs/regulations/standardnumber/1910/1910.1030AppA Hepatitis B Vaccination: Information for Healthcare Providers https://www.cdc.gov/vaccines/vpd/hepb/hcp/ |
| 11-H-11 | OSHA Hepatitis B Vaccination Protection https://www.osha.gov/publications/bbfact05 OSHA Hepatitis B Declination (Mandatory) www.osha.gov/laws-regs/regulations/standardnumber/1910/1910.1030AppA Hepatitis B Vaccination: Information for Healthcare Providers https://www.cdc.gov/vaccines/vpd/hepb/hcp/ |

SPECIAL THANKS & RECOGNITION

QUAD A and its Board of Directors would like to express their gratitude to the team of outstanding professionals who volunteered and contributed their vast knowledge, experience, expertise, and time to ensure that QUAD A is able to attain its mission of improving patient safety worldwide. Their months of extensive work, sacrifice, and collaboration are greatly appreciated.

| Dianne Bourque, RN, CNOR CASC Surgical Nursing & Infection Control, QUAD A Board of Directors Subject Matter Expert, QUAD A Surveyor | Hilda Hebberd, MSN, BSN, RN Standards Research & Development Analyst, QUAD A |
| --- | --- |
| Courtney Brashier, DDS, MSD Pediatric Dentistry & Anesthesia Subject Matter Expert | Richard Hillyer, DPT, MBA, MSM Outpatient Physical Therapy, Subject Matter Expert, VP of Accreditation, QUAD A Board of Directors, QUAD A Surveyor |
| Lillian Carson, RN Surgical Nursing Standards Committee Member, QUAD A Surveyor | Janice Izlar, DNAP, CRNA Anesthesia Standards Committee Chair, QUAD A Board of Directors |
| Patricia Chmielewski, MS, BSN, RN Standards Development & Research Analyst, QUAD A | Leon Kurtz, MD Gastroenterology & Infection Control Subject Matter Expert |
| Michele Closson Project Coordinator, QUAD A | Carson McCaffery, MSN, RN, CNOR, CNAMB, CSRN Ophthalmology Subject Matter Expert, QUAD A Surveyor |
| Elsie Crawford, RN, BSN, MHA Rural Healthcare Standards Committee Member, QUAD A Board of Directors, QUAD A Surveyor | Erik Painter MHA, COTA Outpatient Therapy Subject Matter Expert, QUAD A Surveyor |
| Debbi Conn, RN, HCRM Surgical Nursing Subject Matter Expert | Beverly Robins, MBA, BSN, RN Director of Survey Operations, QUAD A |
| Elethia Dean, DNP, RN Surgical Nursing & Rural Healthcare Standards Committee Member, QUAD A Surveyor | William Rosenblatt, MD Plastic Surgery President, QUAD A Board of Directors, QUAD A Surveyor |
| Bonnie Denholm, DNP, CNOR Surgical Nursing Standards Committee Member, QUAD A Board of Directors, QUAD A Surveyor | Monda Shaver, MSHM, BSN, RN Standards Development & Program Consultant, QUAD A |
| Monte Goldstein, MD Anesthesia Standards Committee Member, QUAD A Board of Directors. QUAD A Surveyor | Gil Weitzman, MD Gastroenterology Subject Matter Expert, QUAD A Board of Directors, QUAD A Surveyor |
| Abdussami Hadi, MD Pain Management Subject Matter Expert | Jonathan Wong, DMD Pediatric Dentistry & Anesthesia Subject Matter Expert |
| Randi Hamilton Marketing Director, QUAD A |  |

The American Association For Accreditation

Of Ambulatory Surgery Facilities

QUAD A OFFICE MAILING ADDRESS:

600 Central Ave. Ste 265

Highland Park, IL 60035

TOLL-FREE: +1-888-545-5222

PHONE: +1-847-775-1970

FAX: +1-847-775-1985

EMAIL: info@QUAD A.org

URL: www.quada.org