Non-Surgical Aesthetic & Wellness (MedSpa)

STANDARDS MANUAL

Version 1.0, Effective: March 12, 2026

TABLE OF CONTENTS

| Topic | Page # |
| --- | --- |
| Risk Stratification of Procedures | 5 |
| Survey Instructions | 11 |
| Standards Structure | 11 |
| Standards Book Layout | 12 |
| Scoring Compliance | 12 |
| Non-Surgical Aesthetic & Wellness (MedSpa) Standards |  |
| Section 1: Basic Mandates | 14 |
| Sub-section B: Basic Mandates | 14 |
| Sub-section D: Patient’s Rights | 14 |
| Sub-section E: QUAD A Mandated Reporting | 15 |
| Sub-section F: Patient Safety Data Reporting (PSDR) | 16 |
| Section 17: Non-Surgical Medical Spa | 17 |
| Sub-section A: Anesthesia Options | 17 |
| Sub-section B: Basic Mandates | 18 |
| Sub-section C: Layout | 19 |
| Sub-section D: Facility Environment | 19 |
| Sub-section E: Storage | 20 |
| Sub-section F: General Safety | 20 |
| Sub-section G: Facility Safety Manual | 21 |
| Sub-section H: Hazardous Agents | 21 |
| Sub-section I: Medical Hazardous Waste | 22 |
| Sub-section J: Fire Safety | 22 |
| Sub-section K: Exits | 22 |
| Sub-section L: Personnel Safety | 23 |
| Sub-section M: Equipment | 24 |
| Sub-section N: Emergency Equipment | 25 |
| Sub-section O: Required Protocols | 27 |
| Sub-section P: Medications | 30 |
| Sub-section Q: Infection Prevention & Control | 32 |
| Sub-section R: General Clinical Records | 35 |
| Sub-section S: Informed Consent | 38 |
| Sub-section T: Governing Body – Medical Director | 39 |
| Sub-section U: Quality Assurance & Performance Improvement | 42 |
| Sub-section V: Training & Education | 42 |
| Sub-section W: Personnel | 50 |
| Glossary | 54 |

Non-Surgical Aesthetic & Wellness (MedSpa)

Non-surgical aesthetic and wellness centers, often known as medical spas, medi-spas, or med spas, offer an inviting blend of advanced medical procedures and the relaxing atmosphere of a day spa. These facilities provide a wide range of minimally invasive and non-invasive medical treatments designed to enhance appearance, boost self-confidence, and support a vibrant, youthful lifestyle. Many MedSpas also provide intimate and sexual wellness, practice functional and integrative medicine, manage and administer hormone replacement therapy, provide medically based weight management services, and administer IV therapy, empowering clients to feel and look their best. While many of these services are typically non-invasive, they are medically based treatments (hence the MedSpa moniker), and the commitment to safety must remain paramount. Practitioners at MedSpas should receive specialized training to ensure that all treatments are administered skillfully and that any potential complications are managed with expertise and care. By adhering to best practices in business and clinical management, truly dedicated centers provide every patient with exceptional, high-quality care in a safe and supportive environment. Patient safety is always the primary focus.

MedSpas operate under the direction of physicians from a wide variety of specialties, advanced practice providers, and, in some locations, corporate teams. The majority of MedSpa professionals are deeply committed to delivering safe, high-quality services. However, variations in leadership, practitioner qualifications, and training highlight the value of external quality evaluations as a means to enhance trust and transparency.

Because global requirements around ownership, supervision, operations, and practice management vary widely by jurisdiction, QUAD A’s mission is to provide thorough assessments based on rigorous standards that empower outstanding centers to stand out and give patients/clients confidence in their choice of center in a crowded environment.

Where local regulations specify who can own, oversee, or perform procedures in a MedSpa inconsistent with the requirements below, the most stringent standard will always apply to promote the highest level of safety and quality.

Any procedure that constitutes the practice of medicine, including any procedure using any drugs or devices that are cleared, regulated, approved, or carrying equivalent designation by the regulatory authority where performed, or any treatments that can alter or cause biological change or damage, must always be performed by an appropriately trained, licensed healthcare provider acting within their scope of practice, or be properly delegated to another qualified licensed healthcare professional who has received specialized training.

risk stratification of procedures

All cosmetic, aesthetic, and wellness procedures and interventions have risks. A tiered system of four (4) different risk profiles has been established based on the degree of risk and level of invasiveness. All providers, regardless of their diploma or certification, and their supervising Medical Director must both have the requisite training, detailed in Section V, before performing or delivering any procedures or services. Delegation of these procedures is permitted only to the extent allowed by applicable federal, state, provincial, or national laws and regulations, and must remain within the licensed healthcare professional’s scope of practice.

Green: aesthetic medical procedures with the lowest risk of complications.

All licensed practitioners, including physicians, Advanced Practice Registered Nurses (APRNs), Physician Assistants (PACs), Registered Nurses (RNs), and appropriately licensed aestheticians/cosmetologists, must be licensed, qualified, and trained in accordance with state/national regulations to be eligible to perform procedures within their scope of practice. Both the Medical Director and the licensed practitioner performing the procedure must demonstrate appropriate training and competency in the specific procedure being performed.

A simple relevant history is required prior to the initial treatment by a licensed medical provider. This includes documentation of any medical conditions, previous surgeries, current medications (including over-the-counter medications), allergies and abnormal drug reactions, and previous treatments. A relevant patient/client assessment and goal should likewise be conducted. This simple, relevant history must be conducted in accordance with state/national requirements, including whether it may be conducted in person or via telehealth and who may perform it.

Included procedures:

- Micro-needling - needle size must be less than or equal to 0.15 mm in diameter and 0.5 mm in length

- Light emitting diode (LED) therapies

- Chemical peels or microdermabrasion that involve only viable epidermis (the outermost layer of the skin) but do not typically penetrate the dermis.

- Micro-pigmentation (semi-permanent makeup), including microblading and nano blading

- Traditional Facial and HydraFacial - hands-on facials that do not involve techniques listed in other categories

- Massage (subject to state/national regulations)

- Lymphatic drainage-type procedures

- Non-medical procedures, such as make-up, waxing, or hair styling (subject to state/national regulations)

- Facial treatments applied topically for cosmetic purposes, such as prescription-strength vitamin A and hydroquinone, for the treatment of pigmentation problems

- Topical application of platelet-rich plasma (PRP) and/or platelet-derived growth factor

- Intense Pulsed Light (IPL) - if permitted by state/national regulations for aestheticians or RNs - requires additional documented training (see section 17-V), supervision, and a medical evaluation by a qualified licensed provider

- Laser hair removal - if permitted by state/national regulations for aestheticians or RNs - requires additional documented training (see section 17-V)

- Cryolipolysis (such as CoolSculpting) - requires the patient to be medically evaluated by a qualified licensed provider before the procedure

- Miradry under the direct supervision of a qualified licensed provider

- Muscle-stimulation devices (e.g. high-intensity focused electromagnetic technology (HIFEM) under the direct supervision of a qualified licensed provider

- External energy-based lipolysis devices – requires the esthetician under the direct supervision of a qualified licensed provider

- High-intensity focused ultrasound (HIFU) – requires the esthetician under the direct supervision of a qualified licensed provider

- Focused ultrasound devices designed for fat reduction or skin tightening – requires the esthetician under the direct supervision of a qualified licensed provider

- Non-ablative laser treatments on the face and neck - requires additional training and must be performed under the direct supervision of a qualified licensed provider, in accordance with state and national regulations

- Radiofrequency (RF) micro-needling treatments – requires an evaluation by a qualified licensed provider, and for an esthetician, RN, or laser technician to be under the supervision of a qualified licensed provider

Yellow: aesthetic procedures with a low-moderate risk of complications.

Procedures may be performed by a qualified and trained physician or by an appropriately qualified and trained licensed provider, such as a Registered Nurse (RN) or an Advanced Practice Provider (APP) including a Physician Assistant (PA) or Advanced Practice Registered Nurse (APRN) in accordance with applicable state or national regulations, and under the general supervision of the Medical Director, as required by jurisdictional guidelines.

Both the Medical Director and the qualified licensed provider must maintain current training, demonstrate competency, and have appropriate credentials for each procedure performed.

Cosmetologists, aestheticians, and medical assistants may not perform these procedures. Laser technicians may perform treatments for which they are trained, in accordance with state/national regulations.

A history and physical examination is not required prior to treatment. A simple relevant history is required prior to the initial treatment by a licensed medical provider. This includes documentation of any medical conditions, previous surgeries, current medications (including over-the-counter medications), allergies and abnormal drug reactions, and previous treatments. A relevant patient/client assessment and goal should likewise be conducted. This simple, relevant history must be conducted in accordance with state/national requirements, including whether it may be conducted in person or via telehealth and who may perform it.

Included procedures:

- Procedures using a U.S. Food and Drug Administration (FDA)-cleared or FDA-regulated drug or device, or those meeting equivalent international regulatory authority standards that are not listed in the Orange or Red Categories

- Preparation and injection of platelet rich plasma (PRP) or platelet rich fibrin (PRF) therapy for cosmetic purposes on the scalp and face

- Preparation and injection of PRP or PRF into the vulva – requires additional training in Sexual Wellness

- Muscle-stimulation devices (e.g., high-intensity focused electromagnetic technology (HIFEM))

- Micro-needling - needle size greater than 0.15 mm in diameter and 0.5 mm in length

- Botulinum toxin injections for cosmetic purposes on the face and neck only – if permitted by state/national regulations and scope-of-practice for RNs

- Dermal filler injections for cosmetic purposes on the face and neck only, including semi-permanent and permanent dermal fillers of any type, bio- or collagen stimulators, or other injections of hyaluronic acid into the skin and/or subcutaneous tissue and depresses scars – if permitted by state/national regulations and scope-of-practice for RNs

- Injection of hyaluronic acid in the skin for aesthetic purposes

- Injection lipolysis (Kybella)

- Laser sclerotherapy or other treatment of spider veins – must be performed under the direct supervision of a qualified licensed provider, in accordance with state and national regulations

- Injection micro-sclerotherapy (spider vein treatment)

- Non-ablative lasers, with settings limited to the epidermis – requires additional laser training

- All intravenous (IV) injectables and infusions, including vitamin and mineral injection procedures, require additional training in IV therapy, and therapies must have a written/electronic order from an MD/DO, APRN, or PAC

- Controlled sedative/anesthetic/analgesic substances are prohibited for use in this setting

Orange: aesthetic procedures with a medium risk of complications.

Procedures may be performed by a qualified and trained physician or by an appropriately qualified and trained licensed provider, such as an Advanced Practice Provider (APP) including a Physician Assistant (PA) or Advanced Practice Registered Nurse (APRN), in accordance with applicable state or national regulations, and under the general supervision of the Medical Director, as required by jurisdictional guidelines.

U.S. Food and Drug Administration (FDA) regulated drugs, or those meeting equivalent international regulatory authority standards, must be prescribed only by an appropriately trained physician, or by an appropriately trained APRN. PAC under the direct supervision of an appropriately trained physician, as required by jurisdictional guidelines.

A Good Faith Exam at a minimum is required prior to treatment and must be performed by a licensed provider, an Advanced Practice Provider (APP) including a Physician Assistant (PA) or Advanced Practice Registered Nurse (APRN), in accordance with applicable state or national regulations, and under the general supervision of the Medical Director, as required by jurisdictional guidelines. A relevant History & Physical is also acceptable.

Included procedures:

- Shave biopsy of skin lesions

- Thread lifting procedures, including polydioxanone (PDO) thread, barbed suture lifts, and cog lifts

- Semi-permanent and permanent dermal filler injections on the face only

- Plasma ablation for facial resurfacing, with planned depths of treatment no deeper than upper dermis - requires additional laser training

- Ablative lasers on the face and neck, with planned depths of treatment no deeper than the upper dermis - require additional laser training and direct supervision of a qualified licensed provider and in accordance with state/national regulations.

- Injection sclerotherapy of spider veins

- Laser treatment of varicosities

- Medium-depth facial peels that involve full-thickness destruction of the entire epidermis into the upper dermis (e.g., trichloroacetic acid [TCA] 20-35%, etc.)

- Deep facial chemical peels such as phenol peels, croton oil peels (e.g., Hetter or Stone), or TCA peels ≥ 40%

- Ablative lasers with settings designed for deep resurfacing, penetrating to deep dermis

- Electrocautery for the destruction of superficial skin lesions

- Cryotherapy and/or cryocautery procedures that freeze the skin to remove lesions such as skin tags, age spots, and warts

- Implantation of hormone replacement pellets - requires additional Hormone Replacement Therapy (HRT) training

- Weight loss injections, including glucagon-like peptide-1 (GLP-1) agents and FDA-regulated drugs, or those meeting equivalent international regulatory authority standards, must be prescribed only by an appropriately trained physician, or by an appropriately trained APRN or PA under the direct supervision of an appropriately trained physician when required by state scope-of-practice regulations – requires additional training

- Hormone therapies - requires additional HRT training

- All treatments of the male and female genitalia require additional training in Sexual Wellness

Red: aesthetic procedures with the highest risk of complications.

These procedures may not be performed in a Med Spa. They must be performed in an office surgery center or a physician’s practice that is equipped and regulated for the safe performance of these procedures.

These procedures are:

- Cellulite subcision with any technique or device

- Regeneration stem cell or exosome injections

- Any use of IV or intramuscular (IM) sedation, Monitored Anesthesia Care (MAC) anesthesia, or general anesthesia.

- Any procedure requiring tumescent anesthesia > 100 mL

- General anesthesia or any sedation protocol or combination or dosing pre-procedure medications that produce a diminished level of consciousness or a decrease in protective airway reflexes

- Procedures or treatments on patients who are pregnant or suspicion of pregnancy

- Procedures on patients under age 18, unless written permission is given by a parent or legal guardian

- Any procedure with an expected blood loss of > 10 mL, other than venipuncture or PRP harvest

- Any use of injectable silicone

- Any use of injectable substances for breast or body contouring not approved for that specific purpose by the FDA or equivalent international regulatory authority standards.

- Hormone therapy for transgender patients or minors

- Administration, sale, or provision of testosterone or synthetic testosterone analoges to raise testosterone levels, with the exception of men who have documented evidence of serum testosterone < 300 ng/dL, where permitted by state law

- Administration, sale, or provision of anabolic steroid compounds for the purposes of muscle building in either men or women

- Use or sale of procedures, treatments, or supplements that are deemed “experimental” by FDA or equivalent international regulatory authority standards, or other state regulatory bodies, or not supported by published, peer-reviewed clinical trials showing efficacy and safety, outside of an IRB-approved study

- Use of medical equipment that has not received FDA or equivalent international regulatory authority standards clearance or approval, outside of an IRB-approved study

- Dermal micro-coring

- Initial administration of allergy desensitization protocols or immunotherapy

- Facial or lip implants

- Suture-based platysmaplasty

- Liposuction

- Fertility-enhancing treatments/injections/prescriptions

- Insertion of subcutaneous contraceptive device and intrauterine device (IUD)

Use of other devices or treatments not specifically listed in the green, yellow, or orange level categories.

As new devices and techniques are introduced, QUAD A will review them and assign a risk category in future updates of these standards.

SURGERY IS NOT PERMITTED AT ANY TIME IN A MED SPA.

These procedures must be performed in an office-based surgery center or ambulatory surgery center, which are equipped and regulated for the safe performance of these procedures, including:

- Hair restoration surgery with follicular unit extraction (FUE) or follicular unit transplantation (FUT), scalp reduction, or scalp flaps

- Facelift, brow lift, neck lift, rhinoplasty, blepharoplasty, otoplasty, canthopexy, other advancement or rotational flaps within the head and neck, placement of solid facial implants in the cheek, chin, jawline, or nose

- Breast lift, breast augmentation with implant, removal of breast implant, breast reduction

- Tummy tuck, flankplasty, lower body lift, thigh lift, brachioplasty, labiaplasty, Brazilian Butt Lift (BBL)

- Helium plasma device (e.g., Renuvion) use for any purpose in any body area

- Radio-frequency devices designed for subcutaneous use in surgery (e.g., BodyTite, FaceTite)

- Liposuction of any type, where the aspiration volume is greater than 60 mL (2 fl oz)

- Fat grafting on the face or body

- Procedures involving augmentation or cosmetic enhancement of the genitals, rectum, or buttocks with fat or dermal fillers or any other techniques involving a scalpel, electrocautery, or laser in those regions

- Injection into any joint, joint space, or bursa

- Excision of known skin cancers or Mohs chemosurgery, and/or closure of defects resulting from the same

- Hand surgery under local anesthesia (i.e., trigger finger release, carpal tunnel release, etc.)

- Any procedure requiring tumescent anesthesia > 100 mL

- Any procedure with an expected blood loss of > 10 mL

- Use of equipment that has not received FDA or equivalent international regulatory authority standards clearance or approval

- Any procedure involving ionizing radiation

- Any procedure involving radiologic equipment (plain X-ray, Panorex, CT scan, MRI, nuclear medicine studies, thermography)

- Any procedure involving endoscopy or laparoscopy

- Any procedure that may enter/involve/penetrate the abdominal cavity, thoracic cavity, or pelvis, and any of their contents

- Any procedure involving a facial sinus, ear canal, tympanic membrane, or middle ear, interior of the nose, oral cavity, or airway

- Fitting and/or resale of hearing aids

- Any procedure involving the cornea, conjunctiva, sclera, extra-ocular muscles, or globe

- Lasik, photoreactive keratectomy (PRK), refraction, and/or the fitting of glasses.

- Any procedure that is endovascular, other than the administration of IV fluid

- Any procedure involving the brain, spine, and spinal cord, epidural space, intervertebral disks, or major named nerves or manipulations thereof

- Any procedure involving dental cleaning, fillings, extractions, or other cosmetic or functional dentistry

- Chiropractic manipulation

IV THERAPY IS NOT PERMITTED IN THE MEDSPA IN THE FOLLOWING INSTANCES:

- Pediatric patients

- Hospice / End-of-life patients / DNR status patients

- Acute medical disorders of any kind, e.g., anemia, acute abdomen, gastroenteritis, hypoglycemia, electrolyte and metabolic disorders (e.g., diabetic ketoacidosis), etc.

- Trauma or burn resuscitation

- Chronic medical conditions – e.g., Type 1 diabetes (infusion of dextrose-containing solutions)

- Chronic Renal Failure

- Cancer patients undergoing chemotherapy

- Pregnant or nursing patients

- Stem cells; biological agents (including vaccines)

- Medications such as IV antibiotics or analgesics, chemotherapy, parenteral nutrition/hyperalimentation, and blood component transfusions

- Use of central lines, chemotherapy ports, and PICC lines is prohibited.

- IV push administration or bolus administration of any fluid or compound

Please complete the Standards Manual for the facility by assessing compliance with the standards contained in this book.

SURVEY INSTRUCTIONS

Please complete the Standards Manual for the facility by assessing compliance with the standards contained in this book.

STANDARDS STRUCTURE

The standards in this book are organized into groups of relevant standards. These groupings are comprised of “Sections,” “Sub-sections,” and then individual standard numbers. Each main “Section” is identified by a numerical value, “Sub-sections” have been assigned an alphabetical value, and the individual standards under the subsection have also been numbered. Based on this format, each standard has been assigned a unique identifier to include all three elements to indicate its location.

For example, the standard which states, “The entire facility must be maintained, equipped, regularly cleaned, sanitary, and free of clutter and litter, consistent with a medical facility designed to perform procedures,” is the first standard under Section 17, Sub-section D. Therefore, the unique identifier for this standard is: 17-D-1.

STANDARDS BOOK LAYOUT

The standards manual layout consists of five (5) columns. The functions of each column are as follows:

ID:

This column contains the alphanumerical identifier for each standard.

Risk:

This column contains the risk stratification applicable to the standard.

Standard:

This column contains the text for each standard.

Score:

This column documents compliance or non-compliance by the surveyor during the survey process or by the facility during self-assessment reviews for performance. As stated below, if 100% compliance is not achieved, the standard is marked as “deficient.”

Findings/Comments:

An area for facilities or surveys to enter notes when completing a facility self-survey or a facility on-site survey.

SCORING COMPLIANCE

The QUAD A accreditation program requires 100% compliance with each standard to become and remain accredited. There are no exceptions. If there is even one instance where a surveyor makes an observation of non-compliance, the standard is scored as “Deficient,” and the facility will be required to submit a Plan of Correction, as well as evidence of completed corrections.

There may be an occasion where the surveyor observes non-compliance, but the facility is able to demonstrate that the deficiency has been corrected while the surveyor is still on-site.

Applicable standard(s) will be given a score of deficient. To provide full context to QUAD A, the survey findings should illustrate that non-compliance was corrected in the presence of the survey team.

QUAD A does not confer accreditation until a facility has provided acceptable plans of correction and evidence of corrections for every deficiency cited. However, when a standard refers to "appropriate," "proper," or "adequate", reasonable flexibility and room for consideration by the surveyor is permitted as long as patient and staff safety remain uncompromised.

NOTES:

Click or tap here to enter text.

Section 1: Basic Mandates

| ID | Risk | Standard | Score | Finding/Comments |
| --- | --- | --- | --- | --- |
| SUB-SECTION B: Basic Mandates |  |  |  |  |
| 1-B-7 | Green Yellow Orange | Only recognized abbreviations are allowed to be used in the clinical records. | ☐ Compliant ☐ Deficient | Click or tap here to enter text. |
| 1-B-8 | Green Yellow Orange | The facility must perform a self-survey review of compliance with all QUAD A standards annually prior to the expiration date of its accreditation in each of the two years between QUAD A onsite surveys. The self-survey documentation must be retained for a minimum of 3 years and include: - A completed Self-Survey checklist - A Plan of Correction for any standard identified as non-compliant - Evidence that each plan of correction has been carried out to establish compliance with standards - Evidence that findings from the self-survey have been reviewed, included in the facility's Quality Improvement Plan, and discussed in the facility's Quality Improvement meetings. | ☐ Compliant ☐ Deficient ☐ Not Applicable | Click or tap here to enter text. |
| 1-B-10 | Green Yellow Orange | The facility is in compliance with all state laws, including state licensure requirements. | ☐ Compliant ☐ Deficient | Click or tap here to enter text. |
| 1-B-13 | Green Yellow Orange | The facility practices within the risk stratification class for which it is accredited and in accordance with facility policies and procedures, industry standards, regulations, and laws governing the facility. | ☐ Compliant ☐ Deficient | Click or tap here to enter text. |
| SUB-SECTION D: Patient’s Rights |  |  |  |  |
| 1-D-1 | Green Yellow Orange | A copy of the most current QUAD A "Patients' Bill of Rights" is prominently displayed, or a copy is provided to each patient. The QUAD A "Patients' Bill of Rights" is also adhered to by facility personnel. If required, an additional Patients’ Bill of Rights must be prominently displayed in accordance with prevailing laws and regulations. | ☐ Compliant ☐ Deficient ☐ Corrected Onsite | Click or tap here to enter text. |
| 1-D-18 | Green Yellow Orange | The patient has a right to personal privacy. | ☐ Compliant ☐ Deficient | Click or tap here to enter text. |  |
| 1-D-19 | Green Yellow Orange | The patient has a right to receive care in a safe setting. | ☐ Compliant ☐ Deficient | Click or tap here to enter text. |
| 1-D-20 | Green Yellow Orange | The patient has a right to be free from all forms of abuse or harassment. | ☐ Compliant ☐ Deficient | Click or tap here to enter text. |
| SUB-SECTION E: QUAD A Mandated Reporting |  |  |  |  |
| 1-E-1 | Green Yellow Orange | Changes in facility ownership must be reported to the QUAD A Central Office within thirty (30) days of the change. | ☐ Compliant ☐ Deficient | Click or tap here to enter text. |
| 1-E-2 | Green Yellow Orange | Any change in provider staff must be reported to the QUAD A Central Office, in writing, within thirty (30) days of the change, along with the appropriate credentials. Surgical Programs (ASC, OBS, OBP, PD, OMS, I-DENT, I-SURG): Surgeons, Proceduralists, and Pain Management Providers must submit medical license, board certification or board eligibility, and delineation of facility privileges. RHC: Physicians, Advanced Practice Providers (NP, PA, CNM) and licensed behavior health providers (CP, CSW, MFT, MHC) must submit professional licenses. Physical Therapy (OPT, I-PT): SLP, OT, PT, SLPA, OTA, PTA must submit professional licenses. Polyclinic: Physicians, Dentists, Advanced Practice Providers (NP, PAs, CNMs), Physiotherapists, and Physical Therapists must submit their professional licenses. MedSpa: Medical Director must submit professional license(s). | ☐ Compliant ☐ Deficient | Click or tap here to enter text. |
| 1-E-3 | Green Yellow Orange | Any action affecting the current professional license of the Medical Director must be reported in writing to the QUAD A Central Office within ten (10) days of the time the Medical Director becomes aware of such action. | ☐ Compliant ☐ Deficient | Click or tap here to enter text. |
| 1-E-4 | Green Yellow Orange | Any death occurring in an accredited facility or any death occurring within thirty (30) days of a procedure performed in an accredited facility must be reported to the QUAD A office within five (5) business days after the facility is notified or otherwise becomes aware of that death. In addition to this notification, the death must be contemporaneously reported as an adverse event in the online Patient Safety Data Reporting portal. In the event of a death occurring within thirty (30) days of a procedure performed in an QUAD A-accredited facility, an unannounced survey may be performed. | ☐ Compliant ☐ Deficient | Click or tap here to enter text. |
| SUB-SECTION F: Patient Safety Data Reporting (PSDR) |  |  |  |  |
| 1-F-15 | Green Yellow Orange | Each adverse event submission must include: - The identification of the problem, - The immediate treatment or disposition of the case, - The outcome, - The reason for the problem, and - An assessment of the efficacy of treatment | ☐ Compliant ☐ Deficient ☐ Not Applicable | Click or tap here to enter text. |
| 1-F-20 | Green Yellow Orange | The facility is up to date with accurate PSDR reporting. Reportable adverse events must be submitted to PSDR, including, but not limited to: - Any unplanned hospital admission: - Any emergency department visit; - Any complication such as infection, bleeding, wound dehiscence, tissue necrosis, visual problems, eye injury, burns, or inadvertent injury to another body structure; - Any cardiac or respiratory problems during the patient’s stay at the facility or within 48 hours of discharge; - Any allergic reactions - Any patient or family complaint; - Any equipment malfunction leading to injury or potential injury to the patient; - Any death occurring within 30 days of a procedure · | ☐ Compliant ☐ Deficient ☐ Not Applicable | Click or tap here to enter text. |

SECTION 17: Non-Surgical Medical Spa

| ID | Risk | Standard | Score | Findings/Comments |
| --- | --- | --- | --- | --- |
| SUB-SECTION A: Anesthesia Options |  |  |  |  |
| 17-A-1 | Green Yellow Orange | In this facility, only local and topical anesthesia may be administered. Local or topical anesthesia may only be administered by individuals who are qualified and authorized in accordance with applicable federal, state, or provincial law, their defined scope of practice, and facility policy. Authorized providers include: - Physician - Advanced Practice Registered Nurse (APRN) - Physician Assistant (PA) - Registered Nurse (RN), provided the RN is acting within scope of practice, under the supervision of a qualified provider, and pursuant to a specific written or electronic order from a physician or advanced practice provider. | ☐ Compliant ☐ Deficient ☐ Not Applicable | Click or tap here to enter text. |
| 17-A-2 | Green Yellow Orange | Local anesthetics may only be used in the skin and subcutaneous layers. | ☐ Compliant ☐ Deficient ☐ Not Applicable | Click or tap here to enter text. |
| 17-A-3 | Green Yellow Orange | The facility has a chart with topical anesthesia agents in use and the maximum daily dose that can be safely applied to a patient. The facility may not dispense topical aesthetics for patient use at home. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 17-A-5 | Green Yellow Orange | The maximum dose of injected plain lidocaine shall not exceed 5 mg/kg. | ☐ Compliant ☐ Deficient ☐ Not Applicable | Click or tap here to enter text. |
| 17-A-6 | Green Yellow Orange | The maximum dose of injected lidocaine with epinephrine shall not exceed 7 mg/kg. | ☐ Compliant ☐ Deficient ☐ Not Applicable | Click or tap here to enter text. |
| 17-A-8 | Green Yellow Orange | An FDA-approved or equivalent, internationally regulated patient-controlled inhaled nitrous oxide/oxygen delivery system that provides a fixed 50:50 gas mixture may be used for anxiolysis (minimal sedation). | ☐ Compliant ☐ Deficient ☐ Not Applicable | Click or tap here to enter text. |

| ID | Risk | Standard | Score | Findings/Comments |
| --- | --- | --- | --- | --- |
| SUB-SECTION B: Basic Mandates |  |  |  |  |
| 17-B-1 | Green Yellow Orange | The facility must ensure that no marketing or advertising regarding the organization's competence and capabilities (or its individual staff members) is false, misleading, deceptive, or shows atypical results. or implies that it provides care or services that it is not capable of providing. Any use of the phrase “Board Certified” must be accompanied by the name of the relevant certifying board. | ☐ Compliant ☐ Deficient | Click or tap here to enter text. |
| 17-B-2 | Green Yellow Orange | The Medical Director of the facility must be clearly identified as the Medical Director in all marketing materials and websites related to the medical spa facility. All such patient-directed communications should also list the Medical Director’s licensure, Accreditation Council for Graduate Medical Education (ACGME)/American Osteopathic Association (AOA) trained medical specialty, and American Board of Medical Specialties (ABMS)/AOA board certification, the specific board-certified specialty (e.g., Diplomate of the ABMS in Dermatology. Non-ABMS or AOA boards may not be used in advertising, websites, or social media. Patient models who did not receive a procedure from the Medical Spa must be identified as such on the Medical Spa's websites, social media posts, print advertisements, and promotional materials. | ☐ Compliant ☐ Deficient | Click or tap here to enter text. |
| SUB-SECTION C: Layout |  |  |  |  |
| 17-C-2 | Green Yellow Orange | There is a designated area for administrative activities. | ☐ Compliant ☐ Deficient | Click or tap here to enter text. |
| 17-C-3 | Green Yellow Orange | One (1) or more dedicated treatment rooms must be available that provide privacy and treatment in an orderly and sanitary environment. | ☐ Compliant ☐ Deficient | Click or tap here to enter text. |
| SUB-SECTION D: Facility Environment |  |  |  |  |
| 17-D-1 | Green Yellow Orange | The entire facility must be maintained, equipped, regularly cleaned, sanitary, and free of clutter and litter, consistent with a medical facility designed to perform procedures. | ☐ Compliant ☐ Deficient | Click or tap here to enter text. |
| 17-D-2 | Green Yellow Orange | The entire facility is appropriately ventilated, lit, and temperature-controlled for patient comfort. | ☐ Compliant ☐ Deficient | Click or tap here to enter text. |
| 17-D-4 | Green Yellow Orange | The walls, cabinets, countertops, blinds and shades, and flooring are covered with smooth and easy-to-clean material that is free from tears, breaks, or cracks. If the floors contain seams or individual tiles, they are sealed with an impermeable sealant other than silicone. | ☐ Compliant ☐ Deficient | Click or tap here to enter text. |
| 17-D-5 | Green Yellow Orange | Carpet is not permitted in the treatment room area. | ☐ Compliant ☐ Deficient | Click or tap here to enter text. |
| 17-D-6 | Green Yellow Orange | All openings to outdoor air are effectively protected against the entrance of insects, animals, etc. | ☐ Compliant ☐ Deficient | Click or tap here to enter text. |
| 17-D-7 | Green Yellow Orange | There are no overloaded wall plugs or extensions, no altered grounding plugs, and no broken, worn, or unshielded wires. | ☐ Compliant ☐ Deficient | Click or tap here to enter text. |
| 17-D-8 | Green Yellow Orange | The entire facility provides adequate work space and sufficient space and storage for supplies and equipment. | ☐ Compliant ☐ Deficient | Click or tap here to enter text. |
| 17-D-9 | Green Yellow Orange | Smoking is prohibited in the entire facility. | ☐ Compliant ☐ Deficient | Click or tap here to enter text. |
| SUB-SECTION E: Storage |  |  |  |  |
| 17-E-1 | Green Yellow Orange | Sterile supplies are stored away from potential contamination in closed cabinets/drawers; if not, they must be stored away from heavy traffic areas and potential contamination hazards. | ☐ Compliant ☐ Deficient ☐ Not Applicable | Click or tap here to enter text. |
| 17-E-2 | Green Yellow Orange | Storage space for sterile supplies and equipment is organized in a manner that maintains cleanliness, sterility, and functionality, provides easy access for identification and minimizes the risk of contamination and injury to patients and staff. | ☐ Compliant ☐ Deficient ☐ Not Applicable | Click or tap here to enter text. |
| 17-E-3 | Green Yellow Orange | There is adequate storage space for supplies. | ☐ Compliant ☐ Deficient | Click or tap here to enter text. |
| 17-E-5 | Green Yellow Orange | As applicable to the setting, outdated medical supplies, instruments, implants, and equipment are removed and destroyed in accordance with federal/national, state, provincial, and local regulations. | ☐ Compliant ☐ Deficient | Click or tap here to enter text. |
| SUB-SECTION F: General Safety |  |  |  |  |
| 17-F-1 | Green Yellow Orange | There is a reliable means of two-way communication with the necessary personnel. | ☐ Compliant ☐ Deficient | Click or tap here to enter text. |
| SUB-SECTION G: Facility Safety Manual |  |  |  |  |
| 17-G-1 | Green Yellow Orange | There is a Facility Safety Manual that is reviewed and updated annually and is in accordance with all other federal/national, provincial, state and local regulations. For international facilities, there must be evidence that specific national, provincial, and local regulations are included. | ☐ Compliant ☐ Deficient | Click or tap here to enter text. |
| 17-G-3 | Green Yellow Orange | The facility safety manual provides employees with information about hazardous chemicals used and methods to minimize hazards to personnel. | ☐ Compliant ☐ Deficient | Click or tap here to enter text. |
| 17-G-4 | Green Yellow Orange | There is a written exposure control plan, which is reviewed and updated at least annually. | ☐ Compliant ☐ Deficient | Click or tap here to enter text. |
| 17-G-5 | Green Yellow Orange | There is a written chemical hazard communication program, which is reviewed and updated annually | ☐ Compliant ☐ Deficient | Click or tap here to enter text. |
| SUB-SECTION H: Hazardous Agents |  |  |  |  |
| 17-H-1 | Green Yellow Orange | All explosive and combustible materials and supplies are stored and handled in a safe manner with appropriate ventilation according to state, provincial, local, and national laws and regulations, and/or National Fire Protection Association (NFPA) codes, OSHA regulations, and safety data sheets (SDS). | ☐ Compliant ☐ Deficient ☐ Not Applicable | Click or tap here to enter text. |
| 17-H-2 | Green Yellow Orange | Compressed gas cylinders are stored and handled according to state, provincial, local and national laws and regulations, and/or National Fire Protection Association (NFPA) codes. | ☐ Compliant ☐ Deficient ☐ Not Applicable | Click or tap here to enter text. |
| 17-H-3 | Green Yellow Orange | Hazardous chemicals are labeled as hazardous. Any hazardous material removed from the manufacturer's container and placed in a secondary container must be properly labeled. | ☐ Compliant ☐ Deficient ☐ Not Applicable | Click or tap here to enter text. |
| SUB-SECTION I: Medical Hazardous Waste |  |  |  |  |
| 17-I-1 | Green Yellow Orange | All medical hazardous wastes are disposed of in sealed, labeled containers and stored in compliance with federal/national, state, provincial, and local regulations and/or OSHA (Occupational Safety and Health Administration) acceptable containers and separated from general refuse for special collection and handling. | ☐ Compliant ☐ Deficient | Click or tap here to enter text. |
| 17-I-4 | Green Yellow Orange | Used disposable sharp items are placed in secure puncture-resistant containers that are located as close to the use area as is practical. | ☐ Compliant ☐ Deficient ☐ Not Applicable | Click or tap here to enter text. |
| SUB-SECTION J: Fire Safety |  |  |  |  |
| 17-J-1 | Green Yellow Orange | The facility is equipped with functioning heat sensors and/or smoke detectors that are tested annually. | ☐ Compliant ☐ Deficient | Click or tap here to enter text. |
| 17-J-2 | Green Yellow Orange | The number of fire extinguishers available and their location must conform to local fire codes. Minimally, a fire extinguisher is located within 75 feet of any location in the facility. Fire extinguishers are visually inspected monthly, maintenance inspections are done annually and conform to local fire codes. | ☐ Compliant ☐ Deficient | Click or tap here to enter text. |
| SUB-SECTION K: Exits |  |  |  |  |
| 17-K-1 | Green Yellow Orange | Exit signs are posted and illuminated consistent with state/provincial, local, national regulations and/or NFPA codes and OSHA codes. | ☐ Compliant ☐ Deficient | Click or tap here to enter text. |
| 17-K-2 | Green Yellow Orange | There are sufficient emergency lights for exit routes and patient care areas in case of power failure. | ☐ Compliant ☐ Deficient | Click or tap here to enter text. |
| 17-K-3 | Green Yellow Orange | Hallways, stairways, and elevators are sufficiently wide to allow emergency personnel and their equipment to evacuate a patient in an emergency. | ☐ Compliant ☐ Deficient | Click or tap here to enter text. |
| SUB-SECTION L: Personnel Safety |  |  |  |  |
| 17-L-1 | Green Yellow Orange | There is a written policy for what is considered to be personal protective equipment for specific tasks in the facility (e.g., instrument cleaning, disposal of biological waste, surgery, radiology protection, etc.). | ☐ Compliant ☐ Deficient | Click or tap here to enter text. |
| 17-L-2 | Green Yellow Orange | If a laser is used, all manufacturer-recommended safety precautions are actively in place prior to any usage. All safety measures are taken to protect patients and staff from injury, including appropriate eyewear, covered mirrors, covered windows, signage on the door, etc. in accordance with state/provincial laws and regulations. | ☐ Compliant ☐ Deficient | Click or tap here to enter text. |
| 17-L-3 | Green Yellow Orange | Whenever an IPL device is used, appropriate safety measures are taken to protect patients and staff from injury, e.g., appropriate eyewear, covered mirrors, covered windows, signage on the door, etc., are required. | ☐ Compliant ☐ Deficient ☐ Not Applicable | Click or tap here to enter text. |
| 17-L-5 | Green Yellow Orange | If used, the room where the laser/IPL treatment is performed shall be closed off to other areas of the facility while the treatment is performed, and a “laser in use” sign shall be posted immediately outside the treatment room. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 17-L-6 | Green Yellow Orange | Each facility utilizing Class 3B or Class 4 medical lasers must formally designate a Laser Safety Officer (LSO). Facilities operating outside the U.S. must comply with the local or national authority’s laser safety regulations (e.g., Ministry of Health, radiation safety authority, etc.) and ensure a comparable safety oversight role is established. - The designation must be in writing, signed by the medical director. - The LSO may be a physician, nurse, or trained laser operator with demonstrated competence in laser safety management. - The LSO must have documented laser safety training consistent with ANSI Z136.3 or an equivalent international standard. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 17-L-7 | Green Yellow Orange | All Class 3B and Class 4 medical lasers used in the facility must be registered, if required, with the appropriate jurisdiction having authority (JHA) in the country or state where the facility operates. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| SUB-SECTION M: Equipment |  |  |  |  |
| 17-M-1 | Green Yellow Orange | If a central source of piped oxygen is used, the system must meet all applicable local, state/provincial, and country safety codes. | ☐ Compliant ☐ Deficient ☐ Not Applicable | Click or tap here to enter text. |
| 17-M-2 | Green Yellow Orange | Only properly inspected equipment is used in the treatment room. | ☐ Compliant ☐ Deficient | Click or tap here to enter text. |
| 17-M-3 | Green Yellow Orange | There is an adequate treatment room table or chair. | ☐ Compliant ☐ Deficient | Click or tap here to enter text. |
| 17-M-4 | Green Yellow Orange | Staff have immediate access to hand hygiene facilities, including sinks with running water for handwashing and alcohol-based hand sanitizer located in each patient care and procedure room. | ☐ Compliant ☐ Deficient | Click or tap here to enter text. |
| 17-M-6 | Green Yellow Orange | The facility is equipped with blood pressure monitoring and pulse oximetry equipment. | ☐ Compliant ☐ Deficient ☐ Not Applicable | Click or tap here to enter text. |
| 17-M-7 | Green Yellow Orange | The facility is equipped with a positive-pressure ventilation device (e.g., Ambu® bag, or a bag valve mask). | ☐ Compliant ☐ Deficient ☐ Not Applicable | Click or tap here to enter text. |
| 17-M-8 | Green Yellow Orange | The facility is equipped with an oxygen source with appropriate delivery devices (e.g., nasal cannula, face mask). | ☐ Compliant ☐ Deficient ☐ Not Applicable | Click or tap here to enter text. |
| 17-M-9 | Green Yellow Orange | The facility has a preventive maintenance program to ensure that all essential mechanical, electric, and patient-care equipment is maintained in safe operating condition and is replaced no less frequently than according to a schedule. A qualified technician annually inspects all equipment and reports in writing that the equipment is safe and operating according to the manufacturer’s specifications. Stickers may be placed on individual equipment; however, written records must be maintained. All equipment is on a maintenance schedule with records kept for a minimum of at least three (3) years. | ☐ Compliant ☐ Deficient ☐ Not Applicable | Click or tap here to enter text. |
| 17-M-12 | Green Yellow Orange | The manufacturer’s specifications and requirements are kept in an organized file and followed for each piece of equipment. | ☐ Compliant ☐ Deficient ☐ Not Applicable | Click or tap here to enter text. |
| 17-M-13 | Green Yellow Orange | Appropriate calibration (i.e., lasers) as per manufacturer specifications is regularly performed, and records of that testing are maintained within the facility. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| SUB-SECTION N: Emergency Equipment |  |  |  |  |
| 17-N-1 | Green Yellow Orange | Emergency equipment is available, including an automated external defibrillator (AED), necessary drugs, and other cardio-pulmonary resuscitation (CPR) equipment. | ☐ Compliant ☐ Deficient ☐ Not Applicable | Click or tap here to enter text. |
| 17-N-2 | Yellow Orange | If dermal fillers are used in the facility, filler emergency supplies are available in a central location known to all personnel. The following shall be available in case of vascular occlusion or visual changes after filler injection and stored per the manufacturer’s recommendations. - Hyaluronidase, 18,000 units - 0.9% NaCI 250 mL - 325 mg aspirin tablets - Prednisolone tablets 25 mg or dexamethasone 8 mg IM/IV - Timolol drops 0.25% - Acetazolamide 500 mg/vial IV - Adrenaline 1 mg/mL 1:1000 - Syringes (2 of each): 1 mL, 3 mL, 5 mL - Needles (2 of each): 32 G x 9 mm, 23 g x 25 mm, 18 G x 38 mm - Sterile swab - Povidone-iodine prep pads A commercially available comprehensive filler crash kit that meets QUAD A standards may be used; however, its use does not replace or reduce the requirement to maintain the specified doses of hyaluronidase and other required medications onsite. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 17-N-3 | Green Yellow Orange | The standard defibrillator, or an Automated External Defibrillator (AED), is checked at least weekly for operability, and the test results are kept for a minimum of three (3) years. | ☐ Compliant ☐ Deficient ☐ Not Applicable | Click or tap here to enter text. |
| 17-N-4 | Green Yellow Orange | The emergency equipment must be immediately available for the use of emergency situations. | ☐ Compliant ☐ Deficient ☐ Not Applicable | Click or tap here to enter text. |
| 17-N-5 | Green Yellow Orange | The emergency equipment must be appropriate for the facility's patient population. | ☐ Compliant ☐ Deficient ☐ Not Applicable | Click or tap here to enter text. |
| 17-N-6 | Green Yellow Orange | The emergency equipment must be maintained by appropriate personnel. | ☐ Compliant ☐ Deficient ☐ Not Applicable | Click or tap here to enter text. |
| 17-N-7 | Green Yellow Orange | The medical director of the facility coordinates develops and revises the organization's policies and procedures to specify the types of emergency equipment required for use in the organization's treatment room(s). For med spas, this also includes filler emergencies, elective filler dissolution, and anaphylaxis following filler dissolution. | ☐ Compliant ☐ Deficient ☐ Not Applicable | Click or tap here to enter text. |
| 17-N-9 | Yellow Orange | Appropriate intravenous set-up, including appropriate hardware and fluids, must be readily available in the treatment areas. | ☐ Compliant ☐ Deficient ☐ Not Applicable | Click or tap here to enter text. |
| SUB-SECTION O: Required Protocols |  |  |  |  |
| 17-O-1 | Green Yellow Orange | There must be a written policy for emergency evacuation of the facility. The protocol must include provisions for annual drills for the emergency evacuation of patients, staff, and guests; staff training upon hire and annually. Documentation of all drills must be retained in the facility for a minimum of three (3) years. | ☐ Compliant ☐ Deficient ☐ Not Applicable | Click or tap here to enter text. |
| 17-O-2 | Green Yellow Orange | There must be a written policy for security emergencies, such as an intruder in the facility, an unruly patient or visitor, or a threat to the staff or patients. | ☐ Compliant ☐ Deficient ☐ Not Applicable | Click or tap here to enter text. |
| 17-O-3 | Green Yellow Orange | There must be a written policy for fires and fire drills. This protocol must include the provision for: fire drills; staff training upon hire and annually; drill documentation and retention of documentation for a minimum of three (3) years. | ☐ Compliant ☐ Deficient ☐ Not Applicable | Click or tap here to enter text. |
| 17-O-4 | Green Yellow Orange | There must be a written policy for CPR. There must be a written protocol for cardiopulmonary resuscitation (CPR). This protocol must include the provision for annual drills, staff training upon hire and annually, drill documentation, and retention of documentation for at least three (3) years. | ☐ Compliant ☐ Deficient ☐ Not Applicable | Click or tap here to enter text. |
| 17-O-5 | Green Yellow Orange | There must be a written policy for response to power failure emergencies. | ☐ Compliant ☐ Deficient ☐ Not Applicable | Click or tap here to enter text. |
| 17-O-6 | Green Yellow Orange | The facility must have an effective procedure for the immediate transfer to a hospital for patients requiring emergency medical care beyond the capabilities of the facility. | ☐ Compliant ☐ Deficient ☐ Not Applicable | Click or tap here to enter text. |
| 17-O-7 | Green Yellow Orange | There is a written policy for a disaster preparedness plan that provides for the emergency care of patients, staff, and others in the facility in the event of fire, natural disaster, functional failure of equipment, or other unexpected events or circumstances that are likely to threaten the health and safety of those in the facility. | ☐ Compliant ☐ Deficient | Click or tap here to enter text. |
| 17-O-8 | Orange | If Hormone Replacement Therapy (HRT) is provided, there is a protocol for determining appropriate doses of hormone replacement, bio-identical or otherwise, based on the patient’s individual serum values. The protocol must include all of the following: - Standards for regular monitoring and re-testing of the patient’s serum hormone levels - Identification of patients with PCOS, amenorrhea prior to menopause, dysfunctional uterine bleeding, or those desiring fertility treatments shall be referred to an appropriate specialist. - Screening for contraindications, such as: - Known, suspected, or history of breast cancer. - Known or suspected history of other estrogen-based cancer, i.e., uterine cancer. - Active deep venous thrombosis (DVT) or a history of DVT or pulmonary embolism (PE) - History of blood clotting disorder, esp. Factor V Leiden mutation carriers - Active or history of arterial thrombotic diseases such as myocardial infarction or stroke - Chronic liver disease or dysfunction - Migraine with aura - The patient must have a normal mammogram and Pap smear within the last three (3) years. | ☐ Compliant ☐ Deficient ☐ Not Applicable | Click or tap here to enter text. |
| 17-O-9 | Green Yellow Orange | If Laser/IPL treatments are performed: There is a written policy for the treatment of burns and blistering caused by treatment. | ☐ Compliant ☐ Deficient ☐ Not Applicable | Click or tap here to enter text. |
| 17-O-10 | Green Yellow Orange | At the end of each shift, the keys for lasers and other energy-based devices are removed from the machines and secured in a locked lockbox. | ☐ Compliant ☐ Deficient ☐ Not Applicable | Click or tap here to enter text. |
| 17-O-11 | Green Yellow Orange | If Laser/IPL treatments are performed: There is a policy outlining the recognition and treatment of common bacterial and viral skin diseases relevant to the medical spa setting, including impetigo, erysipelas, cellulitis, facial/ ocular herpes zoster, and post-resurfacing fungal infections. | ☐ Compliant ☐ Deficient ☐ Not Applicable | Click or tap here to enter text. |
| 17-O-12 | Green Yellow Orange | If Laser/IPL treatments are performed: There is a policy for adjusting treatment settings based on the patient’s Fitzpatrick skin classification. | ☐ Compliant ☐ Deficient ☐ Not Applicable | Click or tap here to enter text. |
| 17-O-13 | Green Yellow Orange | If Chemical Peels are performed: There is a policy for pre-treatment prior to skin resurfacing procedures (laser & chemical peel). | ☐ Compliant ☐ Deficient ☐ Not Applicable | Click or tap here to enter text. |
| 17-O-14 | Green Yellow Orange | If Chemical Peels are performed: There is a policy for viral prophylaxis for skin resurfacing procedures for clients at increased risk of facial herpes. | ☐ Compliant ☐ Deficient ☐ Not Applicable | Click or tap here to enter text. |
| 17-O-15 | Green Yellow Orange | If Chemical Peels are performed: There is a written policy for the performance of chemical peels on the face and neck that contain phenol. The policy addresses EKG monitoring requirements for any facial or neck peel in which phenol is used. Such procedures shall be performed only under clinical conditions appropriate to the level of systemic risk. The policy must define cardiac monitoring requirements based on total systemic exposure risk, including but not limited to: - Surface area treated - Concentration and total volume of phenol applied - Application technique - Patient-specific cardiovascular risk factors. | ☐ Compliant ☐ Deficient ☐ Not Applicable | Click or tap here to enter text. |
| 17-O-16 | Green Yellow Orange | If Chemical Peels are performed: There is a policy for the treatment of burns, scarring, and post-inflammatory hyperpigmentation. | ☐ Compliant ☐ Deficient ☐ Not Applicable | Click or tap here to enter text. |
| 17-O-19 | Green Yellow Orange | If laboratory services are provided, these laboratory services must be provided in accordance with the Clinical Laboratory Improvement Act (CLIA) requirements at 42 CFR 493 operating under a current CLIA certificate appropriate to the level of services performed. Note: Procedures that collect specimens solely for aesthetic or therapeutic purposes (e.g., PRP where blood is drawn and reinjected into the same patient without diagnostic testing) do not require CLIA certification. | ☐ Compliant ☐ Deficient ☐ Not Applicable | Click or tap here to enter text. |
| SUB-SECTION P: Medications |  |  |  |  |
| 17-P-1 | Green Yellow Orange | When used, the facility must store, provide, and administer drugs and biologicals in a safe and effective manner under the direction of the Medical Director. | ☐ Compliant ☐ Deficient ☐ Not Applicable | Click or tap here to enter text. |
| 17-P-2 | Green Yellow Orange | Outdated medications are removed and sequestered from regular stock, and destroyed in accordance with federal/national, state, provincial, and local pharmacy regulations. | ☐ Compliant ☐ Deficient ☐ Not Applicable | Click or tap here to enter text. |
| 17-P-3 | Green Yellow Orange | Medications are stored per the manufacturer's specifications, including temperature and exposure to light and in a secure and designated area away from patient and visitor access. | ☐ Compliant ☐ Deficient ☐ Not Applicable | Click or tap here to enter text. |
| 17-P-4 | Green Yellow Orange | Drug preparation must only occur in designated areas. Those areas must be regularly cleaned and sanitized. | ☐ Compliant ☐ Deficient ☐ Not Applicable | Click or tap here to enter text. |
| 17-P-5 | Green Yellow Orange | All drugs and biologicals administered to a patient must be ordered by a physician or an advanced practice provider, in accordance with applicable state/national laws and regulations. A written or electronic order, signed and dated by an authorized prescriber affiliated with the facility, must be present in the patient’s clinical record prior to administration. | ☐ Compliant ☐ Deficient ☐ Not Applicable | Click or tap here to enter text. |
| 17-P-6 | Orange | If used, all controlled substances are secured and locked under supervised access. | ☐ Compliant ☐ Deficient ☐ Not Applicable | Click or tap here to enter text. |
| 17-P-7 | Orange | If used, there must be a dated controlled substance inventory and a control record that includes the use of controlled substances on individual patients. Such records must be kept in a sequentially numbered, bound journal from which pages may not be removed or in a tamper-proof, secured computer record consistent with state and federal law. A loose-leaf notebook or a spiral-bound notebook does not fulfill this regulation. This log must be kept in the facility. | ☐ Compliant ☐ Deficient ☐ Not Applicable | Click or tap here to enter text. |
| 17-P-8 | Orange | The facility has a policy and procedure that has been adopted and implemented that requires discrepancies in controlled substance counts are resolved before end of business and before anyone leaves the facility premises. | ☐ Compliant ☐ Deficient ☐ Not Applicable | Click or tap here to enter text. |
| 17-P-9 | Orange | Any significant loss or theft of controlled substances (and disposal receptacles) is reported to the local DEA local office using the DEA 106 Form and reported to the Board of Pharmacy. | ☐ Compliant ☐ Deficient ☐ Not Applicable | Click or tap here to enter text. |
| 17-P-10 | Green Yellow Orange | All emergency medications, as noted in the following standards, must be available and in the facility at all times. Licensed personnel in the facility must know their location. | ☐ Compliant ☐ Deficient ☐ Not Applicable | Click or tap here to enter text. |
| 17-P-11 | Green Yellow Orange | At a minimum, the facility must have the following medications available in the facility at all times and secured: - Epinephrine/Epi-Pen - Benadryl | ☐ Compliant ☐ Deficient ☐ Not Applicable | Click or tap here to enter text. |
| 17-P-19 | Green Yellow Orange | The list of emergency medications available in the facility is reviewed annually. | ☐ Compliant ☐ Deficient ☐ Not Applicable | Click or tap here to enter text. |
| 17-P-20 | Green Yellow Orange | Medications in the emergency cart are organized consistently to easily find the proper medication. | ☐ Compliant ☐ Deficient ☐ Not Applicable | Click or tap here to enter text. |
| 17-P-21 | Green Yellow Orange | A medication dosing card is immediately available for staff or medications are available in doses and concentration that be immediately administered. | ☐ Compliant ☐ Deficient ☐ Not Applicable | Click or tap here to enter text. |
| 17-P-22 | Green Yellow Orange | Facilities performing Platelet-Rich Plasma (PRP) procedures must comply with all applicable state, national, and federal requirements regarding blood handling. - In states where a Blood Bank License is required, the facility must obtain and maintain a valid license prior to offering PRP services. - Policies and procedures for blood collection, processing, storage, and reinfusion must be documented and consistently followed, in accordance with applicable regulations and accreditation guidance. - Staff performing PRP procedures must receive appropriate training in blood handling, aseptic technique, and regulatory compliance. | ☐ Compliant ☐ Deficient ☐ Not Applicable | Click or tap here to enter text. |
| SUB-SECTION Q: Infection Control |  |  |  |  |
| 17-Q-1 | Green Yellow Orange | Scrub suits, caps or hair covers, gloves, operative gowns, masks, eye protection, and other appropriate personal protective equipment are available and routinely used for procedures when appropriate. | ☐ Compliant ☐ Deficient ☐ Not Applicable | Click or tap here to enter text. |
| 17-Q-2 | Green Yellow Orange | A sterile field is used when appropriate. | ☐ Compliant ☐ Deficient ☐ Not Applicable | Click or tap here to enter text. |
| 17-Q-3 | Green Yellow Orange | The facility staff must have knowledge of infection control techniques. | ☐ Compliant ☐ Deficient | Click or tap here to enter text. |
| 17-Q-4 | Green Yellow Orange | Policies and practices exist to prevent and control infections, such as proper hand washing, prevention of site infection, and infection event reporting. | ☐ Compliant ☐ Deficient | Click or tap here to enter text. |
| 17-Q-5 | Green Yellow Orange | There is strict segregation of dirty surgical equipment and instruments that have been cleaned and are in the preparation and assembly area. | ☐ Compliant ☐ Deficient ☐ Not Applicable | Click or tap here to enter text. |
| 17-Q-6 | Green Yellow Orange | All non-disposable instruments used in patient care are sterilized where applicable. | ☐ Compliant ☐ Deficient ☐ Not Applicable | Click or tap here to enter text. |
| 17-Q-7 | Green Yellow Orange | If non-disposable instruments are not used, the facility has at least one autoclave that uses high-pressure steam and heat, or all sterile items are single-use disposable. If not processed immediately for sterilization, all soiled instruments are to be treated with an enzymatic cleaner. | ☐ Compliant ☐ Deficient ☐ Not Applicable | Click or tap here to enter text. |
| 17-Q-8 | Green Yellow Orange | Additional methods in use can be chemical autoclave (Chemclave©) or gas (ethylene oxide/EO) sterilizer. | ☐ Compliant ☐ Deficient ☐ Not Applicable | Click or tap here to enter text. |
| 17-Q-9 | Green Yellow Orange | Gas sterilizers, if used, must be vented as per the manufacturer’s specifications. | ☐ Compliant ☐ Deficient ☐ Not Applicable | Click or tap here to enter text. |
| 17-Q-10 | Green Yellow Orange | The facility monitors the sterilization cycle's effectiveness in accordance with nationally and internationally recognized standards of practice and in conjunction with the manufacturer's instructions for use. This includes but is not limited to: - Monitoring each sterilizer load for the appropriate mechanical indicators (e.g., time, temperature, and pressure). - Using type 1 (external) and type 5 (internal) chemical indicators. - Weekly biological indicator (spore test) for each sterilizer. - Using a biological indicator for every load containing implantable items; and. - Recording evidence of sterilization assurance monitoring for every load, and any corrective action is documented. | ☐ Compliant ☐ Deficient ☐ Not Applicable | Click or tap here to enter text. |
| 17-Q-11 | Green Yellow Orange | Sterile instruments and supplies are packaged according to the manufacturer’s instructions for use (IFU) and sealed effectively. Self-sealing peel pouches must be folded on the crease and may only be double-pouched when the process is validated by the manufacturer. | ☐ Compliant ☐ Deficient ☐ Not Applicable | Click or tap here to enter text. |
| 17-Q-12 | Green Yellow Orange | Each sterilized pack is marked with the date of sterilization and, when applicable, with the expiration date. When more than one autoclave is available, each pack must be labeled to identify which autoclave it was sterilized. | ☐ Compliant ☐ Deficient ☐ Not Applicable | Click or tap here to enter text. |
| 17-Q-13 | Green Yellow Orange | Comprehensive monitoring records that include quality control are retained for the sterilization or other disinfection process and should be reviewed and stored for a minimum of three (3) years. | ☐ Compliant ☐ Deficient ☐ Not Applicable | Click or tap here to enter text. |
| 17-Q-14 | Green Yellow Orange | There is a written policy and procedure for the management of a positive biological indicator. | ☐ Compliant ☐ Deficient ☐ Not Applicable | Click or tap here to enter text. |
| 17-Q-16 | Green Yellow Orange | High-level disinfection is used only for non-autoclavable instruments or equipment in semi-critical areas where contact will be made with mucus membranes or other non-sterile body surfaces. The manufacturer’s recommendations for usage must be followed at all times. | ☐ Compliant ☐ Deficient ☐ Not Applicable | Click or tap here to enter text. |
| 17-Q-17 | Green Yellow Orange | The treatment room(s) are cleaned and disinfected according to an established facility policy and procedure, based on industry standards, and includes, at a minimum: • Cleaning schedule • Process for cleaning between treatments • Use of intermediate-level, medical-grade disinfectants EPA-registered as virucidal, bactericidal, tuberculocidal, and fungicidal. | ☐ Compliant ☐ Deficient ☐ Not Applicable | Click or tap here to enter text. |
| 17-Q-19 | Green Yellow Orange | There is a written policy for cleaning spills, especially spills that may contain blood-borne pathogens. | ☐ Compliant ☐ Deficient ☐ Not Applicable | Click or tap here to enter text. |
| 17-Q-20 | Green Yellow Orange | All blood and body fluid spills are cleaned using medical-grade EPA-registered germicides that are virucidal, bactericidal, tuberculocidal, and fungicidal. | ☐ Compliant ☐ Deficient ☐ Not Applicable | Click or tap here to enter text. |
| 17-Q-21 | Green Yellow Orange | When cloth drapes, sheets, robes, or blankets are used, dirty linen is regularly emptied into a container with a lid. | ☐ Compliant ☐ Deficient ☐ Not Applicable | Click or tap here to enter text. |
| 17-Q-22 | Green Yellow Orange | Dirty laundry, once collected, is stored in a laundry bag in an appropriate room away from treatment areas and supplies. A commercial laundry service is used. | ☐ Compliant ☐ Deficient ☐ Not Applicable | Click or tap here to enter text. |
| 17-Q-23 | Green Yellow Orange | A written protocol has been developed for use by housekeeping personnel for cleaning floors, tables, walls, ceilings, counters, furniture, and fixtures of the treatment room. | ☐ Compliant ☐ Deficient ☐ Not Applicable | Click or tap here to enter text. |
| 17-Q-24 | Green Yellow Orange | Single-use devices are not reprocessed unless they are approved by the FDA for reprocessing. Reprocessing of these devices is done by an FDA-approved reprocessor. NOTE: The FDA requirement does not apply to international facilities. International facilities must comply with local, state/provincial or federal/national requirements regarding reprocessing single-use devices. | ☐ Compliant ☐ Deficient ☐ Not Applicable | Click or tap here to enter text. |
| SUB-SECTION R: General Clinical Records |  |  |  |  |
| 17-R-1 | Green Yellow Orange | Clinical records must be kept secure and confidential, consistent with national patient privacy regulations. | ☐ Compliant ☐ Deficient ☐ Not Applicable | Click or tap here to enter text. |
| 17-R-2 | Green Yellow Orange | Clinical records for each patient must be accurate, legible, and promptly completed. | ☐ Compliant ☐ Deficient ☐ Not Applicable | Click or tap here to enter text. |
| 17-R-4 | Green Yellow Orange | Clinical records must be retained the number of years as required by state/provincial and/or national law or a minimum of three (3) years to comply with the QUAD A three-year survey cycle. | ☐ Compliant ☐ Deficient ☐ Not Applicable | Click or tap here to enter text. |
| 17-R-5 | Green Yellow Orange | Clinical records must contain appropriate patient identification. | ☐ Compliant ☐ Deficient ☐ Not Applicable | Click or tap here to enter text. |
| 17-R-6 | Green Yellow Orange | A simple relevant history or a Good Faith Exam is conducted appropriate to the treatment to be provided and in accordance with the risk stratification. | ☐ Compliant ☐ Deficient ☐ Not Applicable | Click or tap here to enter text. |
| 17-R-7 | Green Yellow Orange | The clinical record includes responses regarding any allergies and abnormal drug reactions. | ☐ Compliant ☐ Deficient ☐ Not Applicable | Click or tap here to enter text. |
| 17-R-8 | Green Yellow Orange | The clinical record includes responses regarding current medications. | ☐ Compliant ☐ Deficient ☐ Not Applicable | Click or tap here to enter text. |
| 17-R-9 | Green Yellow Orange | The clinical record includes documentation of medical history. | ☐ Compliant ☐ Deficient ☐ Not Applicable | Click or tap here to enter text. |
| 17-R-11 | Green Yellow Orange | The clinical record includes previous treatments. | ☐ Compliant ☐ Deficient ☐ Not Applicable | Click or tap here to enter text. |
| 17-R-12 | Green Yellow Orange | The clinical record includes responses regarding bleeding risk including medical conditions and medication taken up to the day of the treatment. | ☐ Compliant ☐ Deficient ☐ Not Applicable | Click or tap here to enter text. |
| 17-R-13 | Green Yellow Orange | A physician, APRN, or PAC (as permitted by state/national law) shall determine and document the patient’s medical status immediately prior to an initial treatment requiring a Good Faith Exam, and subsequent treatments if required. | ☐ Compliant ☐ Deficient ☐ Not Applicable | Click or tap here to enter text. |
| 17-R-14 | Green Yellow Orange | The name of the pathologist must be on all pathology reports. | ☐ Compliant ☐ Deficient ☐ Not Applicable | Click or tap here to enter text. |
| 17-R-15 | Green Yellow Orange | All laboratory results must be reviewed and acknowledged by the ordering health care provider. | ☐ Compliant ☐ Deficient ☐ Not Applicable | Click or tap here to enter text. |
| 17-R-16 | Green Yellow Orange | All other reports, such as pathology reports and medical clearance reports, must be reviewed and acknowledged by the ordering health care provider. | ☐ Compliant ☐ Deficient ☐ Not Applicable | Click or tap here to enter text. |
| 17-R-17 | Green Yellow Orange | If tests/studies are done in the facility, the laboratory meets applicable licensure, standards, and state/provincial/national laws and regulations. | ☐ Compliant ☐ Deficient ☐ Not Applicable | Click or tap here to enter text. |
| 17-R-18 | Green Yellow Orange | A written treatment plan that is individualized to the patient shall be developed, which follows the standard of care. A treatment plan should include specific instructions on doses, settings, and specific areas of treatment. | ☐ Compliant ☐ Deficient ☐ Not Applicable | Click or tap here to enter text. |
| 17-R-19 | Green Yellow Orange | A record is maintained of all medications given to a patient, including the date, time, amount, and route of administration. | ☐ Compliant ☐ Deficient ☐ Not Applicable | Click or tap here to enter text. |
| 17-R-20 | Green Yellow Orange | Post-treatment progress notes are recorded as appropriate. | ☐ Compliant ☐ Deficient ☐ Not Applicable | Click or tap here to enter text. |
| 17-R-21 | Green Yellow Orange | Following a procedure, the patient is given discharge instructions for procedures in the orange category of risk, including procedures for emergency situations. A signed copy of the instructions is maintained in the patient’s chart. | ☐ Compliant ☐ Deficient ☐ Not Applicable | Click or tap here to enter text. |
| 17-R-22 | Green Yellow Orange | For medical spas performing aesthetic treatments, a separate treatment log of all treatments must be maintained, either in a sequentially numbered, bound journal from which pages may not be removed or in a tamper-proof, secured computer record consistent with state and federal law. A loose-leaf notebook or a spiral-bound notebook does not fulfill this regulation. This log must be kept in the facility. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected On Site | Click or tap here to enter text. |
| 17-R-23 | Green Yellow Orange | The treatment log must include the following: - The date of the procedure - Patient’s name and/or identification number - The type of procedure - The proceduralist’s name - Type of anesthesia used – local, topical, and/or nitrous oxide | ☐ Compliant ☐ Deficient ☐ Not Applicable | Click or tap here to enter text. |
| 17-R-24 | Green Yellow Orange | A written pregnancy testing policy must be in place that requires discussion and documentation of the issue with each patient, as appropriate. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected On Site | Click or tap here to enter text. |
| SUB-SECTION S: Informed Consent |  |  |  |  |
| 17-S-1 | Green Yellow Orange | A properly executed informed consent form, which authorizes the treating individual by name to perform the procedure and describes the treatment, is always obtained. | ☐ Compliant ☐ Deficient ☐ Not Applicable | Click or tap here to enter text. |
| 17-S-2 | Green Yellow Orange | Expectations, alternatives, risks, and complications are discussed with the patient, and these are documented. | ☐ Compliant ☐ Deficient ☐ Not Applicable | Click or tap here to enter text. |
| 17-S-3 | Green Yellow Orange | The patient signs a separate consent form if research protocols, videography, or photography are to take place. | ☐ Compliant ☐ Deficient ☐ Not Applicable | Click or tap here to enter text. |
| SUB-SECTION T: Governing Body – Medical Director |  |  |  |  |
| 17-T-1 | Green Yellow Orange | The facility has a medical director with full legal responsibility for determining, implementing, and monitoring policies governing the facility's total operation. The Medical Director has oversight and accountability for the quality assessment and performance improvement program, ensures that the facility policies and programs are administered so as to provide quality health care in a safe environment, and develops and maintains a disaster preparedness plan. | ☐ Compliant ☐ Deficient ☐ Not Applicable | Click or tap here to enter text. |
| 17-T-2 | Green Yellow Orange | The Medical Director sets policy on how individual staff deal with each other, external parties, and the staff’s role in properly dealing with patients. | ☐ Compliant ☐ Deficient ☐ Not Applicable | Click or tap here to enter text. |
| 17-T-3 | Green Yellow Orange | The Medical Director must ensure that all outside services are provided in a safe and effective manner. This includes contracted services such as staffing, laundry services, housekeeping, equipment maintenance, and sterile processing. | ☐ Compliant ☐ Deficient ☐ Not Applicable | Click or tap here to enter text. |
| 17-T-4 | Green Yellow Orange | The policies, procedures, and processes adopted by the Medical Director are reviewed and revised at least annually. | ☐ Compliant ☐ Deficient ☐ Not Applicable | Click or tap here to enter text. |
| 17-T-5 | Green Yellow Orange | The Medical Director is responsible for overseeing the facility’s risk management program. | ☐ Compliant ☐ Deficient ☐ Not Applicable | Click or tap here to enter text. |
| 17-T-6 | Green Yellow Orange | Each medical spa shall designate a licensed physician, holding an active license in the state where the medical spa operates, to serve as the Medical Director. | ☐ Compliant ☐ Deficient ☐ Not Applicable | Click or tap here to enter text. |
| 17-T-7 | Green Yellow Orange | If the Medical Director is not on-site, they must be available for consultation with staff during all procedures, either in person, by telephone, or through telehealth communication, and must hold an active license to practice in the state where the medical spa operates. | ☐ Compliant ☐ Deficient ☐ Not Applicable | Click or tap here to enter text. |
| 17-T-8 | Green Yellow Orange | The Medical Director may supervise no more than three (3) locations and must have current licensure in the state. | ☐ Compliant ☐ Deficient ☐ Not Applicable | Click or tap here to enter text. |
| 17-T-9 | Green Yellow Orange | A Medical Director must: - Be a physician (MD/DO) licensed to practice medicine in the state where the facility operates. - For med spas where any aesthetic procedures or treatments are performed, the Medical Director must have the proper education, training, experience, and competence to safely administer, delegate, and supervise each cosmetic medical procedure at the medical spa. For med spas where any aesthetic procedures or treatments are performed, the Medical Director must be trained in the indications for and performance of cosmetic and wellness medical procedures, including all medical devices or instruments that can alter or cause biological change or damage the skin and subcutaneous tissue. | ☐ Compliant ☐ Deficient ☐ Not Applicable | Click or tap here to enter text. |
| 17-T-10 | Green Yellow Orange | The Medical Director accepts responsibility for the overall safety of all patients treated at the medical spa. | ☐ Compliant ☐ Deficient ☐ Not Applicable | Click or tap here to enter text. |
| 17-T-11 | Green Yellow Orange | The Medical Director is responsible for establishing a means for obtaining the appropriate informed consent from each patient and that the signed patient's consent for treatment is obtained prior to treatment. Consent forms must also include language for emergency treatment, should it be needed. If the procedure is being performed by a non-physician provider, the credentials and name of the non-physician provider will also be listed on the consent. | ☐ Compliant ☐ Deficient ☐ Not Applicable | Click or tap here to enter text. |
| 17-T-13 | Green Yellow Orange | The Medical Director is responsible for ensuring that all physicians or non-physician practitioners working in the medical spa are fully trained and qualified to perform the procedures with which they are tasked, including certification for the use of specific equipment. The Medical Director also assesses their individual clinical performance on an ongoing basis. | ☐ Compliant ☐ Deficient ☐ Not Applicable | Click or tap here to enter text. |
| 17-T-14 | Green Yellow Orange | The Medical Director is responsible for ensuring that licensed medical professionals, such as APRNs, PACs, registered nurses, licensed practical nurses, aestheticians, cosmetologists, etc., comply with their professional scope of practice and act in accordance with their respective state/national licensing boards. Any unlicensed staff must be appropriately supervised on-site. | ☐ Compliant ☐ Deficient ☐ Not Applicable | Click or tap here to enter text. |
| 17-T-16 | Green Yellow Orange | The Medical Director is responsible for confirming that the medical spa is equipped with all necessary safety equipment, supplies, and processes to address medical complications and emergencies that may arise during treatment and immediately after the procedure. | ☐ Compliant ☐ Deficient ☐ Not Applicable | Click or tap here to enter text. |
| 17-T-17 | Green Yellow Orange | The Medical Director is responsible for ensuring compliance with standards for the appropriate training and qualifications of medical spa providers. | ☐ Compliant ☐ Deficient ☐ Not Applicable | Click or tap here to enter text. |
| 17-T-19 | Green Yellow Orange | The Medical Director develops policies related to conducting telehealth Good Faith Exams. | ☐ Compliant ☐ Deficient ☐ Not Applicable | Click or tap here to enter text. |
| 17-T-20 | Green Yellow Orange | The Medical Director is responsible for ensuring a written treatment plan with orders for each patient, including diagnosis, course of treatment, and specifications for any device being utilized. | ☐ Compliant ☐ Deficient ☐ Not Applicable | Click or tap here to enter text. |
| 17-T-21 | Green Yellow Orange | The Medical Director is responsible for ensuring that clinical records are maintained in a manner consistent with accepted medical practice and in compliance with the rules of the local jurisdiction having control where the medical spa is located. | ☐ Compliant ☐ Deficient ☐ Not Applicable | Click or tap here to enter text. |
| 17-T-23 | Green Yellow Orange | The Medical Director must ensure that the facility complies with all local, regional, national, state, and county regulations, including those related to employee health and safety, building and environmental protection, reportable diseases, and waste management. | ☐ Compliant ☐ Deficient ☐ Not Applicable | Click or tap here to enter text. |
| 17-T-24 | Green Yellow Orange | The Medical Director must document the staffing levels and what qualifications are required for each position, based on the services offered at the facility. | ☐ Compliant ☐ Deficient ☐ Not Applicable | Click or tap here to enter text. |
| 17-T-25 | Green Yellow Orange | The Medical Director must review and approve credentialing for all practitioners upon hire and then every 36 months, including approved delineation of privileges. | ☐ Compliant ☐ Deficient ☐ Not Applicable | Click or tap here to enter text. |
| 17-T-26 | Green Yellow Orange | The Medical Director must review and maintain a record of the performance of all practitioners and staff at least annually. This includes a record of corrective actions and educational activities. | ☐ Compliant ☐ Deficient ☐ Not Applicable | Click or tap here to enter text. |
| SUB-SECTION U: Quality Assurance & Performance Improvement |  |  |  |  |
| 17-U-1 | Green Yellow Orange | The facility has a written quality improvement program implemented which includes surveys or projects to: - Monitor and evaluate patient care - Evaluate methods to improve patient care - Identify and correct deficiencies within the facility - Alert the facility's Quality Improvement Program to identify, track, trend, evaluate and resolve problems. | ☐ Compliant ☐ Deficient ☐ Not Applicable | Click or tap here to enter text. |
| 17-U-2 | Green Yellow Orange | Performance improvement activities must track adverse patient events, examine their causes, implement improvements, and ensure that improvements are sustained over time. | ☐ Compliant ☐ Deficient ☐ Not Applicable | Click or tap here to enter text. |
| 17-U-3 | Green Yellow Orange | The facility has processes for reporting and investigating safety incidents, complaints, and adverse events for patients and staff on a defined basis. For example, if visual problems occur with or after treatment, an ophthalmologist must be consulted. | ☐ Compliant ☐ Deficient ☐ Not Applicable | Click or tap here to enter text. |
| 17-U-4 | Green Yellow Orange | All staff must be educated in risk management activities upon hire, annually thereafter, and when there is an identified need. | ☐ Compliant ☐ Deficient ☐ Not Applicable | Click or tap here to enter text. |
| 17-U-5 | Green Yellow Orange | A policy should document the competencies of practitioners who perform treatments and/or handle specialized equipment. | ☐ Compliant ☐ Deficient ☐ Not Applicable | Click or tap here to enter text. |
| SUB-SECTION V: Training & Education |  |  |  |  |
| 17-V-1 | Green Yellow Orange | Physicians (MDs/DOs), Dentists, OMS, and advanced practice providers must be legally and professionally qualified for the treatments they perform. Chiropractors, Naturopaths, PhD, PharmD, etc., are not eligible to provide or supervise treatments in this program. A Doctor of Nursing Practice (DNP) can provide treatment based on their level of prior training as an RN or APNP. Doctors of Oriental Medicine may perform acupuncture procedures only, as per state/national law. | ☐ Compliant ☐ Deficient ☐ Not Applicable | Click or tap here to enter text. |
| 17-V-2 | Yellow Orange | Any physician who performs cosmetic medical procedures listed in the Yellow and Orange-Level risk categories or who supervises cosmetic medical procedures performed by another staff member listed in the Yellow or Orange-Level risk categories must be trained in the indications for and performance of the procedure. - Completing an ACGME or AOA-accredited postgraduate program that includes training in the cosmetic medical procedure being performed satisfies the education requirement. This includes Plastic Surgery, Dermatology, Facial Plastics, and Oculoplastics. - Physicians who did not complete training in an accredited ACGME or AOA-accredited program with specific training in cosmetic medical procedures (non-core) must demonstrate completion of the appropriate educational requirements for each and every category they perform or supervise. | ☐ Compliant ☐ Deficient ☐ Not Applicable | Click or tap here to enter text. |
| 17-V-3 | Green Yellow Orange | APRNs, PACs, RNs and aestheticians who provide a cosmetic medical procedure must: - Be fully qualified to perform such procedures by having received appropriate theoretical and clinical instruction, education, and training in each service to be performed, including all topics listed in 17-V-4 - Be fully trained in the appropriate management of any resultant emergencies, complications, or sequelae. - For non-aesthetic procedures, Advanced Practice Providers must comply with all training requirements of this section (17-V-4 through 17-V-9 | ☐ Compliant ☐ Deficient ☐ Not Applicable | Click or tap here to enter text. |
| 17-V-4 | Green Yellow Orange | MD/DOs, APRNs, PACs, Ps, RNs, and aestheticians who work in an aesthetic medical spa must have accredited postgraduate training hours in topics directly relevant to cosmetic procedures prior to performing cosmetic treatments. - These training hours must include appropriate indications and contraindications for cosmetic treatment, relevant anatomy, informed consent, procedural risks and how to mitigate them, proper and safe techniques, the management of complications, and legal responsibilities. - This training and education must be documented in the personnel file. The facility defines an adequate number of ongoing training hours required annually in policy. | ☐ Compliant ☐ Deficient ☐ Not Applicable | Click or tap here to enter text. |
| 17-V-5 | Green Yellow Orange | Non-physician providers may only perform procedures in which they have been properly trained and are allowed in accordance with state/national law and the scope of practice. This training and delegation are documented in the personnel file. | ☐ Compliant ☐ Deficient ☐ Not Applicable | Click or tap here to enter text. |
| 17-V-6 | Yellow Orange | To perform botulinum toxin and filler procedures from the Yellow and Orange-Level Categories, non-core physicians, APPs, and RNs, where permitted by state/national law, working under the supervision of a Medical Director must: - Complete 20 continuing education CME/CEUs related to the core competencies of botulinum toxin use and intradermal filler use. - Observe a minimum of 25 cases by a qualified supervising provider who routinely performs/performs these treatments. - Perform 25 proctored cases for Neurotoxins, and 25 proctored cases by a qualified supervising provider for dermal fillers. - In states or countries where independent practice of non-physician providers is permitted, the non-physician provider must observe a minimum of 25 proctored cases by a qualified supervising provider who routinely performs/performed these treatments before working in a QUAD A-certified medical spa. Additionally, the non-physician provider must perform 25 proctored cases with neurotoxins and 25 proctored cases with dermal fillers. - Documentation of injection-specific training, experience, and education is required. A signed attestation from the qualified supervising provider is required. | ☐ Compliant ☐ Deficient ☐ Not Applicable | Click or tap here to enter text. |
| 17-V-7 | Orange | To perform Sexual Wellness Treatments, treatment of mild to moderate stress incontinence or overactive bladder, or any listed procedures in the vulva, vagina or clitoris, or male genitalia, the following additional training is required: - Males: Dermal fillers, PRP, and PRF: providers must observe 25 cases performed by a qualified supervising provider and have successfully completed 25 proctored cases. - Females: providers must observe 25 cases for each of genital botulinum toxin, filler, or vaginal RF treatments performed by a gynecologist, urogynecologist, urologist, or a qualified supervising provider who routinely performs/performed these treatments and has successfully completed 25 proctored cases. Documentation of treatment-specific training, experience, and education is required. A signed attestation from the qualified supervising provider is required. A chaperone is required for treatments. Patients with moderately severe or severe urinary incontinence shall be referred out to a specialist physician. Completion of an ACGME-approved residency in Obstetrics & Gynecology, Urology, or a Urogynecology fellowship satisfies the educational & experience requirements of this standard for physicians. Physicians who did not complete training in an accredited ACGME or AOA-accredited program with specific training in these procedures must demonstrate documentation of equivalent training, education, and/or experience in writing for review by QUAD A. | ☐ Compliant ☐ Deficient ☐ Not Applicable | Click or tap here to enter text. |
| 17-V-8 | Orange | To perform Hormone Replacement Therapy (HRT), APPs working under the supervision of a medical director: - Must complete 20 hours of CME/CEU credits related to hormone replacement for both males and females. - ·Must review 25 cases where the treatment recommendations and follow-up were performed by an endocrinologist, gynecologist, or by a qualified supervising provider who routinely performs/performs these treatments. Must complete 25 proctored cases where the APP provided the treatment and follow the patients for a minimum of six (6) months. - In states or countries where independent practice of APPs is permitted, the APP must review 25 cases where the treatment recommendations and follow-up were performed by an endocrinologist, gynecologist, or by a qualified supervising provider who routinely performs/performs these treatments. And must complete 25 proctored cases where the APP provided the treatment and followed the patients for a minimum of six (6) months. Documentation of HRT-specific training, experience, and education is required, as is a signed attestation from a qualified supervising provider. Completing an ACGME-approved residency in Obstetrics and Gynecology, Internal Medicine, Family Practice, or an Endocrinology fellowship satisfies the educational and experience requirements of this standard for physicians. | ☐ Compliant ☐ Deficient ☐ Not Applicable | Click or tap here to enter text. |
| 17-V-9 | Green Yellow Orange | Integrative Medicine combines traditional Western medicine with “complementary” or “alternative methods” to create a “more complete” therapy. Functional Medicine tries to treat medical issues by examining potential underlying issues such as nutrition and gut microbiome, immune system health, toxins, adrenal, thyroid, and pituitary issues, and mitochondrial health. - To perform functional medicine treatments in a QUAD A-accredited Medical Spa, MDs/DOs and APPs must complete a minimum of 40 hours of accredited CME/CEUs in functional medicine core competencies. Completion of an ACGME-approved residency in Internal Medicine, Rehabilitation Medicine, or Gerontology fellowship satisfies the functional medicine educational & experience requirements for physicians. - To perform integrative medicine (Complementary/Alternative Medicine) treatments in a QUAD A-certified Medical Spa, MDs/Dos and APPs must complete a minimum of 40 hours of accredited CME/CEUs in integrative medicine core competencies. - Where lab tests are ordered, the patient must be fully informed of the out-of-pocket costs of such testing, prior to performing the tests. - Sales or use of ingested homeopathic preparations are not permitted. Reiki therapy is not permitted. Functional or Integrative Medicine is not permitted for the treatment of cancer or other life-threatening conditions. Such patients must be referred to an appropriate specialist. | ☐ Compliant ☐ Deficient ☐ Not Applicable | Click or tap here to enter text. |
| 17-V-10 | Orange | To perform Weight Loss MD/DOs, PACs, and APRNs must complete a minimum of 20 hours of accredited CME/CEUs in obesity medicine core competencies, including: - Obesity Epidemiology - Obesity Biology - Social Context of Obesity - Assessment of Obesity - Medical Complications of Obesity - Strategies for Obesity treatment - Lifestyle-based treatment of Obesity - Pharmacologic treatment of Obesity – including GLP1 agents, indications & contraindications, complications, dose advancement. - Bariatric surgery – when to refer, complications, late postoperative treatment - Dietary Assessment and Planning, including the use of additional supplements and vitamins. Completion of a Fellowship in Obesity Medicine, Bariatric Surgery, or Endocrinology satisfies the educational requirements for physicians. | ☐ Compliant ☐ Deficient ☐ Not Applicable | Click or tap here to enter text. |
| 17-V-11 | Yellow Orange | IV Therapy · **Must be prescribed by a physician, APRN, or PAC ** - IV therapy may be performed by: physicians, APPs, and RNs. - Patients shall complete a screening questionnaire for potential contraindications, and a consent form, prior to treatment. Providers may not administer IV therapy to patients for whom it would be unsafe, based on the results of the screening questionnaire or subsequent discussions with the patient. Informed consent specific to the medication that will be infused shall be obtained. - A brief pertinent physical exam, including vital signs, and auscultation of the lungs, shall be performed prior to starting the infusion. - All IV fluid bags shall be clearly labeled as to their contents or additives. The patient will be issued an allergy wrist band, and providers shall confirm allergy status prior to starting an infusion. - The patient will be supervised during the infusion by a suitable medical provider. - The patient will also receive: - Written information related to potential side effects and risks of treatment, in plain language. - A visit summary, including details of administered fluids. A copy of the visit summary shall additionally be sent to the patient’s physician of record. When mixing solutions on site, no more than one (1) additive shall be added to an IV solution. Mixtures requiring multiple components (e.g., Myers Cocktail) shall be provided to the medical spa by a compounding pharmacy that utilizes IV admixture, a pharmacist. and hood setup. The Medical Director will establish protocols for: - Aseptic technique during IV starts. - Prevention and treatment of iatrogenic infection - Incompatible IV additives - Treatment of complications, including extravasation of IV fluid - When to refer out - Emergencies requiring transfer of the patient to the nearest ER. Other Facility requirements: - There shall be a medication refrigerator available in the designated area. - There shall be a separate preparation room, for preparation of infusions. - IV fluids shall be opened and/or mixed as close as realistically possible to the time of use. - Preparation shall be performed with sterile technique. - Emergency supplies with medications for anaphylaxis and airways | ☐ Compliant ☐ Deficient ☐ Not Applicable | Click or tap here to enter text. |
| 17-V-12 | Green Yellow Orange | Laser/Light-Based Hair Removal APRNs, PACs, RNs, and aestheticians must: - Maintain Certification in Laser Hair Removal (LHR) in accordance with state/national laws. An applicant for an LHR professional certificate shall meet the following requirements prior to performing procedures without supervision.: - Must complete 20 CEUs/CMEs, including the following areas. • LHR device safety • Laser physics • Skin Typing • Skin reactions • Treatment protocols • Skin reactions • Treatment protocols • Burns • Eye protection • Emergencies • Cardio-pulmonary Resuscitation - Identification of malignant and pre-malignant skin lesions - Observe 20 cases. - Perform at least 40 LHR procedures in a variety of skin types, within 12 months under the direct supervision of a senior LHR technician, an LHR professional, or a qualified supervising provider, and demonstrate safe and appropriate treatment. | ☐ Compliant ☐ Deficient ☐ Not Applicable | Click or tap here to enter text. |
| 17-V-13 | Green Yellow Orange | IPL (other than hair removal): - Must complete 20 relevant CEUs/CMEs - Must observe 25. - Must complete 25 IPL cases under the supervision of a qualified supervising provider with IPL training. - Must demonstrate adjustment of IPL settings with skin type. - Must demonstrate safe and appropriate treatment | ☐ Compliant ☐ Deficient ☐ Not Applicable | Click or tap here to enter text. |
| 17-V-14 | Green Yellow Orange | Laser, IPL, and Energy-based devices (other than hair removal/reduction): Must complete forty relevant 20 CEUs/CMEs, including the following topics: - Skin Rejuvenation and/or skin tightening - Non-Ablative Skin Resurfacing/Skin treatments - Spider Vein Reduction - Ablative skin resurfacing - Telangiectasia Reduction and/or Acquired Adult Hemangioma Reduction - Facial Erythema Reduction and/or Solar Lentigo Reduction (Age Spots) - Acne Scar, Surgical scar, or traumatic scar reduction - Photo Facial or IPL-based skin treatment - Photodynamic Therapy (PDT) - Laser tattoo removal | ☐ Compliant ☐ Deficient ☐ Not Applicable | Click or tap here to enter text. |
| 17-V-15 | Green Yellow Orange | Non-ablative skin resurfacing with laser - Must complete 20 relevant CEUs/CMEs - Must observe 10 (ten) cases. - Must complete 10 (ten) non-ablative skin resurfacing cases under the supervision of a qualified supervising provider with non-ablative laser training. - Must demonstrate safe and appropriate treatment | ☐ Compliant ☐ Deficient ☐ Not Applicable | Click or tap here to enter text. |
| 17-V-16 | Yellow Orange | Ablative skin resurfacing with laser - Must complete 20 relevant CEUs/CMEs - Must observe 10 (ten) cases. - Must complete 10 (ten) ablative skin resurfacing cases under the supervision of a qualified supervising provider, certified laser technician, APRN, or PAC with ablative laser training. - Must demonstrate adjustment of laser energy settings with skin type. - Must demonstrate safe and appropriate treatment | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 17-V-17 | Orange | Vascular lasers (skin only) - Must complete 20 relevant CEUs/CMEs - Must observe 10 (ten) cases. - Must complete 10 (ten) cases under direct in-room supervision of a qualified supervising provider with vascular laser training. - Must demonstrate safe and appropriate treatment | ☐ Compliant ☐ Deficient ☐ Not Applicable | Click or tap here to enter text. |
| 17-V-18 | Green Yellow Orange | Tattoo removal with laser - Must complete 20 relevant CEUs/CMEs - Must observe 10 (ten) cases. - Must complete 10 (ten) cases under the supervision of a qualified supervising provider with tattoo removal training. - Must demonstrate safe and appropriate treatment | ☐ Compliant ☐ Deficient ☐ Not Applicable | Click or tap here to enter text. |
| SUB-SECTION W: Personnel |  |  |  |  |
| 17-W-1 | Green Yellow Orange | All staff must wear identification that displays their provider type and licensing in a manner that is clear and not misleading to patients. | ☐ Compliant ☐ Deficient ☐ Not Applicable | Click or tap here to enter text. |
| 17-W-2 | Green Yellow Orange | All non-physician providers (e.g., APRNs, PACs, RNs, aestheticians, etc.) must review and follow written protocols for each delegated cosmetic medical procedure. Documentation of this review must be included in the personnel record at the time of hire, annually thereafter, and whenever the protocol is updated. | ☐ Compliant ☐ Deficient ☐ Not Applicable | Click or tap here to enter text. |
| 17-W-3 | Green Yellow Orange | All staff must notify the Medical Director and supervising provider of any adverse events or complications before the patient leaves the medical spa or as soon as they become aware. | ☐ Compliant ☐ Deficient ☐ Not Applicable | Click or tap here to enter text. |
| 17-W-4 | Green Yellow Orange | There is a manual outlining personnel policies. The facility maintains a manual outlining personnel policies that is reviewed annually and updated as needed. | ☐ Compliant ☐ Deficient ☐ Not Applicable | Click or tap here to enter text. |
| 17-W-5 | Green Yellow Orange | Each personnel record contains any health problems of the individual which may be hazardous to the employee, other employees, or patients and a plan of action or special precautions delineated as needed. To be reviewed and updated annually. | ☐ Compliant ☐ Deficient ☐ Not Applicable | Click or tap here to enter text. |
| 17-W-6 | Green Yellow Orange | Each personnel record contains a resume of training and experience. | ☐ Compliant ☐ Deficient ☐ Not Applicable | Click or tap here to enter text. |
| 17-W-7 | Green Yellow Orange | Each personnel record contains a date of employment. | ☐ Compliant ☐ Deficient ☐ Not Applicable | Click or tap here to enter text. |
| 17-W-8 | Green Yellow Orange | Each personnel record contains a description of duties. | ☐ Compliant ☐ Deficient ☐ Not Applicable | Click or tap here to enter text. |
| 17-W-9 | Green Yellow Orange | Each personnel record contains an ongoing record of continuing education. | ☐ Compliant ☐ Deficient ☐ Not Applicable | Click or tap here to enter text. |
| 17-W-10 | Green Yellow Orange | Each personnel record contains ongoing records of inoculations or refusals in accordance with local, state/provincial, or federal/national requirements. | ☐ Compliant ☐ Deficient ☐ Not Applicable | Click or tap here to enter text. |
| 17-W-11 | Green Yellow Orange | Each personnel record contains current certification or license if required by the state, province, region, or country. | ☐ Compliant ☐ Deficient ☐ Not Applicable | Click or tap here to enter text. |
| 17-W-12 | Green Yellow Orange | The practitioners shall document an appropriate level of Continuing Medical Education (CME) and follow nationally accepted evidence-based protocols where they exist. | ☐ Compliant ☐ Deficient ☐ Not Applicable | Click or tap here to enter text. |
| 17-W-13 | Green Yellow Orange | Each personnel record has evidence of other annual safety training including fire safety training, including operation of a fire extinguisher. | ☐ Compliant ☐ Deficient ☐ Not Applicable | Click or tap here to enter text. |
| 17-W-14 | Green Yellow Orange | All clinical staff involved in patient care in the MedSpa shall maintain BLS certification. | ☐ Compliant ☐ Deficient ☐ Not Applicable | Click or tap here to enter text. |
| 17-W-15 | Green Yellow Orange | Clinical personnel must be trained and knowledgeable about the facility's protocols for safe and timely transfer of a patient to an Emergency Room (ER) when emergency services are required. | ☐ Compliant ☐ Deficient ☐ Not Applicable | Click or tap here to enter text. |
| 17-W-16 | Green Yellow Orange | Clinical personnel are familiar with equipment and procedures utilized in the treatment of emergencies discussed in standards section 17-O. | ☐ Compliant ☐ Deficient ☐ Not Applicable | Click or tap here to enter text. |
| 17-W-17 | Green Yellow Orange | Where staff cannot demonstrate competency, training, or experience in the safe operation of equipment, the facility provides and documents training or arranges training through an accredited external provider. | ☐ Compliant ☐ Deficient ☐ Not Applicable | Click or tap here to enter text. |
| 17-W-18 | Green Yellow Orange | Personnel are thoroughly familiar with the operating instructions for any sterilizer equipment being used. | ☐ Compliant ☐ Deficient ☐ Not Applicable | Click or tap here to enter text. |
| 17-W-19 | Green Yellow Orange | All staff involved in patient care have adequate knowledge to perform cardiopulmonary resuscitation (BLS), and to recognize and treat filler and anaphylactic emergencies. | ☐ Compliant ☐ Deficient ☐ Not Applicable | Click or tap here to enter text. |
| 17-W-20 | Green Yellow Orange | Staff performing drug compounding must complete compounding competencies upon hire and then annually. | ☐ Compliant ☐ Deficient ☐ Not Applicable | Click or tap here to enter text. |
| 17-W-21 | Green Yellow Orange | All staff performing procedures must have an initial competency assessment upon hire and then annually for all procedures performed, and as new procedures are added or updated. | ☐ Compliant ☐ Deficient ☐ Not Applicable | Click or tap here to enter text. |
| 17-W-22 | Green Yellow Orange | Each personnel record has evidence of annual hazard safety training. | ☐ Compliant ☐ Deficient | Click or tap here to enter text. |
| 17-W-23 | Green Yellow Orange | Each personnel record has evidence of annual bloodborne pathogen training. | ☐ Compliant ☐ Deficient | Click or tap here to enter text. |
| 17-W-24 | Green Yellow Orange | Each personnel record has evidence of annual standard precaution training. | ☐ Compliant ☐ Deficient | Click or tap here to enter text. |

GLOSSARY

Adequate means satisfactory or acceptable in quality or quantity encompassing size, space, maintenance, cleanliness, freedom from clutter, lighting, equipment and supplies, etc.; it is meant to satisfy a requirement.

Advanced practice provider (APP):  in a medical spa setting is a licensed healthcare professional who has advanced clinical training and education, typically at the master’s or doctoral level, and is authorized to perform medical assessments, diagnose conditions, develop treatment plans, and deliver or delegate cosmetic and medical aesthetic procedures in accordance with state/national laws. APPs in a med spa are responsible for ensuring that all procedures are performed safely, ethically, and in compliance with applicable medical board regulations and the facility’s established protocols. This category typically includes:

- Certified Nurse Specialists (CNSs) (where applicable)

- Certified Registered Nurse Anesthetists (CRNAs)

- Doctor of Nurse Anesthesia Practice (DNAP)

- Doctor of Nursing Practice (DNP)

- Nurse Practitioners (NPs)

- Physician Assistants (PAs)

Advanced practice registered nurses (APRNs) are registered nurses educated at a master’s or doctoral level and in a specific role and patient population. APRNs are prepared with specialized education and certification to assess, diagnose, and manage medical issues. They can also order tests and prescribe medications. In a Med Spa, this would be a nurse practitioner.

Aesthetic Medical Spa means a medical spa where any Cosmetic Medical Procedures, as defined below, are performed.

Wellness medical spa means a medical spa where any of the following procedures or treatments are performed:

- Treatments involving the male or female genitalia.

- Administration of IV fluids, IV vitamins or other IV mixtures

- Functional or Integrative Medicine

Appropriate/appropriately means especially suitable or compatible, or fitting.

Examples:

- Administrative and patient care areas must have lighting to see all tasks fully.  (2-B-9 and 2-B-12)

- Oxygen delivery should be tailored to the appropriate delivery method based on patient need and type/location of procedure.  (4-C-10)

Aesthetician: A licensed professional trained to provide skincare and non-invasive cosmetic treatments, including facials, hair removal, skin analysis, and application of cosmetic products. Their scope of practice typically included:

- Facial treatments (cleansing, exfoliation, masks)

- Hair removal (waxing, threading, or laser-assisted under supervision if allowed by state/national law)

- Skin analysis and treatment recommendations

- Application of cosmetic products (makeup, serums, peels)

- Certain non-invasive procedures, as permitted by state/national regulations.

Autoclave:  A common term applied to the performance of steam sterilization under pressure, where bacteria are killed (including spores).

Basic Life Support (BLS): A course that trains and certifies participants to promptly recognize several life-threatening emergencies, give high-quality chest compressions, deliver appropriate ventilations, and provide early use of an automatic external defibrillator (AED) through both didactic and hands-on skills return demonstration sessions. It reflects science and education from the American Heart Association Guidelines Update for CPR and Emergency Cardiovascular Care (ECC) and is approved by the American Heart Association (AHA) or an identical content course that conforms to the current AHA Guidelines.

Biological Indicator (BI): A sterilization process monitoring device commercially prepared with a known population of highly resistant spores that tests the effectiveness of the sterilization method being used. The indicator is used to demonstrate that the conditions necessary to achieve sterilization were met during the sterilizer cycle being monitored.

Chemical Indicator (CI): A sterilization monitoring device used to monitor the attainment of one (1) or more critical parameters required for sterilization. A characteristic color or other visual change indicates a defined level of exposure based on the classification of the chemical indicator used.

Clinical Personnel refers to the entire clinical team, including, but not limited to, all physicians, advanced practice registered nurses, physician assistants, nurses, aestheticians, etc. Employment status (owner, employee, contractor, etc.) is not a factor in defining who is included as Clinical Personnel.

Contract & Indirect Employees – Contract and indirect employees are not on the company’s payroll. They are also not restricted by employment laws that apply to direct employees. Work details are defined in a contract agreed upon by the company and a contractor or third-party agency.

Contemporaneously: Originating, existing, or happening during the same period of time.

Core physician means a plastic surgeon, dermatologist, facial plastic surgeon, or oculoplastic surgeon.

Cosmetic medical procedure means medical procedures or treatments that are performed to alter or reshape normal structures of the body or ablate or remove living tissue solely in order to improve physical appearance.  This term includes:

- The injection of a substance

- Application of a substance that is capable of penetrating into or through the epidermis.

- The insertion of needles into the skin

- The placing of threads or other implants under the skin

- The application of light, electricity, or other energy sources, including laser, plasma, radio frequency, electrocautery, and microwave, cold or heat.

- Use of scalpels, needles, sutures or other instrumentation for procedures involving the epidermis, dermis and subcutaneous tissues, and underlying muscles.

Cosmetologist: A licensed professional trained to provide hair, skin, and nail services for cosmetic purposes. Services may include:

- Hair cutting, coloring, and styling

- Manicures and pedicures

- Makeup application

- Basic skincare treatments (cleansing, exfoliation, masks)

Direct Employee - A full- or part-time employee hired by a company and paid directly through the company’s payroll. They are considered permanent employees because the intention is to work with them long-term rather than temporarily or as needed.

Disaster Preparedness: A facility’s proactive planning, policies, and procedures designed to prevent, respond to, and recover from emergencies or disasters that may threaten the safety of patients, staff, or the facility, such as fire, natural disasters, power outage, medical emergencies, active threats, etc.

Disinfectant: A chemical agent used to kill viruses and bacteria on surfaces.  It must be an EPA-registered disinfectant with bactericidal, tuberculocidal, and virucidal properties with specific claims and instructions for HIV and HBV.

EPA-registered disinfectant (or internationally, regulatory-approved disinfectant): A disinfectant product that has been evaluated and authorized by a government regulatory agency — such as the U.S. Environmental Protection Agency (EPA) or an equivalent national authority — for its effectiveness against specified microorganisms and its safety for human health and the environment when used according to label directions.

Facility Safety Manual: A compilation of safety procedures and guidelines to follow in emergencies or unsafe situations.

Good Faith Examination: A medical assessment conducted by a credentialed advanced practice provider, healthcare provider, or physician to determine whether a proposed treatment or procedure is clinically appropriate and safe for a patient. The examination includes:

- Verification of patient identity

- Review of the patient’s medical history, medications, and allergies

- Assessment of current health status and any contraindications

- Documentation of findings and the clinical rationale for proceeding (or not proceeding) with the planned treatment

The Good Faith Examination must be conducted before any medical treatment, prescription, or procedure is provided, either in person or via telemedicine when permitted by law. It ensures that medical care is delivered within the provider’s scope of practice and in compliance with applicable state, national, or international regulations.

Immediate Use Steam Sterilization (IUSS): An abbreviated process of steam sterilization of patient care instruments (or devices) for immediate use.

Immediately Available means accessible (clinician and equipment) without any delay or waiting period. Examples include the physical presence of the health care professional in the facility to assess, evaluate, and provide care to a patient; a supervising physician is physically accessible and able to attend to the patient, without any delay, to address any situation requiring a supervising physician’s services; and, 1) dedicated to the facility when on duty, 2) unencumbered by conflicting duties or responsibilities, 3) responding without delay when notified.

Infection: The invasion and multiplication of microorganisms in body tissues that cause cellular injury and clinical symptoms.

Instructions for Use (IFUs): Specific, detailed instructions provided by the manufacturer. IFUs for medical devices detail the steps required for cleaning, disinfection, and sterilization that are compatible with that device. Products approved for use in cleaning, disinfection, and sterilization will have specific IFUs to follow (e.g., dilution ratio and contact time) to ensure the product's efficacy.

Instrument: Any tool, device, or apparatus used in medicine for the purpose of diagnosing, preventing, treating, or alleviating illness or injury. It encompasses a wide range of items, from simple tools like stethoscopes to complex machines like MRI scanners. Medical instruments can be used to examine the body, record physiological processes, administer treatments, or perform surgical procedures.

A log is a written record of performance, events, or day-to-day activities.  A log is similar to a register which is a written record containing regular entries of items or details.

Examples:

- On any day that controlled substances are administered, the controlled substance inventory and control record (log/register) must be updated as appropriate to reflect controlled substances administered, received, wasted, and currently stored by two licensed healthcare professionals.  (6-D-2)

Local Jurisdiction Having Authority (JHA): The governmental body or regulatory agency that has the legal power to enforce laws, codes, regulations, and standards applicable to the operation of a facility. This may include, but is not limited to:

- In the United States: state and local health departments, fire marshals, building inspectors, occupational safety agencies, and professional licensing boards.

- In international settings: national, regional, or local ministries of health, regulatory authorities, or other governmental entities with equivalent oversight.

Mechanical (Physical) Indicator: Monitors (embedded into the sterilization equipment) that register, record, and report parameters for each cycle (time in use, the temperature achieved, and the pressure attained in the chamber).  The information attained through the gauges and/or printouts provides evidence the sterilization system has met the set parameters (or has not, and there is a need for corrective action).

Medical Director is a core physician responsible for overall oversight of the facility and all issues related to patient safety.

Medical Spa (Med Spa) is a facility outside of a physician’s regular office that provides non-surgical cosmetic medical procedures, such as neuromodulators, dermal fillers, laser, light-based, and/or other energy-based procedures.

Nurse Practitioner (NP) is a person who is currently licensed to practice in the State and meets the applicable State requirements governing the qualifications of nurse practitioners. And meets at least one of the following conditions:

- Is certified as a practitioner by a recognized national certifying body that has established standards for nurse practitioners and possesses a master’s or doctoral degree in nursing practice or

- Has satisfactorily completed a formal one (1) academic year educational program that:

- Prepares registered nurses to perform an expanded role.

- That includes at least four (4) months (in the aggregate) of classroom instruction and a component of supervised clinical practice.

- Awards a degree, diploma, or certificate to persons who successfully complete the program.

- Has successfully completed a formal educational program (for preparing registered nurses to perform an expanded role) that does not meet the requirements identified above in paragraph 2, and the Nurse Practitioner has been performing an expanded role in the delivery of care for a total of 12 months during the 18-month period immediately preceding the effective date of the subpart.

Office Based Surgery is a physician practice that conducts surgical procedures and is accredited as a Class B or C facility. Class B and C facilities are permitted to conduct surgical procedures using higher than local or topical anesthesia.

Patient means client in a MedSpa setting.

Patient Safety Data Reporting (PSDR): A form of quality control performed by QUAD A accredited facilities within the outpatient setting. Those participating in the data reporting process create a system-wide culture of clinical quality and demonstrate the positive results of accreditation. PSDR reporting is required for QUAD A facilities participating in Office-Based Surgical, Office-Based Procedural, Oral Maxillofacial Surgery, Pediatric Dentistry, International Surgical, or Medicare ASC programs. Reporting PSDR data is required quarterly, including physician case review. Results of the physician case reviews are discussed during Peer Review meetings.

Peel Pouch: A sterilization pouch (or peel pack) is a disposable package validated for use in a sterilizer to allow penetration of the sterilant to the items placed inside.  After sterilization, peel pouches maintain the sterility of the processed item(s) during storage and until needed for use.  Pouches are designated as Class II medical devices and may be self-sealing or heat-sealing. “Double pouching” should only be performed if validated for the specific type of pouch and when the manufacturer’s instructions for use provide the method of packaging and the sterilization parameters.

Personnel: Everyone employed (including volunteers) at a facility, including both direct and indirect (contract) employees who provide care, treatment, or services to patients. The terms “personnel” and “staff” are synonymous.

Personal Protective Equipment (PPE): Protective equipment (e.g., masks, gloves, goggles, face shields, and gowns) for eyes, face, head, and extremities; protective clothing; respiratory devices; and protective shields and barriers designed to protect the wearer from injury and minimize exposure to hazards.

Physician is an allopath or osteopath (MD or DO) who has an active, unrestricted medical license granted under the authority of the state medical board or licensing authority, and practices full-time within the state where the medical spa is located.

Physician Assistant (PA) is an individual who meets the applicable State requirements governing the qualifications for assistants to primary care physicians. And meets one of the following conditions:

- The PA is currently certified by the National Commission on Certification of Physician Assistants to assist physicians.

- The Physician assistant has satisfactorily completed a program for preparing physician's assistants that:

- Was at least one academic year in length.

- Consisted of supervised clinical practice and at least 4 months (in the aggregate) of classroom instruction directed toward preparing students to deliver health care; and

- Was accredited by the American Medical Association's Committee on Allied Health Education and Accreditation.

3)   The Physician assistant has satisfactorily completed a formal educational program (for preparing physician assistants) that does not meet the requirements of paragraph (2) of this definition and assisted physicians for a total of 12 months during the 18-month period that ended on December 31, 1986.

4)   Is licensed as a PA by the State in which the PA practices.

Professional appearance relates to both the appearance of people and the appearance of the facility. A healthcare provider’s personal appearance must project professionalism and competence to engender trust in patients. It also conveys professionalism in how they communicate, how they express courtesy, body language, and what they wear.

Examples:

- As professional healthcare providers, facility staff should appear clean and well-dressed. When interacting with patients and patient families, the facility staff should be friendly, knowledgeable, and culturally sensitive.  (1-D-27)

- The facility should appear clean, neat, and furnished for patients, staff, and visitor comfort. (2-B-3)

Progress note: An essential tool used in healthcare to document patient information, medical history, treatment plans, and progress throughout a patient’s care. Progress notes are also a crucial communication tool among healthcare professionals, ensuring continuity of care and facilitating collaboration.

Qualified: An individual who is qualified by education, training, licensure/regulation (when applicable, also includes registration and certification), and facility privileging (when applicable) who performs a professional service within his/her scope of practice and independently reports that professional service.

Significant means having or likely to have influence or effect; or of a noticeable or measurably large amount.

Simple Relevant History: A focused medical history obtained from a patient prior to an initial procedure or treatment, intended to identify any conditions, medications, or allergies that may affect the safety, appropriateness, or outcome of the planned service. The key components of a Simple Relevant History may include:

- Current and past medical conditions (e.g., cardiac disease, diabetes, bleeding disorders)

- Current medications and supplements

- Known allergies or sensitivities (particularly to medications, anesthetics, or topical products)

- Relevant surgical or procedural history

- Recent illnesses or infections that may contraindicate treatment.

Staff: Anyone employed (part-time, full-time) at a facility, including both direct and indirect (contract) employees that provide care, treatment, or services to patients. The terms “personnel” and “staff” are synonymous.

Sterile: The state of being free from all living microorganisms. In practice, it is usually described as a probability function (e.g., as the probability of a microorganism surviving sterilization being 1 in 1,000,000).

Sterilization: A validated process that removes or destroys all viable microorganisms, including bacterial spores, to an acceptable sterility assurance level, usually 1 in 1,000,000. In a sterilization process, the presence of microorganisms on any individual item can be expressed in terms of probability (which, even though is a very low number, may never be zero).

Sufficient/sufficiently means enough to meet the needs of a situation or a proposed end.
E.g., A hallway would be sufficiently wide if healthcare providers could wheel a patient in a gurney and all necessary medical equipment with the gurney in case of emergency.

Supervision

- Direct Supervision means the supervising physician must be physically present in the facility and prepared to immediately conduct hands-on intervention if needed. However, the physician does not need to be in the room throughout the performance of the service.

- General supervision means the service is furnished under the physician’s overall direction and control, but the physician’s on-site presence is not required during the performance of the procedure. Under general supervision, the training of the non-physician personnel who actually perform the diagnostic procedure and maintain the necessary equipment and supplies is the supervising physician’s continuing responsibility.

- Personal supervision means a physician must be present in the room during the procedure.

Track and Trend: Track, as in keeping track of, is to follow specific record(s) or specific types of information over a defined period. To trend means to follow the general movement over time of a statistically detectable change. Tracking and trending are commonly used together which means a trail of data is followed to identify changes in outcomes over time.

Examples:

- Each facility's written QI program must follow identified records or types of information over a lengthy period of time to identify changes. Based on those changes, or lack thereof, the facility must evaluate and resolve problems, then adjust the identified records or types of information as appropriate.

- Each facility's risk management program must perform an annual risk assessment. This assessment should cover risks as related to patients and staff by medication management, fall hazards, infection control, equipment safety, patient risk resulting from long term conditions, and nutrition if any food or beverage services are available to patients. The trends of these risks across the years should be noted.

- Adverse events are to be noted and discussed during periodic peer review meetings.

- All adverse events should be looked at cumulatively

# SPECIAL THANKS & RECOGNITION

## QUAD A would like to express its sincere gratitude to the outstanding professionals who volunteered and contributed their vast knowledge, experience, expertise, and time to support this work. We also wish to recognize and thank our Board members, Standards Committee members, and staff who participated in and contributed to this effort. Their months of dedication, collaboration, and sacrifice have been invaluable in helping QUAD A advance its mission of improving patient safety worldwide.

## Expert Contributors

- Red Alinsod, MD

- Leslie Baumann, MD

- Wesley Brady, MD

- M. Bradley Calobrace, M.D.

- Lillian Carson, RN, BSN, MSN, MBA, CNOR, RNFA – QUAD A Surveyor

- Yvonne Dellos, FNP-BC - Founder Medical Aesthetic Art Institute

- Marisa Faircloth, PA-C

- Thomas Fiala, MS, MBS, FRCSC, FACS

- Julie Frost, CRNA, MSN, BSN

- Stephanie Garbaczewski, PA-C, MMS

- Mike Glaicar, CEO - New Beauty

- Tiphany Hall, PhD, MBA - Chief Growth Officer, Aesthetic Record

- Mark Jewell, MD

- Judy Kozlicki - Head of Aesthetics, Wellness, & Surgery, Management Consulting, Skytale

- Laura Matjasich, FNP

- Christy Perry

- Terri Ross - Founder and CEO, Terri Ross Consulting

- Renato Saltz, MD

- Lisa Seibert, RN – QUAD A Surveyor

- Robert Singer, MD, FACS - QUAD A Past President

- Jennifer L. Walden, MD, FACS

- David Zargaran, MBBS (Dist) BSc (Hons) AICSM MRCS MBA PhD - University College London

## Volunteer Facilities

We sincerely appreciate the facilities that volunteered to pilot the standards and survey process. Their voluntary participation provided valuable real-world insight that helped refine the standards and improve the survey methodology. Their contribution plays an important role in strengthening the overall program.

- Celestial Aesthetics, Bensalem, Pennsylvania

- NIKS Medical Spa, Del Mar, California

- Océane Medical Aesthetics + Wellness, Hauppauge, New York

- Skin Synthesis Clinic & Spa, PLLC, Seattle, Washington

- The Plastics Clinic, Draper, Utah

QUAD A OFFICE MAILING ADDRESS:

600 Central Avenue

Highland Park, IL  60035

TOLL-FREE: +1-888-545-5222

PHONE: +1-847-775-1970

FAX: +1-847-775-1985

EMAIL: info@quada.org

QUAD A