284BOffice-Based Procedural (OBP)

285BSTANDARDS-ONLY MANUAL

(No Interpretive Guidance)

0BVersion 6.1, Effective February 2, 2026

SURVEY INSTRUCTIONS

Please complete the Standards Manual for the facility by assessing compliance with the standards contained in this book.

STANDARDS STRUCTURE

2453BStandards found in this book are organized by grouping relevant standards together.  These groupings are comprised of “Sections,” “Sub-sections,” and then individual standard numbers. Each main “Section” is identified by a numerical value, “Sub-sections” have been assigned an alphabetical value, and the individual standards under the subsection have also been numbered. Based on this format, each standard has been assigned a unique identifier to include all three elements to indicate its location.

2454BFor example: The standard which states, “Each operating room is properly cleaned, maintained and free of litter and clutter” is the fourth standard under Section 2, Sub-section C.  Therefore, the unique identifier for this standard is: 2-C-4.

2455BPlease note that not all standards are necessarily in continuous sequential order. Some numbers have been reserved for future use and do not appear in the manual. The groupings within the Sections and Sub-sections of this book are intended to separate standards into logical sets of standards. Based on 40 years’ experience, such groups are likely, but not guaranteed, to be found and assessed during the same portion of the survey process.

287BThe standards are organized into a logical hierarchy for ease of use:

- 18BSections are numbered (e.g., 1, 2, 3).

- 19BSub-sections are assigned a letter (e.g., A, B, C).

- 20BIndividual Standards are numbered under each sub-section (e.g., 1, 2, 3).

288BThis structure creates a unique identifier for each standard: [Section]-[Sub-section]-[Standard #].

289BExample: The standard, “Each operating room is properly cleaned, maintained and free of litter and clutter,” is the fourth standard in Section 2, Sub-section C. Its identifier is 2-C-4.

290BPlease Note:

- 21BStandard numbers are not always sequential. Some numbers are reserved for future use and do not appear in this edition.

291BThe groupings are designed to cluster related standards, which may facilitate a more efficient survey process.

STANDARDS BOOK LAYOUT

The standards manual layout consists of five (5) columns. The function of each column is as follows:

2457BStandard ID:

2458BThis column contains the alphanumerical identifier for each standard.

2459BClass:

2460BThis column indicates the anesthesia classification, based on QUAD A definitions, that is applicable to the standard. Only facilities that provide anesthesia meeting the definition of one or more of the classifications listed in this column are required to comply with it.

292BNote: Facilities must comply with all applicable state or national requirements governing the facility, including country and state laws and regulations relating to anesthesia. When standards conflict, the most stringent requirement applies, unless mandated by laws or regulations applicable to the facility.

293BExample: A facility accredited under QUAD A Class A Standards may be permitted to administer local, topical anesthesia, minimal sedation, or nitrous oxide using a standalone system for administration. However, if the facility’s state or country has a Class A–equivalent designation that specifically limits anesthesia to local or topical anesthesia only, then the facility must follow the state or national requirement. In this case, the facility may not administer oral medications to achieve minimal sedation, even if accreditation standards would otherwise allow it.

2461BStandard / Regulatory Reference:

2462BThis column contains the text for each standard. It also indicates the corresponding regulatory reference (e.g., CMS, DHA, Florida, etc.), if applicable.

SCORING COMPLIANCE

2463BThe QUAD A accreditation program mandates 100% compliance with every standard to achieve and maintain accreditation, without exception. If a surveyor observes a single instance of non-compliance, the standard is scored as “Deficient.” The facility must submit both a Plan of Correction, as well as documented Evidence of Corrections.

2464BApplicable standard(s) will be given a score of deficient.

2465BQUAD A withholds accreditation until the facility submits acceptable Plans of Correction and Evidence of Corrections for all cited deficiencies. However, when a standard refers to "appropriate," "proper," or "adequate", reasonable flexibility and room for consideration by the surveyor is permitted as long as patient and staff safety remain uncompromised.

TABLE OF CONTENTS

2561B

SURVEY INSTRUCTIONS	2

STANDARDS STRUCTURE	2

STANDARDS BOOK LAYOUT	3

SCORING COMPLIANCE	4

2475BANESTHESIA CLASS REQUIREMENTS	8

Additional Guidance	13

Summary Table for Anesthesia Options	14

Nitrous Oxide	15

2476BSECTION 1: BASIC MANDATES	16

2499BSub-section A: Anesthesia Options	16

2500BSub-section B: Basic Mandates	16

Sub-section C: Patient Selection	17

Sub-section D: Patients' Rights	20

Sub-section E: QUAD A - Mandated Reporting	21

Sub-section F: Patient Safety Data Reporting (PSDR)	22

2477BSECTION 2: FACILITY LAYOUT & ENVIRONMENT	24

Sub-section A: Layout	24

Sub-section B: Facility Environment	24

2507BSub-section C: Operating Room Environment	25

2508BSub-section E: Storage	26

2478BSECTION 3: SAFETY	28

2509BSub-section A: General Safety	28

2510BSub-section B: Facility Safety Manual	28

2511BSub-section C: Hazardous Agents	29

2512BSub-section D: Medical Hazardous Waste	30

2513BSub-section E: Fire Safety	30

2514BSub-section F: Exits	31

2515BSub-section G: Personnel Safety	31

2516BSub-section H: Laboratory, Radiology Services, and Laser Safety	32

2479BSECTION 4: EQUIPMENT	34

2517BSub-section A: Facility Equipment	34

2518BSub-section B: Operating Room Equipment	34

2519BSub-section C: Anesthesia Equipment	35

2520BSub-section D: Post-Anesthesia Care Unit (PACU) Equipment	39

2521BSub-section E: Maintenance of Equipment	40

2480BSECTION 5: IN CASE OF EMERGENCY	42

2522BSub-section A: Emergency Equipment	42

2523BSub-section B: Emergency Power	42

2524BSub-section C: Emergency Protocols	43

2481BSECTION 6: MEDICATIONS	45

2525BSub-section A: Medications	45

2526BSub-section B: Intravenous Fluids	45

2527BSub-section D: Controlled Substances	46

2528BSub-section E: ACLS/PALS Algorithm	47

2529BSub-section F: Emergency Medications	48

2530BSub-section G: Malignant Hyperthermia	51

2482BSECTION 7: INFECTION PREVENTION & CONTROL	55

2531BSub-section A: Infection Prevention and Control	55

2532BSub-section B: Hand Hygiene	55

2533BSub-section C: Instrument Processing	56

2534B Sub-section D: Sterilization	56

2535BSub-section E: High-Level Disinfection (HLD)	58

2536BSub-section F: Cleaning	60

2483BSECTION 8: CLINICAL RECORDS	62

2537BSub-section A: General Clinical Records	62

2538BSub-section B: Pre-Operative Documentation	63

2539BSub-section C: Informed Consent	66

2540B Sub-section E: Laboratory, Pathology, X-Ray, Consultation, Treating Physician Reports, Etc.	68

2541BSub-section F: Anesthesia Care Plan	70

2542BSub-section G: Intra-Operative Documentation	70

2543BSub-section H: Intra-Operative Anesthetic Monitoring and Documentation	71

2544B Sub-section I: Transfer to Post-Anesthesia Care Unit (PACU)	74

2545B Sub-section J: Post-Anesthesia Care Unit (PACU) Documentation	75

2546BSub-section K: Discharge	76

2547BSub-section L: Operative Log	77

2484BSECTION 9: GOVERNING BODY	80

2548BSub-section A: Governing Body	80

2549BSub-section B: Transfer of the Patient	81

2550BSub-section C: Extended Stays	82

2485BSECTION 10: QUALITY ASSESSMENT/QUALITY IMPROVEMENT/RISK	84

2551BSub-section A: Quality Assessment/Quality Improvement/Risk Management	84

2552BSub-section B: Quality Improvement Program	84

2553BSub-section D: Peer Review	85

2486BSECTION 11: PERSONNEL	87

2554BSub-section B: Medical Director & Facility Director	87

2555BSub-section C: Surgeons/Proceduralists/Etc.	88

2556BSub-section D: Anesthesia Providers	93

2557BSub-section E: Facility Staffing	94

2558BSub-section G: Post-Anesthesia Care Unit (PACU) Staffing	95

2559BSub-section H: Personnel Records	96

2560BSub-section I: Personnel Training	97

2487BGENERAL GLOSSARY FOR ALL PROGRAMS	100

2488BREFERENCES BY STANDARD	115

2489BSPECIAL THANKS & RECOGNITION	137

2475BANESTHESIA CLASS REQUIREMENTS

315BIf a facility is not in compliance with any item in this document, standard 1-A-1 will be scored as deficient.

316BAll facilities must comply with the laws, regulations, and professional scope-of-practice requirements of their specific country or state regarding who may administer sedation and anesthesia. QUAD A acknowledges that not every licensed provider listed below will be applicable to all facilities. It is the facility’s responsibility to understand and follow its jurisdiction’s legal and regulatory requirements, as well as the scope-of-practice for each licensed provider working within the facility. When requirements differ, the more stringent requirement must be followed as long as it does not conflict with state or country law.

- 22BClass A (Facility must meet every Class “A” requirement):

23BAll surgical and procedural cases are performed in the facility under local, topical anesthesia, minimal sedation, or nitrous oxide using a standalone system for administration.

2419BNOTE: Endotracheal tubes and supraglottic airways are permitted in the facility for emergency use only.

317BLocal or Topical Anesthesia may be administered by any of the following:

- 24BSurgeon/Proceduralist

- 25BPhysician Anesthesiologist

- 26BDental Anesthesiologist

- 27BCertified Registered Nurse Anesthetist (CRNA)

- 28BCertified Anesthesiologist Assistant (CAA) under the supervision of an anesthesiologist

- 29BNurse Practitioner (NP)

- 30BPhysician Assistant (PA)

- 31BRegistered Nurse (RN) under the direct supervision of a credentialed physician as permitted by state law.

318BNitrous Oxide may be administered using a Nitrous-Oxide Delivery System with required safety features by a credentialed:

- 32BSurgeon/Proceduralist

- 33BPhysician Anesthesiologist

- 34BPediatric Dentist

- 35BDental Anesthesiologist

- 36BOral and Maxillofacial Surgeon (OMS)

- 37BCertified Registered Nurse Anesthetist (CRNA)

- 38BCertified Anesthesiologist Assistant (CAA)

- 39BDental Assistant under the supervision of a Pediatric Dentist or Dental Anesthesiologist in accordance with State law.

- 40BRegistered Nurse, Nurse Practitioner, or Physician Assistant under the direct supervision of a credentialed physician as permitted by state law.

319BAnxiolytics may be administered for mild sedation by any of the following:

- 41BSurgeon/Proceduralist

- 42BPhysician Anesthesiologist

- 43BDental Anesthesiologist

- 44BCertified Registered Nurse Anesthetist (CRNA)

- 45BCertified Anesthesiologist Assistant (CAA) under the supervision of an anesthesiologist

- 46BNurse Practitioner (NP)

- 47BPhysician Assistant (PA)

- 48BRegistered Nurse (RN) with an electronic or written order by a credentialed provider.

320BClarifications:

- 49BAll cases performed in a Class A facility must be performed using local anesthesia with minimal sedation only. A Class A facility is not permitted to perform any cases with moderate sedation.

- 50BNo more than 500cc of liposuction aspirate may be removed.

- 51BA single dose of analgesic or minimal sedation (anxiolytic) drug may be administered preoperatively, which results in minimal sedation, and one (1) dose of the same medication may be administered postoperatively. Any additional doses or agents are considered Moderate Sedation, requiring the facility to be accredited under facility Class B, C-M (international facilities only), or C standards. This includes doses taken by patients prior to arriving at the facility.

- 52BThe use of propofol, spinal anesthesia, epidural anesthesia, endotracheal intubation anesthesia, laryngeal mask airway anesthesia, and/or inhalation general anesthesia (excluding nitrous oxide) is prohibited.

- 53BThe combination of Nitrous Oxide and any agent that results in minimal sedation is not permitted to be administered together in a Class A facility; they are only permitted in facility Class B, C-M (international facilities only), and C facilities.

- 54BIf a facility performs procedures by administering oral anxiolytics (e.g., diazepam) in conjunction with performing major peripheral or plexus nerve blocks (interscalene, supraclavicular, femoral) or advanced regional techniques (e.g., retrobulbar block, digital, Bier block.), this practice falls under the accreditation standard for facility Class B. The use of field or nerve blocks is not permitted in facilities accredited under facility Class A accreditation standards. Digital blocks are permitted in Class A.

- 55BException: Simple local infiltration anesthesia, including digital nerve blocks, is permitted under the accreditation standard for facility Class A.

- 56BClass B (Facility must meet every Class “A” and “B” requirement):

57BSurgical and procedural cases are performed in the facility under intravenous sedation, regional anesthesia, analgesia, or dissociative drugs (excluding Propofol), that result in moderate (formerly referred to as conscious sedation) and without the use of endotracheal intubation or laryngeal mask airway, or inhalation general anesthesia. The use of sublingual midazolam, ketamine HCl, and ondansetron (MKO) melt is permitted.

58BNOTE: Endotracheal tubes and supraglottic airways are permitted in the facility for emergency use only.

59BIntravenous Sedation may be administered by any of the following:

- 60BSurgeon/proceduralist

- 61BPhysician Anesthesiologist

- 62BDental Anesthesiologist

- 63BCertified Registered Nurse Anesthetist (CRNA)

- 64BCertified Anesthesiologist Assistant (CAA)

- 65BRegistered Nurse, Nurse Practitioner, or Physician Assistant under the direct supervision of a qualified physician

66BField and Peripheral Nerve Blocks may be administered by any of the following:

- 67BPhysician Anesthesiologist

- 68BOral and Maxillofacial Surgeon (OMS)

- 69BDental Anesthesiologist

- 70BPediatric Dentist

- 71BCertified Registered Nurse Anesthetist (CRNA)

- 72BCertified Anesthesiologist Assistant (CAA)

321BOral or Intranasal Sedation may be administered by any of the following:

- 73BSurgeon/Proceduralist

- 74BPhysician Anesthesiologist

- 75BDental Anesthesiologist

- 76BPediatric Dentist

- 77BOral Maxillofacial Surgeon (OMS)

- 78BCertified Anesthesia Assistant (CAA)

- 79BCertified Registered Nurse Anesthetist (CRNA)

- 80BRegistered Nurse, Nurse Practitioner (NP), or Physician Assistant (PA) under the direct supervision of a qualified physician

322BThe use of propofol, spinal anesthesia, epidural anesthesia, endotracheal intubation anesthesia, laryngeal mask airway anesthesia, and/or inhalation general anesthesia (excluding nitrous oxide) is prohibited.

- 81BClass C-M: (A Facility must meet every Class “A” and “B” accreditation standard requirement): Class C-M is an accreditation pathway available only to international facilities.

82BSurgical and procedural cases are performed in the facility under moderate or deep sedation, including the use of Propofol, Epidural, or Spinal anesthesia.

83BThe use of endotracheal intubation anesthesia, laryngeal mask airway anesthesia, and/or inhalation general anesthesia (excluding nitrous oxide) is prohibited.

8BPropofol may be administered by any of the following:

- 84BPhysician Anesthesiologist

- 85BCertified Registered Nurse Anesthetist (CRNA)

- 86BCertified Anesthesiologist Assistant (CAA)

9BEpidural Anesthesia may be administered by any of the following:

- 87BPhysician Anesthesiologist

- 88BCertified Registered Nurse Anesthetist (CRNA)

- 89BCertified Anesthesiologist Assistant (CAA)

10BSpinal Anesthesia may be administered by any of the following:

- 90BPhysician Anesthesiologist

- 91BCertified Registered Nurse Anesthetist (CRNA)

- 92BCertified Anesthesiologist Assistant (CAA)

11BDissociative Drugs may be administered by any of the following:

- 12BPhysician Anesthesiologist

- 13BCertified Anesthesia Assistant (CAA)

- 14BCertified Registered Nurse Anesthetist (CRNA)

- 15BRegistered Nurse, Nurse Practitioner (NP), or Physician Assistant (PA) under the direct supervision of a qualified physician.

16BClarification:

- 17BThe use of endotracheal intubation anesthesia, laryngeal mask airway anesthesia, and/or inhalation general anesthesia (excluding nitrous oxide) is prohibited.

- 93BClass C: (A Facility must meet every Class “A”, “B” “C-M” (international facilities only), and “C” requirement):

94BSurgical and procedural cases may be performed in the facility with intravenous propofol, spinal or epidural, and general anesthesia administered by any of the following:

- 95BPhysician Anesthesiologist

- 96BDental Anesthesiologist

- 97BCertified Registered Nurse Anesthetist (CRNA)

- 98BCertified Anesthesia Assistant (CAA)

323BClarifications:

- 99BFacilities using total intravenous anesthesia (TIVA) and have no inhalational anesthetics present in the facility would not be required to have an anesthesia machine. See standard 4-C-18.

- 100BFor International Facilities: Achieving Class C accreditation requires full compliance with all Class C standards, including those for general anesthesia with an anesthesia machine, in addition to all requirements for Classes A, B, and C-M.

Additional Guidance

Table 1. ASA Continuum of Depth of Sedation: Definition of General Anesthesia and Levels of Sedation/Analgesia, 2019

2421B

2422BPatient Monitoring – Moderate and Deep Sedation

2423BMany of the complications associated with moderate sedation and analgesia may be avoided if adverse drug responses are detected and treated in a timely manner (i.e., before the development of cardiovascular decompensation or cerebral hypoxia). Patients given sedatives or analgesics in unmonitored settings may be at increased risk of these complications.

2424BPatient monitoring includes strategies for the following: (1) monitoring patient level of consciousness assessed by the response of patients, including spoken responses to commands or other forms of bidirectional communication during procedures performed with moderate sedation/analgesia; (2) monitoring patient ventilation and oxygenation, including ventilatory function, by observation of qualitative clinical signs, end-tidal carbon monoxide, and pulse oximetry; (3) hemodynamic monitoring, including blood pressure, heart rate, and electrocardiography; (4) contemporaneous recording of monitored parameters; and (5) availability/presence of an individual responsible for patient monitoring. See standards in Section 8: Clinical Records, Sub-section H.

Summary Table for Anesthesia Options

| ANESTHESIA OPTIONS | Class |  |  |  |
| --- | --- | --- | --- | --- |
|  | A | B | C-M* | C |
| Local Anesthesia | X | X | X | X |
| Topical Anesthesia | X | X | X | X |
| Nitrous Oxide | X | X | X | X |
| Parenteral Sedation |  | X | X | X |
| Field and Peripheral Nerve Blocks |  | X | X | X |
| Dissociative Drugs (excluding Propofol) |  | X | X | X |
| Propofol |  |  | X | X |
| Epidural Anesthesia |  |  | X | X |
| Spinal Anesthesia |  |  | X | X |
| General Anesthesia – with or without endotracheal intubation anesthesia, or laryngeal mask airway (LMA) anesthesia |  |  |  | X |

324B*Applicability Note: Class C-M is an accreditation pathway available only to International Facilities

Nitrous Oxide

325BOnly Nitrous Oxide-Oxygen Delivery Systems with the following safety features may be used in a QUAD A accredited facility:

- 101BAlarms - Audio and/or visual alarms (e.g., low- or high-oxygen and nitrous oxide pressure alarms).

- 102BColor Coding - Gas tanks, knobs, and hoses are coded by color (standardized nationally, but not necessarily internationally).

- 103BDiameter index safety system - A standard for noninterchangeable, removable connections for use with medical gases helps ensure that the appropriate gas flows through the appropriate tubing and cannot be interchanged.

- 104BEmergency air inlet - An inlet designed to remain closed as long as gases are being administered to the patient; however, when the oxygen fail-safe system turns the gases off, ambient air is allowed to enter the system so that the patient can continue to breathe through the nasal hood or face mask.

- 105BLocks - According to national fire codes, nitrous oxide and other compressed gases must be kept in locked rooms; many manufacturers supply additional locks for the machines at the tanks, the manifold, or the mixer level to prevent staff members from accessing nitrous oxide inappropriately.

- 106BOxygen fail-safe system—The oxygen fail-safe system is designed so that the nitrous oxide supply will be turned off automatically when oxygen delivery is compromised or depleted. Delivery systems are required to provide a minimum oxygen liter flow that ensures 2.5 to 3.0 liters of oxygen per minute is the minimum amount being administered and that concentrations of oxygen never fall below 30% during gas delivery.

- 107BOxygen flush button—This mechanism allows 100% oxygen to be administered through a reservoir bag in the event of an emergency. When the button is pressed, the oxygen flush valve engages, and the system delivers oxygen straight from the pipeline or tank regulator at 45 to 50 psi at a flow rate between 35 and 75 L/min.

- 108BPin-index safety system—Pins protruding from the gas tank yokes have a unique configuration that fits into corresponding holes in the tank valves. This helps prevent the accidental attachment of a nonoxygen tank to the oxygen attachment portal.

- 109BQuick connect for positive-pressure oxygen- In an emergency situation in which positive-pressure oxygen is required (e.g., to augment cardiopulmonary resuscitation), quick-connect compatibility helps ensure immediate access to positive-pressure oxygen anywhere in the office.

- 110BReservoir bag—An inflatable rubber reservoir bladder into which fresh gas entering the circuit is conveyed; the bag is filled gradually as gases enter the circuit and deflates with inhalation.

2476BSECTION 1: BASIC MANDATES

| 326BStandard ID | 327BAnesthesia Class |  |  | 328BStandard / Regulatory Reference | 329BFindings / Comments |  |
| --- | --- | --- | --- | --- | --- | --- |
| 2499BSub-section A: Anesthesia Options |  |  |  |  |  |  |  |
| 1-A-1 | 330BA | 331BB | 332BC | 7BThe facility practices within the Anesthesia Class for which it is accredited and in accordance with facility policies and procedures, industry standards, regulations, and laws governing the facility. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 334B1-A-2 | 335BA | 336BB | 337BC | 338BAll care is provided by a credentialed healthcare provider as listed in the Anesthesia Class document and in accordance with facility policies, procedures, and state/provincial and federal law. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 2500BSub-section B: Basic Mandates |  |  |  |  |  |  |  |
| 340B1-B-7 | 341BA | 342BB | 343BC | 344BOnly recognized abbreviations are allowed to be used in the clinical record. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 346B1-B-8 | 347BA | 348BB | 349BC | 350BThe facility must perform a self-survey review of compliance with all QUAD A standards annually prior to the expiration date of its accreditation in each of the two years between QUAD A onsite surveys. The self-survey documentation must be retained for a minimum of 3 years and include: - 111BA completed Self-Survey checklist - 112BA Plan of Correction for any standard identifies as non-compliant - 113BEvidence that each plan of correction has been carried out to establish compliance with standards - 114BEvidence that findings from the self-survey have been reviewed, included in the facility’s Quality Improvement Plan, and discussed in the facility’s Quality Improvement meetings. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 352B1-B-10 | 353BA | 354BB | 355BC | 356BThe facility is in compliance with all state laws including state licensure requirements. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 358B1-B-11 | 359BA | 360BB | 361BC | 362BA sign must be prominently posted in the office which states that the office is a doctor’s office regulated pursuant to the rules of the Board of Medicine as set forth in rule Division 64B8, F.A.C. Note - This standard applies ONLY to office-based surgery facilities in Florida. 363B64B8-9.009(2)(n), F.A.C | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 365B1-B-12 | 366BA | 367BB | 368BC | 369BThe facility reports adverse events to the local jurisdiction having authority as required. Note – This standard applies ONLY to office-based surgery facilities in Florida. 370B458.351, F.S. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| Sub-section C: Patient Selection |  |  |  |  |  |  |  |
| 372B1-C-1 | 373BA | 374BB | 375BC | 376BA patient who, by reason of pre-existing or other medical conditions, is at significant risk for outpatient surgery in this facility must be referred to alternative facilities as defined in facility policy. Any surgery for which a patient must be routinely transferred to a hospital after the surgery is not appropriate for an outpatient surgical setting. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 378B1-C-2 | 379BA | 380BB | 381BC | 382BThe facility must have a scheduling policy that includes only those procedures and/or a combination of procedures of duration and degree that permit safe recovery and discharge from the facility consistent with federal/national, state/provincial, and local regulations, if applicable. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 384B1-C-4 | 385BA | 386BB | 387BC | 388BIf pediatric services are provided by the facility, there must be a written policy defining the unique perioperative care of pediatric patients. This is based upon considerations of age, BMI or weight, special needs, risk categories, surgery, facility equipment, and capability. The written policy for pediatric patients is available and current. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 390B1-C-5 |  | 391BB | 392BC | 393BNo more than 5000 mLs of aspirate may be removed while performing liposuction in a Class B or C facility. 394BFlorida facilities, see Standard 1-C-7 | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 401B1-C-6 | 402BA |  |  | 403BNo more than 500 mLs of aspirate should be removed when performing liposuction in Class A facilities. The more stringent requirement applies if State law differs. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 405B1-C-7 |  | 406BB | 407BC | 408BLiposuction involving the removal of less than 4000 mLs supernatant fat is permitted. Note - This standard applies ONLY to office-based surgery facilities in Florida. 64B8-9.009(3)(a)2, F.A.C. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 410B1-C-8 |  | 411BB | 412BC | 413BA maximum of 50mg/kg of Lidocaine can be injected for tumescent liposuction in the office setting. Note - This standard applies ONLY to office-based surgery facilities in Florida. 64B8-9.009(2)(d), F.A.C. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 415B1-C-9 |  | 416BB | 417BC | 418BLiposuction may be performed in combination with another separate surgical procedure during a single Level II or Level III operation, only in the following circumstances: - 115BWhen combined with abdominoplasty, liposuction may not exceed 1000 mL of supernatant fat; - 116BWhen liposuction is associated and directly related to another procedure, the liposuction may not exceed 1000 mL of supernatant fat; - 117BMajor liposuction in excess of 1000 mL of supernatant fat may not be performed in a remote location from any other procedure. 419BNote - This standard applies ONLY to office-based surgery facilities in Florida. 64B8-9.009(2), F.A.C. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 421B1-C-10 | 422BA | 423BB | 424BC | 425BFor elective cosmetic and plastic surgery procedures performed in a physician’s office, the maximum planned duration of all surgical procedures combined must not exceed eight (8) hours. Note - This standard applies ONLY to office-based surgery facilities in Florida. 64B8-9.009(2)(g), F.A.C. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 427B1-C-11 |  | 428BB | 429BC | 430BFat extraction and gluteal fat injections must be performed by a physician and may not be delegated. Note - This standard applies ONLY to office-based surgery facilities in Florida. 459.0138(2)(c)(2), F.S. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 432B1-C-12 |  | 433BB | 434BC | 435BWhen the physician performing a gluteal fat grafting procedure injects fat into the subcutaneous space of the patient, the physician must use ultrasound guidance, or guidance with other technology authorized under board rule which equals or exceeds the quality of ultrasound. Note – This standard applies ONLY to office-based surgery facilities in Florida. 459.0138(2)(c)(4), F.S. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 437B1-C-13 |  |  | 438BC | 439BOnly patients classified under the American Society of Anesthesiologists’ (ASA) risk classification criteria as Class I or II are appropriate candidates for Level III (Class C) office surgery. Note - This standard applies ONLY to office-based surgery facilities in Florida. 64B8-9.009(6)(a)(2), F.A.C. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| Sub-section D: Patients' Rights |  |  |  |  |  |  |  |
| 441B1-D-1 | 442BA | 443BB | 444BC | 445BA copy of the most current QUAD A "Patients' Bill of Rights" is prominently displayed, or a copy is provided to each patient. The QUAD A "Patients' Bill of Rights" is also adhered to by facility personnel. If required, an additional Patients’ Bill of Rights must be prominently displayed in accordance with prevailing laws and regulations. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| Sub-section E: QUAD A - Mandated Reporting |  |  |  |  |  |  |  |
| 447B1-E-1 | 448BA | 449BB | 450BC | 451BChanges in facility ownership must be reported to the QUAD A Central Office within thirty (30) days of the change. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 453B1-E-2 | 454BA | 455BB | 456BC | 457BAny change in provider staff must be reported to the QUAD A Central Office, in writing, within thirty (30) days of the change, along with the appropriate credentials. Surgical Programs (ASC, OBS, OBP, PD, OMS, I-DENT, I-SURG): Surgeons, Proceduralists, and Pain Management Providers must submit medical license, board certification or board eligibility, and delineation of facility privileges. RHC: Physicians, Advanced Practice Providers (NP, PA, CNM) and licensed behavior health providers (CP, CSW, MFT, MHC) must submit professional licenses. Physical Therapy (OPT, I-PT): SLP, OT, PT, SLPA, OTA, PTA must submit professional licenses. Polyclinic: Physicians, Dentist, Advanced Practice Providers (NP, PA, CNM), Physiotherapist, and Physical Therapists must submit professional licenses. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 459B1-E-3 | 460BA | 461BB | 462BC | 463BAny action affecting the current professional license of any licensed facility staff must be reported in writing to the QUAD A office within ten (10) days of the time the facility becomes aware of such action. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 465B1-E-4 | 466BA | 467BB | 468BC | 469BAny death occurring in an accredited facility or any death occurring within thirty (30) days of a procedure performed in an accredited facility must be reported to the QUAD A office within five (5) business days after the facility is notified or otherwise becomes aware of that death. In addition to this notification, the death must be contemporaneously reported as an adverse event in the online Patient Safety Data Reporting portal. In the event of a death occurring within thirty (30) days of a procedure performed in an QUAD A-accredited facility, an unannounced survey may be performed. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| Sub-section F: Patient Safety Data Reporting (PSDR) |  |  |  |  |  |  |  |
| 471B1-F-1 | 472BA | 473BB | 474BC | 475BOnline Patient Safety Data Reporting is performed at least every three (3) months in accordance with the due dates established by QUAD A and includes submitting random cases and all adverse events to the QUAD A portal at www.QUAD A.org. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 477B1-F-2 | 478BA | 479BB | 480BC | 481BFor each surgeon/proceduralist operating in the facility, the random sample of case must include the first case performed by such surgeon/proceduralist each month during the reporting period. The facility must submit into the online Patient Safety Data Reporting portal a minimum of three (3) cases, or all cases performed by surgeons who have performed fewer than three (3) in the respective period, every three (3) months. If a surgeon/proceduralist performed fewer than three (3) cases, an exemption form must be submitted. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 483B1-F-3 | 484BA | 485BB | 486BC | 487BThe facility is up to date with accurate PSDR reporting. Reportable adverse events must be submitted to PSDR, including, but not limited to: - 118BAny unplanned hospital admission; - 119BAny emergency department visit; - 120BAny unscheduled return to the operating room for a complication of a previous surgery; - 121BAny complication such as infection, bleeding, wound dehiscence, or inadvertent injury to another body structure; - 122BAny cardiac or respiratory problems during the patient’s stay at the facility or within 48 hours of discharge; - 123BAny allergic reactions; - 124BAny pre- and post-procedure incorrect instrument, needle or sponge counts; - 125BAny patient or family complaint; - 126BAny equipment malfunction leading to injury or potential injury to the patient; - 127BAny death occurring within 30 days of a procedure; - 128BAny iatrogenic dental trauma | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 489B1-F-15 | 490BA | 491BB | 492BC | 493BEach adverse event submission must include: - 129BThe identification of the problem, - 130BThe immediate treatment or disposition of the case, - 131BThe outcome, - 132BThe reason for the problem, and - 133BAn assessment of the efficacy of treatment. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |

2477BSECTION 2: FACILITY LAYOUT & ENVIRONMENT

| 495BStandard ID | 496BAnesthesia Class |  |  |  | 497BStandard / Regulatory Reference | 498BFindings / Comments |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Sub-section A: Layout |  |  |  |  |  |  |  |
| 499B2-A-2 |  | 500BB | 501BC | 502BThe Operating Suite includes the Operating Room, Prep/Scrub area, Clean and/or Dirty Room, and Post-Anesthesia Care Unit (PACU). |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 504B2-A-3 |  | 505BB | 506BC | 507BThere is a separate and adequately sized Post-Anesthesia Care Unit (PACU) within the operating room suite. |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 509B2-A-8 |  | 510BB | 511BC | 512BUnauthorized individuals are deterred from entering the operating room suite either by locks, alarms, signage, or facility personnel. |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| Sub-section B: Facility Environment |  |  |  |  |  |  |  |
| 514B2-B-3 | 515BA | 516BB | 517BC | 518BThe entire facility must be maintained, equipped, regularly cleaned, sanitary, and free of clutter and litter, consistent with a medical facility designed to perform procedures. |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 520B2-B-4 | 521BA | 522BB | 523BC | 524BThe walls, cabinets, countertops, blinds and shades, and flooring are covered with smooth and easy-to-clean material that is free from tears, breaks, or cracks. 525BIf the floors contain seams or individual tiles, they are sealed with an impermeable sealant other than silicone. |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 527B2-B-5 |  | 528BB | 529BC | 530BThe operating room and scrub area ceiling surface or drop-in tiles are smooth, washable, and free of particulate matter that could contaminate the operating room and scrub area. |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 532B2-B-6 | 533BA | 534BB | 535BC | 536BAll openings to outdoor air are effectively protected against the entrance of insects, animals, etc. The facility must have policies and procedures in place and implemented to address these issues. |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 538B2-B-7 | 539BA | 540BB | 541BC | 542BThere are no overloaded wall plugs or overloaded extensions in use, no altered grounding plugs in use, and wires are not broken, worn, or unshielded. |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 544B2-B-19 | 545BA | 546BB | 547BC | 548BSmoking is prohibited in the entire facility. |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 2507BSub-section C: Operating Room Environment |  |  |  |  |  |  |  |
| 550B2-C-2 |  | 551BB | 552BC | 553BEach operating room is of a size adequate to allow for the presence of all equipment and personnel necessary for the performance of the operations, and must comply with applicable local, state/provincial or federal/national requirements. There must be ample clear space on each side of the procedure table to accommodate emergency personnel and equipment in case of emergency and permit the safe transfer of the patient to a gurney for transport. |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 555B2-C-3 |  | 556BB | 557BC | 558BEach operating room is ventilated, temperature and humidity controlled. The facility policy defines parameters based on patient population, procedure, and monitoring frequency in accordance with industry standards. |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 560B2-C-4 |  | 561BB | 562BC | 563BThe facility must have policies and procedures in place that address operating room cleaning, frequency and type of disinfectants used in accordance with industry standards. |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 565B2-C-5 |  | 566BB | 567BC | 568BThere is adequate storage space within the operating room to hold equipment, supplies, and medications. Unused equipment, supplies, and medications are stored in a manner to avoid contamination. |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 2508BSub-section E: Storage |  |  |  |  |  |  |  |
| 570B2-E-1 | 571BA | 572BB | 573BC | 574BSterile supplies and equipment are stored away from potential contamination in closed cabinets/drawers; or if not, sterile supplies must be stored away from heavy traffic areas and potential contamination hazards. |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 576B2-E-2 | 577BA | 578BB | 579BC | 580BStorage space for sterile supplies and equipment is organized in a manner that maintains cleanliness, sterility, and functionality, provides easy access for identification and minimizes the risk of contamination and injury to patients and staff. |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 582B2-E-3 | 583BA | 584BB | 585BC | 586BAs applicable to the setting, outdated medical supplies, instruments, implants, and equipment are removed and destroyed in accordance with federal/national, state, provincial, and local regulations. |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |

2478BSECTION 3: SAFETY

| 588BStandard ID | 589BAnesthesia Class |  |  |  |  | 590BStandard / Regulatory Reference | 591BFindings / Comments |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 2509BSub-section A: General Safety |  |  |  |  |  |  |  |  |  |
| 592B3-A-1 |  | 593BA | 594BB | 595BC | 596BQUAD A is committed to establishing minimum guidelines to provide safe and effective outpatient procedure care. The Facility must comply with all applicable Occupational Safety and Health Administration (OSHA), Centers for Disease Control and Prevention (CDC), National Fire Protection Association (NFPA), federal, state and local codes and regulations. The facility must comply with the applicable stricter regulation (whether it is the QUAD A Standard or local, state, or federal law). |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |  |
| 2510BSub-section B: Facility Safety Manual |  |  |  |  |  |  |  |  |  |
| 598B3-B-1 |  | 599BA | 600BB | 601BC | 602BThere is a Facility Safety Manual that is reviewed and updated annually and is in accordance with all other federal/national, provincial, state and local regulations. For international facilities, there must be evidence that specific national, provincial, and local regulations are included. |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |  |
| 604B3-B-2 |  | 605BA | 606BB | 607BC | 608BThe Facility Safety Manual contains all applicable requirements of OSHA, such as: Hazard Communications Bloodborne Pathogens Standard Precautions Ionizing Radiation (if x-ray is present at the facility) Exit Routes Electrical Standards Emergency Action Plans in the event of office or other emergencies Exposure Control Plan Fire Safety Medical and First Aid dependent upon workplace circumstances Personal Protective Equipment (PPE) Ergonomic Hazards Workplace Violence Slips, Trips, and Falls Influenza Tuberculosis Emergency Response Chemical Hazards Other hazards such as Compressed Gas, Laser Hazards, Latex Allergy |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |  |
| 2511BSub-section C: Hazardous Agents |  |  |  |  |  |  |  |  |  |
| 610B3-C-1 |  | 611BA | 612BB | 613BC | 614BAll explosive and combustible materials and supplies are stored and handled in a safe manner with appropriate ventilation according to state, provincial, local, and national laws and regulations, and/or National Fire Protection Association (NFPA) codes, OSHA regulations, and safety data sheets (SDS). |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |  |
| 616B3-C-3 |  | 617BA | 618BB | 619BC | 620BCompressed gas cylinders are stored and handled according to state, provincial, local and national laws and regulations, and/or National Fire Protection Association (NFPA) codes. |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |  |
| 622B3-C-5 |  | 623BA | 624BB | 625BC | 626BHazardous chemicals are labeled as hazardous. Any hazardous material removed from the manufacturer's container and placed in a secondary container must be properly labeled. |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |  |
| 2512BSub-section D: Medical Hazardous Waste |  |  |  |  |  |  |  |  |  |
| 628B3-D-1 |  | 629BA | 630BB | 631BC | 632BAll medical hazardous wastes are disposed of in sealed, labeled containers and stored in compliance with federal/national, state, provincial, and local regulations and/or OSHA (Occupational Safety and Health Administration) acceptable containers and separated from general refuse for special collection and handling. |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |  |
| 634B3-D-4 |  | 635BA | 636BB | 637BC | 638BUsed disposable sharp items are placed in secure puncture-resistant containers that are located as close to the use area as is practical. |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |  |
| 2513BSub-section E: Fire Safety |  |  |  |  |  |  |  |  |  |
| 640B3-E-1 |  | 641BA | 642BB | 643BC | 644BThe facility is equipped with functioning heat sensors and/or smoke detectors that are tested annually. |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |  |
| 646B3-E-2 |  | 647BA | 648BB | 649BC | 650BThe number of fire extinguishers available and their location must conform to local fire codes. Minimally, a fire extinguisher is located within 75 feet of any location in the facility. Fire extinguishers are visually inspected monthly, maintenance inspections are done annually and conform to local fire codes. |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |  |
| 2514BSub-section F: Exits |  |  |  |  |  |  |  |  |  |
| 652B3-F-1 |  | 653BA | 654BB | 655BC | 656BExit signs are posted and illuminated consistent with state/provincial, local, national regulations and/or NFPA codes and OSHA codes. |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |  |
| 658B3-F-3 |  | 659BA | 660BB | 661BC | 662BThere are sufficient emergency lights for exit routes and patient care areas in case of power failure. |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |  |
| 664B3-F-4 |  | 665BA | 666BB | 667BC | 668BHallways, stairways and elevators are sufficiently wide to allow emergency evacuation of a patient by emergency personnel and their equipment. |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |  |
| 2515BSub-section G: Personnel Safety |  |  |  |  |  |  | 670B |  |  |
| 671B3-G-1 |  | 672BA | 673BB | 674BC | 675BIf an ethylene oxide gas sterilizer or automated endoscope reprocessor (AER) is used, appropriate personnel are badge-tested to ensure that there is no significant ethylene oxide or glutaraldehyde exposure. |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |  |
| 677B3-G-2 |  | 678B | 679B | 680BC | 681BPersonnel are properly trained in the control procedures and work practices that have been demonstrated to reduce occupational exposures to anesthetic gases. |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |  |
| 683B3-G-3 |  | 684BA | 685BB | 686BC | 687BThere is a written policy for what is considered to be personal protective equipment for specific tasks in the facility (e.g., instrument cleaning, disposal of biological waste, surgery, radiology protection, exposure reduction, etc.). |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |  |
| 2516BSub-section H: Laboratory, Radiology Services, and Laser Safety |  |  |  |  |  |  |  |  |  |
| 689B3-H-2 |  | 690BA | 691BB | 692BC | 693BIf laboratory services are provided, these laboratory services must be provided in accordance with the Clinical Laboratory Improvement Act (CLIA) requirements at 42 CFR 493 operating under a current CLIA certificate appropriate to the level of services performed. |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |  |
| 695B3-H-3 |  | 696BA | 697BB | 698BC | 699BIf x-ray equipment is used, safety measures are taken to protect patients and staff from injury. Warnings and signage exist to warn those whose health may be affected by x-rays. |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |  |
| 701B3-H-4 |  | 702BA | 703BB | 704BC | 705BIf X-ray is used, staff maintain dosimetry badges and records, if applicable, for at least three (3) years. |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |  |
| 707B3-H-8 |  | 708BA | 709BB | 710BC | 711BIf a laser is used, all manufacturer recommended safety precautions are actively in place prior to any usage. All safety measures are taken to protect patients and staff from injury, including appropriate eyewear, covered mirrors, covered windows, signage on the door, etc. in accordance with state/provincial laws and regulations. |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |  |

2479BSECTION 4: EQUIPMENT

| 713BStandard ID | Anesthesia Class |  |  |  |  | 714BStandard / Regulatory Reference | 715BFindings / Comments |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 2517BSub-section A: Facility Equipment |  |  |  |  |  |  |  |  |
| 716B4-A-1 |  | 717BA | 718BB | 719BC | 720BIf a central source of piped oxygen is used, the system must meet all applicable local, state/provincial, and country safety codes. |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 722B4-A-2 |  | 723BA | 724BB | 725BC | 726BMedical equipment and supplies are available in the facility in appropriate sizes and quantities based on the patient population served. |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 2518BSub-section B: Operating Room Equipment |  |  |  |  |  |  |  |  |
| 728B4-B-2 |  | 729BA | 730BB | 731BC | 732BThere is a properly functioning operating room table or chair. |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 734B4-B-3 |  |  | 735BB | 736BC | 737BThe operating room is provided with functioning lighting in the ceiling based on the types of cases performed. Illumination for patients, machines, and monitoring equipment, and access to battery-powered illuminating systems are present. |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 739B4-B-5 |  |  | 740BB | 741BC | 742BSufficient electrical outlets are available, labeled and grounded to suit the location (e.g., wet locations) and connected to emergency power supplies where appropriate. |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 744B4-B-6 |  |  |  | 745BC | 746BSequential compression devices (SCD) are employed for operations lasting one (1) hour or longer, except for operations carried out solely under local or topical anesthesia. |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 748B4-B-7 |  |  | 749BB | 750BC | 751BA source of cautery is present in the operating room. When unipolar electrocautery is used, a single-use/ disposable or reusable grounding pad is used. |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 753B4-B-8 |  |  |  | 754BC | 755B“Forced air warmers,” blanket warmers, or other interventions are used to maintain the patient’s temperature when the procedure lasts more than 60 minutes. The patient's temperature is monitored periodically to ensure normothermia. |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 757B4-B-10 |  |  |  | 758BC | 759BThe operating room is equipped with a table capable of Trendelenburg and other positions necessary to facilitate the surgical procedure. 760BNote - This standard applies ONLY to office-based surgery facilities in Florida. |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 2519BSub-section C: Anesthesia Equipment |  |  |  |  |  |  |  |  |
| 762B4-C-1 |  |  | 763BB | 764BC | 765BThe operating room is equipped with an EKG monitor with pulse read-out. |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 767B4-C-2 |  |  | 768BB | 769BC | 770BThe operating room is equipped with a pulse oximeter. |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 772B4-C-3 |  |  | 773BB | 774BC | 775BThe operating room is equipped with blood pressure monitoring equipment, including cuff sizes as appropriate for the patient population treated in the facility. |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 777B4-C-4 |  |  | 778BB | 779BC | 780BThe operating room is equipped with oral airways including sizes specific for each size of patient population treated in the facility. |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 782B4-C-5 |  |  | 783BB | 784BC | 785BThe operating room is equipped with nasopharyngeal airways including sizes specific for each size of patient population treated in the facility. |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 787B4-C-6 |  |  | 788BB | 789BC | 790BThe operating room is equipped with a functional and clean laryngoscope. Laryngoscope is cleaned as appropriate, HLD or sterilized. Permitted in Class B for emergency use only. |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 792B4-C-7 |  |  | 793BB | 794BC | 795BThe operating room is equipped with a comprehensive assortment of endotracheal tubes, stylets, and laryngeal mask airways including sizes and types for the patients being treated in the facility. Permitted in Class B for emergency use only. |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 797B4-C-9 |  |  | 798BB | 799BC | 800BThe operating room is equipped with a positive pressure ventilation device (e.g. Ambu® bag, bag valve mask), including sizes of masks to cover the range needed for the patient population treated in the facility. If self-inflating bags are used, they must be capable of delivering positive-pressure ventilation with at least 90% oxygenation concentration. |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 802B4-C-10 |  |  | 803BB | 804BC | 805BThe operating room is equipped with a source of oxygen and with appropriate delivery devices (e.g. nasal cannula, face mask) to provide adequate oxygen for the patient population treated and procedures performed in the facility. |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 807B4-C-11 |  |  | 808BB | 809BC | 810BThe operating room is equipped with a source of adequate and reliable suction and suction equipment. |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 812B4-C-12 |  |  | 813BB | 814BC | 815BThe operating room is equipped with a reliable source of oxygen, adequate for the length of the procedures performed in the facility (backup must consist of at least one full E cylinder). Backup oxygen source must have a regulator and be ready to use. If oxygen cylinders are used as backup, they must be full. |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 817B4-C-13 |  |  |  | 818BC | 819BIf inhalation general anesthesia is used, the operating room is equipped with an inspired gas oxygen monitor on the anesthesia machine with an audible alarm to indicate a low oxygen concentration. |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 821B4-C-14 |  |  | 822BB | 823BC | 824BThe operating room is equipped with an end tidal carbon dioxide monitor with an audible alarm to indicate values outside the normal range which is used on all moderate sedation, deep sedation, and general anesthesia cases. |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 826B4-C-15 |  |  |  | 827BC | 828BWhen ventilation is controlled by a mechanical ventilator, there shall be in continuous use a device that is capable of detecting the disconnection of any of the breathing system’s components. The device must give an audible signal when its alarm threshold is exceeded. |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 830B4-C-16 |  | 831BA | 832BB | 833BC | 834BIf nitrous oxide alone is used, then a safe delivery system is used. A safe delivery system meets these criteria: - 134BAlarms - 135BGas scavenging - 136BColor coding of tanks, knobs, and hoses - 137BDiameter index safety system for non-interchangeable connection of gases - pin index safety system - 138BOxygen fail-safe system and oxygen flush capacity - 139BQuick connection for positive-pressure oxygen delivery - 140BEmergency air inlet - 141BReservoir bag - 142BStorage in a secured area |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 836B4-C-17 |  |  |  | 837BC | 838BAn anesthesia machine with a purge system to extract exhaled gaseous air to out-of-doors or to a neutralizing system is present. If inhalation anesthesia is used, a carbon dioxide-neutralizing system is required when using an anesthesia machine. An adequate and reliable waste anesthetic scavenging system exists if inhalation anesthetics are used. |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 840B4-C-18 |  |  |  | 841BC | 842BAn anesthesia machine is required if volatile agents are available in the facility. If total intravenous anesthesia (TIVA), spinal, or epidural anesthesia is used exclusively, and no volatile inhalation agents are available, an anesthesia machine is not required. |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 2520BSub-section D: Post-Anesthesia Care Unit (PACU) Equipment |  |  |  |  |  |  |  |  |
| 844B4-D-1 |  |  | 845BB | 846BC | 847BThe PACU is equipped and readily accessible to handle emergencies. |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 850B4-D-2 |  |  | 851BB | 852BC | 853BA separate pulse oximeter is available for each patient in the PACU. |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 2521BSub-section E: Maintenance of Equipment |  |  |  |  |  |  |  |  |
| 855B4-E-1 |  | 856BA | 857BB | 858BC | 859BThe facility has a preventive maintenance program to ensure that all essential mechanical, electric and patient-care equipment is maintained in safe operating condition and is replaced no less frequently than according to a schedule. A qualified technician annually inspects all equipment and reports in writing that the equipment is safe and operating according to the manufacturer’s specifications. Stickers may be placed on individual equipment; however, written records must be maintained. All equipment is on a maintenance schedule, and records are kept for a minimum of at least three (3) years. |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 861B4-E-5 |  | 862BA | 863BB | 864BC | 865BThe manufacturer’s specifications and requirements for all equipment are kept in an organized file and followed for each piece of equipment. |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 867B4-E-6 |  |  | 868BB | 869BC | 870BThe facility's emergency backup power equipment is tested monthly and according to the manufacturer’s recommendations to ensure proper function in accordance with federal/national, state, provincial, and local requirements, if applicable. The test results are filed and kept for a minimum of three (3) years. |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 872B4-E-7 |  | 873BA | 874BB | 875BC | 876BCentral/Plumbed/Piped Anesthesia gas systems, including nitrous delivery systems, are checked by a qualified inspector annually, and written reports are available stating that the equipment is safe and operates according to the manufacturer’s specifications. |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 878B4-E-8 |  | 879BA | 880BB | 881BC | 882BNitrous oxide/oxygen delivery safety system checks: Annual documented checks of ambient nitrous oxide levels should be less than 25 ppm according to NIOSH. The facility's policies and procedures document these system checks and address who is qualified to perform them, their frequency, the method of testing, and the action to be taken if the nitrous oxide levels are greater than 25 ppm in accordance with the manufacturer's instructions for use. Note: this standard applies only to standalone systems. |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |

2480BSECTION 5: IN CASE OF EMERGENCY

| Standard ID |  | Anesthesia Class |  |  |  | Standard / Regulatory Reference | Findings / Comments |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 2522BSub-section A: Emergency Equipment |  |  |  |  |  |  |  |  |
| 884B5-A-1 | 885BA |  | 886BB | 887BC | 888BEmergency cart is immediately available with a defibrillator or automated external defibrillator (AED), necessary drugs, and other CPR equipment (e.g. suction, pediatric defib pads) necessary for the patient population being served. |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 890B5-A-3 | 891BA |  | 892BB | 893BC | 894BThe standard defibrillator, or an Automated External Defibrillator (AED), is checked at least weekly for operability in accordance with the manufacturer's instructions for use, and the test results are documented and kept for a minimum of three (3) years. |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 896B5-A-4 |  |  | 897BB | 898BC | 899BThe facility medical staff, anesthesia professionals, other clinical staff, and the governing body of the facility coordinates, develops, and revises facility policies and procedures to specify the types of emergency equipment required for use in the facility's operating room. |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 2523BSub-section B: Emergency Power |  |  |  |  |  |  |  |  |
| 901B5-B-1 |  |  | 902BB | 903BC | 904BThe emergency power source is able to begin generating ample power to operate essential electrical equipment used in the operating suite within thirty (30) seconds of a power failure. |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 906B5-B-3 |  |  | 907BB | 908BC | 9The operating room(s) and recovery room have an emergency power source, (e.g. a generator or battery powered inverter), with capacity to operate adequate critical equipment such as ventilators, lighting, monitoring, anesthesia, and procedure equipment for a minimum of thirty (30) minutes. If two or more operating rooms are used simultaneously, an adequate emergency power source must be available for all operating rooms. |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 2524BSub-section C: Emergency Protocols |  |  |  |  |  |  |  |  |
| 911B5-C-1 | 912BA |  | 913BB | 914BC | 915BThere must be a written protocol for emergency evacuation of the facility. The protocol must include provisions for annual drills for the emergency evacuation of patients, staff, and guests; staff training upon hire and annually. Documentation of all drills must be retained in the facility for a minimum of three (3) years. |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 917B5-C-2 | 918BA |  | 919BB | 920BC | 921BA written protocol for security emergencies, such as an intruder in the facility, an unruly patient or visitor, or a threat to the staff or patients, must be documented and reviewed annually. The protocol must include provisions for annual drills for security emergencies, staff training upon hire and annually, drill documentation, and, retention of documentation for a minimum of three (3) years. |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 923B5-C-3 | 924BA |  | 925BB | 926BC | 927BThere must be a written protocol for fires and fire drills. This protocol must include the provision for: fire drills; staff training upon hire and annually; drill documentation and retention of documentation for a minimum of three (3) years. |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 929B5-C-4 | 930BA |  | 931BB | 932BC | 933BThere must be a written protocol for returning patients to the operating room or transfer to the hospital in the event of patient emergencies. |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 935B5-C-7 | 936BA |  | 937BB | 938BC | 939BThere must be a written protocol for a situation in which the surgeon/proceduralist, anesthesia professional, or other healthcare professional is impaired or becomes incapacitated. |  |  |  |
| 941B5-C-14 |  |  |  | 942BC | 943BEmergency policies and procedures related to serious anesthesia complications must be written, implemented, enforced, periodically reviewed, updated, and readily available to the facility staff. These policies and procedures must be in accordance with acceptable standards of medical practice and surgical patient care and include, at a minimum, the following: 944Ba. Airway Blockage (foreign body obstruction), 945Bb. Allergic Reactions, 946Bc. Bradycardia, 947Bd. Bronchospasm, 948Be. Chest Pain, 949Bf. Hypoglycemia, 950Bg. Hypotension, 951Bh. Hypoventilation, 952Bi. Laryngospasm; and, 953Bj. Local Anesthetic Toxicity Reaction 954BNote – This standard applies ONLY to office-based surgery facilities in Florida. 955B64B8-9.009(6)(b)(2) |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |

2481BSECTION 6: MEDICATIONS

| 957BStandard ID |  | 958BAnesthesia Class |  |  |  | 959BStandard / Regulatory Reference | 960BFindings / Comments |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 2525BSub-section A: Medications |  |  |  |  |  |  |  |  |
| 961B6-A-2 | 962BA |  | 963BB | 964BC | 965BDrugs must be prepared and administered according to established policies and acceptable standards of practice. |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 967B6-A-5 | 968BA |  | 969BB | 970BC | 971BOutdated medications are removed and destroyed in accordance with federal/national, state, provincial, and local pharmacy regulations. |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 973B6-A-6 | 974BA |  | 975BB | 976BC | 977BMedications are stored in a secured area away from patient and visitor access. |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 979B6-A-8 |  |  |  |  | 980BThe facility must provide drugs and biologicals in a safe and effective manner, in accordance with accepted professional practice and under the direction of an individual designated responsible for pharmaceutical services. |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 2526BSub-section B: Intravenous Fluids |  |  |  |  |  |  |  |  |
| 982B6-B-1 | 983BA |  | 984BB | 985BC | 986BIntravenous fluids such as Lactated Ringer’s solution and/or normal saline are available in the facility, including intravenous (IV) administration sets, and various sizes of IV needles based on the patient population served. |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 2527BSub-section D: Controlled Substances |  |  |  |  |  |  |  |  |
| 988B6-D-1 | 989BA |  | 990BB | 991BC | 992BAll controlled substances are secured and locked under supervised access. Storage of controlled substances must be in accordance with applicable federal/national, state/provincial, and local regulations. |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 994B6-D-2 | 995BA |  | 996BB | 997BC | 998BThere is a dated controlled substance inventory and a control record that includes the use of controlled substances on individual patients. Such records must be kept in the form of a sequentially numbered, bound journal from which pages may not be removed, or in a tamper -proof, secure computer record consistent with state and federal law. This log must be kept in the facility. |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 1000B6-D-3 | 1001BA |  | 1002BB | 1003BC | 1004BAll controlled substance transactions, including daily counts and wastes, require verification by two (2) licensed members of the team. (For facilities with only Schedule IV and V controlled substances, one (1) licensed and (1) authorized member of the operating room team may document verification of daily counts and wastes.) These verifications must be completed on any day that the facility is open and/or controlled substances are administered, and in compliance with federal/national, provincial, state, and local regulations. The facility must develop a policy detailing how unlicensed authorized individuals are authorized, if applicable. |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 1006B6-D-4 | 1007BA |  | 1008BB | 1009BC | 1010BThere must be a record of receipt and disposition of all controlled substances. Records must be maintained for a minimum of three (3) years. |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 1012B6-D-5 | 1013BA |  | 1014BB | 1015BC | 1016BIf contracted anesthesia professionals bring controlled substances into the facility, the facility must ensure compliance with all QUAD A standards, local, state, and federal laws and DEA regulations. |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 2528BSub-section E: ACLS/PALS Algorithm |  |  |  |  |  |  |  |  |
| 1018B6-E-1 | 1019BA |  | 1020BB | 1021BC | 1022BA complete and current copy of the current ACLS and/or PALS Algorithm, as appropriate for the patient population served in the facility, must be available on the emergency cart. |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 1024B6-E-4 | 1025BA |  | 1026BB | 1027BC | 1028BThe following medication must be available in the facility at all times as required by the current ACLS/PALS algorithm: Adenosine - 18 mg Epinephrine (1:10,000 solution, 1 mg per 10 ml) - Minimum - 5 mg Anti-Hypertensives – Minimum is per facility policy or facility drug formulary. Lidocaine HCl 2% - Minimum 100 mg Atropine - Minimum 3 mg Nitroglycerin (sublingual tablets or spray) – Minimum is per facility policy or facility drug formulary. Narcan – Minimum is per facility policy or facility drug formulary. Intravenous corticosteroids (e.g., dexamethasone) – Minimum is per facility policy or facility drug formulary. Amiodarone - Minimum 450 mg |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 1030B6-E-5 | 1031BA |  | 1032BB | 1033BC | 1034BThere must be a written protocol for cardiopulmonary resuscitation (CPR). This protocol must include the provision for annual drills, staff training upon hire and annually, drill documentation, and retention of documentation for at least three (3) years. |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 1036B6-E-13 | 1037BA |  | 1038BB | 1039BC | 1040BThe following medication must be available in the facility at all times and stored per manufacturer’s recommendation: Epinephrine 1 mg in 1 mL vial, three (3) vials total. Note - This standard applies ONLY to office-based surgery facilities in Florida. 64B8-9.009(3)(b)(2), F.A.C. 64B8-9.009(4)(b)(3)(a), F.A.C. |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 2529BSub-section F: Emergency Medications |  |  |  |  |  |  |  |  |
| 1042B6-F-1 | 1043BA |  | 1044BB | 1045BC | 1046BAll emergency medications, as noted, must be available and in the facility at all times. Licensed personnel in the facility must know their location. |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 1048B6-F-2 | 1049BA |  | 1050BB | 1051BC | 1052BThe following medication must be available in the facility at all times: IV Antihistamines (e.g. Diphenhydramine) – Minimum 50 mg. |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 1054B6-F-3 | 1055BA |  | 1056BB | 1057BC | 1058BThe following medication must be available in the facility at all times: Short-acting beta-blocker (e.g., esmolol or labetalol). |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 1060B6-F-4 | 1061B |  | 1062B | 1063BC | 1064BThe following medication must be available in the facility at all times: Neuromuscular blocking agents including non-depolarizing agents such as rocuronium or depolarizing agents such as succinylcholine. |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 1066B6-F-5 | 1067B |  | 1068BB | 1069BC | 1070BThe following medication must be available in the facility at all times: If a Benzodiazepine is used in the facility, a reversal agent must be available (e.g. Mazicon™, Flumazenil). 1071BFlorida facilities, see Standard 6-F-17 |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 1073B6-F-8 | 1074BA |  | 1075BB | 1076BC | 1077BThe following medication must be available in the facility at all times: Bronchospasm-arresting medication (inhaled beta-agonist, e.g. albuterol). |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 1079B6-F-10 | 1080BA |  | 1081BB | 1082BC | 1083BThe following medication must be available in the facility at all times: Seizure-arresting medication (a benzodiazepine, e.g. Midazolam). |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 1085B6-F-14 |  |  | 1086BB | 1087BC | 1088BThe following medication must be available in the crash cart: Calcium chloride 1 gram. Note - This standard applies ONLY to office-based surgery facilities in Florida. 64B8-9.009(4)(b)(3)(a), F.A.C. |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 1090B6-F-15 |  |  | 1091BB | 1092BC | 1093BThe following medication must be available in the crash cart: Dextrose 50%; 50 mL. Note - This standard applies ONLY to office-based surgery facilities in Florida. 64B8-9.009(4)(b)(3)(a), F.A.C. |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 1095B6-F-16 |  |  | 1096BB | 1097BC | 1098BThe following medication must be available in the crash cart: Dopamine 200 mg minimum. Note - This standard applies ONLY to office-based surgery facilities in Florida. 64B8-9.009(4)(b)(3)(a), F.A.C. |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 1100B6-F-17 |  |  | 1101BB | 1102BC | 1103BThe following medication must be available in the crash cart: Flumazenil 1 mg. Note - This standard applies ONLY to office-based surgery facilities in Florida. 64B8-9.009(4)(b)(3)(a), F.A.C. |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 1105B6-F-18 |  |  | 1106BB | 1107BC | 1108BThe following medication must be available in the crash cart: Furosemide 40 mg. Note - This standard applies ONLY to office-based surgery facilities in Florida. 64B8-9.009(4)(b)(3)(a), F.A.C. |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 1110B6-F-19 |  |  | 1111BB | 1112BC | 1113BThe following medication must be available in the crash cart: Magnesium sulfate 2 grams. Note - This standard applies ONLY to office-based surgery facilities in Florida. 64B8-9.009(4)(b)(3)(a), F.A.C. |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 1115B6-F-20 |  |  | 1116BB |  | 1117BA paralytic agent that is appropriate for use in rapid sequence intubation must be available in the crash cart and stored per the manufacturer’s recommendation. Note - This standard applies ONLY to office-based surgery facilities in Florida. 64B8-9.009(4)(b)(3)(a), F.A.C. |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 1119B6-F-21 |  |  | 1120BB | 1121BC | 1122BA calcium channel blocker class drug must be available in the crash cart and stored per manufacturer’s recommendation. Note - This standard applies ONLY to office-based surgery facilities in Florida. 64B8-9.009(4)(b)(3)(a), F.A.C. |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 1124B6-F-22 |  |  | 1125BB | 1126BC | 1127BIf the facility is performing non-neuraxial regional blocks, Intralipid 20% 500mL must be available in the crash cart and stored per manufacturer’s recommendation. Note - This standard applies ONLY to office-based surgery facilities in Florida. 64B8-9.009(4)(b)(3)(a), F.A.C. |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 2530BSub-section G: Malignant Hyperthermia |  |  |  |  |  |  |  |  |
| 1129B6-G-1 |  |  |  | 1130BC | 1131BIf the depolarizing muscle relaxant succinylcholine is present only for use in emergency airway rescue, the facility must document a protocol to manage the possibility of malignant hyperthermia (MH) following its use, and staff training must occur on hire and then annually. |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 1133B6-G-2 |  |  |  | 1134BC | 1135BIf potential malignant hyperthermia triggering agents such as isoflurane, sevoflurane, and desflurane, and/or the depolarizing muscle relaxant succinylcholine are ever used, or are present in the facility: Screening for MH risk must be documented, that includes but is not limited to a family history of unexpected death(s) following general anesthesia or exercise; a family or personal history of MH, a muscle or neuromuscular disorder, high temperature following exercise; a personal history of muscle spasm, dark or chocolate colored urine, or unanticipated fever immediately following anesthesia or serious exercise. |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 1137B6-G-5 |  |  |  | 1138BC | 1139BIf potential malignant hyperthermia triggering agents such as isoflurane, sevoflurane, and desflurane, and/or the depolarizing muscle relaxant succinylcholine are ever used, or are present in the facility: MH crisis management must be covered in annual staff training. All clinical staff (including contracted healthcare professionals) must be trained. Annual drills are conducted for MH crisis and management including actual dilution of at least one vial of actual Dantrolene (expired OK). Staff should be assigned roles prior to drills and a written protocol outlining those personnel and their roles is on file. Documentation of drills is required. |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 1141B6-G-6 |  |  |  | 1142BC | 1143BIf potential malignant hyperthermia triggering agents such as isoflurane, sevoflurane, and desflurane, and/or the depolarizing muscle relaxant succinylcholine are ever used, or are present in the facility: A supply of sterile water for injection USP (without a bacteriostatic agent) is available to mix with dantrolene before injection (i.e. 60ml/vial for Dantrium® and Revonto®, 5ml/vial for Ryanodex®). |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 1145B6-G-7 |  |  |  | 1146BC | 1147BIf potential malignant hyperthermia triggering agents such as isoflurane, sevoflurane, and desflurane, and/or the depolarizing muscle relaxant succinylcholine are ever used, or are present in the facility: A minimum of 4 ampoules, 50cc’s each, of sodium bicarbonate (NaHCO3). |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 1149B6-G-8 |  |  |  | 1150BC | 1151BIf potential malignant hyperthermia triggering agents such as isoflurane, sevoflurane, and desflurane, and/or the depolarizing muscle relaxant succinylcholine are ever used, or are present in the facility: A minimum supply of dantrolene/Ryanodex should be stocked to treat a patient of average weight (approximately 70kg) with an initial dose: Dantrium®/Revonto® - 12 vials (20 mg/vial) Ryanodex® - 1 vial (250 mg/vial). 1152BFlorida facilities, see Standard 6-G-13 |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 1154B6-G-9 |  |  |  | 1155BC | 1156BIf potential malignant hyperthermia triggering agents such as isoflurane, sevoflurane, and desflurane, and/or the depolarizing muscle relaxant succinylcholine are ever used, or are present in the facility: An additional* supply of dantrolene/Ryanodex and diluents are stored in the facility, or the facility has a written agreement with another source that will provide additional* dantrolene/Ryanodex and diluents on a STAT basis within 10 minutes for continued treatment and stabilization of a patient experiencing a MH episode. *Additional supply of dantrolene is defined as: Dantrium®/Revonto® - 24 vials (20 mg/vial) Ryanodex® - 2 vial (250 mg/vial) 1157BFlorida facilities, see Standard 6-G-13 |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 1159B6-G-10 |  |  |  | 1160BC | 1161BIf potential malignant hyperthermia triggering agents such as isoflurane, sevoflurane, and desflurane, and/or the depolarizing muscle relaxant succinylcholine are ever used, or are present in the facility: Flow sheets for any MH intervention as well as forms to rapidly communicate the progress of intervention with receiving facilities are on the emergency cart, and the facility must document and report any "adverse metabolic or musculoskeletal reaction to anesthesia". This documentation must be transportable with the patient when transferred to the receiving facility. |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 1163B6-G-11 |  |  |  | 1164BC | 1165BIf potential malignant hyperthermia triggering agents such as isoflurane, sevoflurane, and desflurane, and/or the depolarizing muscle relaxant succinylcholine are ever used, or are present in the facility: Facilities must have a policy for MH transfer including EMS 911 transport to a facility capable of ongoing treatment located within a reasonable distance. A licensed healthcare professional with the ability to continue MH treatment must accompany the patient during transport and provide a report to the receiving facility staff. |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 1167B6-G-13 |  |  |  | 1168BC | 1169BIf halogenated anesthetics or succinylcholine are utilized, at least 720 mg of dantrolene must be on site, and monitored post-anesthesia recovery must be available in the office. Note - This standard applies ONLY to office-based surgery facilities in Florida. 64B8-9.009(6)(b)(2)(a), F.A.C. |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |

2482BSECTION 7: INFECTION PREVENTION & CONTROL

| 1171BStandard ID |  | 1172BAnesthesia Class |  |  | 1173BStandard / Regulatory Reference | 1174BFindings / Comments |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 2531BSub-section A: Infection Prevention and Control |  |  |  |  |  |  |  |  |
| 1175B7-A-8 | 1176BA |  | 1177BB | 1178BC | 1179BThe facility policy manual should include infection prevention and control policies and procedures that are consistent with current CDC guidelines. |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 1181B7-A-9 | 1182BA |  | 1183BB | 1184BC | 1185BFacility must be compliant with guidelines listed in the CDC Standard Precautions for cross-contamination of syringes, multi-use and single use vials. (Refer to CDC Preventing Transmission of Infectious Agents in Healthcare Settings 2007) |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 1187B7-A-10 | 1188BA |  | 1189BB | 1190BC | 1191BThe facility's policies address operating/procedure room attire. This includes scrub suits, caps or hair covers, gloves, operative gowns, masks, eye protection, and all other appropriate attire based on the procedure being conducted. |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 1193B7-A-13 | 1194BA |  | 1195BB | 1196BC | 1197BReuse of single-use disposable biopsy forceps is strictly prohibited. Purchase records must be retained for three (3) years and available for comparison to procedural and pathology specimen logs. |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 2532BSub-section B: Hand Hygiene |  |  |  |  |  |  |  |  |
| 1199B7-B-1 | 1200BA |  | 1201BB | 1202BC | 1203BHand hygiene is performed in accordance with current nationally recognized and/or WHO guidelines and standards of practice. Periodic hand hygiene auditing must be a part of the facility's quality activities. For surgical/procedural facilities: Scrub facilities are provided for the operating room staff. Scrub products (as appropriate), soap, and alcohol cleansers are provided for the operating room staff, consistent with current adopted guidelines and standards of practice for hand hygiene. |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 2533BSub-section C: Instrument Processing |  |  |  |  |  |  |  |  |
| 1205B7-C-1 | 1206BA |  | 1207BB | 1208BC | 1209BThe facility has a written protocol for the reprocessing of all surgical instruments and disinfection of all equipment used in patient care consistent with the manufacturer's instructions for use. |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 1211B7-C-2 | 1212BA |  | 1213BB | 1214BC | 1215BThere is strict segregation of dirty surgical equipment and instruments that have been cleaned and are in the preparation and assembly area. |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 1217B7-C-4 | 1218BA |  | 1219BB | 1220BC | 1221BSingle-use devices are not reprocessed unless they are approved by the FDA for reprocessing. Reprocessing of these devices is done by an FDA-approved reprocessor. NOTE: The FDA requirement does not apply to international facilities. International facilities must comply with local, state/provincial or federal/national requirements regarding reprocessing single-use devices. |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 2534B Sub-section D: Sterilization |  |  |  |  |  |  |  |  |
| 1223B7-D-1 | 1224BA |  | 1225BB | 1226BC | 1227BAll instruments used in patient care are sterilized where applicable. |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 1229B7-D-2 | 1230BA |  | 1231BB | 1232BC | 1233BThe facility has at least one (autoclave) that uses high-pressure steam and heat, or all sterile items are single-use disposable, or the facility has contracted with an outside vendor to process instruments, if applicable. Instrument reprocessing and sterilization must follow the manufacturer's instructions for use. |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 1235B7-D-4 | 1236BA |  | 1237BB | 1238BC | 1239BGas sterilizers and automated endoscope re-processors (AER) must be vented and tested for occupational exposure in accordance with the manufacturer’s specifications. |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 1241B7-D-5 | 1242BA |  | 1243BB | 1244BC | 1245BThe facility monitors the sterilization cycle's effectiveness in accordance with nationally and internationally recognized standards of practice and in conjunction with the manufacturer's instructions for use. This includes but is not limited to: - 143BMonitoring each sterilizer load for the appropriate mechanical indicators (e.g., time, temperature, and pressure); - 144BUsing type 1 (external) and type 5 (internal) chemical indicators; - 145BWeekly biological indicator (spore test) for each sterilizer; - 146BUsing a biological indicator for every load containing implantable items; and - 147BRecording evidence of sterilization assurance monitoring for every load, and any corrective action is documented. |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 1247B7-D-6 | 1248BA |  | 1249BB | 1250BC | 1251BSterile instruments and supplies are packaged according to the manufacturer’s instructions for use (IFU) and sealed effectively. Self-sealing peel pouches must be folded on the crease and may only be double-pouched when the process is validated by the manufacturer. |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 1253B7-D-7 | 1254BA |  | 1255BB | 1256BC | 1257BEach sterilized pack is labeled with the date of sterilization and, when applicable, with the expiration date. When the facility has more than one sterilizer, labels must also identify the sterilizer used. |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 1259B7-D-9 | 1260BA |  | 1261BB | 1262BC | 1263BComprehensive monitoring records that include quality control are retained for the sterilization or other disinfection process and should be reviewed and stored for a minimum of three (3) years. |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 1265B7-D-10 | 1266BA |  | 1267BB | 1268BC | 1269BThere is a written policy and procedure for the management of a positive biological indicator. |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 1271B7-D-11 | 1272BA |  | 1273BB | 1274BC | 1275BImmediate use steam sterilization (IUSS) is not done on a routine or frequent practice. |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 2535BSub-section E: High-Level Disinfection (HLD) |  |  |  |  |  |  |  |  |
| 1277B7-E-1 | 1278BA |  | 1279BB | 1280BC | 1281BHigh-level disinfection is performed upon heat-sensitive endoscopic equipment and other medical devices classified as semi-critical, but only when recommended by the manufacturer's instructions for use (IFU). |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 1283B7-E-2 | 1284BA |  | 1285BB | 1286BC | 1287BEndoscopes are processed in accordance with a written policy and procedure consistent with recognized guidelines and standards of practice. The policy must address how scopes are treated at the point of use, transported, cleaned, high-level disinfected, and stored. |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 1289B7-E-3 | 1290BA |  | 1291BB | 1292BC | 1293BA room with acceptable ventilation and space that is separate from the procedure room is required for reprocessing of scopes. If the facility is unable to use two separate rooms they must be able to document that they are using a closed reprocessing system with ventilation that exchanges the room air 10 -12 times per hour or an active charcoal filtration system is in place. All situations must meet requisite standards (OSHA, CDC, Federal, State, etc.) for air exchange ratios and vapor particle standards. |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 1301B7-E-4 | 1302BA |  | 1303BB | 1304BC | 1305BA written protocol is in place and followed that specifically addresses and requires enumerated steps to accomplish the below goals: 1306B· Staff training 1307B· The cleaning of the scope. The location of the manual rinsing and cleaning of endoscopes prior to HLD may be carried out in the procedure room away from the patient. Specific steps must be in place to minimize spraying and aerosolizing of the bio-burden. 1308B· Processing of the scopes must be in a location that meets requisite standards of air exchange ratios and vapor particle standards. For example, a room separate from the operating and procedure rooms is required for manual HLD reprocessing of endoscopes. This room must be adequately sized and segregated from patient and staff. Necessary protective equipment for personnel performing this function must be included in the protocol as well as readily available. 1309B· Scope cleaning functions are limited to properly trained personnel. 1310B· If there is not a separate room (see previous standard) being utilized for processing of the scopes, then the protocol must include steps that require that the contaminated equipment is cleaned and placed in the re-processor prior to bringing the next patient into the room. In addition, the clean scope coming out of the re-processor is to be removed only when the room is clean and free of dirty instruments. 1311B· Cross contamination should be avoided no matter where cleaning and processing takes place. There must always be some distinct type of separation of clean and dirty areas in any location. 1312B· Clean (reprocessed) endoscopes should be stored in a closed cabinet exclusively dedicated for scope storage to avoid contamination prior to use. |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 1337B7-E-5 | 1338BA |  | 1339BB | 1340BC | 1341BEye wash stations are available and maintained within the endoscopy reprocessing room where chemicals that are hazardous to the eyes are used. |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 2536BSub-section F: Cleaning |  |  |  |  |  |  |  |  |
| 1355B7-F-2 | 1356BA |  | 1357BB | 1358BC | 1359BThe entire operating room suite is cleaned and disinfected according to an established facility policy and procedure, based on industry standards, and includes, at a minimum: - 148BCleaning schedule - 149BProcess for cleaning between cases - 150BProcess for terminal cleaning after the last case of the day - 151BUse of intermediate-level, medical-grade disinfectants EPA-registered as virucidal, bactericidal, tuberculocidal, and fungicidal. |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 1361B7-F-3 | 1362BA |  | 1363BB | 1364BC | 1365BThere is a written policy for cleaning spills, especially spills that may contain blood-borne pathogens. |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 1367B7-F-4 | 1368BA |  | 1369BB | 1370BC | 1371BAll blood and body fluid spills are cleaned using medical-grade germicides that are virucidal, bactericidal, tuberculocidal, and fungicidal. A spill kit is available and readily accessible. |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 1373B7-F-5 | 1374BA |  | 1375BB | 1376BC | 1377BFacility policies and procedures have been developed for use by housekeeping personnel for cleaning floors, tables, walls, ceilings, counters, furniture, and fixtures of the operating suite. |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 1379B7-F-6 | 1380BA |  | 1381BB | 1382BC | 1383BInstrument handling and reprocessing areas are cleaned and maintained. |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |

2483BSECTION 8: CLINICAL RECORDS

| 1385BStandard ID | 1386BAnesthesia Class |  |  | 1387BStandard / Regulatory Reference | 1388BFindings / Comments |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 2537BSub-section A: General Clinical Records |  |  |  |  |  |  |  |
| 1389B8-A-4 | 1390BA | 1391BB | 1392BC | 1393BClinical records must be kept secure and confidential, consistent with HIPAA regulations. |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 1395B8-A-6 | 1396BA | 1397BB | 1398BC | 1399BElectronic health records (EHR) must comply with security and privacy obligations under current HIPAA regulations. |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 1401B8-A-8 | 1402BA | 1403BB | 1404BC | 1405BClinical records for each patient must be accurate, legible, and promptly completed. |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 1407B8-A-9 | 1408BA | 1409BB | 1410BC | 1411BClinical records must be retained the number of years as required by state and/or federal law; or a minimum of three (3) years to comply with the QUAD A three-year survey cycle. |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 1413B8-A-10 | 1414BA | 1415BB | 1416BC | 1417BClinical records are maintained and easily accessible by the accredited facility. |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 2538BSub-section B: Pre-Operative Documentation |  |  |  |  |  |  |  |
| 1419B8-B-1 | 1420BA | 1421BB | 1422BC | 1423BClinical records must contain patient identification. |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 1434B8-B-2 | 1435BA | 1436BB | 1437BC | 1438BA pre-operative surgical safety checklist must be used for each patient and noted in the patient record. |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 1440B8-B-6 | 1441BA | 1442BB | 1443BC | 1444BThe pre-operative clinical record includes a medical evaluation when warranted by the patient's medical history and/or procedure to be performed or is required by the facility policy. |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 1446B8-B-7 | 1447BA | 1448BB | 1449BC | 1450BThe pre-operative clinical record includes significant medical history and a physical examination covering the organs and systems commensurate with the procedure(s) are recorded on all patients and placed in the clinical record prior to the surgical procedure. |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 1452B8-B-8 | 1453BA | 1454BB | 1455BC | 1456BUpon admission, each patient must have a pre-operative assessment completed by a physician who will be performing the surgery or other qualified practitioner in accordance with applicable State health and safety laws, standards of practice, and facility policy. 1457BThe pre-surgical assessment must include documentation of any allergies to drugs and biologicals. This assessment must be placed in the patient's clinical record prior to the surgical procedure. |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 1464B8-B-9 | 1465BA | 1466BB | 1467BC | 1468BThe pre-procedural operative assessment includes documentation regarding special needs such as physical impairments, disabilities, religious and/or ethnic concerns. |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 1470B8-B-11 | 1471BA | 1472BB | 1473BC | 1474BThe pre-operative clinical record includes documentation of all pre-operative medications and intravenous fluids given to a patient. This record includes the patient's name, date, time, dose, and route of administration. |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 1476B8-B-13 | 1477BA | 1478BB | 1479BC | 1480BThe pre-operative clinical record includes documentation of any allergies and abnormal drug reactions. |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 1482B8-B-14 | 1483BA | 1484BB | 1485BC | 1486BThe pre-operative clinical record includes documentation of current medications. |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 1488B8-B-15 | 1489BA | 1490BB | 1491BC | 1492BThe pre-operative clinical record includes documentation of medical history. |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 1494B8-B-17 | 1495BA | 1496BB | 1497BC | 1498BThe pre-operative clinical record includes documentation of any previous operations. |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 1500B8-B-18 | 1501BA | 1502BB | 1503BC | 1504BThe pre-operative clinical record includes documentation of perioperative bleeding risk, including medical conditions and anticoagulant medication taken up to the day of the operation. |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 1506B8-B-19 | 1507BA | 1508BB | 1509BC | 1510BA written pregnancy testing policy must be in place that requires discussion and documentation of the issue with each patient, as appropriate. |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 1512B8-B-20 | 1513BA | 1514BB | 1515BC | 1516BThe pre-operative clinical record includes evidence that treating physicians or consultants are contacted in cases when warranted by the history and physical examination. |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 1518B8-B-22 | 1519BA | 1520BB | 1521BC | 1522BThe pre-operative clinical record includes pre-operative diagnostic studies and laboratory procedures (entered before surgery), if performed. |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 1527B8-B-24 |  | 1528BB | 1529BC | 1530BThe surgeon/proceduralist and the licensed or qualified anesthesia professional concur on the appropriateness of the procedures performed at the facility based on the medical status of the patient, age and physiological appropriateness of the patient, and qualifications of the providers and the facility resources. This concurrence must be documented in the clinical record. |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 1532B8-B-27 | 1533BA | 1534BB | 1535BC | 1536BA physician is responsible for determining the medical status of the patient and must examine the patient immediately before procedures and update the H & P. |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 1538B8-B-33 | 1539BA | 1540BB | 1541BC | 1542BImmediately before surgery, the surgeon must examine the patient to evaluate the risk of anesthesia and of the surgical procedure to be performed. The surgeon may delegate the preoperative heart-lung evaluation to a qualified anesthesia professional within the scope of the provider’s practice and, if applicable, protocol. Note - This standard applies ONLY to office-based surgery facilities in Florida. 64B8-9.009(2)(a) F.A.C. |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 1544B8-B-34 |  | 1545BB | 1546BC | 1547BWhen Level II, IIA, or III procedures are performed, the surgeon is responsible for providing the patient, in writing, prior to the procedure, the name and location of the hospital where the surgeon has privileges to perform the same procedure as that being performed in the out-patient setting, or the name and location of the hospital where the surgeon or the facility has a transfer agreement. Note: This standard applies ONLY to office-based surgery facilities in Florida. 64B8-9.009(2)(p) F.A.C. |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 2539BSub-section C: Informed Consent |  |  |  |  |  |  |  |
| 1549B8-C-1 | 1550BA | 1551BB | 1552BC | 1553BProperly executed informed consent forms are always obtained, from the patient or, if applicable, the patient's representative, which includes: - 152BA description of the proposed surgery, including the anesthesia to be used; - 153BThe indications for the proposed surgery. - 154BRisks and benefits. - 155BTreatment alternatives. - 156BThe surgeon/proceduralist by name to perform surgery. - 157BWhether physicians other than the operating practitioner will be performing important tasks related to the surgery; and - 158BWhether, as permitted by State law, qualified medical practitioners who are not physicians will perform important parts of the surgery or administer the anesthesia, and if so, the types of tasks each type of practitioner will carry out. 1554BFlorida facilities, see Standard 8-C-6 |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 1573B8-C-3 |  | 1574BB | 1575BC | 1576BThe written informed consent provides consent for the administration of anesthesia or sedatives under the direction of the surgeon, anesthesiologist, or CRNA. |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 1578B8-C-4 | 1579BA | 1580BB | 1581BC | 1582BThe patient signs a consent form if research protocols, videography, or photography are to take place. |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 1584B8-C-5 | 1585BA | 1586BB | 1587BC | 1588BThe written informed consent contains that a choice of anesthesia professional exists, i.e., anesthesiologist, anesthesiologist assistant, another appropriately trained physician as provided in the rule, certified registered nurse anesthetist, or physician assistant, when applicable. Note: A written informed consent is not necessary for Minor Level I procedures limited to the skin and mucosa. Note: This standard applies ONLY to office-based surgery facilities in Florida. 64B8-9.009(2)(a), F.A.C 64B8-9.009(2)(b), F.A.C. |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 1590B8-C-6 | 1591BA | 1592BB | 1593BC | 1594BProperly executed informed consent forms are always obtained, from the patient or, if applicable, the patient's representative, which includes: - 159BA description of the proposed surgery, including the anesthesia to be used; - 160BThe indications for the proposed surgery; - 161BRisks and benefits; - 162BTreatment alternatives; - 163BThe surgeon/proceduralist by name to perform surgery; - 164BWhether physicians other than the operating practitioner will be performing important tasks related to the surgery; and - 165BWhether, as permitted by State law, qualified medical practitioners who are not physicians will perform important parts of the surgery or administer the anesthesia, and if so, the types of tasks each type of practitioner will carry out. - 166BThis office is a doctor’s office regulated pursuant to the rules of the Board of Medicine as set forth in rule Division 64B8, F.A.C. 1595BNote: Written informed consent is not necessary for minor Level I procedures limited to the skin and mucosa. Note: This standard applies ONLY to office-based surgery facilities in Florida. 64B8-9.009(2)(a), F.A.C 64B8-9.009(2)(b), F.A.C. |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 2540B Sub-section E: Laboratory, Pathology, X-Ray, Consultation, Treating Physician Reports, Etc. |  |  |  |  |  |  |  |
| 1597B8-E-1 | 1598BA | 1599BB | 1600BC | 1601BReports of laboratory, pathology, X-ray, consultation, treating physician, and any other diagnostic tests are maintained in the clinical record and are accessible for review prior to the procedure. |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 1603B8-E-2 | 1604BA | 1605BB | 1606BC | 1607BAll laboratory results must be reviewed and initialed by the anesthesia professional, registered nurse, or surgeon/proceduralist within one (1) week of receipt of the results. If a registered nurse reviews laboratory results and the results are abnormal, documentation must be present in the clinical record that the anesthesia professional and surgeon/proceduralist are aware of the abnormality. |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 1609B8-E-4 | 1610BA | 1611BB | 1612BC | 1613BAll other reports, such as pathology reports and medical clearance reports, must be documented as reviewed by the surgeon/proceduralist. |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 1615B8-E-6 | 1616BA | 1617BB | 1618BC | 1619BOutside clinical laboratory procedures must be performed by a licensed and accredited facility. |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 1621B8-E-9 | 1622BA | 1623BB | 1624BC | 1625BThe name of the pathologist must be on all pathology reports. |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 1627B8-E-13 | 1628BA | 1629BB | 1630BC | 1631BAll surgical specimens sent out for pathology must be documented in a pathology specimen log, which minimally includes the date, patient's name, number and type of specimen (biopsy, swab, fluid, etc.), and physician's name. |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 2541BSub-section F: Anesthesia Care Plan |  |  |  |  |  |  |  |
| 1633B8-F-12 | 1634BA | 1635B | 1636B | 1637BThe anesthesia care plan is based on allergy history. |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 1639B8-F-13 |  | 1640BB | 1641BC | 1642BAn anesthesia care plan is present that is based on, at a minimum, the following: - 167BThe patient’s medical history; - 168BThe patient’s prior anesthetic experiences; - 169BDrug therapies; - 170BA medical examination of the patient and assessment of any conditions that might affect the patient’s pre-operative risk; - 171BA review of the medical tests and consultations - 172BThe determination of pre-operative medications needed for anesthesia; - 173BProviding pre-operative instructions; and, - 174BAllergy history |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 2542BSub-section G: Intra-Operative Documentation |  |  |  |  |  |  |  |
| 1644B8-G-1 | 1645BA | 1646BB | 1647BC | 1648BA “Time Out” protocol is in place, practiced, and documented in the clinical record prior to every operation. 1649BThis protocol must include: - 175BA pre-operative verification process including clinical records, imaging studies, surgical fire risk, and any implants identified, and be reviewed by the operating room team. Missing information or discrepancies must be addressed in the clinical record at this time. - 176BMarking the operative site: Surgical procedures calling for right/left distinction; multiple structures (breasts, eyes, fingers, toes, etc.) must be marked while the patient is awake and aware, if possible. The person performing the surgery should do the site marking. The site must be marked so that the mark will be visible after the patient has been prepped and draped. A procedure must be in place for patients who refuse site marking. - 177BImmediately before starting the surgical procedure, conduct a final verification by at least two (2) members of the surgical team confirming the correct patient, surgery, site marking(s) and, as applicable, implants and special equipment or requirements. As a “fail-safe” measure, the surgical procedure is not started until any and all questions or concerns are resolved. - 178BProcedures performed in non–operating room settings must include site marking for any procedures involving laterality, or multiple structures. 1650BNote: Applicable to Class A effective 1/26/26 |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 2543BSub-section H: Intra-Operative Anesthetic Monitoring and Documentation |  |  |  |  |  |  |  |
| 1652B8-H-1 |  | 1653BB | 1654BC | 1655BA qualified anesthesia professional shall be present in the OR/procedure room throughout the conduct of all general anesthetics, regional anesthetics, and monitored anesthesia care. |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 1657B8-H-2 |  | 1658BB | 1659BC | 1660BClinical records must contain evidence of circulation monitored by continuous EKG during procedures. Note: This standard does not apply if only topical and/or local anesthetic is used without the use of an oral premedication. |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 1662B8-H-3 |  | 1663BB | 1664BC | 1665BClinical records must contain evidence of circulation monitored by blood pressure documented at least every five (5) minutes. Note: This standard does not apply if only topical and/or local anesthetic is used without the use of an oral premedication. |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 1667B8-H-4 |  | 1668BB | 1669BC | 1670BClinical records must contain evidence of circulation monitored by heart rate documented at least every five (5) minutes. 1671BNote: This standard does not apply if only topical and/or local anesthetic is used without the use of an oral premedication. |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 1673B8-H-5 | 1674BA | 1675BB | 1676BC | 1677BThe clinical record must contain evidence of oxygenation and circulation monitoring by continuous pulse oximetry. When the pulse oximeter is utilized, the variable pitch pulse tone and the low threshold alarm shall be audible to the care team. Note: This standard does not apply if only topical and/or local anesthetic is used without the use of an oral premedication. |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 1690B8-H-9 |  |  | 1691BC | 1692BClinical records must contain evidence of temperature monitoring when clinically significant changes in body temperature are expected. |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 1694B8-H-11 |  | 1695BB | 1696BC | 1697BPatient monitoring during anesthesia consists of end tidal carbon dioxide (ETCO2) sampling used on all moderate sedation, deep sedation or general anesthesia cases. Continual monitoring for the presence of expired carbon dioxide shall be performed unless invalidated by the nature of the patient, procedure, or equipment. |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 1699B8-H-12 |  |  | 1700BC | 1701BWhen an endotracheal tube or laryngeal mask is inserted, its correct positioning must be verified by clinical assessment and by identification of carbon dioxide in the expired gas and documented in the clinical record. Continual end-tidal carbon dioxide (ETCO2) analysis, in use from the time of endotracheal tube/laryngeal mask placement until extubation/removal or initiating transfer to a postoperative care location, shall be performed using a quantitative method such as capnography, capnometry, or mass spectroscopy. When capnography or capnometry is utilized, the end tidal carbon dioxide alarm shall be audible to the Anesthesiologist or the anesthesia professional. |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 1703B8-H-13 |  |  | 1704BC | 1705BIf an anesthesia machine is used during general anesthesia, the anesthesia machine must have an alarm for low O2 concentration. |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 1707B8-H-15 |  | 1708BB | 1709BC | 1710BAn anesthesia record is maintained in which all medications given to a patient are recorded, including date, time, amount, and route of administration. |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 1712B8-H-16 |  | 1713BB | 1714BC | 1715BAn anesthesia record is maintained in which all intravenous fluids given intra-operatively are recorded. |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 2544B Sub-section I: Transfer to Post-Anesthesia Care Unit (PACU) |  |  |  |  |  |  |  |
| 1717B8-I-1 | 1718B | 1719BB | 1720BC | 1721BThe operating room may be used for patient recovery if only one operation is scheduled that same day, or if the recovering patient meets all discharge criteria prior to beginning the next operation, or if there is another operating room available for the next operation. |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 1723B8-I-2 | 1724B | 1725BB | 1726BC | 1727BPatients transferred to the PACU will be continually evaluated and monitored as needed during transport. |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 1729B8-I-3 | 1730B | 1731BB | 1732BC | 1733BPatients transferred to the PACU are accompanied by an anesthesia professional who is knowledgeable about the patient. |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 1735B8-I-4 | 1736B | 1737BB | 1738BC | 1739BPatient transfer to the PACU will include the transmission of a verbal report on the patient to the PACU nurse accepting care of the patient from the anesthesia professional who accompanies the patient to the PACU. The clinical record must include documentation that the verbal report was completed. |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 1741B8-I-5 | 1742B | 1743BB | 1744BC | 1745BPatient transfer to the PACU will include the transfer of information concerning the preoperative condition of the patient, the invasive procedure, related medication, and the anesthesia course. |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 1747B8-I-6 | 1748B | 1749BB | 1750BC | 1751BPatient transfer to the PACU will include an anesthesia professional who remains in the post-anesthesia area until the post-anesthesia care nurse accepts responsibility for the patient. |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 2545B Sub-section J: Post-Anesthesia Care Unit (PACU) Documentation |  |  |  |  |  |  |  |
| 1753B8-J-1 | 1754B | 1755BB | 1756BC | 1757BPACU documentation includes the patient's time of arrival in the PACU, or when recovery time started if the patient is recovered in the OR. |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 1759B8-J-2 | 1760B | 1761BB | 1762BC | 1763BThe patient's post-surgical condition must be assessed and documented in the clinical record by a physician, other qualified practitioner, or a registered nurse with, at a minimum, post- operative care experience in accordance with applicable State health and safety laws, standards of practice, and facility policy. |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 1765B8-J-4 | 1766B | 1767BB | 1768BC | 1769BPACU documentation includes a record of all medications given to a patient, including date, time, dose, and route of administration. |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 1771B8-J-5 | 1772B | 1773BB | 1774BC | 1775BPACU documentation includes a record in which all intravenous fluids given post- operatively are recorded. |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 1777B8-J-6 | 1778B | 1779BB | 1780BC | 1781BPACU documentation includes a record of monitoring and assessment of: - 179BPost-operative vital signs, including temperature, heart rate, respirations, and blood pressure; - 180BMental status; - 181BAirway patency, ventilation, and oxygen saturation; and, - 182BPain, nausea and vomiting, hydration, drainage, and bleeding, as applicable. Patient status is recorded until the patient is discharged from the facility. |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 1783B8-J-9 | 1784B | 1785BB | 1786BC | 1787BPost-operative progress notes are recorded. |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 1789B8-J-10 | 1790BA | 1791BB | 1792BC | 1793BThere is a procedure/operative report completed by the surgeon/proceduralist, which includes procedure technique and findings. |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 2546BSub-section K: Discharge |  |  |  |  |  |  |  |
| 1795B8-K-4 | 1796B | 1797BB | 1798BC | 1799BApproved and standardized discharge criteria are used and recorded (e.g. Aldrete score). |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 1801B8-K-6 |  | 1802BB | 1803BC | 1804BA qualified and credentialed individual determines that the patient meets discharge criteria based upon input from the PACU staff. That individual’s name must be noted on the record, signed by that individual with the time of discharge. |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 1806B8-K-8 | 1807BA | 1808BB | 1809BC | 1810BWritten discharge instructions, including procedures for emergency situations, are given to the responsible adult who is responsible for the patient’s care and transportation following a procedure or the patient has received discharge instructions prior to receiving sedation/anesthesia. A signed copy of the instructions is maintained in the patient’s chart. The standard does not apply if only topical and/or local anesthetic is used without the use of an oral premedication. |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 1812B8-K-10 | 1813B | 1814BB | 1815BC | 1816BPatients receiving anesthetic agents other than topical or local anesthesia must be supervised in the immediate post-discharge period by a responsible adult for at least 12 to 24 hours, depending on the procedure and the anesthesia used. |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 2547BSub-section L: Operative Log |  |  |  |  |  |  |  |
| 1818B8-L-1 | 1819BA | 1820BB | 1821BC | 1822BA separate dated operative log of all cases is maintained, either in a sequentially numbered, bound journal from which pages may not be removed, or in a tamper-proof, secured computer record consistent with state and federal law. This log must be kept in the facility. |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 1824B8-L-3 | 1825BA | 1826BB | 1827BC | 1828BAn operative log must include the date of procedure. 1829BFlorida facilities, see Standard 8-L-10 |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 1831B8-L-4 | 1832BA | 1833BB | 1834BC | 1835BAn operative log must include the patient’s name and date of birth or other identification number. 1836BFlorida facilities, see Standard 8-L-10 |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 1838B8-L-5 | 1839BA | 1840BB | 1841BC | 1842BAn operative log must include record of surgery(ies) and other invasive procedures to be conducted during the case. 1843BFlorida facilities, see Standard 8-L-10 |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 1845B8-L-6 | 1846BA | 1847BB | 1848BC | 1849BAn operative log must include the surgeon/proceduralist’s name. 1850BFlorida facilities, see Standard 8-L-10 |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 1852B8-L-7 | 1853BA | 1854BB | 1855BC | 1856BAn operative log must include a record of the type of anesthesia used. 1857BFlorida facilities, see Standard 8-L-10 |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 1859B8-L-8 | 1860BA | 1861BB | 1862BC | 1863BAn operative log must include the name of person(s) administering anesthesia. 1864BFlorida facilities, see Standard 8-L-10 |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 1866B8-L-9 | 1867BA | 1868BB | 1869BC | 1870BAn operative log must include the name of person(s) assisting physician (e.g. additional physician, registered nurse - circulating or scrubbed, scrub tech, physician’s assistant, dental assistant, anesthesia assistant, or other qualified personnel). 1871BFlorida facilities, see Standard 8-L-10 |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 1873B8-L-10 | 1874BA | 1875BB | 1876BC | 1877BA surgical log of all liposuction procedures where more than 1,000 mL of supernatant fat is removed, and Level II and Level III surgical procedures performed is maintained and includes: - 183BA confidential patient identifier - 184BTime of arrival in the operating suite - 185BDocumentation of completion of the medical clearance as performed by the anesthesiologist or the operating physician - 186BThe surgeon’s name - 187BDiagnosis - 188BCPT Codes - 189BPatient ASA classification - 190BThe type of procedure - 191BThe level of surgery - 192BThe anesthesia provider - 193BThe type of anesthesia used - 194BThe duration of the procedure, and - 195BAny adverse incidents, as identified in Section 458.351, F.S. 1878BIf not documented elsewhere in the patient record, the surgical log must also include the following: - 196BThe type of post-operative care - 197BDuration of recovery - 198BDisposition of the patient upon discharge - 199BA list of medications used during surgery and recovery; and 1879BThe log and all surgical records must be maintained for six (6) years from the last patient contact. 1880BNote: This standard applies ONLY to office-based surgery facilities in Florida. 1881B64B8-9.009(2)(c) F.A.C. |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |

2484BSECTION 9: GOVERNING BODY

| 1883BStandard ID |  | 1884BAnesthesia Class |  |  | 1885BStandard / Regulatory Reference | 1886BFindings / Comments |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 2548BSub-section A: Governing Body |  |  |  |  |  |  |  |  |
| 1887B9-A-5 | 1888BA |  | 1889BB | 1890BC | 1891BThe governing body/facility leadership has defined the scope and intended use of the facility, as well as the appropriate ancillary support needed for the intended surgical procedures. |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 1893B9-A-6 | 1894BA |  | 1895BB | 1896BC | 1897BThe rules and regulations of the governing body are reviewed and revised at least annually. |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 1899B9-A-7 | 1900BA |  | 1901BB | 1902BC | 1903BThe governing body/facility leadership: Is regulated by a governing rules and regulations or bylaws that has the consent of each member or the solo (1) physician. |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 1916B9-A-12 | 1917BA |  | 1918BB | 1919BC | 1920BThe governing body/facility leadership is responsible for the operation and performance of the facility including: Determining the mission and goals of the facility, including the types of services provided and for determining, implementing, and monitoring policies governing the facility's total operation. |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 1922B9-A-14 | 1923BA |  | 1924BB | 1925BC | 1926BThe governing body/facility leadership is responsible for the operation and performance of the facility including: Adopting policies and procedures for the orderly conduct of the facility and for ensuring procedures are provided in a safe and effective manner. |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 1928B9-A-16 | 1929BA |  | 1930BB | 1931BC | 1932BThe governing body/facility leadership is responsible for the operation and performance of the facility including: Approving all arrangements for ancillary medical care delivered in the facility, including laboratory, radiological, pathologic, and anesthesia services. |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 1934B9-A-17 | 1935BA |  | 1936BB | 1937BC | 1938BThe governing body/facility leadership must ensure that all outside services are provided in a safe and effective manner. |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 1939B9-A-18 | 1940BA |  | 1941BB | 1942BC | 1943BThe governing body is responsible for the operation and performance of the facility, including: Complying with the Equal Employment Opportunities Act and with the Americans with Disabilities Act. |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 1945B9-A-22 | 1946BA |  | 1947BB | 1948BC | 1949BThe governing body/facility leadership must document the content of any policies, procedures, or processes implemented in key functional areas of the facility. The governing body/facility leadership must document its approval of the policies, procedures, or processes. |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 2549BSub-section B: Transfer of the Patient |  |  |  |  |  |  |  |  |
| 1951B9-B-3 | 1952BA |  | 1953BB | 1954BC | 1955BThe facility must have an effective procedure for the immediate transfer to a hospital for patients requiring emergency medical care beyond the capabilities of the facility. |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 1956B9-B-5 |  |  | 1957BB | 1958BC | 1959BThe physician, or the facility where the procedure is being performed, must have a transfer agreement with a licensed hospital within reasonable proximity if the physician performing the procedure does not have staff privileges to perform the same procedure as that being performed in the outpatient setting at a licensed hospital within reasonable proximity. The transfer agreement must be current and have been entered into no more than five (5) years prior to the date of the on-site survey. The transfer agreement must affirmatively disclose an effective date. Note - “Reasonable proximity” is defined as not to exceed thirty (30) minutes transport time to the hospital. Note - This standard applies ONLY to office-based surgery facilities in Florida. 64B8-9.009(4)(b)(1), F.A.C. |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 2550BSub-section C: Extended Stays |  |  |  |  |  |  |  |  |
| 1961B9-C-6 |  |  | 1962BB | 1963BC | 1964BIf there is an overnight stay at the office in relation to any surgical procedure: The office must provide at least two (2) staff, one (1) of whom must be certified in Advanced Cardiac Life Support (ACLS), and maintain a staff-to-patient ratio of at least one (1) staff to two (2) patients. Once the surgeon has signed a timed and dated discharge order, the office may provide only one (1) staff to monitor the patient. The monitor must be qualified by licensure and training to administer all of the medications required on the crash cart and must be certified in ACLS. A full and current crash cart meeting the requirements of Section 5: In Case of Emergency, must be present in the office and immediately accessible for the monitors. Note - This standard applies ONLY to office-based surgery facilities in Florida. 64B8-9.009(2)(j)(1), F.A.C. |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |

2485BSECTION 10: QUALITY ASSESSMENT/QUALITY IMPROVEMENT/RISK

| 1966BStandard ID |  | 1967BAnesthesia Class |  |  | 1968BStandard / Regulatory Reference | 1969BFindings / Comments |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 2551BSub-section A: Quality Assessment/Quality Improvement/Risk Management |  |  |  |  |  |  |  |  |
| 1970B10-A-1 | 1971B |  | 1972BB | 1973BC | 1974BA licensed and qualified anesthesia professional supervising or providing care in the facility must participate in quality assessment/quality improvement and risk management in the facility. |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 2552BSub-section B: Quality Improvement Program |  |  |  |  |  |  |  |  |
| 1976B10-B-2 | 1977BA |  | 1978BB | 1979BC | 1980BThe facility has a written quality improvement program implemented which includes surveys or projects to: - 200BMonitor and evaluate patient care - 201BEvaluate methods to improve patient care - 202BIdentify and correct deficiencies within the facility - 203BAlert the facility's Quality Improvement Program to identify, track, trend, evaluate and resolve problems. |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 1982B10-B-6 | 1983BA |  | 1984BB | 1985BC | 1986BThe facility has a written quality improvement program that includes documentation of Peer Review meetings for the prior three (3) years, which must be available for the surveyor. Facilities with a monthly case volume of 50 or fewer cases must conduct peer review meetings no less than twice per year. Facilities with a monthly case volume in excess of 50 cases must conduct peer review meetings no less than quarterly. |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 2553BSub-section D: Peer Review |  |  |  |  |  |  |  |  |
| 1988B10-D-1 | 1989BA |  | 1990BB | 1991BC | 1992BTo be HIPAA compliant, a copy of the HIPAA Business Associates Agreement must be signed by each physician working outside the facility participating in such facility’s Quality Assurance/Quality Improvement process, including but not limited to Peer Review and Patient Safety Data Reporting, and a copy must be retained on file in the facility. |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 1994B10-D-2 | 1995BA |  | 1996BB | 1997BC | 1998BIf peer review sources external to the facility are used to evaluate the delivery of medical care, the HIPAA Business Associates Agreement is so written as to waive the confidentiality of the clinical records. |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 2000B10-D-3 | 2001BA |  | 2002BB | 2003BC | 2004BPeer review may be done by a recognized peer review organization or a surgeon/proceduralist other than the operating surgeon/proceduralist, unless otherwise specified by state regulations. |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 2006B10-D-4 | 2007BA |  | 2008BB | 2009BC | 2010BPeer review and the associated peer review meetings include at a minimum the same random cases and adverse events submitted to the Patient Safety Data Reporting since the preceding peer review meeting. |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 2012B10-D-15 | 2013BA |  | 2014BB | 2015BC | 2016BPeer review is conducted and contains, at a minimum, the following review of each clinical record subject to peer review: - 204BAdequacy and legibility of history and physical exam - 205BAdequacy of the surgical consent - 206BAdequacy of appropriate laboratory, EKG, and radiographic reports - 207BAdequacy of a written operative report - 208BAdequacy of anesthesia and recovery records (with IV sedation or general anesthesia) - 209BAdequacy of instructions for post-operative care - 210BDocumentation of the discussion of any complications |  | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |

2486BSECTION 11: PERSONNEL

| 2018BStandard ID | 2019BAnesthesia Class |  |  |  | 2020BStandard / Regulatory Reference | 2021BFindings / Comments |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 2554BSub-section B: Medical Director & Facility Director |  |  |  |  |  |  |  |
| 2022B11-B-1 |  | 2023BA | 2024BB | 2025BC | 2026BThe Medical Director must have an MD, DO, DPM, DMD, or DDS degree. A DPM may serve as the Medical Director only for facilities ​exclusively practicing podiatry. A DDS or DMD may serve as the Medical Director only for facilities exclusively practicing dentistry or oral maxillofacial surgery. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 2028B11-B-2 |  | 2029BA | 2030BB | 2031BC | 2032BThe Facility Director must have an MD, DO, DPM, DMD, DDS, APRN, CRNA, or RN degree. One person may fill both the Medical Director and Facility Director roles, or the roles can be filled by two separate people. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 2034B11-B-3 |  | 2035BA | 2036BB | 2037BC | 2038BThe Medical Director and Facility Director must be a provider currently licensed by the state in which the facility is located. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 2040B11-B-4 |  | 2041BA | 2042BB | 2043BC | 2044BThe Medical Director must be certified or eligible for certification by one of the following boards: - 211BAmerican Board of Medical Specialties (ABMS) - 212BAmerican Osteopathic Association Bureau of Osteopathic Specialists (AOABOS) - 213BAmerican Board of Foot and Ankle Surgery (ABFAS) - 214BAmerican Board of Podiatric Medicine (ABPM) - 215BAmerican Board of Pediatric Dentistry (ABPD) - 216BAmerican Board of Oral and Maxillofacial Surgery (ABOMS) - 217BAmerican Dental Board of Anesthesiology (ADBA) | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 2046B11-B-7 |  | 2047BA | 2048BB | 2049BC | 2050BThe Facility Director must be actively involved in the direction and management of the facility. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 2052B11-B-8 |  | 2053BA | 2054BB | 2055BC | 2056BThe Facility Director is responsible for establishing and enforcing policies that protect patients. The Facility Director monitors medical and facility staff members for compliance with this policy. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 2555BSub-section C: Surgeons/Proceduralists/Etc. |  |  |  |  |  |  |  |
| 2058B11-C-2 |  | 2059BA | 2060BB | 2061BC | 2062BProcedures must be performed in a safe manner by qualified physicians, advanced practice registered nurses, physician assistants, or other licensed healthcare professionals who have been granted clinical privileges by the governing body in accordance within their scope of practice, state law, and approved policies and procedures of the facility. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 2064B11-C-5 |  | 2065BA | 2066BB | 2067BC | 2068BEach physician, advanced practice registered nurse, and physician assistant, including both directly employed and contract practitioners using the facility, is credentialed and qualified for the scope of practice they perform. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 2070B11-C-6 |  | 2071BA | 2072BB | 2073BC | 2074BThe facility must have written policies and procedures that address the criteria for clinical staff privileges and the process that the facility's leadership body uses when reviewing physician, APRN, PA, and other licensed healthcare professional credentials and determining whether to grant privileges and the scope of the privileges for each practitioner. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 2076B11-C-7 |  | 2077BA | 2078BB | 2079BC | 2080BEach physician, APRN, and PA, including both directly employed and contracted practitioners, must be currently licensed by the state in which they practice. Electronic verification of each physician’s current license or facility verification of licensure must be maintained on file in the facility. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 2082B11-C-9 |  | 2083BA | 2084BB | 2085BC | 2086BAll individuals, including both directly employed and contract employees, using the facility must meet one of the following criteria: - 218BA doctor of medicine currently certified, previously certified, or eligible for certification by one of the member boards of the American Board of Medical Specialties (ABMS). - 219BA doctor of osteopathy currently certified, previously certified, or eligible for certification by the American Osteopathic Association Bureau of Osteopathic Specialists (AOABOS). - 220BA podiatrist currently certified, previously certified, or eligible for certification by the American Board of Foot and Ankle Surgery (ABFAS) or The American Board of Podiatric Medicine (ABPM). - 221BAn oral and maxillofacial surgeon currently certified, previously certified, or eligible for certification by the American Board of Oral and Maxillofacial Surgery (ABOMS). - 222BA certified registered nurse anesthetist (CRNA) currently certified or eligible for certification with the National Board of Certification and Recertification for Nurse Anesthetists (NBCRNA). - 223BA nurse practitioner (NP) currently certified or eligible for certification with the American Academy of Nurse Practitioners Certification Board (AANPCB) or The American Nurses Credentialing Center Certification (ANCC). - 224BA physician assistant (PA) with national certification. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 2088B11-C-10 |  | 2089BA | 2090BB | 2091BC | 2092BAmerican Board of Medical Specialties (ABMS)-certified or eligible medical specialists who perform surgical procedures within the accredited facility may perform only those surgical procedures delineated in their ABMS board certification and/or covered by American Medical Association (AMA) Core Principle #7. American Osteopathic Association (AOA) certified or eligible physicians who perform surgical procedures within the accredited facility may perform only those surgical procedures delineated in their AOA board certification and/or covered by AMA Core Principle #7. Podiatrists certified or eligible for certification who perform surgical procedures with accredited facilities may perform only those surgical procedures delineated in their ABFAS board certification and/or covered by AMA Core Principle #7. The AMA Core Principle #7 (from AMA resolution dated April, 2003): AMA Core Principle #7—Physicians performing office-based surgery must be currently board certified/qualified by one of the boards recognized by the American Board of Medical Specialties, American Osteopathic Association, or a board with equivalent standards approved by the state medical board. The surgery must be one that is generally recognized by that certifying board as falling within the scope of training and practice of the physician providing the care. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 2094B11-C-11 |  | 2095BA | 2096BB | 2097BC | 2098BPhysicians, including both directly employed and contract physicians, who perform procedures, including anesthesia services, in facilities accredited by QUAD A must provide evidence of training and competence in the procedures for which the physician is credentialed and privileged to perform in the facility. Individual consideration will be given if the physician no longer possesses or cannot obtain such privileges, and can demonstrate that loss of, or inability to obtain such privileges was not related to lack of clinical competence, ethical issues, or problems other than economic competition. -OR- If the physician, including both directly employed and contract physicians, has never held privileges, or no longer holds privileges, QUAD A will accept alternate credentialing via primary source verification. Primary source verification must be performed every three (3 ) years. Additionally, these physicians who are being credentialed using primary source verification are not required to maintain hospital admitting privileges. Required elements of initial primary source verification are: - 225BVerification of medical education directly from institution (MD, DO, DMD, DDS, or DPM degree) - 226BVerification of any specialty/subspecialty from sponsoring institution - 227BVerification of all state license(s) with issue date(s), expiration date(s), status (as of current date) and type of license (temporary, limited or unlimited) - 228BVerification of board certification status, if applicable - 229BDrug Enforcement Administration (DEA) registration status - 230BNational Practitioner Databank (NPDB)’s Integrated Querying and Reporting Services (IQRS) results - 231BCurrent malpractice insurance 2099BRequired elements of ongoing primary source verification are: - 232BVerification of all state license(s) with issue date(s), expiration date(s), status (as of current date), and type of license (e.g., temporary, limited or unlimited) - 233BVerification of board certification status, if applicable - 234BDrug Enforcement Administration (DEA) registration status - 235BNational Practitioner Databank (NPDB)'s Integrated Querying and Reporting Services (IQRS) Results - 236BCurrent malpractice insurance | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 2101B11-C-12 |  | 2102BA | 2103BB | 2104BC | 2105BPractitioners of interventional radiology must meet all of the following criteria: - 237BMD or DO - 238BBoard certification or board eligibility by the American Board of Radiology (ABR) - 239BFellowship training as approved by the ABR - 240BCurrent certificate of added qualifications in interventional/vascular radiology | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 2107B11-C-13 |  | 2108BA | 2109BB | 2110BC | 2111BPractitioners of Pain Management must meet all of the following criteria: - 241BHave an M.D. or D.O. degree - 242BAppropriate fellowship training in pain management - 243BPossess ABMS Board certification in one of the following specialties: Anesthesiology, Physical Medicine and Rehabilitation (PM&R), Psychiatry/Neurology - 244BPossess a sub-specialty certification from the American Board of Anesthesiology or the AOABOS - 245BCRNAs, as permitted by state law, who have completed a one year academic pain fellowship accredited by the Council on Accreditation for Nurse Anesthesia Educational Programs and possess a subspecialty (non-surgical) board certification from the National Board for Certification and Recertification of Nurse Anesthetists. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 2113B11-C-21 |  | 2114BA | 2115BB | 2116BC | 2117BThe surgeon must hold current certification in an American Heart Association, American Safety and Health Institute, Pacific Medical Training approved Advanced Cardiac Life Support course with didactic and skills components, or ACLS Certification Institute Advanced Cardiac Life Support course with didactic and skills components. Note - When performing minor procedures such as excision of skin lesions, moles, warts, cysts, lipomas, and repair of lacerations or surgery limited to the skin and subcutaneous tissue performed under topical or local anesthesia, physicians are exempt and only current Basic Life Support certification is recommended but not required. Note - This standard applies ONLY to office-based surgery facilities in Florida. 64B8-9.009(4)(b)(2)(b), F.A.C. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 2556BSub-section D: Anesthesia Providers |  |  |  |  |  |  |  |
| 2119B11-D-2 |  | 2120B | 2121BB | 2122BC | 2123BAll anesthesia providers must be licensed or accredited by the state in which they practice. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 2125B11-D-3 |  | 2126B | 2127B | 2128BC | 2129BAn anesthesia professional must be responsible for the administration of dissociative anesthesia with propofol, spinal or epidural blocks, or general anesthesia as well as the monitoring of all life support systems. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 2131B11-D-5 |  |  | 2132BB | 2133BC | 2134BPodiatrists and Oral Maxillofacial Surgeons working with CRNAs must do so according to state law. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 2136B11-D-6 |  | 2137B | 2138BB | 2139BC | 2140BIf responsible for supervising anesthesia or providing anesthesia, the qualified physician must be present in the operating suite throughout the administration of anesthesia. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 2142B11-D-7 |  |  | 2143BB | 2144BC | 2145BA physician must be present when any anesthetic agent, other than topical or local anesthesia, is administered. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 2147B11-D-8 |  | 2148B | 2149BB | 2150BC | 2151BThe anesthesia professional(s) or the registered nurse providing sedation cannot function in any other capacity (e.g., procedure assistant or circulating nurse) during the procedure, except for oral and maxillofacial surgery where the operator/anesthetist model has been established utilizing a two-person team for Moderate sedation and a three-person team for Deep sedation. All personnel must abide by all state and federal regulations and laws governing the administration of anesthesia. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 2557BSub-section E: Facility Staffing |  |  |  |  |  |  |  |
| 2153B11-E-1 |  |  | 2154BB | 2155BC | 2156BWhen a patient is present in the facility to undergo a procedure under a higher level of anesthesia than meets the QUAD A definition of Class A, there is a licensed registered nurse, physician other than the operating surgeon, or physician’s assistant designated as the person responsible for patient care in all areas of the facility (i.e. operating room, operating suite, and all patient care areas), in accordance with state/local law. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 2158B11-E-2 |  | 2159B | 2160BB | 2161BC | 2162BAll operating suite personnel must meet acceptable standards as defined by their state scope of practice and professional governing bodies, where applicable. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 2558BSub-section G: Post-Anesthesia Care Unit (PACU) Staffing |  |  |  |  |  |  |  |
| 2164B11-G-1 |  | 2165B | 2166BB | 2167BC | 2168BThere is a written policy that whenever parenteral sedation, dissociative drugs, epidural, spinal or general anesthesia is administered, a physician is immediately available until the patient is discharged from the PACU. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 2170B11-G-2 |  | 2171B | 2172BB | 2173BC | 2174BAll recovering patients must be observed and supervised by trained medical personnel in the PACU. A physician, CRNA, PA, or RN currently licensed and certified in advanced cardiac life support (ACLS) or pediatric advanced life support (PALS), as appropriate, is immediately available until the patient has met PACU discharge criteria for discharge from the facility. Local mandates and stricter standards may apply. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 2176B11-G-5 |  | 2177B | 2178BB | 2179BC | 2180BA minimum of one ACLS, and when appropriate PALS as well, certified staff member must be present in the facility until all patients recovering from anesthesia have met the facility's discharge criteria for discharge from the facility. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 2559BSub-section H: Personnel Records |  |  |  |  |  |  |  |
| 2182B11-H-2 |  | 2183BA | 2184BB | 2185BC | 2186BThe facility maintains a manual outlining personnel policies that is reviewed annually and updated as needed. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 2188B11-H-3 |  | 2189BA | 2190BB | 2191BC | 2192BThe manual contains personnel policies and records which are maintained according to the Occupational Safety and Health Administration (OSHA), Health Insurance Portability & Accountability Act (HIPAA), and Americans with Disabilities Act (ADA) guidelines. 2193BIMPORTANT: Employee information must remain strictly confidential. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 2195B11-H-4 |  | 2196BA | 2197BB | 2198BC | 2199BThe facility maintains a personnel file for all clinical and administrative employees, including direct and contract employees. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 2201B11-H-5 |  | 2202BA | 2203BB | 2204BC | 2205BEach personnel record contains any health problems of the individual which may be hazardous to the employee, other employees or patients, and a plan of action or special precautions delineated as needed. To be reviewed and updated annually. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 2207B11-H-6 |  | 2208BA | 2209BB | 2210BC | 2211BEach personnel record contains resume of training and experience. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 2213B11-H-7 |  | 2214BA | 2215BB | 2216BC | 2217BEach personnel record contains current certification or license if required by the state. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 2219B11-H-8 |  | 2220BA | 2221BB | 2222BC | 2223BEach personnel record contains date of employment. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 2225B11-H-9 |  | 2226BA | 2227BB | 2228BC | 2229BEach personnel record contains description of duties. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 2231B11-H-10 |  | 2232BA | 2233BB | 2234BC | 2235BEach personnel record contains on-going records of inoculations or refusals in accordance with local, state/provincial or federal/national requirements. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 2237B11-H-11 |  | 2238BA | 2239BB | 2240BC | 2241BEach personnel record contains a record of hepatitis B immunization being offered to clinical personnel with bodily fluid exposure risk. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 2560BSub-section I: Personnel Training |  |  |  |  |  |  |  |
| 2243B11-I-1 |  | 2244BA | 2245BB | 2246BC | 2247BEach personnel record has evidence of annual hazard safety training. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 2249B11-I-2 |  | 2250BA | 2251BB | 2252BC | 2253BEach personnel record has evidence of annual blood borne pathogen training. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 2255B11-I-3 |  | 2256BA | 2257BB | 2258BC | 2259BEach personnel record has evidence of annual standard precaution training. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 2261B11-I-4 |  | 2262BA | 2263BB | 2264BC | 2265BEach personnel record has evidence of other annual safety training including operative fire safety training and structure fire safety, including operation of a fire extinguisher. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 2267B11-I-5 |  | 2268BA | 2269BB | 2270BC | 2271BEach personnel record has evidence of at least Basic Cardiopulmonary Life Support (BLS) certification, but preferably Advanced Cardiac Life Support (ACLS) and/or Pediatric Advanced Life Support (PALS) for each operating room and PACU team member, depending on the patient population served. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 2273B11-I-6 |  | 2274BA | 2275BB | 2276BC | 2277BClinical personnel must have the knowledge to provide treatment for cardiopulmonary and anaphylactic emergencies. At least one member of the operating room team, preferably the physician, pediatric dentist, or anesthesia professional, holds current PALS certification and/or ACLS certification, if appropriate. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 2279B11-I-8 |  |  | 2280BB | 2281BC | 2282BAnesthesia professionals, both directly employed and contract anesthesia professionals, must be trained and knowledgeable with the facility’s emergency protocol for cardio-pulmonary emergencies, safe and timely transfer of a patient to an alternative care facility when extended emergency care is needed, and other internal and external disasters. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |
| 2284B11-I-10 |  | 2285BA | 2286BB | 2287BC | 2288BThe operating room personnel are familiar with the equipment and procedures utilized in treating emergencies, as discussed in standards section 5-C: Emergency Protocols. | ☐ Compliant ☐ Deficient ☐ Not Applicable ☐ Corrected Onsite | Click or tap here to enter text. |

2487BGENERAL GLOSSARY FOR ALL PROGRAMS

2296BAdequate: Satisfactory or acceptable in quality or quantity, encompassing size, space, maintenance, cleanliness, freedom from clutter, lighting, equipment, and supplies, etc.; it is meant to satisfy a requirement.

2297BAdvanced Cardiac Life Support (ACLS): A course that trains and certifies participants in a set of clinical guidelines for the urgent and emergent treatment of life-threatening cardiovascular conditions in adults that will cause or have caused cardiac arrest using advanced medical procedures, medications, and techniques through didactic and hands-on skills return demonstration sessions. It builds on the foundation of lifesaving basic life support (BLS) skills. It reflects science and education from the American Heart Association Guidelines Update for CPR and Emergency Cardiovascular Care (ECC). The course is approved by the American Heart Association (AHA) or an identical content course that conforms to the current AHA Guidelines.

2298B*** Advanced practice registered nurses (APRNs): Licensed registered nurses educated at a master’s or doctoral level and in a specific role and patient population. APRNs are prepared with specialized education and certification to assess, diagnose, and manage medical issues. They can also order tests and prescribe medications. APRNs include:

- 246BCertified registered nurse anesthetist (CRNA).

- 247BCertified nurse practitioner (CNP).

- 248BClinical nurse specialist (CNS).

- 249BCertified nurse midwife (CNM).

2299BAdverse event: An incident in health care that causes unintended harm to patients or providers and is often preventable. Common adverse events include but are not limited to, medication errors, surgical mistakes, infections acquired in healthcare settings, falls, pressure ulcers, and communication failures. All adverse events that occur within 30 (thirty) days of the procedure must be reported to QUAD A contemporaneously when the facility learns of the event.

2300BAir Exchanges Per Hour (ACH): The number of times that the total air volume in a room or space is completely removed and replaced in an hour.

2425B*** Ambulatory surgical center (ASC): Ambulatory surgical center or ASC means any distinct entity that operates exclusively for the purpose of providing surgical services to patients not requiring hospitalization and in which the expected duration of services would not exceed 24 hours following an admission. The entity must have an agreement with CMS to participate in Medicare as an ASC and must meet the conditions set forth in subparts B and C of 416.2. [42 CFR 416.2]

2426BAmbulatory Services: for the period before January 1, 2008, facility services that are furnished in an ASC, and beginning January 1, 2008, means the combined facility services and covered ancillary services that are furnished in an ASC in connection with covered surgical procedures. [42 CFR 416.2]

2301BAnesthesia professional: A physician anesthesiologist, Certified Registered Nurse anesthetist (CRNA), Certified Anesthesiologist Assistant (CAA), and an appropriately credentialed Oral and Maxillofacial Surgeon.

2302B** Antisepsis: The application of an antimicrobial chemical to the skin or mucous membrane to reduce the microbial population.

2303B** Antiseptic:  An agent used for antisepsis (to kill microorganisms or substantially inhibit their growth).

2304B** Autoclave:  A common term applied to the performance of steam sterilization under pressure, where bacteria are killed (including spores).

2466B*** Appropriate/appropriately means especially suitable or compatible; or fitting.

2467BExamples:

- 2468BAdministrative and patient care areas must have lighting to see all tasks fully.

- 2469BLaryngoscopes are cleaned according to the manufacturer's recommendations, though sterilization is preferred.

- 2470BOxygen delivery should be tailored to the appropriate delivery method based on patient need and type/location of the procedure.

2305BAuxiliary Staff: Unlicensed staff who are not state-certified/licensed to independently evaluate patient physical status and cannot legally provide emergency duties beyond Basic Life Support for Healthcare Providers. Auxiliary staff includes dental assistants, registered/certified dental assistants, dental anesthesia/sedation assistants, medical assistants, surgical technicians, and other non-independently Licensed Providers.

2306BBasic Life Support (BLS):  A course that trains and certifies participants to promptly recognize several life-threatening emergencies, give high-quality chest compressions, deliver appropriate ventilations, and provide early use of an automatic external defibrillator (AED) through both didactic and hands-on skills return demonstration sessions. It reflects science and education from the American Heart Association Guidelines Update for CPR and Emergency Cardiovascular Care (ECC) and is approved by the American Heart Association (AHA) or an identical content course that conforms to the current AHA Guidelines.

2307B** Biological Indicator (BI): A sterilization process monitoring device commercially prepared with a known population of highly resistant spores that tests the effectiveness of the sterilization method being used. The indicator is used to demonstrate that the conditions necessary to achieve sterilization were met during the sterilizer cycle being monitored.

2308BBusiness Associate Agreement (BAA): A contract between the facility and an external business or individual that performs certain functions or activities on behalf of, or provides a service to, the facility when the function, activity, or service involves the creation, receipt, maintenance, or transmission of Protected Health Information (PHI) by the business or individual. The agreement establishes the permissible uses and disclosures of PHI by the business associate, how the business associate will support patients’ Privacy Rule rights, and the responsibilities of both parties to maintain the privacy and security of PHI. The Health Insurance Portability and Accountability Act (HIPAA) Rules generally require that covered entities and business associates enter into contracts with their business associates to ensure that the business associates will appropriately safeguard protected health information.

2309B*** Certified Anesthesiologist Assistant (CAA): A master's degree level non-physician anesthesia care provider that:

- 250BIs certified by the National Commission for Certification of Anesthesiologist Assistants (NCAA) Note: not a CMS requirement

- 251BWorks under the direction of an anesthesiologist.

- 252BIs in compliance with all applicable requirements of State law, including any licensure requirements the State imposes on nonphysician anesthetists; and

- 253BIs a graduate of a medical school-based anesthesiologist's assistant educational program that—

  - 254BIs accredited by the Committee on Allied Health Education and Accreditation; and

  - 255BIncludes approximately two (2) years of specialized basic science and clinical education in anesthesia at a level that builds on a premedical undergraduate science background.

2310B*** Certified Registered Nurse Anesthetist (CRNA): An advanced practice registered nurse (APRN) who administers anesthesia and other medications. Physician Supervision (either the operating practitioner or of an anesthesiologist who is immediately available if needed) is required if required by state or federal law.

2311B1)  Is licensed as a registered professional nurse by the State in which the nurse practices.

2312B2)  Meets any licensure requirements the State imposes with respect to nonphysician anesthetists.

2313B3)  Has graduated from a nurse anesthesia educational program that meets the standards of the Council on Accreditation of Nurse Anesthesia Programs, or such other accreditation organization as may be designated by the Secretary; and

2314B4)  Meets the following criteria:

2315B(I) Has passed a certification examination of the Council on Certification of Nurse Anesthetists, the Council on Recertification of Nurse Anesthetists, or any other certification organization that may be designated by the Secretary; or

2316B(ii) Is a graduate of a program described in paragraph (3) of this definition and within 24 months after that graduation meets the requirements of paragraph (4)(I) of this definition.

2317B5)  For certified registered nurse anesthetist services, the certified registered nurse anesthetist may review and verify (sign and date), rather than re-document, notes in a patient's medical record made by physicians; residents; nurses; medical, physician assistant, and advanced practice registered nurse students; or other members of the medical team, including, as applicable, notes documenting the certified registered nurse anesthetist's presence and participation in the service.

2318B** Chemical Indicator (CI): A sterilization monitoring device used to monitor the attainment of one (1) or more critical parameters required for sterilization. A characteristic color or other visual change indicates a defined level of exposure based on the classification of the chemical indicator used.

2427B***Clinic: A facility (Rural Health Clinic (RHC)) that is established primarily to furnish outpatient physician services and that meets the following tests of physician involvement:

- 2428BThe medical services are furnished by a group of three or more physicians practicing medicine together.

- 2429BA physician is present during all hours of operation of the clinic to furnish medical services, as distinguished from purely administrative services. [485.703 Condition]

2430B***Clinic Administrator: The individual responsible for the internal operation of the RHC in accordance with written policies. A qualified Clinic Administrator is designated by the facility's governing body. [§485.705(c)(1) and §485.709(b)]

2431B*** Clinical Personnel: The entire clinical team providing services in the facility, including, but not limited to, all physicians/surgeons/proceduralists, anesthesia providers, nurses, scrub techs, physician assistants, physical/occupational/speech therapists and assistants, social workers, clinical psychologists, marriage and family therapists, mental health counselors, medical assistants, etc. Employment status (owner, employee, contractor, contracted, indirect employee, prn staff, etc.) is not a factor in defining who is included as Clinical Personnel.

2432B** Contact Time: "Wet time," also known as "contact time" or “dwell time,” is the amount of time a disinfectant or antiseptic solution must remain wet and in direct contact with a target microorganism or on a surface to be effective. This time can range from 15 seconds to 10 minutes, which is the maximum time allowed by the US Environmental Protection Agency (EPA). The contact time is established by the product manufacturer.

2319B** Contamination: The presence of potentially infectious pathogenic microorganisms on animate or inanimate objects or surfaces.

2433BContemporaneously: Originating, existing, or happening during the same period of time.

2434BContinual: Repeated regularly and frequently in steady, rapid succession.

2435BContinuous: Prolonged without interruption at any time.

2436BContract & Indirect Employees: These employees are not on the company’s payroll and are not restricted by employment laws that apply to direct employees. Work details are defined in a contract agreed upon by the company and a contractor or third-party agency.

2437B*** Covered ancillary services: Items and services that are integral to a covered surgical procedure performed in an ASC as provided in §416.164(b), for which payment may be made under §416.171 in addition to the payment for the facility services. [42 CFR 416.2]

2438B*** Covered surgical procedures: Surgical procedures furnished before January 1, 2008, that meet the criteria specified in §416.65 and those surgical procedures furnished on or after January 1, 2008, that meet the criteria specified in §416.166. [42 CFR 416.2]

256B* Deep Sedation/Analgesia: A drug-induced depression of consciousness during which patients cannot be easily aroused but respond purposefully following repeated or painful stimulation. The ability to independently maintain ventilatory function may be impaired. Patients may require assistance in maintaining a patent airway, and spontaneous ventilation may be inadequate. Cardiovascular function is usually maintained.

2439BDecontamination: Any physical or chemical process that reduces the number of microorganisms on any inanimate object to render that object safe for subsequent handling.

2320BDental Anesthesiologist: A licensed DDS or DMD with specialized, hospital-based training in areas including pharmacology, internal medicine, emergency medicine, and pediatric and adult anesthesiology.

2321BDental Assistant: A dental team member who supports a dental operator in providing more efficient dental treatment. A dental assistant must graduate from an accredited dental assisting training program and earn certification or licensure as State law requires.

2322BDirect Employee: A full- or part-time employee hired by a facility and paid directly through the facility’s payroll. They are considered permanent employees because the intention is to work with them long-term rather than temporarily or as needed.

2323B***Direct Services means services provided by the clinic’s staff. [42 CFR 491.2]

2324B** Disinfectant: A chemical agent used to kill viruses and bacteria on surfaces.  It must be an EPA-registered disinfectant with bactericidal, tuberculocidal, and virucidal properties with specific claims and instructions for HIV and HBV.

2325B** EPA-Registered: An EPA registration number signifies that a disinfectant and its claims have been reviewed and approved by the United States Environmental Protection Agency.

2326BEquipment: The term "equipment" refers to the requirement that the specific item named must meet current performance standards according to the manufacturer’s guidelines.

2327B***Extension Location: A location or site from which a rehabilitation agency provides services within a portion of the total geographic area served by the primary site. The extension location is part of the rehabilitation agency. The extension location should be located sufficiently close to share administration, supervision, and services in a manner that renders it unnecessary for the extension location to independently meet the conditions of participation as a rehabilitation agency. [485.703 Condition]

2328BFacility Director: An individual that manages all aspects of a facility's operations. Their duties include budget management, facility planning, and building system maintenance.

2440BFacility Leadership and Governing Body: These terms are interchangeable and refer to the person or group of people with full authority and responsibility for directing, overseeing, and controlling the facility’s operations. Medicare uses the term “governing body,” while non-Medicare facilities use the term “facility leadership.” For both, the facility must define in policy the person or group of people that constitute the governing body or facility leadership.

2441BFacility Safety Manual: A compilation of safety procedures and guidelines to follow in emergencies or unsafe situations.

2442B*** Facility services: For the period before January 1, 2008, services that are furnished in connection with covered surgical procedures performed in an ASC, and beginning January 1, 2008, means services that are furnished in connection with covered surgical procedures performed in an ASC as provided in §416.164(a) for which payment is included in the ASC payment established under §416.171 for the covered surgical procedure. [42 CFR 416.2]

2443BFrequent: Occurring or done on many occasions or in quick succession; happening often.

2444BGeneral Anesthesia: A drug-induced loss of consciousness during which patients are not arousable, even by painful stimulation. The ability to independently maintain ventilatory function is often impaired. Patients often require assistance in maintaining a patent airway, and positive pressure ventilation may be required because of depressed spontaneous ventilation or drug-induced depression of neuromuscular function. Cardiovascular function may be impaired.

2445BGoverning Body and Facility Leadership: These terms are interchangeable and refer to the person or group of people with full authority and responsibility for directing, overseeing, and controlling the facility's operations. Medicare uses the term “governing body,” while non-Medicare facilities use the term “facility leadership.” For both, the facility must define in policy the person or group of people that constitute the governing body or facility leadership.

2329B** Healthcare-Associated Infection (HAI): An infection acquired by patients while they are receiving medical care, with confirmation of diagnosis by clinical or laboratory evidence. Infective agents may originate from endogenous or exogenous sources. HAIs, which are also known as nosocomial infections, may not become apparent until the patient has been discharged from the healthcare setting.

2330B** Immediate Use Steam Sterilization (IUSS): An abbreviated process of steam sterilization of patient care instruments (or devices) for immediate use.

2331BImmediately Available: Accessible (clinician and equipment) without any delay or waiting period. Examples include the physical presence of the health care professional in the facility to assess, evaluate, and provide care to a patient; a supervising physician is physically accessible and able to attend to the patient, without any delay, to address any situation requiring a supervising physician’s services; and, 1) dedicated to the facility when on duty, 2) unencumbered by conflicting duties or responsibilities, 3) responding without delay when notified.

2332B**Infection: The invasion and multiplication of microorganisms in body tissues that cause cellular injury and clinical symptoms.

2333BInstrument: Any tool, device, or apparatus used in medicine for the purpose of diagnosing, preventing, treating, or alleviating illness or injury. It encompasses a wide range of items, from simple tools like stethoscopes to complex machines like MRI scanners. Medical instruments can be used to examine the body, record physiological processes, administer treatments, or perform surgical procedures.

2334BIntraoperatively: The intraoperative phase extends from the time the patient is admitted to the operating room to the time of anesthesia administration, the performance of the surgical procedure, and until the client is transported to the recovery room or post-anesthesia care unit (PACU).

2335B** Instructions for Use (IFUs): Specific, detailed instructions provided by the manufacturer. IFUs for medical devices detail the steps required for cleaning, disinfection, and sterilization that are compatible with that device. Products approved for use in cleaning, disinfection, and sterilization will have specific IFUs to follow (e.g., dilution ratio and contact time) to ensure the product's efficacy.

2336BLegally Qualified: Being in compliance or accordance with specific requirements or conditions. Is qualified under the applicable local, State or Federal law to hold the position for which he or she holds and has met the qualifications of the position.

2337BLog: A written record of performance, events, or day-to-day activities. It is similar to a register, which is a written record containing regular entries of items or details.

2338BExamples:

- 2339BOn any day that controlled substances are administered, the controlled substance inventory and control record (log/register) must be updated as appropriate to reflect controlled substances administered, received, wasted, and currently stored by two licensed healthcare professionals.  (6-D-2)

- 2340BA written record (log/register) of all operative cases is maintained by the facility.  (8-L-1)

2446BMajor Blood Vessels: A group of critical arteries and veins including the aorta, coronary arteries, pulmonary arteries, superior and inferior vena cava, pulmonary veins, and any intra-cerebral artery or vein.

2447B** Mechanical (Physical) Indicator: Monitors (embedded into the sterilization equipment) that register, record, and report parameters for each cycle (time in use, the temperature achieved, and the pressure attained in the chamber).  The information attained through the gauges and/or printouts provides evidence the sterilization system has met the set parameters (or has not, and there is a need for corrective action).

2448BMedical Director: The clinician responsible for overall oversight of the facility.

2341B*** Medical Staff: The organized body of licensed physicians and other healthcare providers who are permitted by law and through credentialing and privileges granted by the facility leadership to provide medical care within the facility The medical staff includes physicians, surgeons, specialists, CRNAs, NPs, PAs, and allied health professionals, as identified in facility policy.

2449B* Minimal Sedation: A drug-induced state during which patients respond normally to verbal commands. Although cognitive function and physical coordination may be impaired, airway reflexes, and ventilatory and cardiovascular functions are unaffected.

2450B* Moderate Sedation/Analgesia (“Conscious Sedation” or “Procedural Sedation):  A drug-induced depression of consciousness during which patients respond purposefully to verbal commands, either alone or accompanied by light tactile stimulation. No interventions are required to maintain a patent airway, and spontaneous ventilation is adequate. Cardiovascular function is usually maintained.

2451B* Monitored Anesthesia Care (“MAC”) does not describe the continuum of depth of sedation; rather, it describes “a specific anesthesia service performed by a qualified anesthesia provider, for a diagnostic or therapeutic procedure.” Indications for monitored anesthesia care include "the need for deeper levels of analgesia and sedation than can be provided by moderate sedation (including potential conversion to a general or regional anesthetic).

2342BNational Fire Protection Association (NFPA) Business Occupancies, 2021 https://www.nfpa.org/news-blogs-and-articles/blogs/2021/05/07/occupancy-classifications-and-model-codes

- 257BBusiness Occupancy is an occupancy used for the transaction of business other than mercantile (engaged in commerce) This includes clinics.

- 258BAmbulatory Health Care Occupancies are occupancies used to provide services or treatment simultaneously to four or more patients that provide, on an outpatient basis, one or more of the following:

  - 259BTreatment for patients that renders the patient's incapable of taking action for self-preservation under emergency conditions without the assistance of others

  - 260BAnesthesia that renders patients incapable of taking action for self-preservation under emergency conditions without the assistance of others

  - 261BEmergency or urgent care for patients who, due to the nature of their injury or illness, are incapable of taking action for self-preservation under emergency conditions without the assistance of others

2343BExamples include Day Surgery, Dentists' Offices, oral surgery with sedation, and Endoscopy Centers.

2344B*** Nurse Practitioner (NP): A person who is currently licensed to practice in the State and meets the applicable State requirements governing the qualifications of nurse practitioners. And meets at least one (1) of the following conditions:

- 2345BIs certified as a practitioner by a recognized national certifying body that has established standards for nurse practitioners and possesses a master’s or doctoral degree in nursing practice or

- 2346BHas satisfactorily completed a formal one (1) academic year educational program that:

- 2347BPrepares registered nurses to perform an expanded role.

- 2348BThat includes at least four (4) months (in the aggregate) of classroom instruction and a component of supervised clinical practice.

- 2349BAwards a degree, diploma, or certificate to persons who successfully complete the program.

- 262BHas successfully completed a formal educational program (for preparing registered nurses to perform an expanded role) that does not meet the requirements identified above in paragraph 2, and the Nurse Practitioner has been performing an expanded role in the delivery of care for a total of 12 months during the 18-month period immediately preceding the effective date of the subpart.

2350BNurses Note: Documentation that provides a record of nursing care provided to a patient, family, or community.

2351BOffice Surgery: Refers to invasive procedures performed under anesthesia or sedation in an outpatient provider’s office or other non-hospital setting.

2352BOral Maxillofacial Surgeon (OMF): A medical doctor who is specifically trained in maxillofacial surgery. Because of the focus on the oral area, typically, maxillofacial surgeons attend dental school for four years after receiving their bachelor’s degree.

2353BPatient Safety Data Reporting (PSDR): A form of quality control performed by QUAD A accredited facilities within the outpatient setting. Those participating in the data reporting process create a system-wide culture of clinical quality and demonstrate the positive results of accreditation. PSDR reporting is required for QUAD A facilities participating in Office-Based Surgical, Office-Based Procedural, Oral Maxillofacial Surgery, Pediatric Dentistry, International Surgical, or Medicare ASC programs. Reporting PSDR data is required quarterly, including physician case review. Results of the physician case reviews are discussed during Peer Review meetings.

2354BPediatric Advanced Life Support (PALS): A course that trains and certifies participants in a set of clinical guidelines for the urgent and emergent treatment of life-threatening cardiovascular conditions in children that will cause or have caused cardiac arrest using advanced medical procedures, medications, and techniques through didactic and hands-on skills return demonstration sessions. It builds on the foundation of lifesaving basic life support (BLS) skills. It reflects science and education from the American Heart Association Guidelines Update for CPR and Emergency Cardiovascular Care (ECC). The course is approved by the American Heart Association (AHA) or an identical content course that conforms to the current AHA Guidelines.

2355BPediatric Dentist: A licensed dentist in the state where the dentist practices and who has satisfactorily completed:

- 2356BFour (4) years of dental school.

- 2357BTwo (2) additional years of residency training in dentistry for infants, children, teens, and children with special needs.

- 263BA minimum of 24 months in an advanced education program accredited by the Commission on Dental Accreditation of the American Dental Association. Such programs “must be designed to provide special knowledge and skills beyond the Doctor of Dental Surgery (DDS) or Doctor of Medicine in Dentistry (DMD) training.

- 264BA curriculum of an advanced program provides the dentist with the necessary didactic background and clinical experiences to provide comprehensive primary oral health care and the services of a specialist.

2358BPediatric Patients: In Florida, pediatric patients are defined as those who are 13 years of age or under. For all other QUAD A facilities, pediatric patients are defined by facility policy and procedure, which must consider age, BMI or weight, special needs, risk categories, surgery, facility equipment, and capability, unless otherwise defined by the state.

2359B** Peel Pouch: A sterilization pouch (or peel pack) is a disposable package validated for use in a sterilizer to allow penetration of the sterilant to the items placed inside.  After sterilization, peel pouches maintain the sterility of the processed item(s) during storage and until needed for use.  Pouches are designated as Class II medical devices and may be self-sealing or heat-sealing. “Double pouching” should only be performed if validated for the specific type of pouch and when the manufacturer’s instructions for use provide the method of packaging and the sterilization parameters.

2360BPeer: An individual(s) of the same professional discipline and specialty who possesses sufficient training and experience to render judgment on the clinical circumstances under review.

2361BPeer Review: The task of physicians holding one another to the ethical standards of their profession and maintaining the administration of patient safety and quality of care consistent with optimal standards of practice. The American Medical Association (AMA) publishes information regarding the peer review process and describes the composition of the Peer Review Committee as follows:

2362BPeer review is conducted in good faith by physicians who are within the same geographic area or jurisdiction and medical specialty of the physician subject to review to ensure that all physicians consistently maintain optimal standards of competency to practice medicine. Physicians outside of the organization that are convening peer review may participate in that organization's peer review of a physician if the reviewing physician is within the same geographic area or jurisdiction and medical specialty as the physician who is the subject of peer review.

2363BWhat is Peer Review? https://www.amwa-doc.org/what-is-peer-review/

2364BPercutaneous endovascular intervention: A procedure performed without an open direct visualization of the target vessel requires only needle puncture of an artery or vein, followed by insertion of catheters, wires, or similar devices, which are then advanced through the blood vessels using imaging guidance. Once the catheter reaches the intended location various maneuvers to address the diseased area may be performed which include, but are not limited to, injection of contrast for imaging, treatment of vessels with angioplasty, atherectomy, covered or uncovered stenting, intentionally occluding vessels or organs (embolization), and delivering medications, radiation, or other energy such as laser, radiofrequency, or cryo.

2365BPersonnel: Everyone employed (including volunteers) at a facility, including both direct and indirect (contract) employees who provide care, treatment, or services to patients. The terms “personnel” and “staff” are synonymous.

2366B** Personal Protective Equipment (PPE): Protective equipment (e.g., masks, gloves, goggles, face shields, and gowns) for eyes, face, head, and extremities; protective clothing; respiratory devices; and protective shields and barriers designed to protect the wearer from injury and minimize exposure to hazards.

2367B*** Physician: Providers who medically diagnose patients, prescribe and manage medication, and supervise other medical staff. A licensed Doctor of Medicine (MD) or Doctor of Osteopathy  (DO) legally authorized to practice medicine or surgery in the State in which the function is performed; and a Doctor of Dental Surgery (DDS) or Doctor of Dental Medicine (DMD) who is legally authorized to practice dentistry by the State in which he/she performs such function and who is acting within the scope of his/her license and a Doctor of Podiatric Medicine

2368BPhysician Anesthesiologist: A medical doctor who has attained either a Doctor of Medicine (MD) or Doctor of Osteopathic Medicine (DO) degree and has chosen to specialize in the field of anesthesiology and specializes in anesthesia care, pain management, and critical care medicine, and have the necessary knowledge to understand and treat the entire human body.

2369B*** Physician Assistant (PA): An individual who meets the applicable State requirements governing the qualifications for assistants to primary care physicians. And meets one of the following conditions:

2370B1) The physician assistant is currently certified by the National Commission on Certification of Physician Assistants to assist physicians.

2371B2) The physician assistant has satisfactorily completed a program for preparing physician's assistants that:

- 2372BWas at least one (1) academic year in length.

- 2373BConsisted of supervised clinical practice and at least four (4) months (in the aggregate) of classroom instruction directed toward preparing students to deliver health care; and

- 2374BWas accredited by the American Medical Association's Committee on Allied Health Education and Accreditation.

2375B3) The physician assistant has satisfactorily completed a formal educational program (for preparing physician assistants) that does not meet the requirements of paragraph (2) of this definition and assisted physicians for a total of 12 months during the 18-month period that ended on December 31, 1986.

- 265BIs licensed as a PA by the State in which the PA practices.

2376BPolyclinic: An outpatient clinic that is a free-standing medical facility, designed to receive and undergo patients to necessary medical examinations and treatments, encompassing a minimum of two (2) different specialties which may include diagnostics, dental and Traditional Complimentary Alternative Medicine (TCAM) services, to patients that do not stay overnight.

2377BProceduralist: A licensed physician, usually a specialist or subspecialist, trained and qualified to perform diagnostic or therapeutic procedures. A licensed trained CRNA, NP and PA may also conduct selected procedures based on state law and scope of practice.

2378BProcedural accreditation: This is intended for office-based facilities performing procedures in medical specialties including gastroenterology, urology/nephrology, gynecology, interventional radiology/vascular access, pain management, and dermatology. Procedures are performed by specialists including Gastroenterologists, Urologists/Nephrologists, Gynecologists, Pain Management Specialists, Dermatologists, or Interventional Radiologists/Vein Specialists, and may include minimally invasive procedures and approved minor surgical procedures (e.g. minor urological surgical procedures including circumcisions, vasectomies; minor dermatological procedures including mole/growth removal, minimally invasive gynecological surgeries as entered through the vagina, etc.).

2379BProfessional Appearance: relates to both the appearance of people and the appearance of the facility.

2380BA healthcare provider’s personal appearance must project professionalism and competence to engender trust in patients. A provider also conveys professionalism in how they communicate, how they express courtesy, body language, and what they wear. E.g., as professional healthcare providers, facility staff should appear clean and well dressed. The facility should appear clean, neat, and furnished for patients, staff, and visitor comfort.

2381BExamples:

- 266BAs professional healthcare providers, facility staff should appear clean and well dressed. When interacting with patients and patient families, the facility staff should be friendly, knowledgeable, and culturally sensitive.

- 267BThe facility should appear clean, neat, and furnished for patients, staff, and visitor comfort

2382BProgress note: An essential tool used in healthcare to document patient information, medical history, treatment plans, and progress throughout a patient’s care. Progress notes are also a crucial communication tool among healthcare professionals, ensuring continuity of care and facilitating collaboration.

2383BPromptly: Without delay; immediately

2384BPublic health agency: an official agency established by a State or local government, the primary function of which is to maintain the health of the population served by performing environmental health services, preventive medical services, and in certain cases, therapeutic services. [485.703 Condition]

2385BQualified: An individual who is qualified by education, training, licensure/regulation (when applicable, also includes registration and certification), and facility privileging (when applicable) who performs a professional service within his/her scope of practice and independently reports that professional service.

2386BRandom Sample: An unbiased representation of a group.

2387BExample:

- 268BFor PSDR reporting, QUAD A recommends entering the first case as performed each month to obtain a random sample of cases entered into the quarterly reporting system. If no cases are performed in a given month, any other case can be selected at random from the period

2388BRehabilitation agency - An agency that:

- 2389BProvides an integrated interdisciplinary rehabilitation program designed to upgrade the physical functioning of handicapped disabled individuals by bringing specialized rehabilitation staff together to perform as a team; and

- 2390BProvides at least physical therapy or speech-language pathology services.

2391B[485.703 Condition]

2392BRoutine: A habit or sequence that does not vary; things that must be done on a regular basis.

2393B*** Rural area mean an area that is not delineated as an urbanized area by the Bureau of the Census. [42 CFR 491.2]

1B*** Rural health clinic: a clinic located in a rural area designated as a shortage area, is not a rehabilitation agency or a facility primarily for the care and treatment of mental diseases and meets all other requirements of this subpart. [42 CFR 491.2]

2394B*** Secretary: The Secretary of Health and Human Services, or any official to whom he/she has delegated the pertinent authority.

2B*** Shortage area: a defined geographic area designated by the Department as having either a shortage of personal health services (under section 1302(7) of the Public Health Service Act) or a shortage of primary medical care manpower (under section 332 of that Act). [42 CFR 491.2]

3BSignificant: Having or likely to have influence or effect; or of a noticeable or measurably large amount.

4BExamples:

- 5BAs determined by both the surgeon/proceduralist and anesthesia provider, the patient and procedural risk must be assessed pre-operatively. If this risk level is above a facility's defined threshold, then the patient should be referred to an alternative, safer facility for the operation.

- 6BCurrent safe levels of ethylene oxide or glutaraldehyde exposure must be identified. Badge testing to maintain exposure under the threshold must be performed and monitored.

2395BStaff: Anyone employed (part-time, full-time) at a facility, including both direct and indirect (contract) employees that provide care, treatment, or services to patients. The terms “personnel” and “staff” are synonymous.

2396B** Sterile: The state of being free from all living microorganisms. In practice, it is usually described as a probability function (e.g., as the probability of a microorganism surviving sterilization being 1 in 1,000,000).

2397B** Sterilization: A validated process that removes or destroys all viable microorganisms, including bacterial spores, to an acceptable sterility assurance level, usually 1 in 1,000,000. In a sterilization process, the presence of microorganisms on any individual item can be expressed in terms of probability (which, even though is a very low number, may never be zero).

2398BSufficient/sufficiently means enough to meet the needs of a situation or a proposed end. E.g., A hallway would be sufficiently wide if healthcare providers can wheel a patient in a gurney and all necessary medical equipment with the gurney in case of emergency.

2399BExample:

- 269BA hallway would be sufficiently wide if healthcare providers can wheel a patient in a gurney and all necessary medical equipment with the gurney in case of emergency. (3-F-4)

2400BSupernatant fat: The fat that rises to the top and separates from other fluids or tissues during processes such as liposuction. In the context of cosmetic surgery, it is important to manage the amount of supernatant fat removed to ensure patient safety and compliance with medical regulations.

2401BSurgeon: A licensed physician trained and qualified to perform surgical procedures.

2418B*** Surgery is performed for the purpose of structurally altering the human body by the incision or destruction of tissues and is part of the practice of medicine. Surgery is also the diagnostic or therapeutic treatment of conditions or disease processes by any instruments causing localized alteration or transposition of live human tissue, which include lasers, ultrasound, ionizing radiation, scalpels, probes, and needles. The tissue can be cut, burned, vaporized, frozen, sutured, probed, or manipulated by closed reductions for major dislocations or fractures, or otherwise altered by mechanical, thermal, light-based, electromagnetic, or chemical means. Injection of diagnostic or therapeutic substances into body cavities, internal organs, joints, sensory organs, and the central nervous system is also considered to be surgery. (This does not include the administration by nursing personnel of some injections, subcutaneous, intramuscular, and intravenous when ordered by a physician.) Surgical procedures are invasive, including those that are performed with lasers, and the risks of any surgical procedure are not eliminated by using a light knife or laser in place of a metal knife, or scalpel.

  - 270BMajor surgery is an invasive operative procedure where one (1) or more of the following occurs:

  - 271BA body cavity is entered.

  - 272BA mesenchymal barrier is crossed.

  - 273BA fascial plane is opened

  - 274BAn organ is removed

  - 275BNormal anatomy is operatively altered

- 276BMinor Surgery is an invasive operative procedure in which only skin, mucous membranes, or superficial connective tissue is manipulated.

2402B*** Supervision

- 277BDirect Supervision: The supervising physician must be immediately available if needed, meaning physically present in the facility, and prepared to immediately conduct hands-on intervention if needed. However, the physician does not need to be in the room throughout the performance of the service.

- 278BGeneral supervision: The service is furnished under the physician’s overall direction and control, but the physician’s presence is not required during the performance of the procedure. Under general supervision, the training of the non-physician personnel who actually perform the diagnostic procedure and maintain the necessary equipment and supplies is the physician’s continuing responsibility.

- 279BPersonal supervision: A physician must be present in the room during the procedure.

2403B** Surgical Site Infection (SSI): An infection at the site of a surgical incision.  The SSI may be superficial, deep, or extend to organs.  Patients should be monitored for SSIs for thirty (30) days after surgery or procedures or three-hundred and sixty-five (365) days after implant placement.

2404BTrack and Trend: Track, as in keep track of, is to follow specific record(s) or specific types of information over a defined period. To trend means to follow the general movement over time of a statistically detectable change. Tracking and trending are commonly used together which means a trail of data is followed to identify changes in outcomes over time.

2405BExamples:

- 280BEach facility's written QI program must follow identified records or types of information over a lengthy period of time to identify changes. Based on those changes, or lack thereof, the facility must evaluate and resolve problems, then adjust the identified records or types of information as appropriate.

- 281BEach facility's risk management program must perform an annual risk assessment. This assessment should cover risks as related to patients and staff by medication management, fall hazards, infection control, equipment safety, patient risk resulting from long term conditions, and nutrition if any food or beverage services are available to patients. The trends of these risks across the years should be noted.

- 282BAdverse events are to be noted and discussed during periodic peer review meetings.

- 283BAll adverse events should be looked at cumulatively.

2488BREFERENCES BY STANDARD

| Standard ID | Reference |
| --- | --- |
| 1-A-1 | American Academy of Pediatric Dentists (AAPD), Guideline on Use of Nitrous Oxide for Pediatric Dental Patients, 2009 www.aapd.org/assets/1/7/G_Nitrous.pdf American Association of Nurse Anesthesiology (AANA) Clinical Resources for Practicing CRNAs/Nurse Anesthesiologists https://www.aana.com/practice/clinical-practice/clinical-practice-resources/ AANA Professional Practice Manual https://www.aana.com/practice/professional-practice-manual/ AANA Scope of Nurse Anesthesia https://issuu.com/aanapublishing/docs/scope_of_nurse_anesthesia_practice_2.23?fr=sNDg2MDU2NDAxMjU American Society for Regional Anesthesia & Pain Medicine, Checklist for Treatment of Local Anesthetic Systemic Toxicity (LAST), 2020 https://www.asra.com/news-publications/asra-updates/blog-landing/guidelines/2020/11/01/checklist-for-treatment-of-local-anesthetic-systemic-toxicity ASA Practice Guidelines for Moderate Procedural Sedation and Analgesia, 2018 https://pubs.asahq.org/anesthesiology/article/128/3/437/18818/Practice-Guidelines-for-Moderate-Procedural ASA Statement on Safe Use of Propofol 2019 https://www.asahq.org/standards-and-practice-parameters/statement-on-safe-use-of-propofol ASA Statement on Granting Privileges for Administration of Moderate Sedation to Practitioners Who are Not Anesthesia Professionals, 2021 https://www.asahq.org/standards-and-practice-parameters/statement-on-granting-privileges-for-administration-of-moderate-sedation-to-practitioners-who-are-not-anesthesia-professionals Can a Dental Assistant Use Nitrous Oxide? https://www.northwestcareercollege.edu/blog/can-a-dental-assistant-use-nitrous-oxide/ Checklist for Treatment of Local Anesthetic Systemic Toxicity (LAST) https://www.asra.com/news-publications/asra-updates/blog-landing/guidelines/2020/11/01/checklist-for-treatment-of-local-anesthetic-systemic-toxicity Duke Anesthesiology, LAST A practical update for clinicians https://www.youtube.com/watch?v=6dnfkEsySKU Healthline, Conscious Sedation, 2018 https://www.healthline.com/health/conscious-sedation Institute for Safe Medication Practices (ISMP) Guidelines for Safe Preparation of Compounded Sterile Preparations, 2016 https://www.ismp.org/sites/default/files/attachments/2017-11/Guidelines%20for%20Safe%20Preparation%20of%20Compounded%20Sterile%20Preperations_%20revised%202016.pdf National Library of Congress, Anesthesia for Office-Based Facial Plastic Surgery Procedures, 2023 https://www.ncbi.nlm.nih.gov/pmc/articles/PMC10541158/ National Library of Medicine, Local Anesthesia Systemic Toxicity, 2022 https://www.ncbi.nlm.nih.gov/books/NBK499964/ National Library of Medicine, Procedural Sedation 2022 https://www.ncbi.nlm.nih.gov/books/NBK551685/ Nitrous Oxide, 2023, https://www.ada.org/resources/ada-library/oral-health-topics/nitrous-oxide Ophthalmology, MKO Melt Is Effective for Cataract Surgery Conscious Sedation, 2018 https://ophthalmology360.com/cataract-surgery/mko-melt-effective-cataract-surgery-conscious-sedation/ Practice Guidelines for Moderate Procedural Sedation & Analgesia 2018: A Report by the American Society of Anesthesiologists Task Force on Moderate Procedural Sedation and Analgesia, the American Association of Oral and Maxillofacial Surgeons, American College of Radiology, American Dental Association, American Society of Dentist Anesthesiologists, and Society of Interventional Radiology https://pubs.asahq.org/anesthesiology/article/128/3/437/18818/Practice-Guidelines-for-Moderate-Procedural Tumescent Formulations, Liposuction Textbook, Chapter 23, 2024 https://liposuction101.com/liposuction-textbook/chapter-23-tumescent-formulations/ Tumescent Technique for Local Anesthesia Improves Safety in Large-Volume Liposuction https://tumescent.org/tumescent-technique-anesthesia-and-modified-liposuction-technique/ US Pharmacopeia, 797 Pharmaceutical Compounding-sterile preparations. http://ftp.uspbpep.com/v29240/usp29nf24s0_c797_viewall.html |
| 1-C-4 | American Academy of Pediatrics, Age Limit of Pediatrics, reaffirmed 2023 https://publications.aap.org/pediatrics/article/140/3/e20172151/38333/Age-Limit-of-Pediatrics?autologincheck=redirected American Dental Association, Guidelines for Teaching Pediatric Pain Control and Management, 2021 https://www.ada.org/-/media/project/ada-organization/ada/ada-org/files/resources/library/oral-health-topics/ada_guidelines_teaching_pediatric_sedation.pdf?rev=86a7c539ce9d4025bc2b291223f35328&hash=2DF304CA67B8592C2290DE91E816726A Part 4: Pediatric Basic and Advanced Life Support: 2020 American Heart Association Guidelines for Cardiopulmonary Resuscitation and Emergency Cardiovascular Care https://www.ahajournals.org/doi/10.1161/CIR.0000000000000901 |
| 1-F-2 | Patient Safety Data Reporting Exemption Form https://6276684.fs1.hubspotusercontent-na1.net/hubfs/6276684/PSDR%20Exemption%20Form-2.pdf |
| 1-F-3 | National Quality Forum (NQF), Serious Reportable Events https://cms.qualityforum.org/Topics/SREs/Serious_Reportable_Events.aspx NQF List of Serious Reportable Events, https://cms.qualityforum.org/Topics/SREs/List_of_SREs.aspx |
| 2-A-1 | Facilities Guidelines Institute – Resource https://www.fgiguidelines.org/ |
| 2-B-3 | APIC Environmental Services https://apic.org/Resources/Topic-specific-infection-prevention/Environmental-services/ CDC Environmental Cleaning Procedures Best Practices for Environmental Cleaning in Global Healthcare Facilities with Limited Resources, 2024 https://www.cdc.gov/healthcare-associated-infections/hcp/cleaning-global/procedures.html CDC Environmental Cleaning Program Improvement Toolkit: A Practical Guide for Implementing the Best Practices for Environmental Cleaning in Healthcare Facilities in Resource-Limited Settings https://www.cdc.gov/healthcare-associated-infections/media/pdfs/environmental-cleaning-toolkit-guide-508.pdf |
| 2-B-4 | APIC Environmental Services https://apic.org/Resources/Topic-specific-infection-prevention/Environmental-services/ CDC Environmental Cleaning Procedures Best Practices for Environmental Cleaning in Global Healthcare Facilities with Limited Resources, 2024 https://www.cdc.gov/healthcare-associated-infections/hcp/cleaning-global/procedures.html FGI Guidelines, Application Guidance, 2024 https://fgiguidelines.org/wp-content/uploads/2022/06/FGI_determining_appropriate_room_type_2022-06-24.pdf |
| 2-B-6 | APIC Environmental Services https://apic.org/Resources/Topic-specific-infection-prevention/Environmental-services/ CDC Environmental Cleaning Procedures Best Practices for Environmental Cleaning in Global Healthcare Facilities with Limited Resources, 2024 https://www.cdc.gov/healthcare-associated-infections/hcp/cleaning-global/procedures.html CDC Environmental Cleaning Program Improvement Toolkit: A Practical Guide for Implementing the Best Practices for Environmental Cleaning in Healthcare Facilities in Resource-Limited Settings https://www.cdc.gov/healthcare-associated-infections/media/pdfs/environmental-cleaning-toolkit-guide-508.pdf |
| 2-B-7 | FGI Electrical Receptacles in Patient Care Areas: Determining Quantities, Location, and Code Compliance for Operationalizing Patient Care https://fgiguidelines.org/wp-content/uploads/2023/02/FGI-Electrical-Receptacles-in-Patient-Care-Areas-2023-02-10-Corrected-6APR2023.pdf |
| 2-C-2 | 2018 GFI Guidelines https://www.fgiguidelines.org/wp-content/uploads/2017/11/E94_HCD2017_A_New_Class_Act.pdf |
| 2-D-1 | Common Rust Issues in Healthcare Facilities and How to Deal with Them, 2024 https://thedailynotes.com/rust-issues-healthcare-facilities-deal RUST: The Silent Threat to Infection Control, 2022 https://blog.cmecorp.com/rust-the-silent-threat-to-infection-control |
| 2-E-1 | Healthcare Facilities Today, Q&A: Corrugated cardboard boxes https://www.healthcarefacilitiestoday.com/posts/QA-Corrugated-cardboard-boxes--13520 |
| 2-E-2 | 2012 edition, NFPA 101 LSC https://www.nfpa.org/codes-and-standards/nfpa-101-standard-development/101 The 18-inch Supply Storage Guideline in Sterile Processing https://www.evolvedsterileprocessing.com/post/one-misunderstood-supply-storage-guideline-the-18-inch-ceiling-limit |
| 3-A-1 | OSHA Publication 3165, Job Safety and Health: It's the Law Workplace Poster - https://www.osha.gov/publications/poster Centers for Disease Control and Prevention (CDC) https://www.Cdc.gov National Fire Protection Association (NFPA) https://www.nfpa.org/for-professionals/codes-and-standards/list-of-codes-and-standards/free-access |
| 3-B-1 | Outpatient Surgery Cultivate a Culture of Safety, 2024 https://digital.outpatientsurgery.net/view/571733896/4/ Outpatient Surgery The Essential Elements of a Staff Safety Program, 2024 https://digital.outpatientsurgery.net/view/571733896/14/ |
| 3-B-2 | OSHA Compliance Quick Start https://www.osha.gov/complianceassistance/quickstarts/health-care OSHA A to Z https://www.osha.gov/a-z#I OSHA Healthcare https://www.osha.gov/healthcare OSHA Quick Reference Guide to the Bloodborne Pathogens Standard https://www.osha.gov/bloodborne-pathogens/quick-reference CDC Tuberculosis https://www.cdc.gov/tb/index.html |
| 3-C-1 | International Code Council (ICC) 2018, Compressed Gases https://codes.iccsafe.org/content/IFC2018/chapter-53-compressed-gases ICC, 2018, Flammable and Combustible Liquids https://codes.iccsafe.org/content/IFC2018/chapter-57-flammable-and-combustible-liquids NFPA 30 Flammable and Combustible Liquids Code, 2021 https://standards.globalspec.com/std/14328537/nfpa-30 OSHA Compliance Quick Start https://www.osha.gov/complianceassistance/quickstarts/health-care OSHA A to Z https://www.osha.gov/a-z#I OSHA Healthcare https://www.osha.gov/healthcare |
| 3-D-1 | CDC Regulated Medical Waste, 2003 https://www.cdc.gov/infection-control/hcp/environmental-control/regulated-medical-waste.html#cdc_generic_section_3-3-management-of-regulated-medical-waste-in-health-care-facilities EPA Medical Waste, 2024 https://www.epa.gov/rcra/medical-waste OSHA Hazardous Waste https://www.osha.gov/hazardous-waste |
| 3-D-4 | FDA Sharps Disposal Containers https://www.fda.gov/medical-devices/safely-using-sharps-needles-and-syringes-home-work-and-travel/sharps-disposal-containers Department of Transportation (DOT) Regulations https://www.hercenter.org/regsandstandards/dot.php NIOSH - Selecting, Evaluating, and Using Sharps Disposal Containers https://stacks.cdc.gov/view/cdc/6386 USDA - Safely Using Sharps https://www.fda.gov/medical-devices/safely-using-sharps-needles-and-syringes-home-work-and-travel/sharps-disposal-containers Sharps Contain Regulations: Your Guide, 2024 https://www.danielshealth.com/knowledge-center/sharps-container-regulations-your-guide WHO Injection Safety https://www.who.int/teams/integrated-health-services/infection-prevention-control/injection-safety WHO Minimum requirements for infection prevention and control programmes https://www.who.int/publications/i/item/9789241516945 |
| 3-H-2 | eCFR Part 493-Laboratory Requirements https://www.ecfr.gov/current/title-42/chapter-IV/subchapter-G/part-493 CMS How to Apply for a CLIA Certificate, Including International Laboratories https://www.cms.gov/medicare/quality/clinical-laboratory-improvement-amendments/apply |
| 3-H-3 | Medical X-ray Imaging ¦ FDA https://www.fda.gov/radiation-emitting-products/medical-imaging/medical-x-ray-imaging#risks OSHA Ionizing Radiation https://www.osha.gov/ionizing-radiation/control-prevention Radiation Dose http://www.radiologyinfo.org/en/safety/index.cfm?pg=sfty_xray Health Physics Society Public Information Committee http://hps.org/publicinformation/ Journal of the American Dental Association Optimizing Radiation Safety in Dentistry, 2024 https://jada.ada.org/article/S0002-8177(23)00734-1/fulltext?_gl=1*1t7n6dl*_gcl_au*MzQ1MDk4MjI3LjE3MTc3MjUwMzU.*_ga*NjQ5NzI1NDczLjE3MTc3MjUwMzU.*_ga_X8X57NRJ4D*MTcxNzgwOTE5Mi43LjEuMTcxNzgwOTQwNi4wLjAuMA..#secsectitle0145) |
| 4-A-1 | The National Fire Protection Agency (NFPA) 99, 2012 https://up.codes/viewer/centers-for-medicare-and-medicaid-services/nfpa-99-2012/chapter/5/gas-and-vacuum-systems#5 World Class Healthcare Compliance, Medical Gas Systems: The Definitive Guideline https://f.hubspotusercontent20.net/hubfs/479873/bonus%20content/medical-gas-systems-guide.pdf?__hstc=1717358.4f83df3156ea0e81eee9d942814fad43.1726598873503.1726598873503.1726598873503.1&__hssc=1717358.1.1726598873503&__hsfp=2901579814&hsCtaTracking=4a8af79e-62cb-4897-ae24-627d87fe0fcc%7C030bdec8-b6d4-44c4-b056-b9088173751a |
| 4-B-6 | American Nurse, Enhancing patient outcomes with sequential compression device therapy, 2013 https://www.myamericannurse.com/enhancing-patient-outcomes-with-sequential-compression-device-therapy/ |
| 4-B-8 | Association of Anaesthetists Peri-operative warming devices: performance and clinical application, 2014 https://associationofanaesthetists-publications.onlinelibrary.wiley.com/doi/full/10.1111/anae.12626 Article ¦ Outpatient Surgery Magazine (aorn.org) Patient Warming’s Preventative Benefits, 2021 https://www.aorn.org/outpatient-surgery/article/2021-May-patient-warming-benefits Safety and efficacy of resistive polymer versus forced air warming in total joint surgery ¦ Patient Safety in Surgery ¦ Full Text (biomedcentral.com) https://pssjournal.biomedcentral.com/articles/10.1186/s13037-017-0126-0 AORN Outpatient Surgery, Implementing Safe and Effective Patient Warming, 2022 https://www.aorn.org/outpatient-surgery/article/2022-June-patient-warming |
| 4-C-1 | AANA Documenting Anesthesia Care, 2016 https://issuu.com/aanapublishing/docs/4_-_documenting_anesthesia_care?fr=sNDZlYTU2NDAxMjU Standards for Basic Anesthetic Monitoring (asahq.org), 2020 https://www.asahq.org/standards-and-practice-parameters/standards-for-basic-anesthetic-monitoring |
| 4-C-2 | AANA Documenting Anesthesia Care, 2016 https://issuu.com/aanapublishing/docs/4_-_documenting_anesthesia_care?fr=sNDZlYTU2NDAxMjU Standards for Basic Anesthetic Monitoring (asahq.org), 2020 https://www.asahq.org/standards-and-practice-parameters/standards-for-basic-anesthetic-monitoring |
| 4-C-3 | AANA Documenting Anesthesia Care, 2016 https://issuu.com/aanapublishing/docs/4_-_documenting_anesthesia_care?fr=sNDZlYTU2NDAxMjU Standards for Basic Anesthetic Monitoring (asahq.org), 2020 https://www.asahq.org/standards-and-practice-parameters/standards-for-basic-anesthetic-monitoring |
| 4-C-4 | AANA Documenting Anesthesia Care, 2016 https://issuu.com/aanapublishing/docs/4_-_documenting_anesthesia_care?fr=sNDZlYTU2NDAxMjU Standards for Basic Anesthetic Monitoring (asahq.org), 2020 https://www.asahq.org/standards-and-practice-parameters/standards-for-basic-anesthetic-monitoring |
| 4-C-5 | AANA Documenting Anesthesia Care, 2016 https://issuu.com/aanapublishing/docs/4_-_documenting_anesthesia_care?fr=sNDZlYTU2NDAxMjU Standards for Basic Anesthetic Monitoring (asahq.org), 2020 https://www.asahq.org/standards-and-practice-parameters/standards-for-basic-anesthetic-monitoring CDC Guideline for Disinfection and Sterilization in Healthcare Facilities, 2008 https://www.cdc.gov/infection-control/media/pdfs/guideline-disinfection-h.pdf |
| 4-C-6 | AANA Documenting Anesthesia Care, 2016 https://issuu.com/aanapublishing/docs/4_-_documenting_anesthesia_care?fr=sNDZlYTU2NDAxMjU Standards for Basic Anesthetic Monitoring (asahq.org), 2020 https://www.asahq.org/standards-and-practice-parameters/standards-for-basic-anesthetic-monitoring |
| 4-C-7 | AANA Documenting Anesthesia Care, 2016 https://issuu.com/aanapublishing/docs/4_-_documenting_anesthesia_care?fr=sNDZlYTU2NDAxMjU Standards for Basic Anesthetic Monitoring (asahq.org), 2020 https://www.asahq.org/standards-and-practice-parameters/standards-for-basic-anesthetic-monitoring |
| 4-C-9 | Consensus Recommendations for the Safe Conduct of Nonoperating Room Anesthesia: A Meeting Report From the 2022 Stoelting Conference of the Anesthesia Patient Safety Foundation - Anesthesia Patient Safety Foundation (apsf.org) https://pubmed.ncbi.nlm.nih.gov/32809751/ AANA Documenting Anesthesia Care, 2016 https://issuu.com/aanapublishing/docs/4_-_documenting_anesthesia_care?fr=sNDZlYTU2NDAxMjU Standards for Basic Anesthetic Monitoring (asahq.org), 2020 https://www.asahq.org/standards-and-practice-parameters/standards-for-basic-anesthetic-monitoring Positive Pressure Ventilation https://pubmed.ncbi.nlm.nih.gov/32809751/ AANA Documenting Anesthesia Care, 2016 https://issuu.com/aanapublishing/docs/4_-_documenting_anesthesia_care?fr=sNDZlYTU2NDAxMjU Standards for Basic Anesthetic Monitoring (asahq.org), 2020 https://www.asahq.org/standards-and-practice-parameters/standards-for-basic-anesthetic-monitoring |
| 4-C-10 | AANA Documenting Anesthesia Care, 2016 https://issuu.com/aanapublishing/docs/4_-_documenting_anesthesia_care?fr=sNDZlYTU2NDAxMjU Standards for Basic Anesthetic Monitoring (asahq.org), 2020 https://www.asahq.org/standards-and-practice-parameters/standards-for-basic-anesthetic-monitoring Understanding noninvasive ventilation, 2021 https://www.myamericannurse.com/understanding-noninvasive-ventilation/ |
| 4-C-11 | AANA Documenting Anesthesia Care, 2016 https://issuu.com/aanapublishing/docs/4_-_documenting_anesthesia_care?fr=sNDZlYTU2NDAxMjU Standards for Basic Anesthetic Monitoring (asahq.org), 2020 https://www.asahq.org/standards-and-practice-parameters/standards-for-basic-anesthetic-monitoring |
| 4-C-12 | AANA Documenting Anesthesia Care, 2016 https://issuu.com/aanapublishing/docs/4_-_documenting_anesthesia_care?fr=sNDZlYTU2NDAxMjU Standards for Basic Anesthetic Monitoring (asahq.org), 2020 https://www.asahq.org/standards-and-practice-parameters/standards-for-basic-anesthetic-monitoring Understanding noninvasive ventilation, 2021 https://www.myamericannurse.com/understanding-noninvasive-ventilation/ Indian Journal of Aneaesthesia, Anaaesthesia Gas Supply: Gas Cylinders, 2013 https://www.ncbi.nlm.nih.gov/pmc/articles/PMC3821267/ |
| 4-C-13 | AANA Documenting Anesthesia Care, 2016 https://issuu.com/aanapublishing/docs/4_-_documenting_anesthesia_care?fr=sNDZlYTU2NDAxMjU Standards for Basic Anesthetic Monitoring (asahq.org), 2020 https://www.asahq.org/standards-and-practice-parameters/standards-for-basic-anesthetic-monitoring International Standards Organization (ISO) ISO5358”1992(en) Anaesthetic machines for use with humans, 1992 https://www.iso.org/obp/ui/#iso:std:iso:5358:ed-2:v1:en ISO5358”1992(en) Continuous flow inhalational anaesthetic apparatus (anaesthetic machine) for use with humans, 1992 https://cdn.standards.iteh.ai/samples/11384/8da97623dbe74f6ab594cc26391c7c76/ISO-5358-1980.pdf |
| 4-C-14 | AANA Documenting Anesthesia Care, 2016 https://issuu.com/aanapublishing/docs/4_-_documenting_anesthesia_care?fr=sNDZlYTU2NDAxMjU American Nurse, Understanding end-tidal CO2 monitoring, 2012 https://www.myamericannurse.com/understanding-end-tidal-co2-monitoring/ Standards for Basic Anesthetic Monitoring (asahq.org), 2020 https://www.asahq.org/standards-and-practice-parameters/standards-for-basic-anesthetic-monitoring ASA Statement on Continuum of Depth of Sedation: Definition of General Anesthesia and Levels of Sedation/Analgesia https://www.asahq.org/standards-and-practice-parameters/statement-on-continuum-of-depth-of-sedation-definition-of-general-anesthesia-and-levels-of-sedation-analgesia |
| 4-C-15 | Standards for Basic Anesthetic Monitoring (asahq.org), 2020 https://www.asahq.org/standards-and-practice-parameters/standards-for-basic-anesthetic-monitoring International Standards Organization (ISO) ISO5358”1992(en) Anaesthetic machines for use with humans, 1992 https://www.iso.org/obp/ui/#iso:std:iso:5358:ed-2:v1:en ISO5358”1992(en) Continuous flow inhalational anaesthetic apparatus (anaesthetic machine) for use with humans, 1992 https://cdn.standards.iteh.ai/samples/11384/8da97623dbe74f6ab594cc26391c7c76/ISO-5358-1980.pdf |
| 4-C-16 | National Library of Medicine, Pin Index Safety, 2022 https://www.ncbi.nlm.nih.gov/books/NBK532908/#article-27225.s1 Anaesthesia Gas Supply: Gas Cylinders - PMC, 2013 https://www.ncbi.nlm.nih.gov/pmc/articles/PMC3821267/ |
| 4-C-17 | OSHA Anesthetic Gases: Guidelines for Workplace Exposures, 2000 https://www.osha.gov/waste-anesthetic-gases/workplace-exposures-guidelines |
| 4-E-7 | NFPA 99, 2012 Chapter 5 Gas and Vacuum Systems https://up.codes/viewer/centers-for-medicare-and-medicaid-services/nfpa-99-2012/chapter/5/gas-and-vacuum-systems#5 World Class Healthcare Compliance, Medical Gas Systems: The Definitive Guideline https://f.hubspotusercontent20.net/hubfs/479873/bonus%20content/medical-gas-systems-guide.pdf?__hstc=1717358.4f83df3156ea0e81eee9d942814fad43.1726598873503.1726598873503.1726598873503.1&__hssc=1717358.1.1726598873503&__hsfp=2901579814&hsCtaTracking=4a8af79e-62cb-4897-ae24-627d87fe0fcc%7C030bdec8-b6d4-44c4-b056-b9088173751a |
| 5-A-3 | A Study on Performance and Safety Tests of Defibrillator Equipment - PMC (nih.gov) Automated External Defibrillators (AEDs) ¦ FDA FDA-Approved AED Devices https://www.fda.gov/medical-devices/cardiovascular-devices/automated-external-defibrillators-aeds#approved |
| 5-B-2 | The No-Nonsense Guide to NFPA 110 Compliance for Emergency Power Systems https://ckpower.com/wp-content/uploads/2018/04/NFPA-110-Final.pdf CMS S&C 07-21 Generators in Ambulatory Surgical Centers (ASC) www.cms.gov/Medicare/Provider-Enrollment-and-Certification/SurveyCertificationGenInfo/Downloads/SCLetter07-21.pdf |
| 6-A-1 | AORN Guidelines in Practice: Medication Safety https://aornjournal.onlinelibrary.wiley.com/doi/epdf/10.1002/aorn.14034 USP 797 Key Changes https://www.ashp.org/-/media/assets/pharmacy-practice/resource-centers/compounding/docs/USP-797-Key-Changes.pdf ASA Statement on Security of Medications in the Operating Room, 2023 https://www.asahq.org/standards-and-practice-parameters/statement-on-security-of-medications-in-the-operating-room AANA Safe Injection Guidelines for Needle and Syringe Use, 2022 https://issuu.com/aanapublishing/docs/8_-_safe_injection_guidelines_for_needle_and_syrin?fr=sNzEyZTU2NDAxMjU American Society of Ophthalmic Registered Nurses (ASORN) Use of Multi-dose Medications https://asorn.org/professional-resources/policies-and-recommendations/asorn-recommended-practice-use-of-multi-dose-medications/ Using Multidose Eyedrops in a Health Care Setting, 2014 https://jamanetwork.com/journals/jamaophthalmology/article-abstract/1901216 USP General Chapter Labeling: Expiration Date FAQs December 2023 https://go.usp.org/USP_GC_7_FAQs?_gl=1*9t81ki*_gcl_au*MTE5NjEzMzM3OS4xNzA3NDE4MTA0*_ga*MTY4NDc2MjkyOS4xNzA3NDE4MTA1*_ga_DTGQ04CR27*MTcwNzQxODEwNC4xLjAuMTcwNzQxODEwNC4wLjAuMA |
| 6-A-2 | CDC Single-Dose or Multi-Dose https://www.cdc.gov/injection-safety/media/pdfs/Injection-Safety-For-Healthcare-P.pdf CDC Safe Injection Practices https://www.cdc.gov/injection-safety/hcp/clinical-guidance/index.html American Society of Ophthalmic Registered Nurses (ASORN) Use of Multi-dose Medications https://asorn.org/professional-resources/policies-and-recommendations/asorn-recommended-practice-use-of-multi-dose-medications/ Using Multidose Eyedrops in a Health Care Setting, 2014 https://jamanetwork.com/journals/jamaophthalmology/article-abstract/1901216 CDC Preventing Unsafe Infection Practices https://www.cdc.gov/injection-safety/hcp/clinical-safety/index.html#:~:text=Key%20points%20for%20multi%2Ddose%20vials%20*%20An,never%20exceed%20the%20manufacturer's%20original%20expiration%20date. |
| 6-A-5 | EPA Information for Hospitals, Pharmacies and Other Businesses that Have Medicines to Dispose https://www.epa.gov/household-medication-disposal/information-hospitals-pharmacies-and-other-businesses-have-medicines Search List of Extended Use Dates to Assist with Drug Shortages ¦ FDA https://www.fda.gov/drugs/drug-shortages/search-list-extended-use-dates-assist-drug-shortages |
| 6-A-6 | ISMP Launches New Perioperative Medication Safety Guidelines https://home.ecri.org/blogs/ismp-news/ismp-launches-new-perioperative-medication-safety-guidelines ISMP Facility Endorsements https://www.ismp.org/sites/default/files/attachments/2021-08/PerioperativeAssessment-Endorsers-20210817.pdf (Please note that QUAD A is an endorsing organization!) ASA Statement on Security of Medications in the Operating Room, 2023 https://www.asahq.org/standards-and-practice-parameters/statement-on-security-of-medications-in-the-operating-room AANA USP General Chapter 797, 2023 https://www.aana.com/practice/clinical-practice/clinical-practice-resources/usp-general-chapter/ AANA Safe Injection Guidelines for Needle and Syringe Use, 2022 www.aana.com/PracticeManual. AORN Guideline for Medication Safety, 2023 https://aornguidelines.org/guidelines/content?sectionid=173722338&view=book#173722338 |
| 6-A-8 | AORN Guidelines in Practice: Medication Safety https://aornjournal.onlinelibrary.wiley.com/doi/epdf/10.1002/aorn.14034 USP 797 Key Changes https://www.ashp.org/-/media/assets/pharmacy-practice/resource-centers/compounding/docs/USP-797-Key-Changes.pdf ASA Statement on Security of Medications in the Operating Room, 2023 https://www.asahq.org/standards-and-practice-parameters/statement-on-security-of-medications-in-the-operating-room AANA Safe Injection Guidelines for Needle and Syringe Use, 2022 https://issuu.com/aanapublishing/docs/8_-_safe_injection_guidelines_for_needle_and_syrin?fr=sNzEyZTU2NDAxMjU American Society of Ophthalmic Registered Nurses (ASORN) Use of Multi-dose Medications https://asorn.org/professional-resources/policies-and-recommendations/asorn-recommended-practice-use-of-multi-dose-medications/ Using Multidose Eyedrops in a Health Care Setting, 2014 https://jamanetwork.com/journals/jamaophthalmology/article-abstract/1901216 USP General Chapter Labeling: Expiration Date FAQs December 2023 https://go.usp.org/USP_GC_7_FAQs?_gl=1*9t81ki*_gcl_au*MTE5NjEzMzM3OS4xNzA3NDE4MTA0*_ga*MTY4NDc2MjkyOS4xNzA3NDE4MTA1*_ga_DTGQ04CR27*MTcwNzQxODEwNC4xLjAuMTcwNzQxODEwNC4wLjAuMA |
| 6-C-2 | Clinical Procedures for Safe Patient Care, 8.7 Transfusion of Blood and Blood Products, 2015 https://opentextbc.ca/clinicalskills/chapter/blood-and-blood-product-administration/ |
| 6-D-1 | DEA Practitioner’s Manual, An Informational Outline of the Controlled Substance Act www.deadiversion.usdoj.gov/GDP/(DEA-DC-071)(EO-DEA226)_Practitioner's_Manual_(final).pdf DEA Registration Q&A https://deadiversion.usdoj.gov/faq/registration-faq.html Narcotic Drugs: Handling and Documentation,2023 www.rn.org/courses/coursematerial-10004.pdf |
| 6-D-3 | DEA Practitioner’s Manual, An Informational Outline of the Controlled Substance Act www.deadiversion.usdoj.gov/GDP/(DEA-DC-071)(EO-DEA226)_Practitioner's_Manual_(final).pdf DEA Registration Q&A https://deadiversion.usdoj.gov/faq/registration-faq.html Narcotic Drugs: Handling and Documentation,2023 www.rn.org/courses/coursematerial-10004.pdf DEA Theft/Loss Reporting https://www.deadiversion.usdoj.gov/21cfr_reports/theft/theft-loss.html |
| 6-D-4 | DEA Practitioner’s Manual, An Informational Outline of the Controlled Substance Act www.deadiversion.usdoj.gov/GDP/(DEA-DC-071)(EO-DEA226)_Practitioner's_Manual_(final).pdf DEA Registration Q&A https://deadiversion.usdoj.gov/faq/registration-faq.html Narcotic Drugs: Handling and Documentation,2023 www.rn.org/courses/coursematerial-10004.pdf |
| 6-D-5 | DEA Practitioner’s Manual, An Informational Outline of the Controlled Substance Act www.deadiversion.usdoj.gov/GDP/(DEA-DC-071)(EO-DEA226)_Practitioner's_Manual_(final).pdf DEA Registration Q&A https://deadiversion.usdoj.gov/faq/registration-faq.html Narcotic Drugs: Handling and Documentation,2023 www.rn.org/courses/coursematerial-10004.pdf |
| 6-E-1 | Crash cart supply & equipment checklist for medical emergencies https://acls.net/acls-crash-cart AHA CPR & ECC Guidelines Algorithms https://cpr.heart.org/en/resuscitation-science/cpr-and-ecc-guidelines/algorithms |
| 6-E-4 | Crash cart supply & equipment checklist for medical emergencies https://acls.net/acls-crash-cart AHA CPR & ECC Guidelines Algorithms https://cpr.heart.org/en/resuscitation-science/cpr-and-ecc-guidelines/algorithms |
| 6-E-5 | AHA Cardiac Emergency Response Plan https://cpr.heart.org/-/media/CPR-Files/Training-Programs/2024-CERP/2024-CERP-Resources/CERP-Drills-and-Evaluation.pdf?sc_lang=en |
| 6-F-4 | Stability of Succinylcholine Solutions Stored at Room Temperature www.researchgate.net/publication/6456254_Stability_of_succinylcholine_solutions_stored_at_room_temperature_studied_by_nuclear_magnetic_resonance_spectroscopy Succinylcholine Chloride, 2023 https://www.ncbi.nlm.nih.gov/books/NBK499984/ |
| 6-F-5 | National Library of Medicine, Reversal agents in anaesthesia and critical care, 2015 https://www.ncbi.nlm.nih.gov/pmc/articles/PMC4645356/ |
| 6-F-10 | Rescue Medications for Seizures https://www.verywellhealth.com/medications-used-for-seizure-emergencies-5100921 Seizure Rescue Therapies https://www.epilepsy.com/treatment/seizure-rescue-therapies#What-are- Medical management of status epilepticus: Emergency room to intensive care unit https://www.seizure-journal.com/article/S1059-1311(19)30204-3/fulltext |
| 6-F-12 | Internet Book of Critical Care (IBCC) Local Anesthetic Systemic Toxicity (LAST), 2021 https://emcrit.org/ibcc/last/ |
| 6-G-1 | AANA Malignant Hypothermia Crisis Prevention and Treatment https://issuu.com/aanapublishing/docs/11_-_malignant_hyperthermia_crisis_preparedness_an AANA Malignant Hyperthermia https://www.aana.com/practice/clinical-practice/clinical-practice-resources/malignant-hyperthermia/ MHAUS Recommendations for Managing an MH Crisis https://www.mhaus.org/healthcare-professionals/ AORN Competency Verification Tool: Malignant Hyperthermia - RN https://aornguidelines.org/tool/content?gbosid=396610 MHAUS Recommendations for Managing an MH Crisis https://www.mhaus.org/healthcare-professionals/ |
| 6-G-2 | MHAUS Frequently Asked Questions, 2024 https://www.mhaus.org/faqs MHAUS Recommendations for Managing an MH Crisis, 2024 https://www.mhaus.org/healthcare-professionals/ |
| 6-G-5 | MHAUS Recommendations for Managing an MH Crisis https://www.mhaus.org/healthcare-professionals/ MH Crisis Hotline https://www.mhaus.org/healthcare-professionals/ 1-800-644-9737, outside of North America 001-209-417-3722 Be prepared to give your name, number, facility, and email. |
| 6-G-9 | MHAUS Recommendations https://www.mhaus.org/healthcare-professionals/mhaus-recommendations/ |
| 6-G-10 | NSHHR Reporting https://anest.ufl.edu/namhr/namhr-report-forms/ |
| 7-A-1 | CDC’s Core Infection Prevention and Control Practices for Safe Healthcare Delivery in All Settings, 2024 https://www.cdc.gov/infection-control/hcp/core-practices/index.html CDC Standard Precautions for All Patient Care, 2024 https://www.cdc.gov/infection-control/hcp/basics/standard-precautions.html?CDC_AAref_Val=https://www.cdc.gov/infectioncontrol/basics/standard-precautions.html FDA Personal Protective Equipment for Infection Control, 2020 https://www.fda.gov/medical-devices/general-hospital-devices-and-supplies/personal-protective-equipment-infection-control WHO Standard Precautions for the Prevention and Control of Infections https://iris.who.int/bitstream/handle/10665/356855/WHO-UHL-IHS-IPC-2022.1-eng.pdf?sequence=1 |
| 7-A-7 | WHO Infection prevention and control – Hand hygiene https://www.who.int/teams/integrated-health-services/infection-prevention-control/hand-hygiene CDC Clinical Safety Hand Hygiene for Healthcare Workers https://www.cdc.gov/clean-hands/hcp/clinical-safety/index.html |
| 7-A-10 | AORN Surgical Attire in the Operating Room, an AORN Guideline https://www.aorn.org/article/surgical-attire-in-the-operating-room--an-aorn-guideline#:~:text=The%20AORN%20guideline%20for%20surgical,surgical%20attire%20guidelines%20from%20AORN CDC's Core Infection Prevention and Control Practices for Safe Healthcare Delivery in All Settings, 2024 https://www.cdc.gov/infection-control/hcp/core-practices/index.html CDC Laundry and Bedding, 2003 https://www.cdc.gov/infection-control/hcp/environmental-control/laundry-bedding.html Operating Theatre Attire and Personal Protective Equipment, 2016 https://onlinelibrary.wiley.com/doi/10.1002/9781119548935.ch6 WHO Infection Prevent and Control https://www.who.int/health-topics/infection-prevention-and-control#tab=tab_1 |
| 7-B-1 | AORN e Guidelines for Hand Hygiene https://aornjournal.onlinelibrary.wiley.com/doi/abs/10.1002/aorn.13964 CDC Clinical Safety: Hand Hygiene for Healthcare Workers https://www.cdc.gov/clean-hands/hcp/clinical-safety/index.html WHO Infection prevention and control – Hand hygiene https://www.who.int/teams/integrated-health-services/infection-prevention-control/hand-hygiene Outpatient Surgery, How to Perform a Proper Hand Scrub, 2009 https://www.aorn.org/outpatient-surgery/article/2009-May-how-to-perform-a-proper-hand-scrub |
| 7-C-2 | ANSI/AAMI ST79:2017 & 2020 Amendments; Comprehensive guide to steam sterilization and sterility assurance in health care facilities https://www.standards-global.com/wp-content/uploads/pdfs/preview/1997188 |
| 7-C-4 | FDA Reprocessing Single-Use Medical Devices: Information for Health Care Facilities https://www.fda.gov/medical-devices/products-and-medical-procedures/reprocessing-single-use-medical-devices-information-health-care-facilities CDC Reuse of Single-Use Devices, 2008 https://www.cdc.gov/infection-control/hcp/disinfection-sterilization/reuse-single-use-devices.html |
| 7-D-1 | AAO Guidelines for the Cleaning and Sterilization of Intraocular Surgical Instruments - 2018 https://www.aao.org/education/clinical-statement/guidelines-cleaning-sterilization-intraocular ANSI/AAMI ST79:2017/(R)2022; Comprehensive guide to steam sterilization and sterility assurance in health care facilities https://array.aami.org/doi/book/10.2345/9781570208027 CDC Sterilization Practices https://www.cdc.gov/infection-control/hcp/disinfection-sterilization/sterilizing-practices.html CDC Recommendations for Disinfection and Sterilization Guidelines in Healthcare Facilities, 2023 https://www.cdc.gov/infection-control/hcp/disinfection-sterilization/summary-recommendations.html#tocBox |
| 7-D-2 | ANSI/AAMI ST79:2017 & 2020 Amendments; Comprehensive guide to steam sterilization and sterility assurance in health care facilities https://www.standards-global.com/wp-content/uploads/pdfs/preview/1997188 AAO Guidelines for the Cleaning and Sterilization of Intraocular Surgical Instruments - 2018 https://www.aao.org/education/clinical-statement/guidelines-cleaning-sterilization-intraocular Toxic anterior segment syndrome (TASS): A review and update, 2023 https://www.ncbi.nlm.nih.gov/pmc/articles/PMC10841787/ WHO Decontamination and Reprocessing of Medical Devices for Health-care Facilities https://iris.who.int/server/api/core/bitstreams/d128e952-f919-4462-bdb0-392312908782/content |
| 7-D-3 | CDC Ethylene Oxide “Gas” Sterilization https://www.cdc.gov/infection-control/hcp/disinfection-sterilization/ethylene-oxide-sterilization.html CDC Peracetic Acid Sterilization https://www.cdc.gov/infection-control/hcp/disinfection-sterilization/peracetic-acid-sterilization.html |
| 7-D-5 | Sample Sterilization Log Sheet https://www.crosstexbms.com/media/1216/0918-ddoc00400-rev-a_sterilization-log-sheet.pdf Sample In-Office Biological Monitoring System - Record Keeper https://www.crosstexbms.com/media/1170/recordkeeperlog_ctx1140.pdf CDC Recommendations for Disinfection and Sterilization Guidelines in Healthcare Facilities, 2023 https://www.cdc.gov/infection-control/hcp/disinfection-sterilization/summary-recommendations.html#tocBox CDC Sterilization Practices, 2023 https://www.cdc.gov/infection-control/hcp/disinfection-sterilization/sterilizing-practices.html Halyard Health Sterilization Pouches: What You Need to Know About the Essential Medical Sterilization Product, 2023 https://www.halyardhealth.com/articles/sterilization/sterilization-pouches-what-you-need-to-know WHO Decontamination and Reprocessing of Medical Devices for Health-care Facilities https://iris.who.int/bitstream/handle/10665/250232/9789241549851-eng.pdf?sequence=1 Crosstex Resources: Compliance Support and Information https://www.crosstexbms.com/resources/tools/ |
| 7-D-6 | CDC Sterilization Practices, 2023 https://www.cdc.gov/infection-control/hcp/disinfection-sterilization/sterilizing-practices.html Understanding the Parts and Functions of Surgical Instruments for Sterile Processing, 2024 https://sterileprocessingtech.org/understanding-the-parts-and-functions-of-surgical-instruments-for-sterile-processing/ WHO Decontamination and Reprocessing of Medical Devices for Health-care Facilities https://iris.who.int/bitstream/handle/10665/250232/9789241549851-eng.pdf?sequence=1 |
| 7-D-7 | CDC Sterilization Practices, 2023 https://www.cdc.gov/infection-control/hcp/disinfection-sterilization/sterilizing-practices.html WHO Decontamination and Reprocessing of Medical Devices for Health-care Facilities https://iris.who.int/bitstream/handle/10665/250232/9789241549851-eng.pdf?sequence=1 |
| 7-D-9 | CDC Sterilization Practices, 2023 https://www.cdc.gov/infection-control/hcp/disinfection-sterilization/sterilizing-practices.html CDC Best Practices for Sterilization Monitoring in Dental Settings, 2024 www.cdc.gov/oralhealth/infectioncontrol/faqs/monitoring.htmlCDC Sterilization Practices, 2023 https://www.cdc.gov/infection-control/hcp/disinfection-sterilization/sterilizing-practices.html CDC Best Practices for Sterilization Monitoring in Dental Settings, 2024 www.cdc.gov/oralhealth/infectioncontrol/faqs/monitoring.html |
| 7-D-10 | CDC Sterilization Practices, 2023 https://www.cdc.gov/infection-control/hcp/disinfection-sterilization/sterilizing-practices.html CDC Best Practices for Sterilization Monitoring in Dental Settings, 2024 www.cdc.gov/oralhealth/infectioncontrol/faqs/monitoring.html |
| 7-D-11 | ANSI/AAMI ST79:2017/(R)2022; Comprehensive guide to steam sterilization and sterility assurance in health care facilities https://array.aami.org/doi/book/10.2345/9781570208027 APIC Immediate-Use Steam Sterilization https://www.apic.org/Resource_/TinyMceFileManager/Position_Statements/Immediate_Use_Steam_Sterilization_022011.pdf CDC Flash Sterilization https://www.cdc.gov/infection-control/hcp/disinfection-sterilization/flash-sterilization.html |
| 7-E-1 | CDC Disinfection of Healthcare Equipment, 2023 https://www.cdc.gov/infection-control/hcp/disinfection-sterilization/healthcare-equipment.html WHO Decontamination and Reprocessing of Medical Devices for Health-care Facilities https://iris.who.int/bitstream/handle/10665/250232/9789241549851-eng.pdf?sequence=1 |
| 7-E-2 | Essential Elements of a Reprocessing Program for Flexible Endoscopes – Recommendations of the Healthcare Infection Control Practices Advisory Committee (HICPAC), 2015 https://www.cdc.gov/hicpac/media/pdfs/essential-elements-508.pdf CDC Disinfection and Sterilization – Summary, 2023 https://www.cdc.gov/infection-control/hcp/disinfection-and-sterilization/?CDC_AAref_Val=https://www.cdc.gov/infectioncontrol/guidelines/disinfection/index.htm |
| 7-E-3 | CDC Guidelines for Environmental Infection Control in Health-Care Facilities (2003) Appendix B. Air https://www.cdc.gov/infection-control/hcp/environmental-control/appendix-b-air.html |
| 7-F-2 | CDC Appendix B2 – Cleaning procedure summaries for specialized patient areas https://www.cdc.gov/healthcare-associated-infections/hcp/cleaning-global/appendix-b2.html |
| 7-F-3 | CDC Environmental Cleaning Procedures https://www.cdc.gov/healthcare-associated-infections/hcp/cleaning-global/procedures.html#:~:text=Confine%20the%20spill%20and%20wipe,detergent%20and%20warm%20water%20solution. OSHA Bloodborne Pathogens and Needlestick Prevention https://www.osha.gov/bloodborne-pathogens/standards |
| 7-F-4 | OSHA Worker Protections Against Occupational Exposure to Infectious Diseases https://www.osha.gov/bloodborne-pathogens/worker-protections OSHA Bloodborne pathogens https://www.osha.gov/laws-regs/regulations/standardnumber/1910/1910.1030 CDC Environmental Cleaning Procedures https://www.cdc.gov/healthcare-associated-infections/hcp/cleaning-global/procedures.html#:~:text=Confine%20the%20spill%20and%20wipe,detergent%20and%20warm%20water%20solution. |
| 7-F-5 | CDC Environmental Cleaning Procedures, 2024 https://www.cdc.gov/healthcare-associated-infections/hcp/cleaning-global/procedures.html |
| 7-F-6 | CDC Cleaning, 2023 https://www.cdc.gov/infection-control/hcp/disinfection-sterilization/cleaning.html CDC Disinfection and Sterilization Guidelines https://www.cdc.gov/infection-control/hcp/disinfection-and-sterilization/index.html |
| 8-B-2 | Implementation Manual: WHO Surgical Safety Checklist 2009 https://iris.who.int/bitstream/handle/10665/44186/9789241598590_eng.pdf?sequence=1 |
| 8-B-23 | Completion of the Updated Caprini Risk Assessment Model https://www.ncbi.nlm.nih.gov/pmc/articles/PMC6714938/ Caprini Risk Assessment Model for Venous thromboembolism, Recommended Intervention for Thromboprophylaxis Based on Risk of VTE. https://thrombosiscanada.ca/wp-content/uploads/2017/04/VTE-Risk-Assessment-Tool-Caprini-Score-Card-Eng-30Apr2018.pdf |
| 8-G-1 | ASC Quality Collaboration – Prevention of Wrong Site Surgery Toolkit https://ascquality.org/toolkits/wrong-site-surgery/ WHO Safety Checklist Tool https://cdn.who.int/media/docs/default-source/patient-safety/safe-surgery/starter_kit-sssl.pdf?sfvrsn=9cef94b8_7 WHO Surgical Safety Checklist https://www.who.int/teams/integrated-health-services/patient-safety/research/safe-surgery/tool-and-resources WHO Surgical Safety Checklist Adaptation Guide https://cdn.who.int/media/docs/default-source/patient-safety/safe-surgery/checklist-adaptation.pdf?sfvrsn=dcbb632f_6 The WHO safer surgery checklist time out procedure revisited: Strategies to optimize compliance and safety https://www.sciencedirect.com/science/article/pii/S174391911930158X AANA Patient-Centered Perianesthesia Communication, 2023 https://issuu.com/aanapublishing/docs/9_-_patient-centered_perianesthesia_communication AORN, Wrong Surgeries Up 26% in 2023 https://www.aorn.org/about-aorn/aorn-newsroom/periop-today-newsletter/periop-today-newsletter/wrong-surgeries-up-26--in-2023 |
| 8-G-2 | WHO Safety Checklist Tool https://cdn.who.int/media/docs/default-source/patient-safety/safe-surgery/starter_kit-sssl.pdf?sfvrsn=9cef94b8_7 WHO Surgical Safety Checklist https://www.who.int/teams/integrated-health-services/patient-safety/research/safe-surgery/tool-and-resources WHO Surgical Safety Checklist Adaptation Guide https://cdn.who.int/media/docs/default-source/patient-safety/safe-surgery/checklist-adaptation.pdf?sfvrsn=dcbb632f_6 The WHO safer surgery checklist time out procedure revisited: Strategies to optimize compliance and safety https://www.sciencedirect.com/science/article/pii/S174391911930158X AANA Patient-Centered Perianesthesia Communication, 2023 https://issuu.com/aanapublishing/docs/9_-_patient-centered_perianesthesia_communication AORN, Wrong Surgeries Up 26% in 2023 https://www.aorn.org/about-aorn/aorn-newsroom/periop-today-newsletter/periop-today-newsletter/wrong-surgeries-up-26--in-2023 |
| 8-H-1 | AANA Documenting Anesthesia Care https://issuu.com/aanapublishing/docs/4_-_documenting_anesthesia_care?fr=sNDZlYTU2NDAxMjU AANA Standards for Nurse Anesthesia Practice https://issuu.com/aanapublishing/docs/standards_for_nurse_anesthesia_practice_2.23?fr=sOGNhNjU2NDAxMjU ASA Standards for Basic Anesthetic Monitoring, 2020 https://www.asahq.org/standards-and-practice-parameters/standards-for-basic-anesthetic-monitoring ASA Practice Guidelines for Sedation and Analgesia by Non-Anesthesiologists https://pubs.asahq.org/anesthesiology/article/96/4/1004/39315/Practice-Guidelines-for-Sedation-and-Analgesia-by |
| 8-H-2 | AANA Documenting Anesthesia Care https://issuu.com/aanapublishing/docs/4_-_documenting_anesthesia_care?fr=sNDZlYTU2NDAxMjU AANA Standards for Nurse Anesthesia Practice https://issuu.com/aanapublishing/docs/standards_for_nurse_anesthesia_practice_2.23?fr=sOGNhNjU2NDAxMjU ASA Standards for Basic Anesthetic Monitoring, 2020 https://www.asahq.org/standards-and-practice-parameters/standards-for-basic-anesthetic-monitoring ASA Practice Guidelines for Sedation and Analgesia by Non-Anesthesiologists https://pubs.asahq.org/anesthesiology/article/96/4/1004/39315/Practice-Guidelines-for-Sedation-and-Analgesia-by |
| 8-H-3 | AANA Documenting Anesthesia Care https://issuu.com/aanapublishing/docs/4_-_documenting_anesthesia_care?fr=sNDZlYTU2NDAxMjU AANA Standards for Nurse Anesthesia Practice https://issuu.com/aanapublishing/docs/standards_for_nurse_anesthesia_practice_2.23?fr=sOGNhNjU2NDAxMjU ASA Standards for Basic Anesthetic Monitoring, 2020 https://www.asahq.org/standards-and-practice-parameters/standards-for-basic-anesthetic-monitoring ASA Practice Guidelines for Sedation and Analgesia by Non-Anesthesiologists https://pubs.asahq.org/anesthesiology/article/96/4/1004/39315/Practice-Guidelines-for-Sedation-and-Analgesia-by |
| 8-H-4 | AANA Documenting Anesthesia Care https://issuu.com/aanapublishing/docs/4_-_documenting_anesthesia_care?fr=sNDZlYTU2NDAxMjU AANA Standards for Nurse Anesthesia Practice https://issuu.com/aanapublishing/docs/standards_for_nurse_anesthesia_practice_2.23?fr=sOGNhNjU2NDAxMjU ASA Standards for Basic Anesthetic Monitoring, 2020 https://www.asahq.org/standards-and-practice-parameters/standards-for-basic-anesthetic-monitoring ASA Practice Guidelines for Sedation and Analgesia by Non-Anesthesiologists https://pubs.asahq.org/anesthesiology/article/96/4/1004/39315/Practice-Guidelines-for-Sedation-and-Analgesia-by |
| 8-H-5 | AANA Documenting Anesthesia Care https://issuu.com/aanapublishing/docs/4_-_documenting_anesthesia_care?fr=sNDZlYTU2NDAxMjU AANA Standards for Nurse Anesthesia Practice https://issuu.com/aanapublishing/docs/standards_for_nurse_anesthesia_practice_2.23?fr=sOGNhNjU2NDAxMjU ASA Standards for Basic Anesthetic Monitoring, 2020 https://www.asahq.org/standards-and-practice-parameters/standards-for-basic-anesthetic-monitoring ASA Practice Guidelines for Sedation and Analgesia by Non-Anesthesiologists https://pubs.asahq.org/anesthesiology/article/96/4/1004/39315/Practice-Guidelines-for-Sedation-and-Analgesia-by |
| 8-H-9 | AANA Documenting Anesthesia Care https://issuu.com/aanapublishing/docs/4_-_documenting_anesthesia_care?fr=sNDZlYTU2NDAxMjU AANA Standards for Nurse Anesthesia Practice https://issuu.com/aanapublishing/docs/standards_for_nurse_anesthesia_practice_2.23?fr=sOGNhNjU2NDAxMjU ASA Standards for Basic Anesthetic Monitoring, 2020 https://www.asahq.org/standards-and-practice-parameters/standards-for-basic-anesthetic-monitoring ASA Practice Guidelines for Sedation and Analgesia by Non-Anesthesiologists https://pubs.asahq.org/anesthesiology/article/96/4/1004/39315/Practice-Guidelines-for-Sedation-and-Analgesia-by |
| 8-H-11 | AANA Documenting Anesthesia Care https://issuu.com/aanapublishing/docs/4_-_documenting_anesthesia_care?fr=sNDZlYTU2NDAxMjU AANA Standards for Nurse Anesthesia Practice https://issuu.com/aanapublishing/docs/standards_for_nurse_anesthesia_practice_2.23?fr=sOGNhNjU2NDAxMjU ASA Standards for Basic Anesthetic Monitoring, 2020 https://www.asahq.org/standards-and-practice-parameters/standards-for-basic-anesthetic-monitoring ASA Practice Guidelines for Sedation and Analgesia by Non-Anesthesiologists https://pubs.asahq.org/anesthesiology/article/96/4/1004/39315/Practice-Guidelines-for-Sedation-and-Analgesia-by |
| 8-H-12 | AANA Documenting Anesthesia Care https://issuu.com/aanapublishing/docs/4_-_documenting_anesthesia_care?fr=sNDZlYTU2NDAxMjU AANA Standards for Nurse Anesthesia Practice https://issuu.com/aanapublishing/docs/standards_for_nurse_anesthesia_practice_2.23?fr=sOGNhNjU2NDAxMjU ASA Standards for Basic Anesthetic Monitoring, 2020 https://www.asahq.org/standards-and-practice-parameters/standards-for-basic-anesthetic-monitoring ASA Practice Guidelines for Sedation and Analgesia by Non-Anesthesiologists https://pubs.asahq.org/anesthesiology/article/96/4/1004/39315/Practice-Guidelines-for-Sedation-and-Analgesia-by |
| 8-H-13 | AANA Documenting Anesthesia Care https://issuu.com/aanapublishing/docs/4_-_documenting_anesthesia_care?fr=sNDZlYTU2NDAxMjU AANA Standards for Nurse Anesthesia Practice https://issuu.com/aanapublishing/docs/standards_for_nurse_anesthesia_practice_2.23?fr=sOGNhNjU2NDAxMjU ASA Standards for Basic Anesthetic Monitoring, 2020 https://www.asahq.org/standards-and-practice-parameters/standards-for-basic-anesthetic-monitoring ASA Practice Guidelines for Sedation and Analgesia by Non-Anesthesiologists https://pubs.asahq.org/anesthesiology/article/96/4/1004/39315/Practice-Guidelines-for-Sedation-and-Analgesia-by |
| 8-H-14 | AANA Documenting Anesthesia Care https://issuu.com/aanapublishing/docs/4_-_documenting_anesthesia_care?fr=sNDZlYTU2NDAxMjU AANA Standards for Nurse Anesthesia Practice https://issuu.com/aanapublishing/docs/standards_for_nurse_anesthesia_practice_2.23?fr=sOGNhNjU2NDAxMjU ASA Standards for Basic Anesthetic Monitoring, 2020 https://www.asahq.org/standards-and-practice-parameters/standards-for-basic-anesthetic-monitoring ASA Practice Guidelines for Sedation and Analgesia by Non-Anesthesiologists https://pubs.asahq.org/anesthesiology/article/96/4/1004/39315/Practice-Guidelines-for-Sedation-and-Analgesia-by |
| 8-H-15 | AANA Documenting Anesthesia Care https://issuu.com/aanapublishing/docs/4_-_documenting_anesthesia_care?fr=sNDZlYTU2NDAxMjU AANA Standards for Nurse Anesthesia Practice https://issuu.com/aanapublishing/docs/standards_for_nurse_anesthesia_practice_2.23?fr=sOGNhNjU2NDAxMjU ASA Standards for Basic Anesthetic Monitoring, 2020 https://www.asahq.org/standards-and-practice-parameters/standards-for-basic-anesthetic-monitoring ASA Practice Guidelines for Sedation and Analgesia by Non-Anesthesiologists https://pubs.asahq.org/anesthesiology/article/96/4/1004/39315/Practice-Guidelines-for-Sedation-and-Analgesia-by |
| 8-H-16 | AANA Documenting Anesthesia Care https://issuu.com/aanapublishing/docs/4_-_documenting_anesthesia_care?fr=sNDZlYTU2NDAxMjU AANA Standards for Nurse Anesthesia Practice https://issuu.com/aanapublishing/docs/standards_for_nurse_anesthesia_practice_2.23?fr=sOGNhNjU2NDAxMjU ASA Standards for Basic Anesthetic Monitoring, 2020 https://www.asahq.org/standards-and-practice-parameters/standards-for-basic-anesthetic-monitoring ASA Practice Guidelines for Sedation and Analgesia by Non-Anesthesiologists https://pubs.asahq.org/anesthesiology/article/96/4/1004/39315/Practice-Guidelines-for-Sedation-and-Analgesia-by |
| 8-I-2 | AANA Patient-Centered Perianesthesia Communication, Transfer of Care https://issuu.com/aanapublishing/docs/9_-_patient-centered_perianesthesia_communication?fr=sNTcwZjU2NDAxMjU |
| 8-I-3 | AANA Patient Centered Perianesthesia Communication, Transfer of Care https://issuu.com/aanapublishing/docs/9_-_patient-centered_perianesthesia_communication?fr=sNTcwZjU2NDAxMjU ASA Standards for Basic Anesthetic Monitoring, 2020 https://www.asahq.org/standards-and-practice-parameters/standards-for-basic-anesthetic-monitoring |
| 8-I-4 | AANA Patient Centered Perianesthesia Communication, Transfer of Care https://issuu.com/aanapublishing/docs/9_-_patient-centered_perianesthesia_communication?fr=sNTcwZjU2NDAxMjU AHRQ Tool: Handoff, 2023 https://www.ahrq.gov/teamstepps-program/curriculum/communication/tools/handoff.html APSF Improving Post Anesthesia Care Unit (PACU) Handoff by Implementing a Succinct Checklist https://www.apsf.org/article/improving-post-anesthesia-care-unit-pacu-handoff-by-implementing-a-succinct-checklist/ ASA Standards for Basic Anesthetic Monitoring, 2020 https://www.asahq.org/standards-and-practice-parameters/standards-for-basic-anesthetic-monitoring |
| 8-I-5 | AANA Patient-Centered Perianesthesia Communication, Transfer of Care https://issuu.com/aanapublishing/docs/9_-_patient-centered_perianesthesia_communication?fr=sNTcwZjU2NDAxMjU AHRQ Tool: Handoff, 2023 https://www.ahrq.gov/teamstepps-program/curriculum/communication/tools/handoff.html APSF Improving Post Anesthesia Care Unit (PACU) Handoff by Implementing a Succinct Checklist https://www.apsf.org/article/improving-post-anesthesia-care-unit-pacu-handoff-by-implementing-a-succinct-checklist/ ASA Standards for Basic Anesthetic Monitoring, 2020 https://www.asahq.org/standards-and-practice-parameters/standards-for-basic-anesthetic-monitoring |
| 8-I-6 | AANA Patient-Centered Perianesthesia Communication, Transfer of Care https://issuu.com/aanapublishing/docs/9_-_patient-centered_perianesthesia_communication?fr=sNTcwZjU2NDAxMjU AHRQ Tool: Handoff, 2023 https://www.ahrq.gov/teamstepps-program/curriculum/communication/tools/handoff.html APSF Improving Post Anesthesia Care Unit (PACU) Handoff by Implementing a Succinct Checklist https://www.apsf.org/article/improving-post-anesthesia-care-unit-pacu-handoff-by-implementing-a-succinct-checklist/ ASA Standards for Basic Anesthetic Monitoring, 2020 https://www.asahq.org/standards-and-practice-parameters/standards-for-basic-anesthetic-monitoring |
| 8-J-6 | Standards for Postanesthesia Care, 2019 https://www.asahq.org/standards-and-practice-parameters/standards-for-postanesthesia-care Practice Guidelines for Postanesthetic Care: An Updated Report by the American Society of Anesthesiologists Task Force on Postanesthetic Care https://pubs.asahq.org/anesthesiology/article/118/2/291/13600/Practice-Guidelines-for-Postanesthetic-CareAn |
| 8-K-4 | AANA Postanesthesia Care https://issuu.com/aanapublishing/docs/12_-_postanesthesia_care?fr=sMWQxZTU2NDAxMjU Aldrete score https://www.sciencedirect.com/topics/nursing-and-health-professions/aldrete-score Practice Guidelines for Postanesthetic Care: An Updated Report by the American Society of Anesthesiologists Task Force on Postanesthetic Care https://pubs.asahq.org/anesthesiology/article/118/2/291/13600/Practice-Guidelines-for-Postanesthetic-CareAn |
| 8-K-8 | AANA position paper - Discharge After Sedation or Anesthesia on the Day of the Procedure: Patient Transportation With or Without a Responsible Adult https://issuu.com/aanapublishing/docs/8_-_discharge_after_sedation_or_anesthesia_on_the_?fr=sOTE3YjU2NDAxMjU Practice Guidelines for Postanesthetic Care: An Updated Report by the American Society of Anesthesiologists Task Force on Postanesthetic Care https://pubs.asahq.org/anesthesiology/article/118/2/291/13600/Practice-Guidelines-for-Postanesthetic-CareAn Legal Update: The Ride Home: Uber Complicated or Easy Lyft? https://www.aorn.org/outpatient-surgery/article/2019-February-legal-update-the-ride-home-uber-complicated-or-easy-lyft |
| 10-D-0 | Business Associate Contracts https://www.hhs.gov/hipaa/for-professionals/covered-entities/sample-business-associate-agreement-provisions/index.html Covered Entities and Business Associates https://www.hhs.gov/hipaa/for-professionals/covered-entities/index.html Model BAA https://www.hhs.gov/sites/default/files/model-business-associate-agreement.pdf HIPAA Business Associate Agreement https://www.hipaajournal.com/hipaa-business-associate-agreement/ QUAD Sample BAA https://6276684.fs1.hubspotusercontent-na1.net/hubfs/6276684/Applications/HIPAA%20BAA%202022%20122021-2.pdf |
| 11-C-5 | Guidelines for Teaching Physicians, Interns, & Residents www.cms.gov/files/document/guidelines-teaching-physicians-interns-and-residents.pdf |
| 11-C-7 | American Board of Medical Specialties, Verify Certification https://www.abms.org/board-certification/verify-certification/ Health Guide USA, Medical License Lookup https://www.healthguideusa.org/medical_license_lookup.htm National Council of State Boards of Nursing (NCSBN) Nurse Licensure Look Up https://www.nursys.com/ |
| 11-C-9 | What's a Nurse Practitioner (NP)? https://www.aanp.org/about/all-about-nps/whats-a-nurse-practitioner American Association of Physician Assistants https://www.aapa.org/career-central/become-a-pa/ |
| 11-C-10 | AMA Code of Ethics https://code-medical-ethics.ama-assn.org/principles |
| 11-D-8 | American Society of Dentist Anesthesiologists: Parameters of Care, 2018 https://pmc.ncbi.nlm.nih.gov/articles/PMC6148692/ Guidelines for the Use of Sedation and General Anesthesia by Dentists, 2016 https://www.ada.org/-/media/project/ada-organization/ada/ada-org/files/resources/research/ada_sedation_use_guidelines.pdf?rev=313932b4f5eb49e491926d4feac00a14&hash=C7C55D7182C639197569D4ED8EDCDDF6 Parameters of Care: Clinical Practice Guidelines for Oral and Maxillofacial Surgery, Anesthesia in Outpatient Facilities (AAOMS ParCare 2023) https://aaoms.org/wp-content/uploads/2024/08/parcare_anesthesia_in-outpatient.pdf |
| 11-G-2 | US Legal Direct Supervision Law and Legal Definition https://definitions.uslegal.com/d/direct-supervision/ |
| 11-H-3 | OSHA https://www.osha.gov/laws-regs/regulations/standardnumber/1910/1910.1020 Health Information Privacy https://www.hhs.gov/hipaa/for-professionals/privacy/laws-regulations/index.html ADA Title 42 Section 12101 Equal Opportunity for Individuals with Disabilities https://www.ada.gov/law-and-regs/ada/ |
| 11-H-5 | ADA Title 42 Section 12101 Equal Opportunity for Individuals with Disabilities https://www.ada.gov/law-and-regs/ada/ (Refer to Section 12112(d) Medical Examinations and Inquiries). |
| 11-H-10 | Healthcare Personnel Vaccination Recommendations www.immunize.org/wp-content/uploads/catg.d/p2017.pdf OSHA Hepatitis B Vaccination Protection https://www.osha.gov/publications/bbfact05 OSHA Hepatitis B Declination (Mandatory) www.osha.gov/laws-regs/regulations/standardnumber/1910/1910.1030AppA Hepatitis B Vaccination: Information for Healthcare Providers https://www.cdc.gov/vaccines/vpd/hepb/hcp/ |
| 11-H-11 | OSHA Hepatitis B Vaccination Protection https://www.osha.gov/publications/bbfact05 OSHA Hepatitis B Declination (Mandatory) www.osha.gov/laws-regs/regulations/standardnumber/1910/1910.1030AppA Hepatitis B Vaccination: Information for Healthcare Providers https://www.cdc.gov/vaccines/vpd/hepb/hcp/ |

2489BSPECIAL THANKS & RECOGNITION

2406BQUAD A and its Board of Directors would like to express their gratitude to the team of outstanding professionals who volunteered and contributed their vast knowledge, experience, expertise, and time to ensure that QUAD A is able to attain its mission of improving patient safety worldwide. Their months of extensive work, sacrifice, and collaboration are greatly appreciated.

| Dianne Bourque, RN, CNOR CASC Surgical Nursing & Infection Control, QUAD A Board of Directors Subject Matter Expert, QUAD A Surveyor | Richard Hillyer, DPT, MBA, MSM Outpatient Physical Therapy, Subject Matter Expert, VP of Accreditation, QUAD A Board of Directors, QUAD A Surveyor |
| --- | --- |
| Courtney Brashier, DDS, MSD Pediatric Dentistry & Anesthesia Subject Matter Expert | Janice Izlar, DNAP, CRNA Anesthesia Standards Committee Chair, QUAD A Board of Directors |
| Lillian Carson, RN Surgical Nursing Standards Committee Member, QUAD A Surveyor | Leon Kurtz, MD Gastroenterology & Infection Control Subject Matter Expert |
| Patricia Chmielewski, MS, BSN, RN Standards Development & Research Analyst, QUAD A | Carson McCaffery, MSN, RN, CNOR, CNAMB, CSRN Ophthalmology Subject Matter Expert, QUAD A Surveyor |
| Michele Closson Project Coordinator, QUAD A | Erik Painter MHA, COTA Outpatient Therapy Subject Matter Expert, QUAD A Surveyor |
| Elsie Crawford, RN, BSN, MHA Rural Healthcare Standards Committee Member, QUAD A Board of Directors, QUAD A Surveyor | Beverly Robins, MBA, BSN, RN Director of Survey Operations, QUAD A |
| Debbi Conn, RN, HCRM Surgical Nursing Subject Matter Expert | William Rosenblatt, MD Plastic Surgery President, QUAD A Board of Directors, QUAD A Surveyor |
| Elethia Dean, DNP, RN Surgical Nursing & Rural Healthcare Standards Committee Member, QUAD A Surveyor | Monda Shaver, MSHM, BSN, RN Standards Development & Program Consultant, QUAD A |
| Bonnie Denholm, DNP, CNOR Surgical Nursing Standards Committee Member, QUAD A Board of Directors, QUAD A Surveyor | Gil Weitzman, MD Gastroenterology Subject Matter Expert, QUAD A Board of Directors, QUAD A Surveyor |
| Monte Goldstein, MD Anesthesia Standards Committee Member, QUAD A Board of Directors. QUAD A Surveyor | Jonathan Wong, DMD Pediatric Dentistry & Anesthesia Subject Matter Expert |
| Abdussami Hadi, MD Pain Management Subject Matter Expert |  |
| Hilda Hebberd, MSN, BSN, RN Standards Research & Development Analyst, QUAD A |  |

2407BThe American Association For Accreditation

2408BOf Ambulatory Surgery Facilities

2409BQUAD A OFFICE MAILING ADDRESS:

2410B600 Central Ave. Ste 265

2411BHighland Park, IL 60035

2412BTOLL-FREE: +1-888-545-5222

2413BPHONE: +1-847-775-1970

2414BFAX: +1-847-775-1985

2415BEMAIL: info@QUAD A.org

2416BURL: www.quada.org

2417B