MEDICARE RURAL HEALTH CLINIC (RHC)

STANDARDS-ONLY MANUAL

(No Interpretive Guidance)

Version, 4.1 Effective February 2, 2026

SURVEY INSTRUCTIONS

Please complete the Standards Manual for the facility by assessing compliance with the standards contained in this book.

STANDARDS STRUCTURE

Standards found in this book are organized by grouping relevant standards together.  These groupings are comprised of “Sections,” “Sub-sections,” and then individual standard numbers. Each main “Section” is identified by a numerical value, “Sub-sections” have been assigned an alphabetical value, and the individual standards under the subsection have also been numbered. Based on this format, each standard has been assigned a unique identifier to include all three elements to indicate its location.

For example: The standard which states, “Each operating room is properly cleaned, maintained and free of litter and clutter” is the fourth standard under Section 2, Sub-section C.  Therefore, the unique identifier for this standard is: 2-C-4.

Please note that not all standards are necessarily in continuous sequential order. Some numbers have been reserved for future use and do not appear in the manual. The groupings within the Sections and Sub-sections of this book are intended to separate standards into logical sets of standards. Based on 40 years’ experience, such groups are likely, but not guaranteed, to be found and assessed during the same portion of the survey process.

The standards are organized into a logical hierarchy for ease of use:

- Sections are numbered (e.g., 1, 2, 3).

- Sub-sections are assigned a letter (e.g., A, B, C).

- Individual Standards are numbered under each sub-section (e.g., 1, 2, 3).

This structure creates a unique identifier for each standard: [Section]-[Sub-section]-[Standard #].

Example: The standard, “Each operating room is properly cleaned, maintained and free of litter and clutter,” is the fourth standard in Section 2, Sub-section C. Its identifier is 2-C-4.

Please Note:

- Standard numbers are not always sequential. Some numbers are reserved for future use and do not appear in this edition.

- The groupings are designed to cluster related standards, which may facilitate a more efficient survey process.

STANDARDS BOOK LAYOUT

The standards manual layout consists of five (5) columns. The function of each column is as follows:

Standard ID:

This column contains the alphanumerical identifier for each standard.

Class:

This column indicates the anesthesia classification, based on QUAD A definitions, that is applicable to the standard. Only facilities that provide anesthesia meeting the definition of one or more of the classifications listed in this column are required to comply with it.

Note: Facilities must comply with all applicable state or national requirements governing the facility, including country and state laws and regulations relating to anesthesia. When standards conflict, the most stringent requirement applies, unless mandated by laws or regulations applicable to the facility.

Example: A facility accredited under QUAD A Class A Standards may be permitted to administer local, topical anesthesia, minimal sedation, or nitrous oxide using a standalone system for administration. However, if the facility’s state or country has a Class A–equivalent designation that specifically limits anesthesia to local or topical anesthesia only, then the facility must follow the state or national requirement. In this case, the facility may not administer oral medications to achieve minimal sedation, even if accreditation standards would otherwise allow it.

Standard / Regulatory Reference:

This column contains the text for each standard. It also indicates the corresponding regulatory reference (e.g., CMS, DHA, Florida, etc.), if applicable.

SCORING COMPLIANCE

The QUAD A accreditation program mandates 100% compliance with every standard to achieve and maintain accreditation, without exception. If a surveyor observes a single instance of non-compliance, the standard is scored as “Deficient.” The facility must submit both a Plan of Correction, as well as documented Evidence of Corrections.

Applicable standard(s) will be given a score of deficient.

QUAD A withholds accreditation until the facility submits acceptable Plans of Correction and Evidence of Corrections for all cited deficiencies. However, when a standard refers to "appropriate," "proper," or "adequate", reasonable flexibility and room for consideration by the surveyor is permitted as long as patient and staff safety remain uncompromised.

TABLE OF CONTENTS

SURVEY INSTRUCTIONS	2

STANDARDS STRUCTURE	2

STANDARDS BOOK LAYOUT	3

INTERPRETIVE GUIDANCE (IG)	4

SCORING COMPLIANCE	5

SECTION 1: BASIC MANDATES	8

Sub-section B: Basic Mandates	8

Sub-section E: QUAD A-Mandated Reporting	8

SECTION 2: FACILITY LAYOUT & ENVIRONMENT	10

Sub-section B: Facility Environment	10

Sub-section E: Storage	10

SECTION 3: SAFETY	12

Sub-section D: Medical Hazardous Waste	12

Sub-section F: Exits	13

SECTION 5: IN CASE OF EMERGENCY	15

Sub-section A: Emergency Equipment	15

Sub-section D: Emergency Preparedness Plan	16

Sub-section E: Emergency Preparedness Plan - Integrated Healthcare Systems	21

SECTION 6: MEDICATIONS	23

Sub-section A: Medications	23

Sub-section D: Controlled Substances	24

Sub-section E: ACLS/PALS Algorithm	25

SECTION 7: INFECTION PREVENTION AND CONTROL	27

Sub-section A: Infection Prevention and Control	27

Sub-section B: Hand Hygiene	27

Sub-section C: Instrument Processing	28

Sub-section D: Sterilization	30

Sub-section F: Cleaning	34

SECTION 11: PERSONNEL	36

Sub-section C: Surgeons/Proceduralists/Etc.	36

Sub-section E: Facility Staffing	36

Sub-section I: Personnel Training	37

SECTION 14: RURAL HEALTH CLINIC (RHC)	40

Sub-section A: Compliance with Federal, State and Local Laws	40

Sub-section B: Location of Clinic	40

Sub-section C: Physical Plant and Environment	41

Sub-section D: Organizational Structure	42

Sub-section E: Staffing and Staff Responsibilities	43

Sub-section F: Provision of Services	47

Sub-section G: Patient Clinical Records	51

Sub-section H: Program Evaluation	53

APPENDIX 2: RHC BASIC MANDATES	56

APPENDIX 3: LOCATION OF RHC	57

GENERAL GLOSSARY FOR ALL PROGRAMS	61

REFERENCES BY STANDARD ALL PROGRAMS	75

SPECIAL THANKS & RECOGNITION	96

SECTION 1: BASIC MANDATES

| Standard ID | Standard Language / Regulation | Findings / Comments |  |
| --- | --- | --- | --- |
| Sub-section B: Basic Mandates |  |  |  |
| 1-B-7 | Only recognized abbreviations are allowed to be used in the clinical record. | ☐ Compliant ☐ Deficient | Click or tap here to enter text. |
| 1-B-8 | The facility must perform a self-survey review of compliance with all QUAD A standards annually prior to the expiration date of its accreditation in each of the two years between QUAD A onsite surveys. The self-survey documentation must be retained for a minimum of 3 years and include: - A completed Self-Survey checklist - A Plan of Correction for any standard identified as non-compliant - Evidence that each plan of correction has been carried out to establish compliance with standards - Evidence that findings from the self-survey have been reviewed, included in the facility's Quality Improvement Plan, and discussed in the facility's Quality Improvement meetings. | ☐ Compliant ☐ Deficient | Click or tap here to enter text. |
| Sub-section E: QUAD A-Mandated Reporting |  |  |  |
| 1-E-1 | Changes in facility ownership must be reported to the QUAD A Central Office within thirty (30) days of the change. | ☐ Compliant ☐ Deficient | Click or tap here to enter text. |
| 1-E-2 | Any change in provider staff must be reported to the QUAD A Central Office, in writing, within thirty (30) days of the change, along with the appropriate credentials. Surgical Programs (ASC, OBS, OBP, PD, OMS, I-DENT, I-SURG): Surgeons, Proceduralists, and Pain Management Providers must submit medical license, board certification or board eligibility, and delineation of facility privileges. RHC: Physicians, Advanced Practice Providers (NP, PA, CNM) and licensed behavior health providers (CP, CSW, MFT, MHC) must submit professional licenses. Physical Therapy (OPT, I-PT): SLP, OT, PT, SLPA, OTA, PTA must submit professional licenses. Polyclinic: Physicians, Dentist, Advanced Practice Providers (NP, PA, CNM), Physiotherapist, and Physical Therapists must submit must professional licenses. | ☐ Compliant ☐ Deficient | Click or tap here to enter text. |
| 1-E-3 | Any action affecting the current professional license of any licensed facility staff must be reported in writing to the QUAD A office within ten (10) days of the time the facility becomes aware of such action. | ☐ Compliant ☐ Deficient | Click or tap here to enter text. |

SECTION 2: FACILITY LAYOUT & ENVIRONMENT

| Standard ID | Standard Language / Regulation | Findings / Comments |  |
| --- | --- | --- | --- |
| Sub-section B: Facility Environment |  |  |  |
| 2-B-19 | Smoking is prohibited in the entire facility. | ☐ Compliant ☐ Deficient | Click or tap here to enter text. |
| Sub-section E: Storage |  |  |  |
| 2-E-3 | As applicable to the setting, outdated medical supplies, instruments, implants, and equipment are removed and destroyed in accordance with federal/national, state, provincial, and local regulations. | ☐ Compliant ☐ Deficient | Click or tap here to enter text. |

SECTION 3: SAFETY

| Standard ID |  | Standard Language / Regulation | Findings / Comments |  |  |
| --- | --- | --- | --- | --- | --- |
| Sub-section D: Medical Hazardous Waste |  |  |  |  |  |
| 3-D-1 | All medical hazardous wastes are disposed of in sealed, labeled containers and stored in compliance with federal/national, state, provincial, and local regulations and/or OSHA (Occupational Safety and Health Administration) acceptable containers and separated from general refuse for special collection and handling. |  |  | ☐ Compliant ☐ Deficient | Click or tap here to enter text. |
| 3-D-4 | Used disposable sharp items are placed in secure puncture-resistant containers that are located as close to the use area as is practical. |  |  | ☐ Compliant ☐ Deficient | Click or tap here to enter text. |
| Sub-section F: Exits |  |  |  |  |  |
| 3-F-1 | Exit signs are posted and illuminated consistent with state/provincial, local, national regulations and/or NFPA codes and OSHA codes. |  |  | ☐ Compliant ☐ Deficient | Click or tap here to enter text. |
| 3-F-3 | There are sufficient emergency lights for exit routes and patient care areas in case of power failure. |  |  | ☐ Compliant ☐ Deficient | Click or tap here to enter text. |

SECTION 5: IN CASE OF EMERGENCY

| Standard ID |  | Standard Language / Regulation | Findings / Comments |  |  |
| --- | --- | --- | --- | --- | --- |
| Sub-section A: Emergency Equipment |  |  |  |  |  |
| 5-A-1 | Emergency cart is immediately available with a defibrillator or automated external defibrillator (AED), necessary drugs, and other CPR equipment (e.g. suction, pediatric defib pads) necessary for the patient population being served. |  |  | ☐ Compliant ☐ Deficient | Click or tap here to enter text. |
| Sub-section D: Emergency Preparedness Plan |  |  |  |  |  |
| 5-D-1 | The facility must comply with all applicable Federal, State, and local emergency preparedness requirements. The facility must establish and maintain an emergency preparedness program that meets the requirements of this section. §491.12 Condition |  |  | ☐ Compliant ☐ Deficient | Click or tap here to enter text. |
| 5-D-2 | Emergency plan: The facility must develop and maintain an emergency preparedness plan that must be reviewed, and updated at least every two (2) years. §491.12(a) Standard |  |  | ☐ Compliant ☐ Deficient | Click or tap here to enter text. |
| 5-D-3 | The plan must be based on and include a documented, facility-based and community-based risk assessment, utilizing an all-hazards approach. §491.12(a)(1) Standard |  |  | ☐ Compliant ☐ Deficient | Click or tap here to enter text. |
| 5-D-4 | The plan must include strategies for addressing emergency events identified by the risk assessment. §491.12(a)(2) Standard |  |  | ☐ Compliant ☐ Deficient | Click or tap here to enter text. |
| 5-D-5 | The plan must address patient population, including, but not limited to, the type of services the facility has the ability to provide in an emergency; and continuity of operations, including delegations of authority and succession plans. §491.12(a)(3) Standard |  |  | ☐ Compliant ☐ Deficient | Click or tap here to enter text. |
| 5-D-7 | The plan must include a process for cooperation and collaboration with local, tribal, regional, State, and Federal emergency preparedness officials' efforts to maintain an integrated response during a disaster or emergency situation. §491.12(a)(4) Standard |  |  | ☐ Compliant ☐ Deficient | Click or tap here to enter text. |
| 5-D-9 | Policies and procedures: The facility must develop and implement emergency preparedness policies and procedures, based on the emergency plan set forth in standard 5-D-2, risk assessment in standard 5-D-3, and the communication plan in standard 5-D-21. The policies and procedures must be reviewed and updated at least every two (2) years. §491.12(b) Standard |  |  | ☐ Compliant ☐ Deficient | Click or tap here to enter text. |
| 5-D-11 | At a minimum, the policies and procedures must address safe evacuation from the facility. §491.12(b)(1) Standard |  |  | ☐ Compliant ☐ Deficient | Click or tap here to enter text. |
| 5-D-12 | Safe evacuation from the facility must include consideration of the care and treatment needs of evacuees. §491.12(b)(1) Standard |  |  | ☐ Compliant ☐ Deficient | Click or tap here to enter text. |
| 5-D-13 | Safe evacuation from the facility must include staff responsibilities. §491.12(b)(1) Standard |  |  | ☐ Compliant ☐ Deficient | Click or tap here to enter text. |
| 5-D-15 | Safe evacuation from the facility must include identification of evacuation locations, such as appropriate placement of exit signs. §491.12(b)(1) Standard |  |  | ☐ Compliant ☐ Deficient | Click or tap here to enter text. |
| 5-D-17 | At a minimum, the policies and procedures must address a means to shelter in place for patients, staff, and volunteers who remain in the facility. §491.12(b)(2) Standard |  |  | ☐ Compliant ☐ Deficient | Click or tap here to enter text. |
| 5-D-18 | At a minimum, the policies and procedures must address a system of medical documentation that preserves patient information, protects confidentiality of patient information, and secures and maintains the availability of records. §491.12(b)(3) Standard |  |  | ☐ Compliant ☐ Deficient | Click or tap here to enter text. |
| 5-D-19 | At a minimum, the policies and procedures must address the use of volunteers in an emergency and other staffing strategies, including the process and role for integration of State and Federally designated health care professionals to address surge needs during an emergency. §491.12(b)(4) Standard |  |  | ☐ Compliant ☐ Deficient | Click or tap here to enter text. |
| 5-D-21 | Communication plan: The facility must develop and maintain an emergency preparedness communication plan that complies with Federal, State, and local laws and must be reviewed and updated at least every two (2) years. §491.12(c) Standard |  |  | ☐ Compliant ☐ Deficient | Click or tap here to enter text. |
| 5-D-22 | The communication plan must include names and contact information for Staff, Entities providing services under arrangement, Patients' physicians, Volunteers, and other facilities within the same Medicare type. §491.12(c)(1) Standard §491.12(c)(1)(i) Standard §491.12(c)(1)(ii) Standard §491.12(c)(1)(iii) Standard §491.12(c)(1)(iv) Standard §491.12(c)(1)(v) Standard |  |  | ☐ Compliant ☐ Deficient | Click or tap here to enter text. |
| 5-D-23 | The communication plan must include contact information for Federal, state, tribal, regional, and local emergency preparedness staff and Other sources of assistance. §491.12(c)(2) Standard §491.12(c)(2)(i) Standard §491.12(c)(2)(ii) Standard |  |  | ☐ Compliant ☐ Deficient | Click or tap here to enter text. |
| 5-D-24 | The communication plan must include primary and alternate means for communicating with facility staff and Federal, State, tribal, regional, and local emergency management agencies. §491.12(c)(3) Standard §491.12(c)(3)(i) Standard §491.12(c)(3)(ii) Standard |  |  | ☐ Compliant ☐ Deficient | Click or tap here to enter text. |
| 5-D-27 | The communication plan must include a means of providing information about the general condition and location of patients under the facility's care as permitted under 45 CFR 164.510(b)(4). §491.12(c)(4) Standard |  |  | ☐ Compliant ☐ Deficient | Click or tap here to enter text. |
| 5-D-28 | The communication plan must include a means of providing information about the facility's needs, and its ability to provide assistance, to the authority having jurisdiction or the Incident Command Center, or designee. §491.12(c)(5) Standard |  |  | ☐ Compliant ☐ Deficient | Click or tap here to enter text. |
| 5-D-29 | Training and testing: The facility must develop and maintain an emergency preparedness training and testing program that is based on the emergency plan set forth in standard 5-D-2, risk assessment in standard 5-D-3, policies and procedures in standard 5-D-9, and the communication plan in standard 5-D-21. The training and testing program must be reviewed and updated at least every two (2) years. §491.12(d) Standard |  |  | ☐ Compliant ☐ Deficient | Click or tap here to enter text. |
| 5-D-30 | The training program must consist of initial training in emergency preparedness policies and procedures to all new and existing staff, individuals providing on-site services under arrangement, and volunteers, consistent with their expected roles. §491.12(d)(1)(i) Standard |  |  | ☐ Compliant ☐ Deficient | Click or tap here to enter text. |
| 5-D-31 | The training program must provide emergency preparedness training at least every two (2) years. §491.12(d)(1)(ii) Standard |  |  | ☐ Compliant ☐ Deficient | Click or tap here to enter text. |
| 5-D-32 | The training program must maintain documentation of all emergency preparedness training. §491.12(d)(1)(iii) Standard |  |  | ☐ Compliant ☐ Deficient | Click or tap here to enter text. |
| 5-D-33 | The training program must demonstrate staff knowledge of emergency procedures. §491.12(d)(1)(iv) Standard |  |  | ☐ Compliant ☐ Deficient | Click or tap here to enter text. |
| 5-D-34 | If the emergency preparedness policies and procedures are significantly updated, the facility must conduct training on the updated policies and procedures. §491.12(d)(1)(v) Standard |  |  | ☐ Compliant ☐ Deficient | Click or tap here to enter text. |
| 5-D-35 | The facility must conduct exercises to test the emergency plan at least annually. §491.12(d)(2) Standard |  |  | ☐ Compliant ☐ Deficient | Click or tap here to enter text. |
| 5-D-36 | The facility must participate in a full-scale exercise that is community-based every two (2) years; or When a community based exercise is not accessible, conduct a facility-based functional exercise every two 2) years; or If the facility experiences an actual natural or man-made emergency that requires activation of the emergency plan, the facility is exempt from engaging in its next required community-based or individual, facility-based functional exercise following the onset of the emergency event. §491.12(d)(2)(i) Standard §491.12(d)(2)(i)(A) Standard §491.12(d)(2)(i)(B) Standard |  |  | ☐ Compliant ☐ Deficient | Click or tap here to enter text. |
| 5-D-37 | The facility must conduct an additional exercise at least every two (2) years, opposite the year the full-scale or functional exercise as required by standard 5-D-36 is conducted, that may include, but is not limited to the following: A) A second full-scale exercise that is community-based, or an individual, facility-based functional exercise; or B) A mock disaster drill; or C) A tabletop exercise or workshop that is led by a facilitator and includes a group discussion using a narrated, clinically-relevant emergency scenario, and a set of problem statements, directed messages, or prepared questions designed to challenge an emergency plan. §491.12(d)(2)(ii) Standard §491.12(d)(2)(ii)(A) Standard §491.12(d)(2)(ii)(B) Standard §491.12(d)(2)(ii)(C) Standard |  |  | ☐ Compliant ☐ Deficient | Click or tap here to enter text. |
| 5-D-38 | The facility must analyze the facility's response to and maintain documentation of all drills, tabletop exercises, and emergency events, and revise the facility's emergency plan, as needed. §491.12(d)(2)(iii) Standard |  |  | ☐ Compliant ☐ Deficient | Click or tap here to enter text. |
| Sub-section E: Emergency Preparedness Plan - Integrated Healthcare Systems |  |  |  |  |  |
| 5-E-1 | If a facility is part of a healthcare system consisting of multiple separately certified healthcare facilities that elects to have a unified and integrated emergency preparedness program, the facility may choose to participate in the healthcare system's coordinated emergency preparedness program. §491.12(e) Standard |  |  | ☐ Compliant ☐ Deficient | Click or tap here to enter text. |
| 5-E-2 | If elected, the unified and integrated emergency preparedness program must demonstrate that each separately certified facility within the system actively participated in the development of the unified and integrated emergency preparedness program. §491.12(e)(1) Standard |  |  | ☐ Compliant ☐ Deficient | Click or tap here to enter text. |
| 5-E-3 | If elected, the unified and integrated emergency preparedness program must be developed and maintained in a manner that takes into account each separately certified facility's unique circumstances, patient populations, and services offered. §491.12(e)(2) Standard |  |  | ☐ Compliant ☐ Deficient | Click or tap here to enter text. |
| 5-E-4 | If elected, the unified and integrated emergency preparedness program must demonstrate that each separately certified facility is capable of actively using the unified and integrated emergency preparedness program and is in compliance with the program. §491.12(e)(3) Standard |  |  | ☐ Compliant ☐ Deficient | Click or tap here to enter text. |
| 5-E-5 | If elected, the unified and integrated emergency preparedness program must include a unified and integrated emergency plan that meets the requirements of standards 5-D-4, 5-D-5, and 5-D-7. §491.12(e)(4) Standard |  |  | ☐ Compliant ☐ Deficient | Click or tap here to enter text. |
| 5-E-7 | If elected, the unified and integrated emergency plan must also be based on and include a documented community-based risk assessment, utilizing an all-hazards approach. §491.12(e)(4)(i) Standard |  |  | ☐ Compliant ☐ Deficient | Click or tap here to enter text. |
| 5-E-8 | If elected, the unified and integrated emergency plan must also be based on and include a documented individual facility-based risk assessment for each separately certified facility within the health system, utilizing an all-hazards approach. §491.12(e)(4)(ii) Standard |  |  | ☐ Compliant ☐ Deficient | Click or tap here to enter text. |
| 5-E-9 | If elected, the unified and integrated emergency preparedness program must include integrated policies and procedures that meet the requirements set forth in 5-D-9, a coordinated communication plan, and training and testing programs that meet the requirements in standards 5-D-21 and 5-D-29, respectively. §491.12(e)(5) Standard |  |  | ☐ Compliant ☐ Deficient | Click or tap here to enter text. |

SECTION 6: MEDICATIONS

| Standard ID |  | Standard Language / Regulation | Findings / Comments |  |  |
| --- | --- | --- | --- | --- | --- |
| Sub-section A: Medications |  |  |  |  |  |
| 6-A-2 | Drugs must be prepared and administered according to established policies and acceptable standards of practice. §416.48(a) Standard |  |  | ☐ Compliant ☐ Deficient | Click or tap here to enter text. |
| 6-A-5 | Outdated medications are removed and destroyed in accordance with federal/national, state, provincial, and local pharmacy regulations. |  |  | ☐ Compliant ☐ Deficient | Click or tap here to enter text. |
| Sub-section D: Controlled Substances |  |  |  |  |  |
| 6-D-3 | All controlled substance transactions, including daily counts and wastes, require verification by two (2) licensed members of the team. (For facilities with only Schedule IV and V controlled substances, one (1) licensed and (1) authorized member of the operating room team may document verification of daily counts and wastes.) These verifications must be completed on any day that the facility is open and/or controlled substances are administered, and in compliance with federal/national, provincial, state, and local regulations. The facility must develop a policy detailing how unlicensed authorized individuals are authorized, if applicable. |  |  | ☐ Compliant ☐ Deficient | Click or tap here to enter text. |
| 6-D-4 | There must be a record of receipt and disposition of all controlled substances. Records must be maintained for a minimum of three (3) years. |  |  | ☐ Compliant ☐ Deficient | Click or tap here to enter text. |
| Sub-section E: ACLS/PALS Algorithm |  |  |  |  |  |
| 6-E-5 | There must be a written protocol for cardiopulmonary resuscitation (CPR). This protocol must include the provision for annual drills, staff training upon hire and annually, drill documentation, and retention of documentation for at least three (3) years. |  |  | ☐ Compliant ☐ Deficient | Click or tap here to enter text. |

SECTION 7: INFECTION PREVENTION AND CONTROL

| Standard ID |  | Standard Language / Regulation | Findings / Comments |  |  |
| --- | --- | --- | --- | --- | --- |
| Sub-section A: Infection Prevention and Control |  |  |  |  |  |
| 7-A-11 | A sterile field is used during all operations and procedures, as applicable. |  |  | ☐ Compliant ☐ Deficient | Click or tap here to enter text. |
| Sub-section B: Hand Hygiene |  |  |  |  |  |
| 7-B-1 | Hand hygiene is performed in accordance with current nationally recognized and/or WHO guidelines and standards of practice. Periodic hand hygiene auditing must be a part of the facility's quality activities. For surgical/procedural facilities: Scrub facilities are provided for the operating room staff. Scrub products (as appropriate), soap, and alcohol cleansers are provided for the operating room staff, consistent with current adopted guidelines and standards of practice for hand hygiene. |  |  | ☐ Compliant ☐ Deficient | Click or tap here to enter text. |
| Sub-section C: Instrument Processing |  |  |  |  |  |
| 7-C-1 | The facility has a written protocol for the reprocessing of all surgical instruments and disinfection of all equipment used in patient care consistent with the manufacturer's instructions for use. |  |  | ☐ Compliant ☐ Deficient | Click or tap here to enter text. |
| 7-C-4 | Single-use devices are not reprocessed unless they are approved by the FDA for reprocessing. Reprocessing of these devices is done by an FDA-approved reprocessor. NOTE: The FDA requirement does not apply to international facilities. International facilities must comply with local, state/provincial or federal/national requirements regarding reprocessing single-use devices. |  |  | ☐ Compliant ☐ Deficient | Click or tap here to enter text. |
| Sub-section D: Sterilization |  |  |  |  |  |
| 7-D-2 | The facility has at least one (autoclave) that uses high-pressure steam and heat, or all sterile items are single-use disposable, or the facility has contracted with an outside vendor to process instruments, if applicable. Instrument reprocessing and sterilization must follow the manufacturer's instructions for use. |  |  | ☐ Compliant ☐ Deficient | Click or tap here to enter text. |
| 7-D-5 | The facility monitors the sterilization cycle's effectiveness in accordance with nationally and internationally recognized standards of practice and in conjunction with the manufacturer's instructions for use. This includes but is not limited to: - Monitoring each sterilizer load for the appropriate mechanical indicators (e.g., time, temperature, and pressure); - Using type 1 (external) and type 5 (internal) chemical indicators; - Weekly biological indicator (spore test) for each sterilizer; - Using a biological indicator for every load containing implantable items; and - Recording evidence of sterilization assurance monitoring for every load, and any corrective action is documented. |  |  | ☐ Compliant ☐ Deficient | Click or tap here to enter text. |
| 7-D-6 | Sterile instruments and supplies are packaged according to the manufacturer’s instructions for use (IFU) and sealed effectively. Self-sealing peel pouches must be folded on the crease and may only be double-pouched when the process is validated by the manufacturer. |  |  | ☐ Compliant ☐ Deficient | Click or tap here to enter text. |
| 7-D-7 | Each sterilized pack is labeled with the date of sterilization and, when applicable, with the expiration date. When the facility has more than one sterilizer, labels must also identify the sterilizer used. |  |  | ☐ Compliant ☐ Deficient | Click or tap here to enter text. |
| 7-D-9 | Comprehensive monitoring records that include quality control are retained for the sterilization or other disinfection process and should be reviewed and stored for a minimum of three (3) years. |  |  | ☐ Compliant ☐ Deficient | Click or tap here to enter text. |
| 7-D-10 | There is a written policy and procedure for the management of a positive biological indicator. |  |  | ☐ Compliant ☐ Deficient | Click or tap here to enter text. |
| 7-D-11 | Immediate use steam sterilization (IUSS) is not done on a routine or frequent practice. |  |  | ☐ Compliant ☐ Deficient | Click or tap here to enter text. |
| Sub-section F: Cleaning |  |  |  |  |  |
| 7-F-4 | All blood and body fluid spills are cleaned using medical-grade germicides that are virucidal, bactericidal, tuberculocidal, and fungicidal. A spill kit is available and readily accessible. |  |  | ☐ Compliant ☐ Deficient | Click or tap here to enter text. |
| 7-F-6 | Instrument handling and reprocessing areas are cleaned and maintained. |  |  | ☐ Compliant ☐ Deficient | Click or tap here to enter text. |

SECTION 11: PERSONNEL

| Standard ID |  | Standard Language / Regulation | Findings / Comments |  |  |
| --- | --- | --- | --- | --- | --- |
| Sub-section C: Surgeons/Proceduralists/Etc. |  |  |  |  |  |
| 11-C-6 | The facility must have written policies and procedures that address the criteria for clinical staff privileges and the process that the facility's leadership body uses when reviewing physician, APRN, PA, and other licensed healthcare professional credentials and determining whether to grant privileges and the scope of the privileges for each practitioner. |  |  | ☐ Compliant ☐ Deficient | Click or tap here to enter text. |
| Sub-section E: Facility Staffing |  |  |  |  |  |
| 11-E-5 | All individuals using the clinic must meet one of the following criteria: - A Doctor of Medicine - A Doctor of Osteopathy - Physician Assistant - Nurse Practitioner - Certified Nurse Midwife - Psychologist - State Licensed Mental Health Professional (Social worker, Marriage and Family Therapist, Professional Counselor) |  |  | ☐ Compliant ☐ Deficient | Click or tap here to enter text. |
| Sub-section I: Personnel Training |  |  |  |  |  |
| 11-I-1 | Each personnel record has evidence of annual hazard safety training. |  |  | ☐ Compliant ☐ Deficient | Click or tap here to enter text. |
| 11-I-2 | Each personnel record has evidence of annual blood borne pathogen training. |  |  | ☐ Compliant ☐ Deficient | Click or tap here to enter text. |
| 11-I-3 | Each personnel record has evidence of annual standard precaution training. |  |  | ☐ Compliant ☐ Deficient | Click or tap here to enter text. |

SECTION 14: RURAL HEALTH CLINIC (RHC)

| Standard ID |  | Standard Language / Regulation | Findings / Comments |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Sub-section A: Compliance with Federal, State and Local Laws |  |  |  |  |  |  |
| 14-A-1 | The rural health clinic and its staff are in compliance with applicable Federal, State, and local laws and regulations. §491.4 Condition |  |  | ☐ Compliant ☐ Deficient | Click or tap here to enter text. |  |
| 14-A-2 | The rural health clinic is licensed pursuant to applicable State and local law. §491.4(a) Standard |  |  | ☐ Compliant ☐ Deficient | Click or tap here to enter text. |  |
| 14-A-3 | The staff of the rural health clinic are licensed, certified or registered in accordance with applicable State and local laws. §491.4(b) Standard |  |  | ☐ Compliant ☐ Deficient | Click or tap here to enter text. |  |
| Sub-section B: Location of Clinic |  |  |  |  |  |  |
| 14-B-1 | Location of clinic. §491.5 Condition |  |  | ☐ Compliant ☐ Deficient | Click or tap here to enter text. |  |
| 14-B-2 | The rural health clinic may be a permanent or mobile unit. §491.5(a)(3) Standard |  |  | ☐ Compliant ☐ Deficient | Click or tap here to enter text. |  |
| 14-B-3 | If the clinic is a permanent structure, the objects, equipment, and supplies necessary for the provision of the services furnished directly by the clinic are housed in a permanent structure. §491.5(a)(3)(i) Standard |  |  | ☐ Compliant ☐ Deficient | Click or tap here to enter text. |  |
| 14-B-4 | If the clinic is a mobile unit, the objects, equipment, and supplies necessary for the provision of the services furnished directly by the clinic are housed in a mobile structure, which has fixed, scheduled location(s). §491.5(a)(3)(ii) Standard |  |  | ☐ Compliant ☐ Deficient | Click or tap here to enter text. |  |
| 14-B-5 | If the clinic or center services are furnished at permanent units in more than one location, each unit is independently considered for approval as a rural health clinic. §491.5(a)(3)(iii) Standard |  |  | ☐ Compliant ☐ Deficient | Click or tap here to enter text. |  |
| Sub-section C: Physical Plant and Environment |  |  |  |  |  |  |
| 14-C-1 | Physical Plant and Environment §491.6 Condition |  |  | ☐ Compliant ☐ Deficient |  | Click or tap here to enter text. |
| 14-C-2 | The clinic is constructed, arranged, and maintained to insure access to and safety of patients, and provides adequate space for the provision of direct services. §491.6(a) Standard |  |  | ☐ Compliant ☐ Deficient |  | Click or tap here to enter text. |
| 14-C-3 | The clinic has a preventive maintenance program to ensure that all essential mechanical, electric and patient-care equipment is maintained in safe operating condition. §491.6(b) Standard §491.6(b)(1) Standard |  |  | ☐ Compliant ☐ Deficient |  | Click or tap here to enter text. |
| 14-C-4 | The clinic keeps the drugs and biologicals appropriately stored. §491.6(b)(2) Standard |  |  | ☐ Compliant ☐ Deficient |  | Click or tap here to enter text. |
| 14-C-5 | The clinic premises are kept clean and orderly. §491.6(b)(3) Standard |  |  | ☐ Compliant ☐ Deficient |  | Click or tap here to enter text. |
| Sub-section D: Organizational Structure |  |  |  |  |  |  |
| 14-D-1 | Organizational Structure. §491.7 Condition |  |  | ☐ Compliant ☐ Deficient |  | Click or tap here to enter text. |
| 14-D-2 | The clinic is under the medical direction of a physician, and has a healthcare staff that knows and meets the basic requirements of QUAD A Section 14-D. §491.7(a)(1) Standard |  |  | ☐ Compliant ☐ Deficient |  | Click or tap here to enter text. |
| 14-D-3 | The clinic organizational policies and lines of authority and responsibilities are clearly set forth in writing. §491.7(a)(2) Standard |  |  | ☐ Compliant ☐ Deficient |  | Click or tap here to enter text. |
| 14-D-4 | The clinic clearly discloses the names and addresses of its owners, in accordance with section 1124 of the Social Security Act (42 U.S.C. 132 A–3). §491.7(b) Standard §491.7(b)(1) Standard |  |  | ☐ Compliant ☐ Deficient |  | Click or tap here to enter text. |
| 14-D-5 | The clinic has clearly disclosed the name and address of the person principally responsible for directing the operation of the clinic. §491.7(b)(2) Standard |  |  | ☐ Compliant ☐ Deficient |  | Click or tap here to enter text. |
| 14-D-6 | The clinic has clearly disclosed the name and address of the person principally responsible for medical direction of the clinic. §491.7(b)(3) Standard |  |  | ☐ Compliant ☐ Deficient |  | Click or tap here to enter text. |
| Sub-section E: Staffing and Staff Responsibilities |  |  |  |  |  |  |
| 14-E-1 | Physician - As it pertains to the supervision, collaboration, and oversight requirements in sections 1861 (aa)(2)(B) and (aa)(3) of the Social Security Act; a doctor of medicine or osteopathy legally authorized to practice medicine or surgery in the State in which the function is performed; and - Within limitations as to the specific services furnished, a doctor of dental surgery or of dental medicine, a doctor of optometry, a doctor of podiatry or surgical chiropody or a chiropractor (see section 1861(r) of the Social Security Act for specific limitations). §491.2 Condition |  |  | ☐ Compliant ☐ Deficient |  | Click or tap here to enter text. |
| 14-E-2 | Nurse practitioner means a person who meets the applicable State's requirements governing the qualifications of nurse practitioners, and who meets at least one of the following conditions: - Is certified as a primary care nurse practitioner by a recognized national certifying body that has established standards for nurse practitioners and possesses a master’s or doctoral degree in nursing practice; or - Has satisfactorily completed a formal 1 academic year educational program that: - Prepares registered nurses to perform an expanded role in the delivery of primary care; - Includes at least 4 months (in the aggregate) of classroom instruction and a component of supervised clinical practice; and - Awards a degree, diploma, or certificate to persons who successfully complete the program; or - Has successfully completed a formal educational program (for preparing registered nurses to perform an expanded role in the delivery of primary care) that does not meet the requirements of paragraph (2) of this definition, and has been performing an expanded role in the delivery of primary care for a total of 12 months during the 18-month period immediately preceding the effective date of this subpart. §491.2 Condition |  |  | ☐ Compliant ☐ Deficient |  | Click or tap here to enter text. |
| 14-E-3 | Physician assistant - The Physician assistant meets the applicable State requirements governing the qualifications for assistants to primary care physicians. - The Physician assistant is currently certified by the National Commission on Certification of Physician Assistants to assist primary care physicians; or - The Physician assistant has satisfactorily completed a program for preparing physician's assistants that was at least one academic year in length. - The Physician assistant has satisfactorily completed a supervised clinical practice and at least four (4) months (in the aggregate) of classroom instruction directed toward preparing students to deliver health care. - The Physician assistant has satisfactorily completed a supervised clinical practice and at least four (4) months (in the aggregate) of classroom instruction directed toward preparing students to deliver health care which was accredited by the American Medical Association's Committee on Allied Health Education and Accreditation. - The Physician assistant has satisfactorily completed a formal educational program (for preparing physician assistants) that does not meet the requirements of paragraph (2) of this definition and assisted primary care physicians for a total of 12 months during the 18-month period that ended on December 31, 1986. §491.2 Condition |  |  | ☐ Compliant ☐ Deficient |  | Click or tap here to enter text. |
| 14-E-4 | Staffing and staff responsibilities. §491.8 Condition |  |  | ☐ Compliant ☐ Deficient |  | Click or tap here to enter text. |
| 14-E-5 | The clinic has health care staff that includes one or more physicians, and one or more physician's assistants or nurse practitioners. §491.8(a)(1) Standard |  |  | ☐ Compliant ☐ Deficient |  | Click or tap here to enter text. |
| 14-E-6 | The physician member of the staff may be the owner of the rural health clinic, an employee of the clinic, or under agreement with the clinic to carry out the responsibilities required under QUAD A Section 14-D. §491.8(a)(2) Standard |  |  | ☐ Compliant ☐ Deficient |  | Click or tap here to enter text. |
| 14-E-7 | The physician assistant, nurse practitioner, certified nurse-midwife, clinical social worker, clinical psychologist, marriage and family therapist or mental health counselor member of the staff may be the owner, an employee of the clinic, or may furnish service under contract to the clinic. At least one physician assistant or nurse practitioner must be an employee of the clinic. §491.8(a)(3) Standard |  |  | ☐ Compliant ☐ Deficient |  | Click or tap here to enter text. |
| 14-E-8 | The clinic staff may include ancillary personnel who are supervised by the professional staff. §491.8(a)(4) Standard |  |  | ☐ Compliant ☐ Deficient |  | Click or tap here to enter text. |
| 14-E-9 | The clinic staff is sufficient to provide essential services for the operation of the clinic. §491.8(a)(4) Standard §491.8(a)(5) Standard |  |  | ☐ Compliant ☐ Deficient |  | Click or tap here to enter text. |
| 14-E-10 | There is a physician, certified nurse practitioner, physician assistant, certified nurse-midwife, clinical social worker, clinical psychologist, marriage and family therapist, or a mental health counselor available to furnish patient care services at all times the clinic operates. In addition, for RHCs, a certified nurse practitioner, physician assistant, or certified nurse-midwife is available to furnish patient care services at least 50 percent of the time the RHC operates. §491.8(a)(6) Standard |  |  | ☐ Compliant ☐ Deficient |  | Click or tap here to enter text. |
| 14-E-11 | The clinic physician provides medical direction for the clinic's health care activities and consultation for, and medical supervision of, the health care staff. §491.8(b) Standard §491.8(b)(1) Standard |  |  | ☐ Compliant ☐ Deficient |  | Click or tap here to enter text. |
| 14-E-12 | The clinic physician in conjunction with the physician's assistant and/or nurse practitioner member(s), participates in developing, executing, and periodically reviewing the clinic's written policies and services provided to Federal program patients. §491.8(b)(2) Standard |  |  | ☐ Compliant ☐ Deficient |  | Click or tap here to enter text. |
| 14-E-13 | The clinic physician periodically reviews the clinic's patient records, provides medical orders, and provides medical patient care services to the patients of the clinic. §491.8(b)(3) Standard |  |  | ☐ Compliant ☐ Deficient |  | Click or tap here to enter text. |
| 14-E-14 | The physician assistant and the nurse practitioner members of the clinic's staff participate in the development, execution and periodic review of the written policies governing the services the clinic furnishes. §491.8(c) Standard §491.8(c)(1) Standard §491.8(c)(1)(i) Standard |  |  | ☐ Compliant ☐ Deficient |  | Click or tap here to enter text. |
| 14-E-15 | The physician assistant and the nurse practitioner members of the clinic's staff participate with a physician in a periodic review of the patient's health records. §491.8(c)(1)(ii) Standard |  |  | ☐ Compliant ☐ Deficient |  | Click or tap here to enter text. |
| 14-E-16 | The physician assistant or nurse practitioner performs the following functions, to the extent they are not being performed by a physician: Provides services in accordance with the clinic's policies. §491.8(c)(2) Standard §491.8(c)(2)(i) Standard |  |  | ☐ Compliant ☐ Deficient |  | Click or tap here to enter text. |
| 14-E-17 | The physician assistant or nurse practitioner perform the following functions, to the extent they are not being performed by a physician: arranges for, or refers patients to, needed services that cannot be provided at the clinic. §491.8(c)(2)(ii) Standard |  |  | ☐ Compliant ☐ Deficient |  | Click or tap here to enter text. |
| 14-E-18 | The physician assistant or nurse practitioner performs the following functions, to the extent they are not being performed by a physician: assure that adequate patient health records are maintained and transferred as required when patients are referred. §491.8(c)(2)(iii) Standard |  |  | ☐ Compliant ☐ Deficient |  | Click or tap here to enter text. |
| 14-E-20 | Certified nurse-midwife (CNM) means an individual who meets the applicable education, training, and other requirements at § 410.77(a) of this chapter. §491.2. Condition |  |  | ☐ Compliant ☐ Deficient |  | Click or tap here to enter text. |
| 14-E-21 | Clinical psychologist (CP) means an individual who meets the applicable education, training, and other requirements of § 410.71(d) of this chapter. §491.2 Condition |  |  | ☐ Compliant ☐ Deficient |  | Click or tap here to enter text. |
| 14-E-22 | Clinical social worker means an individual who meets the applicable education, training, and other requirements at § 410.73(a) of this chapter. §491.2 Condition |  |  | ☐ Compliant ☐ Deficient |  | Click or tap here to enter text. |
| 14-E-23 | Marriage and family therapist means an individual who meets the applicable education, training, and other requirements at § 410.53 of this chapter. §491.2 Condition |  |  | ☐ Compliant ☐ Deficient |  | Click or tap here to enter text. |
| 14-E-24 | Mental health counselor means an individual who meets the applicable education, training, and other requirements at § 410.54 of this chapter. §491.2 Condition |  |  | ☐ Compliant ☐ Deficient |  | Click or tap here to enter text. |
| Sub-section F: Provision of Services |  |  |  |  |  |  |
| 14-F-1 | Provision of services. §491.9 Condition |  |  | ☐ Compliant ☐ Deficient |  | Click or tap here to enter text. |
| 14-F-2 | All services offered by the clinic are furnished in accordance with applicable Federal, State, and local laws. §491.9(a) Standard §491.9(a)(1) Standard |  |  | ☐ Compliant ☐ Deficient |  | Click or tap here to enter text. |
| 14-F-3 | The clinic is primarily engaged in providing outpatient health services and meets all other conditions of this subpart. §491.9(a)(2) Standard |  |  | ☐ Compliant ☐ Deficient |  | Click or tap here to enter text. |
| 14-F-4 | The clinic's health care services are furnished in accordance with appropriate written policies which are consistent with applicable State Law. §491.9(b) Standard §491.9(b)(1) Standard |  |  | ☐ Compliant ☐ Deficient |  | Click or tap here to enter text. |
| 14-F-5 | The clinic's policies are developed with the advice of a group of professional personnel that includes one or more physicians and one or more physician assistants or nurse practitioners, and at least one member that is not a member of the clinic staff. §491.9(b)(2) Standard |  |  | ☐ Compliant ☐ Deficient |  | Click or tap here to enter text. |
| 14-F-6 | The clinic's policies include a description of the services the clinic furnished directly and those furnished through agreement or arrangement. §491.9(b)(3) Standard §491.9(b)(3)(i) Standard |  |  | ☐ Compliant ☐ Deficient |  | Click or tap here to enter text. |
| 14-F-7 | The clinic's policies include guidelines for the medical management of health problems which include the conditions requiring medical consultation and/or patient referral, the maintenance of health care records, and procedures for the periodic review and evaluation of the services furnished by the clinic or center. §491.9(b)(3)(ii) Standard |  |  | ☐ Compliant ☐ Deficient |  | Click or tap here to enter text. |
| 14-F-8 | The clinic's policies include rules for the storage, handling, and administration of drugs and biologicals. §491.9(b)(3)(iii) Standard |  |  | ☐ Compliant ☐ Deficient |  | Click or tap here to enter text. |
| 14-F-9 | The clinic's policies are reviewed at least biennially by the group of professional personnel identified in standard 14-E-4 and reviewed as necessary by the RHC. §491.9(b)(4) Standard |  |  | ☐ Compliant ☐ Deficient |  | Click or tap here to enter text. |
| 14-F-10 | The clinic staff furnish those diagnostic and therapeutic services and supplies that are commonly furnished in a physician's office or at the entry point into the health care delivery system including medical history, physical examination, assessment of health status, and treatment for a variety of medical conditions. §491.9(c)(1) Standard |  |  | ☐ Compliant ☐ Deficient |  | Click or tap here to enter text. |
| 14-F-11 | The clinic provides laboratory services which implements the provisions of section 353 of the Public Health Service Act wherein the RHC provides basic laboratory services essential to the immediate diagnosis and treatment of the patient. §491.9(a)(4) Standard §491.9(c)(2) Standard |  |  | ☐ Compliant ☐ Deficient |  | Click or tap here to enter text. |
| 14-F-12 | The RHC provides basic laboratory services essential to the immediate diagnosis and treatment of the patient, including chemical examinations of urine by stick or tablet method or both (including urine ketones). §491.9(a)(4) Standard §491.9(c)(2)(i) Standard |  |  | ☐ Compliant ☐ Deficient |  | Click or tap here to enter text. |
| 14-F-14 | The RHC provides basic laboratory services essential to the immediate diagnosis and treatment of the patient, including blood glucose. §491.9(a)(4) Standard §491.9(c)(2)(ii) Standard |  |  | ☐ Compliant ☐ Deficient |  | Click or tap here to enter text. |
| 14-F-16 | The RHC provides basic laboratory services essential to the immediate diagnosis and treatment of the patient, including pregnancy tests. §491.9(a)(4) Standard §491.9(c)(2)(iii) Standard |  |  | ☐ Compliant ☐ Deficient |  | Click or tap here to enter text. |
| 14-F-17 | The RHC provides basic laboratory services essential to the immediate diagnosis and treatment of the patient, including the collection of patient specimens for transmittal to a certified laboratory for culturing. §491.9(a)(4) Standard §491.9(c)(2)(iv) Standard |  |  | ☐ Compliant ☐ Deficient |  | Click or tap here to enter text. |
| 14-F-18 | The clinic provides medical emergency procedures as a first response to common life-threatening injuries and acute illness and has available the drugs and biological commonly used in life saving procedures, such as analgesics, anesthetics (local), antibiotics, anticonvulsants, antidotes and emetics, serums and toxoids. §491.9(c)(3) Standard |  |  | ☐ Compliant ☐ Deficient |  | Click or tap here to enter text. |
| 14-F-19 | The clinic has current agreements or arrangements with one or more providers or suppliers participating under Medicare or Medicaid to furnish other services to its patients, including inpatient hospital care. §491.9(d) Standard §491.9(d)(1) Standard §491.9(d)(1)(i) Standard |  |  | ☐ Compliant ☐ Deficient |  | Click or tap here to enter text. |
| 14-F-20 | The clinic has agreements or arrangements with one or more providers or suppliers participating under Medicare or Medicaid to furnish other services to its patients, including physician(s) services (whether furnished in the hospital, the office, the patient's home, a skilled nursing facility, or elsewhere). §491.9(d)(1)(ii) Standard |  |  | ☐ Compliant ☐ Deficient |  | Click or tap here to enter text. |
| 14-F-21 | The clinic has current agreements or arrangements with one or more providers or suppliers participating under Medicare or Medicaid to furnish other services to patients including additional and specialized diagnostic and laboratory services that are not available at the clinic. §491.9(d)(1)(iii) Standard |  |  | ☐ Compliant ☐ Deficient |  | Click or tap here to enter text. |
| 14-F-22 | If the agreements are not in writing, there is evidence that patients referred by the clinic are being accepted and treated. §491.9(d)(2) Standard |  |  | ☐ Compliant ☐ Deficient |  | Click or tap here to enter text. |
| 14-F-23 | The RHC must provide primary care services. §491.9(a)(3) Standard |  |  | ☐ Compliant ☐ Deficient |  | Click or tap here to enter text. |
| Sub-section G: Patient Clinical Records |  |  |  |  |  |  |
| 14-G-1 | Patient health records. §491.0 Condition |  |  | ☐ Compliant ☐ Deficient |  | Click or tap here to enter text. |
| 14-G-2 | The clinic maintains a clinical record system in accordance with written policies and procedures. §491.10(a) Standard §491.10(a)(1) Standard |  |  | ☐ Compliant ☐ Deficient |  | Click or tap here to enter text. |
| 14-G-3 | The clinic has a designated member of the professional staff who is responsible for maintaining the records and for insuring that they are completely and accurately documented, readily accessible, and systematically organized. §491.10(a)(2) Standard |  |  | ☐ Compliant ☐ Deficient |  | Click or tap here to enter text. |
| 14-G-4 | For each patient receiving health care services, the clinic or center maintains a record that includes identification and social data, evidence of consent forms, pertinent medical history, assessment of the health status and health care needs of the patient, and a brief summary of the episode, disposition, and instructions to the patient. §491.10(a)(3) Standard §491.10(a)(3)(i) Standard |  |  | ☐ Compliant ☐ Deficient |  | Click or tap here to enter text. |
| 14-G-5 | For each patient receiving health care services, the clinic or center maintains a record that includes reports of physical examinations, diagnostic and laboratory test results, and consultative findings. §491.10(a)(3)(ii) Standard |  |  | ☐ Compliant ☐ Deficient |  | Click or tap here to enter text. |
| 14-G-6 | For each patient receiving health care services, the clinic or center maintains a record that includes all physician's orders, reports of treatments and medications, and other pertinent information necessary to monitor the patient's progress. §491.10(a)(3)(iii) Standard |  |  | ☐ Compliant ☐ Deficient |  | Click or tap here to enter text. |
| 14-G-7 | For each patient receiving health care services, the clinic or center maintains a record that includes signatures of the physician or other health care professional. §491.10(a)(3)(iv) Standard |  |  | ☐ Compliant ☐ Deficient |  | Click or tap here to enter text. |
| 14-G-8 | The clinic maintains the confidentiality of record information and provides safeguards against loss, destruction or unauthorized use. §491.10(b) Standard §491.10(b)(1) Standard |  |  | ☐ Compliant ☐ Deficient |  | Click or tap here to enter text. |
| 14-G-9 | The clinic has written policies and procedures in place that govern the use and removal of records from the clinic and the conditions for release of information. §491.10(b)(2) Standard |  |  | ☐ Compliant ☐ Deficient |  | Click or tap here to enter text. |
| 14-G-10 | The clinic has written policies and procedures in place requiring the patient's written consent for release of information not authorized to be released without such consent. §491.10(b)(3) Standard |  |  | ☐ Compliant ☐ Deficient |  | Click or tap here to enter text. |
| 14-G-11 | The clinic has written policies and procedures in place for retention of records to be retained for at least six (6) years from date of last entry, and longer if required by State statute. §491.10(c) Standard |  |  | ☐ Compliant ☐ Deficient |  | Click or tap here to enter text. |
| Sub-section H: Program Evaluation |  |  |  |  |  |  |
| 14-H-1 | Program evaluation. §491.11 Condition |  |  | ☐ Compliant ☐ Deficient |  | Click or tap here to enter text. |
| 14-H-2 | The clinic has carried out, or arranged for, a biennial evaluation of its total program. Compliance Note: A facility operating for less than one year or in the start-up phase may satisfy the standard without having conducted a program evaluation as long as the facility has a written plan specifying the party responsible for conducting the program evaluation, how the evaluation is to be conducted, a time frame for completing the evaluation, and the areas of operation to be covered by the evaluation. §491.11(a) Standard |  |  | ☐ Compliant ☐ Deficient |  | Click or tap here to enter text. |
| 14-H-3 | The clinic conducts an evaluation, including a review of the utilization of clinic services, including at least the number of patients served and the volume of services. Compliance Note: A facility operating for less than one year or in the start-up phase may satisfy the standard without having conducted a program evaluation as long as the facility has a written plan specifying the party responsible for conducting the program evaluation, how the evaluation is to be conducted, a time frame for completing the evaluation, and the areas of operation to be covered by the evaluation. §491.11(b) Standard §491.11(b)(1) Standard |  |  | ☐ Compliant ☐ Deficient |  | Click or tap here to enter text. |
| 14-H-4 | The clinic conducts an evaluation, including a representative sample of both active and closed clinical records. Compliance Note: A facility operating for less than one year or in the start-up phase may satisfy the standard without having conducted a program evaluation as long as the facility has a written plan specifying the party responsible for conducting the program evaluation, how the evaluation is to be conducted, a time frame for completing the evaluation, and the areas of operation to be covered by the evaluation. §491.11(b)(2) Standard |  |  | ☐ Compliant ☐ Deficient |  | Click or tap here to enter text. |
| 14-H-5 | The clinic conducts an evaluation, including a review of the clinic's health care policies. Compliance Note: A facility operating for less than one year or in the start-up phase may satisfy the standard without having conducted a program evaluation as long as the facility has a written plan specifying the party responsible for conducting the program evaluation, how the evaluation is to be conducted, a time frame for completing the evaluation, and the areas of operation to be covered by the evaluation. §491.11(b)(3) Standard |  |  | ☐ Compliant ☐ Deficient |  | Click or tap here to enter text. |
| 14-H-6 | The clinic conducts an evaluation to determine whether the utilization of services were appropriate. Compliance Note: A facility operating for less than one year or in the start-up phase may satisfy the standard without having conducted a program evaluation as long as the facility has a written plan specifying the party responsible for conducting the program evaluation, how the evaluation is to be conducted, a time frame for completing the evaluation, and the areas of operation to be covered by the evaluation. §491.11(c) Standard §491.11(c)(1) Standard |  |  | ☐ Compliant ☐ Deficient |  | Click or tap here to enter text. |
| 14-H-7 | The clinic conducts an evaluation to determine whether the established policies were followed. Compliance Note: A facility operating for less than one year or in the start-up phase may satisfy the standard without having conducted a program evaluation as long as the facility has a written plan specifying the party responsible for conducting the program evaluation, how the evaluation is to be conducted, a time frame for completing the evaluation, and the areas of operation to be covered by the evaluation. §491.11(c)(2) Standard |  |  | ☐ Compliant ☐ Deficient |  | Click or tap here to enter text. |
| 14-H-8 | The clinic conducts an evaluation to determine whether any changes are needed. Compliance Note: A facility operating for less than one year or in the start-up phase may satisfy the standard without having conducted a program evaluation as long as the facility has a written plan specifying the party responsible for conducting the program evaluation, how the evaluation is to be conducted, a time frame for completing the evaluation, and the areas of operation to be covered by the evaluation. §491.11(c)(3) Standard |  |  | ☐ Compliant ☐ Deficient |  | Click or tap here to enter text. |
| 14-H-9 | The clinic staff considers the findings of the evaluation and has taken correct action if necessary. Compliance Note: A facility operating for less than one year or in the start-up phase may satisfy the standard without having conducted a program evaluation as long as the facility has a written plan specifying the party responsible for conducting the program evaluation, how the evaluation is to be conducted, a time frame for completing the evaluation, and the areas of operation to be covered by the evaluation. §491.11(d) Standard |  |  | ☐ Compliant ☐ Deficient |  | Click or tap here to enter text. |

APPENDIX 2: RHC BASIC MANDATES

| Standard ID | Standard Language / Regulation | Findings / Comments |
| --- | --- | --- |
|  | This subpart sets forth the conditions that rural health clinics must meet in order to qualify for reimbursement under Medicare (title XVIII of the Social Security Act) and that rural health clinics must meet in order to qualify for reimbursement under Medicaid (title XIX of the Act). §491.1 Condition | SOM Appendix G - Guidance for Surveyors - RHCs |
|  | A rural health clinic will be certified for participation in Medicare in accordance with subpart S of 42 CFR part 405. The Secretary will notify the State Medicaid agency whenever he has certified or denied certification under Medicare for a prospective rural health clinic in that State. A clinic certified under Medicare will be deemed to meet the standards for certification under Medicaid. §491.3 Condition | SOM Appendix G - Guidance for Surveyors - RHCs |

APPENDIX 3: LOCATION OF RHC

| Standard ID | Standard Language / Regulation | Interpretive Guidance |
| --- | --- | --- |
|  | QUAD A evaluates whether an RHC meets the eligibility requirements at the time of initial survey by collecting a current Health Professional Shortage Area (HPSA) or Medically Underserved Area (MUA) designation and evidence that the clinic is located in a non-urbanized area via US Census Bureau Reports. | SOM Appendix G - Guidance for Surveyors - RHCs |
|  | QUAD A does not assess if the facility meets the definition of a rural, shortage area as part of the resurvey process. | SOM Appendix G - Guidance for Surveyors - RHCs |
|  | QUAD A will evaluate whether an RHC meets the eligibility requirements. The CMS Regional Office makes the final determination. | SOM Appendix G - Guidance for Surveyors - RHCs |
|  | QUAD A will assess whether a clinic meets the requirements for a clinic operating as of July 1, 1977 based on consultation with the State Agency and Regional Office. The CMS Regional Office makes the final determination based on the following materials provided by QUAD A: - A description of the geographic boundaries of the facility’s service area - Information developed through consultation with the PHS RO staff about whether the area, or any portion of the area, had ever been reviewed for designation under any of the applicable sections of the PHS Act; - Identification of any designated population group or institution in the facility’s service area; - Information secured from the appropriate??Health Systems Agency and the State Health Planning and Development Agency about the primary care resources available in the facility’s service area; - Information about any planning, developmental, or operating funds awarded to the facility by the county, State, or Federal Government to assist in providing greater access to health care in the area; - Information about the factors considered in determining where the facility was to be located; and - Any additional information the SA or RO feels is relevant. | SOM Appendix G - Guidance for Surveyors - RHCs |
|  | The location of the rural health clinic meets all basic requirements, and is in a rural area that is designated as a shortage area. §491.5(a)(1) Standard | SOM Appendix G - Guidance for Surveyors - RHCs |
|  | Exception: CMS does not disqualify an RHC approved under this subpart if the area in which it is located subsequently fails to meet the definition of a rural, shortage area. §491.5(b)(1) Standard | SOM Appendix G - Guidance for Surveyors - RHCs |
|  | Exception: A private, nonprofit facility that meets all other conditions of this subpart except for location in a shortage area will be certified if, on July 1, 1977, it was operating in a rural area that is determined by the Secretary (on the basis of the ratio of primary care physicians to the general population) to have an insufficient supply of physicians to meet the needs of the area served. §491.5(b)(2) Standard | SOM Appendix G - Guidance for Surveyors - RHCs |
|  | Exception: Determinations on these exceptions will be made by the Secretary upon application by the facility. §491.5(b)(3) Standard | SOM Appendix G - Guidance for Surveyors - RHCs |
|  | Rural areas are areas not delineated as urbanized areas in the last census conducted by the Census Bureau. §491.5(c)(1) Standard | SOM Appendix G - Guidance for Surveyors - RHCs |
|  | Excluded from the rural area classification are: - Central cities of 50,000 inhabitants or more; - Cities with at least 25,000 inhabitants which, together with contiguous areas having stipulated population density, have combined populations of 50,000 and constitute, for general economic and social purposes, single communities; - Closely settled territories surrounding cities and specifically designated by the Census Bureau as urban. §491.5(c)(2) Standard §491.5(c)(2)(i) Standard §491.5(c)(2)(ii) Standard §491.5(c)(2)(iii) Standard | SOM Appendix G - Guidance for Surveyors - RHCs |
|  | Included in the rural area classification are those portions of extended cities that the Census Bureau has determined to be rural. §491.5(c)(3) Standard | SOM Appendix G - Guidance for Surveyors - RHCs |
|  | The criteria for determination of shortage of personal health services (under section 1302(7) of the Public Health Services Act), are: - The ratio of primary care physicians practicing within the area to the resident population; - The infant mortality rate; - The percent of the population 65 years of age or older; and - The percent of the population with a family income below the poverty level. §491.5(d) Standard §491.5(d)(1) Standard §491.5(d)(1)(i) Standard §491.5(d)(1)(ii) Standard §491.5(d)(1)(iii) Standard §491.5(d)(1)(iv) Standard | SOM Appendix G - Guidance for Surveyors - RHCs |
|  | The criteria for determination of shortage of primary medical care manpower (under section 332(a)(1)(A) of the Public Health Services Act) are: - The area served is a rational area for the delivery of primary medical care services; - The ratio of primary care physicians practicing within the area to the resident population; and - The primary medical care manpower in contiguous areas is overutilized, excessively distant, or inaccessible to the population in this area. §491.5(d)(2) Standard §491.5(d)(2)(i) Standard §491.5(d)(2)(ii) Standard §491.5(d)(2)(iii) Standard | SOM Appendix G - Guidance for Surveyors - RHCs |
|  | A medically underserved population includes the following: - A population of an urban or rural area that is designated by PHS as having a shortage of personal health services. - A population group that is designated by PHS as having a shortage of personal health services. §491.5(e) Standard §491.5(e)(1) Standard §491.5(e)(2) Standard | SOM Appendix G - Guidance for Surveyors - RHCs |

GENERAL GLOSSARY FOR ALL PROGRAMS

Adequate: Satisfactory or acceptable in quality or quantity, encompassing size, space, maintenance, cleanliness, freedom from clutter, lighting, equipment, and supplies, etc.; it is meant to satisfy a requirement.

Advanced Cardiac Life Support (ACLS): A course that trains and certifies participants in a set of clinical guidelines for the urgent and emergent treatment of life-threatening cardiovascular conditions in adults that will cause or have caused cardiac arrest using advanced medical procedures, medications, and techniques through didactic and hands-on skills return demonstration sessions. It builds on the foundation of lifesaving basic life support (BLS) skills. It reflects science and education from the American Heart Association Guidelines Update for CPR and Emergency Cardiovascular Care (ECC). The course is approved by the American Heart Association (AHA) or an identical content course that conforms to the current AHA Guidelines.

*** Advanced practice registered nurses (APRNs): Licensed registered nurses educated at a master’s or doctoral level and in a specific role and patient population. APRNs are prepared with specialized education and certification to assess, diagnose, and manage medical issues. They can also order tests and prescribe medications. APRNs include:

- Certified registered nurse anesthetist (CRNA).

- Certified nurse practitioner (CNP).

- Clinical nurse specialist (CNS).

- Certified nurse midwife (CNM).

Adverse event: An incident in health care that causes unintended harm to patients or providers and is often preventable. Common adverse events include but are not limited to, medication errors, surgical mistakes, infections acquired in healthcare settings, falls, pressure ulcers, and communication failures. All adverse events that occur within 30 (thirty) days of the procedure must be reported to QUAD A contemporaneously when the facility learns of the event.

Air Exchanges Per Hour (ACH): The number of times that the total air volume in a room or space is completely removed and replaced in an hour.

*** Ambulatory surgical center (ASC): Ambulatory surgical center or ASC means any distinct entity that operates exclusively for the purpose of providing surgical services to patients not requiring hospitalization and in which the expected duration of services would not exceed 24 hours following an admission. The entity must have an agreement with CMS to participate in Medicare as an ASC and must meet the conditions set forth in subparts B and C of 416.2. [42 CFR 416.2]

Ambulatory Services: for the period before January 1, 2008, facility services that are furnished in an ASC, and beginning January 1, 2008, means the combined facility services and covered ancillary services that are furnished in an ASC in connection with covered surgical procedures. [42 CFR 416.2]

Anesthesia professional: A physician anesthesiologist, Certified Registered Nurse anesthetist (CRNA), Certified Anesthesiologist Assistant (CAA), and an appropriately credentialed Oral and Maxillofacial Surgeon.

** Antisepsis: The application of an antimicrobial chemical to the skin or mucous membrane to reduce the microbial population.

** Antiseptic:  An agent used for antisepsis (to kill microorganisms or substantially inhibit their growth).

** Autoclave:  A common term applied to the performance of steam sterilization under pressure, where bacteria are killed (including spores).

*** Appropriate/appropriately means especially suitable or compatible; or fitting.

Examples:

- Administrative and patient care areas must have lighting to see all tasks fully.

- Laryngoscopes are cleaned according to the manufacturer's recommendations, though sterilization is preferred.

- Oxygen delivery should be tailored to the appropriate delivery method based on patient need and type/location of the procedure.

Auxiliary Staff: Unlicensed staff who are not state-certified/licensed to independently evaluate patient physical status and cannot legally provide emergency duties beyond Basic Life Support for Healthcare Providers. Auxiliary staff includes dental assistants, registered/certified dental assistants, dental anesthesia/sedation assistants, medical assistants, surgical technicians, and other non-independently Licensed Providers.

Basic Life Support (BLS):  A course that trains and certifies participants to promptly recognize several life-threatening emergencies, give high-quality chest compressions, deliver appropriate ventilations, and provide early use of an automatic external defibrillator (AED) through both didactic and hands-on skills return demonstration sessions. It reflects science and education from the American Heart Association Guidelines Update for CPR and Emergency Cardiovascular Care (ECC) and is approved by the American Heart Association (AHA) or an identical content course that conforms to the current AHA Guidelines.

** Biological Indicator (BI): A sterilization process monitoring device commercially prepared with a known population of highly resistant spores that tests the effectiveness of the sterilization method being used. The indicator is used to demonstrate that the conditions necessary to achieve sterilization were met during the sterilizer cycle being monitored.

Business Associate Agreement (BAA): A contract between the facility and an external business or individual that performs certain functions or activities on behalf of, or provides a service to, the facility when the function, activity, or service involves the creation, receipt, maintenance, or transmission of Protected Health Information (PHI) by the business or individual. The agreement establishes the permissible uses and disclosures of PHI by the business associate, how the business associate will support patients’ Privacy Rule rights, and the responsibilities of both parties to maintain the privacy and security of PHI. The Health Insurance Portability and Accountability Act (HIPAA) Rules generally require that covered entities and business associates enter into contracts with their business associates to ensure that the business associates will appropriately safeguard protected health information.

*** Certified Anesthesiologist Assistant (CAA): A master's degree level non-physician anesthesia care provider that:

- Is certified by the National Commission for Certification of Anesthesiologist Assistants (NCAA) Note: not a CMS requirement

- Works under the direction of an anesthesiologist.

- Is in compliance with all applicable requirements of State law, including any licensure requirements the State imposes on nonphysician anesthetists; and

- Is a graduate of a medical school-based anesthesiologist's assistant educational program that—

  - Is accredited by the Committee on Allied Health Education and Accreditation; and

  - Includes approximately two (2) years of specialized basic science and clinical education in anesthesia at a level that builds on a premedical undergraduate science background.

*** Certified Registered Nurse Anesthetist (CRNA): An advanced practice registered nurse (APRN) who administers anesthesia and other medications. Physician Supervision (either the operating practitioner or of an anesthesiologist who is immediately available if needed) is required if required by state or federal law.

1)  Is licensed as a registered professional nurse by the State in which the nurse practices.

2)  Meets any licensure requirements the State imposes with respect to nonphysician anesthetists.

3)  Has graduated from a nurse anesthesia educational program that meets the standards of the Council on Accreditation of Nurse Anesthesia Programs, or such other accreditation organization as may be designated by the Secretary; and

4)  Meets the following criteria:

(I) Has passed a certification examination of the Council on Certification of Nurse Anesthetists, the Council on Recertification of Nurse Anesthetists, or any other certification organization that may be designated by the Secretary; or

(ii) Is a graduate of a program described in paragraph (3) of this definition and within 24 months after that graduation meets the requirements of paragraph (4)(I) of this definition.

5)  For certified registered nurse anesthetist services, the certified registered nurse anesthetist may review and verify (sign and date), rather than re-document, notes in a patient's medical record made by physicians; residents; nurses; medical, physician assistant, and advanced practice registered nurse students; or other members of the medical team, including, as applicable, notes documenting the certified registered nurse anesthetist's presence and participation in the service.

** Chemical Indicator (CI): A sterilization monitoring device used to monitor the attainment of one (1) or more critical parameters required for sterilization. A characteristic color or other visual change indicates a defined level of exposure based on the classification of the chemical indicator used.

***Clinic: A facility (Rural Health Clinic (RHC)) that is established primarily to furnish outpatient physician services and that meets the following tests of physician involvement:

- The medical services are furnished by a group of three or more physicians practicing medicine together.

- A physician is present during all hours of operation of the clinic to furnish medical services, as distinguished from purely administrative services. [485.703 Condition]

***Clinic Administrator: The individual responsible for the internal operation of the RHC in accordance with written policies. A qualified Clinic Administrator is designated by the facility's governing body. [§485.705(c)(1) and §485.709(b)]

*** Clinical Personnel: The entire clinical team providing services in the facility, including, but not limited to, all physicians/surgeons/proceduralists, anesthesia providers, nurses, scrub techs, physician assistants, physical/occupational/speech therapists and assistants, social workers, clinical psychologists, marriage and family therapists, mental health counselors, medical assistants, etc. Employment status (owner, employee, contractor, contracted, indirect employee, prn staff, etc.) is not a factor in defining who is included as Clinical Personnel.

** Contact Time: "Wet time," also known as "contact time" or “dwell time,” is the amount of time a disinfectant or antiseptic solution must remain wet and in direct contact with a target microorganism or on a surface to be effective. This time can range from 15 seconds to 10 minutes, which is the maximum time allowed by the US Environmental Protection Agency (EPA). The contact time is established by the product manufacturer.

** Contamination: The presence of potentially infectious pathogenic microorganisms on animate or inanimate objects or surfaces.

Contemporaneously: Originating, existing, or happening during the same period of time.

Continual: Repeated regularly and frequently in steady, rapid succession.

Continuous: Prolonged without interruption at any time.

Contract & Indirect Employees: These employees are not on the company’s payroll and are not restricted by employment laws that apply to direct employees. Work details are defined in a contract agreed upon by the company and a contractor or third-party agency.

*** Covered ancillary services: Items and services that are integral to a covered surgical procedure performed in an ASC as provided in §416.164(b), for which payment may be made under §416.171 in addition to the payment for the facility services. [42 CFR 416.2]

*** Covered surgical procedures: Surgical procedures furnished before January 1, 2008, that meet the criteria specified in §416.65 and those surgical procedures furnished on or after January 1, 2008, that meet the criteria specified in §416.166. [42 CFR 416.2]

* Deep Sedation/Analgesia: A drug-induced depression of consciousness during which patients cannot be easily aroused but respond purposefully following repeated or painful stimulation. The ability to independently maintain ventilatory function may be impaired. Patients may require assistance in maintaining a patent airway, and spontaneous ventilation may be inadequate. Cardiovascular function is usually maintained.

Decontamination: Any physical or chemical process that reduces the number of microorganisms on any inanimate object to render that object safe for subsequent handling.

Dental Anesthesiologist: A licensed DDS or DMD with specialized, hospital-based training in areas including pharmacology, internal medicine, emergency medicine, and pediatric and adult anesthesiology.

Dental Assistant: A dental team member who supports a dental operator in providing more efficient dental treatment. A dental assistant must graduate from an accredited dental assisting training program and earn certification or licensure as State law requires.

Direct Employee: A full- or part-time employee hired by a facility and paid directly through the facility’s payroll. They are considered permanent employees because the intention is to work with them long-term rather than temporarily or as needed.

***Direct Services means services provided by the clinic’s staff. [42 CFR 491.2]

** Disinfectant: A chemical agent used to kill viruses and bacteria on surfaces.  It must be an EPA-registered disinfectant with bactericidal, tuberculocidal, and virucidal properties with specific claims and instructions for HIV and HBV.

** EPA-Registered: An EPA registration number signifies that a disinfectant and its claims have been reviewed and approved by the United States Environmental Protection Agency.

Equipment: The term "equipment" refers to the requirement that the specific item named must meet current performance standards according to the manufacturer’s guidelines.

***Extension Location: A location or site from which a rehabilitation agency provides services within a portion of the total geographic area served by the primary site. The extension location is part of the rehabilitation agency. The extension location should be located sufficiently close to share administration, supervision, and services in a manner that renders it unnecessary for the extension location to independently meet the conditions of participation as a rehabilitation agency. [485.703 Condition]

Facility Director: An individual that manages all aspects of a facility's operations. Their duties include budget management, facility planning, and building system maintenance.

Facility Leadership and Governing Body: These terms are interchangeable and refer to the person or group of people with full authority and responsibility for directing, overseeing, and controlling the facility’s operations. Medicare uses the term “governing body,” while non-Medicare facilities use the term “facility leadership.” For both, the facility must define in policy the person or group of people that constitute the governing body or facility leadership.

Facility Safety Manual: A compilation of safety procedures and guidelines to follow in emergencies or unsafe situations.

*** Facility services: For the period before January 1, 2008, services that are furnished in connection with covered surgical procedures performed in an ASC, and beginning January 1, 2008, means services that are furnished in connection with covered surgical procedures performed in an ASC as provided in §416.164(a) for which payment is included in the ASC payment established under §416.171 for the covered surgical procedure. [42 CFR 416.2]

Frequent: Occurring or done on many occasions or in quick succession; happening often.

General Anesthesia: A drug-induced loss of consciousness during which patients are not arousable, even by painful stimulation. The ability to independently maintain ventilatory function is often impaired. Patients often require assistance in maintaining a patent airway, and positive pressure ventilation may be required because of depressed spontaneous ventilation or drug-induced depression of neuromuscular function. Cardiovascular function may be impaired.

Governing Body and Facility Leadership: These terms are interchangeable and refer to the person or group of people with full authority and responsibility for directing, overseeing, and controlling the facility's operations. Medicare uses the term “governing body,” while non-Medicare facilities use the term “facility leadership.” For both, the facility must define in policy the person or group of people that constitute the governing body or facility leadership.

** Healthcare-Associated Infection (HAI): An infection acquired by patients while they are receiving medical care, with confirmation of diagnosis by clinical or laboratory evidence. Infective agents may originate from endogenous or exogenous sources. HAIs, which are also known as nosocomial infections, may not become apparent until the patient has been discharged from the healthcare setting.

** Immediate Use Steam Sterilization (IUSS): An abbreviated process of steam sterilization of patient care instruments (or devices) for immediate use.

Immediately Available: Accessible (clinician and equipment) without any delay or waiting period. Examples include the physical presence of the health care professional in the facility to assess, evaluate, and provide care to a patient; a supervising physician is physically accessible and able to attend to the patient, without any delay, to address any situation requiring a supervising physician’s services; and, 1) dedicated to the facility when on duty, 2) unencumbered by conflicting duties or responsibilities, 3) responding without delay when notified.

**Infection: The invasion and multiplication of microorganisms in body tissues that cause cellular injury and clinical symptoms.

Instrument: Any tool, device, or apparatus used in medicine for the purpose of diagnosing, preventing, treating, or alleviating illness or injury. It encompasses a wide range of items, from simple tools like stethoscopes to complex machines like MRI scanners. Medical instruments can be used to examine the body, record physiological processes, administer treatments, or perform surgical procedures.

Intraoperatively: The intraoperative phase extends from the time the patient is admitted to the operating room to the time of anesthesia administration, the performance of the surgical procedure, and until the client is transported to the recovery room or post-anesthesia care unit (PACU).

** Instructions for Use (IFUs): Specific, detailed instructions provided by the manufacturer. IFUs for medical devices detail the steps required for cleaning, disinfection, and sterilization that are compatible with that device. Products approved for use in cleaning, disinfection, and sterilization will have specific IFUs to follow (e.g., dilution ratio and contact time) to ensure the product's efficacy.

Legally Qualified: Being in compliance or accordance with specific requirements or conditions. Is qualified under the applicable local, State or Federal law to hold the position for which he or she holds and has met the qualifications of the position.

Log: A written record of performance, events, or day-to-day activities. It is similar to a register, which is a written record containing regular entries of items or details.

Examples:

- On any day that controlled substances are administered, the controlled substance inventory and control record (log/register) must be updated as appropriate to reflect controlled substances administered, received, wasted, and currently stored by two licensed healthcare professionals.  (6-D-2)

- A written record (log/register) of all operative cases is maintained by the facility.  (8-L-1)

Major Blood Vessels: A group of critical arteries and veins including the aorta, coronary arteries, pulmonary arteries, superior and inferior vena cava, pulmonary veins, and any intra-cerebral artery or vein.

** Mechanical (Physical) Indicator: Monitors (embedded into the sterilization equipment) that register, record, and report parameters for each cycle (time in use, the temperature achieved, and the pressure attained in the chamber).  The information attained through the gauges and/or printouts provides evidence the sterilization system has met the set parameters (or has not, and there is a need for corrective action).

Medical Director: The clinician responsible for overall oversight of the facility.

*** Medical Staff: The organized body of licensed physicians and other healthcare providers who are permitted by law and through credentialing and privileges granted by the facility leadership to provide medical care within the facility The medical staff includes physicians, surgeons, specialists, CRNAs, NPs, PAs, and allied health professionals, as identified in facility policy.

* Minimal Sedation: A drug-induced state during which patients respond normally to verbal commands. Although cognitive function and physical coordination may be impaired, airway reflexes, and ventilatory and cardiovascular functions are unaffected.

* Moderate Sedation/Analgesia (“Conscious Sedation” or “Procedural Sedation):  A drug-induced depression of consciousness during which patients respond purposefully to verbal commands, either alone or accompanied by light tactile stimulation. No interventions are required to maintain a patent airway, and spontaneous ventilation is adequate. Cardiovascular function is usually maintained.

* Monitored Anesthesia Care (“MAC”) does not describe the continuum of depth of sedation; rather, it describes “a specific anesthesia service performed by a qualified anesthesia provider, for a diagnostic or therapeutic procedure.” Indications for monitored anesthesia care include "the need for deeper levels of analgesia and sedation than can be provided by moderate sedation (including potential conversion to a general or regional anesthetic).

National Fire Protection Association (NFPA) Business Occupancies, 2021 https://www.nfpa.org/news-blogs-and-articles/blogs/2021/05/07/occupancy-classifications-and-model-codes

- Business Occupancy is an occupancy used for the transaction of business other than mercantile (engaged in commerce) This includes clinics.

- Ambulatory Health Care Occupancies are occupancies used to provide services or treatment simultaneously to four or more patients that provide, on an outpatient basis, one or more of the following:

  - Treatment for patients that renders the patient's incapable of taking action for self-preservation under emergency conditions without the assistance of others

  - Anesthesia that renders patients incapable of taking action for self-preservation under emergency conditions without the assistance of others

  - Emergency or urgent care for patients who, due to the nature of their injury or illness, are incapable of taking action for self-preservation under emergency conditions without the assistance of others

Examples include Day Surgery, Dentists' Offices, oral surgery with sedation, and Endoscopy Centers.

*** Nurse Practitioner (NP): A person who is currently licensed to practice in the State and meets the applicable State requirements governing the qualifications of nurse practitioners. And meets at least one (1) of the following conditions:

- Is certified as a practitioner by a recognized national certifying body that has established standards for nurse practitioners and possesses a master’s or doctoral degree in nursing practice or

- Has satisfactorily completed a formal one (1) academic year educational program that:

- Prepares registered nurses to perform an expanded role.

- That includes at least four (4) months (in the aggregate) of classroom instruction and a component of supervised clinical practice.

- Awards a degree, diploma, or certificate to persons who successfully complete the program.

- Has successfully completed a formal educational program (for preparing registered nurses to perform an expanded role) that does not meet the requirements identified above in paragraph 2, and the Nurse Practitioner has been performing an expanded role in the delivery of care for a total of 12 months during the 18-month period immediately preceding the effective date of the subpart.

Nurses Note: Documentation that provides a record of nursing care provided to a patient, family, or community.

Office Surgery: Refers to invasive procedures performed under anesthesia or sedation in an outpatient provider’s office or other non-hospital setting.

Oral Maxillofacial Surgeon (OMF): A medical doctor who is specifically trained in maxillofacial surgery. Because of the focus on the oral area, typically, maxillofacial surgeons attend dental school for four years after receiving their bachelor’s degree.

Patient Safety Data Reporting (PSDR): A form of quality control performed by QUAD A accredited facilities within the outpatient setting. Those participating in the data reporting process create a system-wide culture of clinical quality and demonstrate the positive results of accreditation. PSDR reporting is required for QUAD A facilities participating in Office-Based Surgical, Office-Based Procedural, Oral Maxillofacial Surgery, Pediatric Dentistry, International Surgical, or Medicare ASC programs. Reporting PSDR data is required quarterly, including physician case review. Results of the physician case reviews are discussed during Peer Review meetings.

Pediatric Advanced Life Support (PALS): A course that trains and certifies participants in a set of clinical guidelines for the urgent and emergent treatment of life-threatening cardiovascular conditions in children that will cause or have caused cardiac arrest using advanced medical procedures, medications, and techniques through didactic and hands-on skills return demonstration sessions. It builds on the foundation of lifesaving basic life support (BLS) skills. It reflects science and education from the American Heart Association Guidelines Update for CPR and Emergency Cardiovascular Care (ECC). The course is approved by the American Heart Association (AHA) or an identical content course that conforms to the current AHA Guidelines.

Pediatric Dentist: A licensed dentist in the state where the dentist practices and who has satisfactorily completed:

- Four (4) years of dental school.

- Two (2) additional years of residency training in dentistry for infants, children, teens, and children with special needs.

- A minimum of 24 months in an advanced education program accredited by the Commission on Dental Accreditation of the American Dental Association. Such programs “must be designed to provide special knowledge and skills beyond the Doctor of Dental Surgery (DDS) or Doctor of Medicine in Dentistry (DMD) training.

- A curriculum of an advanced program provides the dentist with the necessary didactic background and clinical experiences to provide comprehensive primary oral health care and the services of a specialist.

Pediatric Patients: In Florida, pediatric patients are defined as those who are 13 years of age or under. For all other QUAD A facilities, pediatric patients are defined by facility policy and procedure, which must consider age, BMI or weight, special needs, risk categories, surgery, facility equipment, and capability, unless otherwise defined by the state.

** Peel Pouch: A sterilization pouch (or peel pack) is a disposable package validated for use in a sterilizer to allow penetration of the sterilant to the items placed inside.  After sterilization, peel pouches maintain the sterility of the processed item(s) during storage and until needed for use.  Pouches are designated as Class II medical devices and may be self-sealing or heat-sealing. “Double pouching” should only be performed if validated for the specific type of pouch and when the manufacturer’s instructions for use provide the method of packaging and the sterilization parameters.

Peer: An individual(s) of the same professional discipline and specialty who possesses sufficient training and experience to render judgment on the clinical circumstances under review.

Peer Review: The task of physicians holding one another to the ethical standards of their profession and maintaining the administration of patient safety and quality of care consistent with optimal standards of practice. The American Medical Association (AMA) publishes information regarding the peer review process and describes the composition of the Peer Review Committee as follows:

Peer review is conducted in good faith by physicians who are within the same geographic area or jurisdiction and medical specialty of the physician subject to review to ensure that all physicians consistently maintain optimal standards of competency to practice medicine. Physicians outside of the organization that are convening peer review may participate in that organization's peer review of a physician if the reviewing physician is within the same geographic area or jurisdiction and medical specialty as the physician who is the subject of peer review.

What is Peer Review? https://www.amwa-doc.org/what-is-peer-review/

Percutaneous endovascular intervention: A procedure performed without an open direct visualization of the target vessel requires only needle puncture of an artery or vein, followed by insertion of catheters, wires, or similar devices, which are then advanced through the blood vessels using imaging guidance. Once the catheter reaches the intended location various maneuvers to address the diseased area may be performed which include, but are not limited to, injection of contrast for imaging, treatment of vessels with angioplasty, atherectomy, covered or uncovered stenting, intentionally occluding vessels or organs (embolization), and delivering medications, radiation, or other energy such as laser, radiofrequency, or cryo.

Personnel: Everyone employed (including volunteers) at a facility, including both direct and indirect (contract) employees who provide care, treatment, or services to patients. The terms “personnel” and “staff” are synonymous.

** Personal Protective Equipment (PPE): Protective equipment (e.g., masks, gloves, goggles, face shields, and gowns) for eyes, face, head, and extremities; protective clothing; respiratory devices; and protective shields and barriers designed to protect the wearer from injury and minimize exposure to hazards.

*** Physician: Providers who medically diagnose patients, prescribe and manage medication, and supervise other medical staff. A licensed Doctor of Medicine (MD) or Doctor of Osteopathy  (DO) legally authorized to practice medicine or surgery in the State in which the function is performed; and a Doctor of Dental Surgery (DDS) or Doctor of Dental Medicine (DMD) who is legally authorized to practice dentistry by the State in which he/she performs such function and who is acting within the scope of his/her license and a Doctor of Podiatric Medicine

Physician Anesthesiologist: A medical doctor who has attained either a Doctor of Medicine (MD) or Doctor of Osteopathic Medicine (DO) degree and has chosen to specialize in the field of anesthesiology and specializes in anesthesia care, pain management, and critical care medicine, and have the necessary knowledge to understand and treat the entire human body.

*** Physician Assistant (PA): An individual who meets the applicable State requirements governing the qualifications for assistants to primary care physicians. And meets one of the following conditions:

1) The physician assistant is currently certified by the National Commission on Certification of Physician Assistants to assist physicians.

2) The physician assistant has satisfactorily completed a program for preparing physician's assistants that:

- Was at least one (1) academic year in length.

- Consisted of supervised clinical practice and at least four (4) months (in the aggregate) of classroom instruction directed toward preparing students to deliver health care; and

- Was accredited by the American Medical Association's Committee on Allied Health Education and Accreditation.

3) The physician assistant has satisfactorily completed a formal educational program (for preparing physician assistants) that does not meet the requirements of paragraph (2) of this definition and assisted physicians for a total of 12 months during the 18-month period that ended on December 31, 1986.

- Is licensed as a PA by the State in which the PA practices.

Polyclinic: An outpatient clinic that is a free-standing medical facility, designed to receive and undergo patients to necessary medical examinations and treatments, encompassing a minimum of two (2) different specialties which may include diagnostics, dental and Traditional Complimentary Alternative Medicine (TCAM) services, to patients that do not stay overnight.

Proceduralist: A licensed physician, usually a specialist or subspecialist, trained and qualified to perform diagnostic or therapeutic procedures. A licensed trained CRNA, NP and PA may also conduct selected procedures based on state law and scope of practice.

Procedural accreditation: This is intended for office-based facilities performing procedures in medical specialties including gastroenterology, urology/nephrology, gynecology, interventional radiology/vascular access, pain management, and dermatology. Procedures are performed by specialists including Gastroenterologists, Urologists/Nephrologists, Gynecologists, Pain Management Specialists, Dermatologists, or Interventional Radiologists/Vein Specialists, and may include minimally invasive procedures and approved minor surgical procedures (e.g. minor urological surgical procedures including circumcisions, vasectomies; minor dermatological procedures including mole/growth removal, minimally invasive gynecological surgeries as entered through the vagina, etc.).

Professional Appearance: relates to both the appearance of people and the appearance of the facility.

A healthcare provider’s personal appearance must project professionalism and competence to engender trust in patients. A provider also conveys professionalism in how they communicate, how they express courtesy, body language, and what they wear. E.g., as professional healthcare providers, facility staff should appear clean and well dressed. The facility should appear clean, neat, and furnished for patients, staff, and visitor comfort.

Examples:

- As professional healthcare providers, facility staff should appear clean and well dressed. When interacting with patients and patient families, the facility staff should be friendly, knowledgeable, and culturally sensitive.

- The facility should appear clean, neat, and furnished for patients, staff, and visitor comfort

Progress note: An essential tool used in healthcare to document patient information, medical history, treatment plans, and progress throughout a patient’s care. Progress notes are also a crucial communication tool among healthcare professionals, ensuring continuity of care and facilitating collaboration.

Promptly: Without delay; immediately

Public health agency: an official agency established by a State or local government, the primary function of which is to maintain the health of the population served by performing environmental health services, preventive medical services, and in certain cases, therapeutic services. [485.703 Condition]

Qualified: An individual who is qualified by education, training, licensure/regulation (when applicable, also includes registration and certification), and facility privileging (when applicable) who performs a professional service within his/her scope of practice and independently reports that professional service.

Random Sample: An unbiased representation of a group.

Example:

- For PSDR reporting, QUAD A recommends entering the first case as performed each month to obtain a random sample of cases entered into the quarterly reporting system. If no cases are performed in a given month, any other case can be selected at random from the period.

Rehabilitation agency - An agency that:

- Provides an integrated interdisciplinary rehabilitation program designed to upgrade the physical functioning of handicapped disabled individuals by bringing specialized rehabilitation staff together to perform as a team; and

- Provides at least physical therapy or speech-language pathology services.

[485.703 Condition]

Routine: A habit or sequence that does not vary; things that must be done on a regular basis.

*** Rural area mean an area that is not delineated as an urbanized area by the Bureau of the Census. [42 CFR 491.2]

*** Rural health clinic: a clinic located in a rural area designated as a shortage area, is not a rehabilitation agency or a facility primarily for the care and treatment of mental diseases and meets all other requirements of this subpart. [42 CFR 491.2]

*** Secretary: The Secretary of Health and Human Services, or any official to whom he/she has delegated the pertinent authority.

*** Shortage area: a defined geographic area designated by the Department as having either a shortage of personal health services (under section 1302(7) of the Public Health Service Act) or a shortage of primary medical care manpower (under section 332 of that Act). [42 CFR 491.2]

Significant: Having or likely to have influence or effect; or of a noticeable or measurably large amount.

Examples:

- As determined by both the surgeon/proceduralist and anesthesia provider, the patient and procedural risk must be assessed pre-operatively. If this risk level is above a facility's defined threshold, then the patient should be referred to an alternative, safer facility for the operation.

- Current safe levels of ethylene oxide or glutaraldehyde exposure must be identified. Badge testing to maintain exposure under the threshold must be performed and monitored.

Staff: Anyone employed (part-time, full-time) at a facility, including both direct and indirect (contract) employees that provide care, treatment, or services to patients. The terms “personnel” and “staff” are synonymous.

** Sterile: The state of being free from all living microorganisms. In practice, it is usually described as a probability function (e.g., as the probability of a microorganism surviving sterilization being 1 in 1,000,000).

** Sterilization: A validated process that removes or destroys all viable microorganisms, including bacterial spores, to an acceptable sterility assurance level, usually 1 in 1,000,000. In a sterilization process, the presence of microorganisms on any individual item can be expressed in terms of probability (which, even though is a very low number, may never be zero).

Sufficient/sufficiently means enough to meet the needs of a situation or a proposed end. E.g., A hallway would be sufficiently wide if healthcare providers can wheel a patient in a gurney and all necessary medical equipment with the gurney in case of emergency.

Example:

- A hallway would be sufficiently wide if healthcare providers can wheel a patient in a gurney and all necessary medical equipment with the gurney in case of emergency. (3-F-4)

Supernatant fat: The fat that rises to the top and separates from other fluids or tissues during processes such as liposuction. In the context of cosmetic surgery, it is important to manage the amount of supernatant fat removed to ensure patient safety and compliance with medical regulations.

Surgeon: A licensed physician trained and qualified to perform surgical procedures.

*** Surgery is performed for the purpose of structurally altering the human body by the incision or destruction of tissues and is part of the practice of medicine. Surgery is also the diagnostic or therapeutic treatment of conditions or disease processes by any instruments causing localized alteration or transposition of live human tissue, which include lasers, ultrasound, ionizing radiation, scalpels, probes, and needles. The tissue can be cut, burned, vaporized, frozen, sutured, probed, or manipulated by closed reductions for major dislocations or fractures, or otherwise altered by mechanical, thermal, light-based, electromagnetic, or chemical means. Injection of diagnostic or therapeutic substances into body cavities, internal organs, joints, sensory organs, and the central nervous system is also considered to be surgery. (This does not include the administration by nursing personnel of some injections, subcutaneous, intramuscular, and intravenous when ordered by a physician.) Surgical procedures are invasive, including those that are performed with lasers, and the risks of any surgical procedure are not eliminated by using a light knife or laser in place of a metal knife, or scalpel.

  - Major surgery is an invasive operative procedure where one (1) or more of the following occurs:

  - A body cavity is entered.

  - A mesenchymal barrier is crossed.

  - A fascial plane is opened

  - An organ is removed

  - Normal anatomy is operatively altered

- Minor Surgery is an invasive operative procedure in which only skin, mucous membranes, or superficial connective tissue is manipulated.

*** Supervision

- Direct Supervision: The supervising physician must be immediately available if needed, meaning physically present in the facility, and prepared to immediately conduct hands-on intervention if needed. However, the physician does not need to be in the room throughout the performance of the service.

- General supervision: The service is furnished under the physician’s overall direction and control, but the physician’s presence is not required during the performance of the procedure. Under general supervision, the training of the non-physician personnel who actually perform the diagnostic procedure and maintain the necessary equipment and supplies is the physician’s continuing responsibility.

- Personal supervision: A physician must be present in the room during the procedure.

** Surgical Site Infection (SSI): An infection at the site of a surgical incision.  The SSI may be superficial, deep, or extend to organs.  Patients should be monitored for SSIs for thirty (30) days after surgery or procedures or three-hundred and sixty-five (365) days after implant placement.

Track and Trend: Track, as in keep track of, is to follow specific record(s) or specific types of information over a defined period. To trend means to follow the general movement over time of a statistically detectable change. Tracking and trending are commonly used together which means a trail of data is followed to identify changes in outcomes over time.

Examples:

- Each facility's written QI program must follow identified records or types of information over a lengthy period of time to identify changes. Based on those changes, or lack thereof, the facility must evaluate and resolve problems, then adjust the identified records or types of information as appropriate.

- Each facility's risk management program must perform an annual risk assessment. This assessment should cover risks as related to patients and staff by medication management, fall hazards, infection control, equipment safety, patient risk resulting from long term conditions, and nutrition if any food or beverage services are available to patients. The trends of these risks across the years should be noted.

- Adverse events are to be noted and discussed during periodic peer review meetings.

- All adverse events should be looked at cumulatively.

REFERENCES BY STANDARD ALL PROGRAMS

Note – This reference list contains references for standards across all QUAD A programs.

| Standard ID | Reference |
| --- | --- |
| 1-A-1 | American Academy of Pediatric Dentists (AAPD), Guideline on Use of Nitrous Oxide for Pediatric Dental Patients, 2009 www.aapd.org/assets/1/7/G_Nitrous.pdf American Association of Nurse Anesthesiology (AANA) Clinical Resources for Practicing CRNAs/Nurse Anesthesiologists https://www.aana.com/practice/clinical-practice/clinical-practice-resources/ AANA Professional Practice Manual https://www.aana.com/practice/professional-practice-manual/ AANA Scope of Nurse Anesthesia https://issuu.com/aanapublishing/docs/scope_of_nurse_anesthesia_practice_2.23?fr=sNDg2MDU2NDAxMjU American Society for Regional Anesthesia & Pain Medicine, Checklist for Treatment of Local Anesthetic Systemic Toxicity (LAST), 2020 https://www.asra.com/news-publications/asra-updates/blog-landing/guidelines/2020/11/01/checklist-for-treatment-of-local-anesthetic-systemic-toxicity ASA Practice Guidelines for Moderate Procedural Sedation and Analgesia, 2018 https://pubs.asahq.org/anesthesiology/article/128/3/437/18818/Practice-Guidelines-for-Moderate-Procedural ASA Statement on Safe Use of Propofol 2019 https://www.asahq.org/standards-and-practice-parameters/statement-on-safe-use-of-propofol ASA Statement on Granting Privileges for Administration of Moderate Sedation to Practitioners Who are Not Anesthesia Professionals, 2021 https://www.asahq.org/standards-and-practice-parameters/statement-on-granting-privileges-for-administration-of-moderate-sedation-to-practitioners-who-are-not-anesthesia-professionals Can a Dental Assistant Use Nitrous Oxide? https://www.northwestcareercollege.edu/blog/can-a-dental-assistant-use-nitrous-oxide/ Checklist for Treatment of Local Anesthetic Systemic Toxicity (LAST) https://www.asra.com/news-publications/asra-updates/blog-landing/guidelines/2020/11/01/checklist-for-treatment-of-local-anesthetic-systemic-toxicity Duke Anesthesiology, LAST A practical update for clinicians https://www.youtube.com/watch?v=6dnfkEsySKU Healthline, Conscious Sedation, 2018 https://www.healthline.com/health/conscious-sedation Institute for Safe Medication Practices (ISMP) Guidelines for Safe Preparation of Compounded Sterile Preparations, 2016 https://www.ismp.org/sites/default/files/attachments/2017-11/Guidelines%20for%20Safe%20Preparation%20of%20Compounded%20Sterile%20Preperations_%20revised%202016.pdf National Library of Congress, Anesthesia for Office-Based Facial Plastic Surgery Procedures, 2023 https://www.ncbi.nlm.nih.gov/pmc/articles/PMC10541158/ National Library of Medicine, Local Anesthesia Systemic Toxicity, 2022 https://www.ncbi.nlm.nih.gov/books/NBK499964/ National Library of Medicine, Procedural Sedation 2022 https://www.ncbi.nlm.nih.gov/books/NBK551685/ Nitrous Oxide, 2023, https://www.ada.org/resources/ada-library/oral-health-topics/nitrous-oxide Ophthalmology, MKO Melt Is Effective for Cataract Surgery Conscious Sedation, 2018 https://ophthalmology360.com/cataract-surgery/mko-melt-effective-cataract-surgery-conscious-sedation/ Practice Guidelines for Moderate Procedural Sedation & Analgesia 2018: A Report by the American Society of Anesthesiologists Task Force on Moderate Procedural Sedation and Analgesia, the American Association of Oral and Maxillofacial Surgeons, American College of Radiology, American Dental Association, American Society of Dentist Anesthesiologists, and Society of Interventional Radiology https://pubs.asahq.org/anesthesiology/article/128/3/437/18818/Practice-Guidelines-for-Moderate-Procedural Tumescent Formulations, Liposuction Textbook, Chapter 23, 2024 https://liposuction101.com/liposuction-textbook/chapter-23-tumescent-formulations/ Tumescent Technique for Local Anesthesia Improves Safety in Large-Volume Liposuction https://tumescent.org/tumescent-technique-anesthesia-and-modified-liposuction-technique/ US Pharmacopeia, 797 Pharmaceutical Compounding-sterile preparations. http://ftp.uspbpep.com/v29240/usp29nf24s0_c797_viewall.html |
| 1-C-4 | American Academy of Pediatrics, Age Limit of Pediatrics, reaffirmed 2023 https://publications.aap.org/pediatrics/article/140/3/e20172151/38333/Age-Limit-of-Pediatrics?autologincheck=redirected American Dental Association, Guidelines for Teaching Pediatric Pain Control and Management, 2021 https://www.ada.org/-/media/project/ada-organization/ada/ada-org/files/resources/library/oral-health-topics/ada_guidelines_teaching_pediatric_sedation.pdf?rev=86a7c539ce9d4025bc2b291223f35328&hash=2DF304CA67B8592C2290DE91E816726A Part 4: Pediatric Basic and Advanced Life Support: 2020 American Heart Association Guidelines for Cardiopulmonary Resuscitation and Emergency Cardiovascular Care https://www.ahajournals.org/doi/10.1161/CIR.0000000000000901 |
| 1-F-2 | Patient Safety Data Reporting Exemption Form https://6276684.fs1.hubspotusercontent-na1.net/hubfs/6276684/PSDR%20Exemption%20Form-2.pdf |
| 1-F-3 | National Quality Forum (NQF), Serious Reportable Events https://cms.qualityforum.org/Topics/SREs/Serious_Reportable_Events.aspx NQF List of Serious Reportable Events, https://cms.qualityforum.org/Topics/SREs/List_of_SREs.aspx |
| 2-A-1 | Facilities Guidelines Institute – Resource https://www.fgiguidelines.org/ |
| 2-B-3 | APIC Environmental Services https://apic.org/Resources/Topic-specific-infection-prevention/Environmental-services/ CDC Environmental Cleaning Procedures Best Practices for Environmental Cleaning in Global Healthcare Facilities with Limited Resources, 2024 https://www.cdc.gov/healthcare-associated-infections/hcp/cleaning-global/procedures.html CDC Environmental Cleaning Program Improvement Toolkit: A Practical Guide for Implementing the Best Practices for Environmental Cleaning in Healthcare Facilities in Resource-Limited Settings https://www.cdc.gov/healthcare-associated-infections/media/pdfs/environmental-cleaning-toolkit-guide-508.pdf |
| 2-B-4 | APIC Environmental Services https://apic.org/Resources/Topic-specific-infection-prevention/Environmental-services/ CDC Environmental Cleaning Procedures Best Practices for Environmental Cleaning in Global Healthcare Facilities with Limited Resources, 2024 https://www.cdc.gov/healthcare-associated-infections/hcp/cleaning-global/procedures.html FGI Guidelines, Application Guidance, 2024 https://fgiguidelines.org/wp-content/uploads/2022/06/FGI_determining_appropriate_room_type_2022-06-24.pdf |
| 2-B-6 | APIC Environmental Services https://apic.org/Resources/Topic-specific-infection-prevention/Environmental-services/ CDC Environmental Cleaning Procedures Best Practices for Environmental Cleaning in Global Healthcare Facilities with Limited Resources, 2024 https://www.cdc.gov/healthcare-associated-infections/hcp/cleaning-global/procedures.html CDC Environmental Cleaning Program Improvement Toolkit: A Practical Guide for Implementing the Best Practices for Environmental Cleaning in Healthcare Facilities in Resource-Limited Settings https://www.cdc.gov/healthcare-associated-infections/media/pdfs/environmental-cleaning-toolkit-guide-508.pdf |
| 2-B-7 | FGI Electrical Receptacles in Patient Care Areas: Determining Quantities, Location, and Code Compliance for Operationalizing Patient Care https://fgiguidelines.org/wp-content/uploads/2023/02/FGI-Electrical-Receptacles-in-Patient-Care-Areas-2023-02-10-Corrected-6APR2023.pdf |
| 2-C-2 | 2018 GFI Guidelines https://www.fgiguidelines.org/wp-content/uploads/2017/11/E94_HCD2017_A_New_Class_Act.pdf |
| 2-D-1 | Common Rust Issues in Healthcare Facilities and How to Deal with Them, 2024 https://thedailynotes.com/rust-issues-healthcare-facilities-deal RUST: The Silent Threat to Infection Control, 2022 https://blog.cmecorp.com/rust-the-silent-threat-to-infection-control |
| 2-E-1 | Healthcare Facilities Today, Q&A: Corrugated cardboard boxes https://www.healthcarefacilitiestoday.com/posts/QA-Corrugated-cardboard-boxes--13520 |
| 2-E-2 | 2012 edition, NFPA 101 LSC https://www.nfpa.org/codes-and-standards/nfpa-101-standard-development/101 The 18-inch Supply Storage Guideline in Sterile Processing https://www.evolvedsterileprocessing.com/post/one-misunderstood-supply-storage-guideline-the-18-inch-ceiling-limit |
| 3-A-1 | OSHA Publication 3165, Job Safety and Health: It's the Law Workplace Poster - https://www.osha.gov/publications/poster Centers for Disease Control and Prevention (CDC) https://www.Cdc.gov National Fire Protection Association (NFPA) https://www.nfpa.org/for-professionals/codes-and-standards/list-of-codes-and-standards/free-access |
| 3-B-1 | Outpatient Surgery Cultivate a Culture of Safety, 2024 https://digital.outpatientsurgery.net/view/571733896/4/ Outpatient Surgery The Essential Elements of a Staff Safety Program, 2024 https://digital.outpatientsurgery.net/view/571733896/14/ |
| 3-B-2 | OSHA Compliance Quick Start https://www.osha.gov/complianceassistance/quickstarts/health-care OSHA A to Z https://www.osha.gov/a-z#I OSHA Healthcare https://www.osha.gov/healthcare OSHA Quick Reference Guide to the Bloodborne Pathogens Standard https://www.osha.gov/bloodborne-pathogens/quick-reference CDC Tuberculosis https://www.cdc.gov/tb/index.html |
| 3-C-1 | International Code Council (ICC) 2018, Compressed Gases https://codes.iccsafe.org/content/IFC2018/chapter-53-compressed-gases ICC, 2018, Flammable and Combustible Liquids https://codes.iccsafe.org/content/IFC2018/chapter-57-flammable-and-combustible-liquids NFPA 30 Flammable and Combustible Liquids Code, 2021 https://standards.globalspec.com/std/14328537/nfpa-30 OSHA Compliance Quick Start https://www.osha.gov/complianceassistance/quickstarts/health-care OSHA A to Z https://www.osha.gov/a-z#I OSHA Healthcare https://www.osha.gov/healthcare |
| 3-D-1 | CDC Regulated Medical Waste, 2003 https://www.cdc.gov/infection-control/hcp/environmental-control/regulated-medical-waste.html#cdc_generic_section_3-3-management-of-regulated-medical-waste-in-health-care-facilities EPA Medical Waste, 2024 https://www.epa.gov/rcra/medical-waste OSHA Hazardous Waste https://www.osha.gov/hazardous-waste |
| 3-D-4 | FDA Sharps Disposal Containers https://www.fda.gov/medical-devices/safely-using-sharps-needles-and-syringes-home-work-and-travel/sharps-disposal-containers Department of Transportation (DOT) Regulations https://www.hercenter.org/regsandstandards/dot.php NIOSH - Selecting, Evaluating, and Using Sharps Disposal Containers https://stacks.cdc.gov/view/cdc/6386 USDA - Safely Using Sharps https://www.fda.gov/medical-devices/safely-using-sharps-needles-and-syringes-home-work-and-travel/sharps-disposal-containers Sharps Contain Regulations: Your Guide, 2024 https://www.danielshealth.com/knowledge-center/sharps-container-regulations-your-guide WHO Injection Safety https://www.who.int/teams/integrated-health-services/infection-prevention-control/injection-safety WHO Minimum requirements for infection prevention and control programmes https://www.who.int/publications/i/item/9789241516945 |
| 3-H-2 | eCFR Part 493-Laboratory Requirements https://www.ecfr.gov/current/title-42/chapter-IV/subchapter-G/part-493 CMS How to Apply for a CLIA Certificate, Including International Laboratories https://www.cms.gov/medicare/quality/clinical-laboratory-improvement-amendments/apply |
| 3-H-3 | Medical X-ray Imaging ¦ FDA https://www.fda.gov/radiation-emitting-products/medical-imaging/medical-x-ray-imaging#risks OSHA Ionizing Radiation https://www.osha.gov/ionizing-radiation/control-prevention Radiation Dose http://www.radiologyinfo.org/en/safety/index.cfm?pg=sfty_xray Health Physics Society Public Information Committee http://hps.org/publicinformation/ Journal of the American Dental Association Optimizing Radiation Safety in Dentistry, 2024 https://jada.ada.org/article/S0002-8177(23)00734-1/fulltext?_gl=1*1t7n6dl*_gcl_au*MzQ1MDk4MjI3LjE3MTc3MjUwMzU.*_ga*NjQ5NzI1NDczLjE3MTc3MjUwMzU.*_ga_X8X57NRJ4D*MTcxNzgwOTE5Mi43LjEuMTcxNzgwOTQwNi4wLjAuMA..#secsectitle0145) |
| 4-A-1 | The National Fire Protection Agency (NFPA) 99, 2012 https://up.codes/viewer/centers-for-medicare-and-medicaid-services/nfpa-99-2012/chapter/5/gas-and-vacuum-systems#5 World Class Healthcare Compliance, Medical Gas Systems: The Definitive Guideline https://f.hubspotusercontent20.net/hubfs/479873/bonus%20content/medical-gas-systems-guide.pdf?__hstc=1717358.4f83df3156ea0e81eee9d942814fad43.1726598873503.1726598873503.1726598873503.1&__hssc=1717358.1.1726598873503&__hsfp=2901579814&hsCtaTracking=4a8af79e-62cb-4897-ae24-627d87fe0fcc%7C030bdec8-b6d4-44c4-b056-b9088173751a |
| 4-B-6 | American Nurse, Enhancing patient outcomes with sequential compression device therapy, 2013 https://www.myamericannurse.com/enhancing-patient-outcomes-with-sequential-compression-device-therapy/ |
| 4-B-8 | Association of Anaesthetists Peri-operative warming devices: performance and clinical application, 2014 https://associationofanaesthetists-publications.onlinelibrary.wiley.com/doi/full/10.1111/anae.12626 Article ¦ Outpatient Surgery Magazine (aorn.org) Patient Warming’s Preventative Benefits, 2021 https://www.aorn.org/outpatient-surgery/article/2021-May-patient-warming-benefits Safety and efficacy of resistive polymer versus forced air warming in total joint surgery ¦ Patient Safety in Surgery ¦ Full Text (biomedcentral.com) https://pssjournal.biomedcentral.com/articles/10.1186/s13037-017-0126-0 AORN Outpatient Surgery, Implementing Safe and Effective Patient Warming, 2022 https://www.aorn.org/outpatient-surgery/article/2022-June-patient-warming |
| 4-C-1 | AANA Documenting Anesthesia Care, 2016 https://issuu.com/aanapublishing/docs/4_-_documenting_anesthesia_care?fr=sNDZlYTU2NDAxMjU Standards for Basic Anesthetic Monitoring (asahq.org), 2020 https://www.asahq.org/standards-and-practice-parameters/standards-for-basic-anesthetic-monitoring |
| 4-C-2 | AANA Documenting Anesthesia Care, 2016 https://issuu.com/aanapublishing/docs/4_-_documenting_anesthesia_care?fr=sNDZlYTU2NDAxMjU Standards for Basic Anesthetic Monitoring (asahq.org), 2020 https://www.asahq.org/standards-and-practice-parameters/standards-for-basic-anesthetic-monitoring |
| 4-C-3 | AANA Documenting Anesthesia Care, 2016 https://issuu.com/aanapublishing/docs/4_-_documenting_anesthesia_care?fr=sNDZlYTU2NDAxMjU Standards for Basic Anesthetic Monitoring (asahq.org), 2020 https://www.asahq.org/standards-and-practice-parameters/standards-for-basic-anesthetic-monitoring |
| 4-C-4 | AANA Documenting Anesthesia Care, 2016 https://issuu.com/aanapublishing/docs/4_-_documenting_anesthesia_care?fr=sNDZlYTU2NDAxMjU Standards for Basic Anesthetic Monitoring (asahq.org), 2020 https://www.asahq.org/standards-and-practice-parameters/standards-for-basic-anesthetic-monitoring |
| 4-C-5 | AANA Documenting Anesthesia Care, 2016 https://issuu.com/aanapublishing/docs/4_-_documenting_anesthesia_care?fr=sNDZlYTU2NDAxMjU Standards for Basic Anesthetic Monitoring (asahq.org), 2020 https://www.asahq.org/standards-and-practice-parameters/standards-for-basic-anesthetic-monitoring CDC Guideline for Disinfection and Sterilization in Healthcare Facilities, 2008 https://www.cdc.gov/infection-control/media/pdfs/guideline-disinfection-h.pdf |
| 4-C-6 | AANA Documenting Anesthesia Care, 2016 https://issuu.com/aanapublishing/docs/4_-_documenting_anesthesia_care?fr=sNDZlYTU2NDAxMjU Standards for Basic Anesthetic Monitoring (asahq.org), 2020 https://www.asahq.org/standards-and-practice-parameters/standards-for-basic-anesthetic-monitoring |
| 4-C-7 | AANA Documenting Anesthesia Care, 2016 https://issuu.com/aanapublishing/docs/4_-_documenting_anesthesia_care?fr=sNDZlYTU2NDAxMjU Standards for Basic Anesthetic Monitoring (asahq.org), 2020 https://www.asahq.org/standards-and-practice-parameters/standards-for-basic-anesthetic-monitoring |
| 4-C-9 | Consensus Recommendations for the Safe Conduct of Nonoperating Room Anesthesia: A Meeting Report From the 2022 Stoelting Conference of the Anesthesia Patient Safety Foundation - Anesthesia Patient Safety Foundation (apsf.org) https://pubmed.ncbi.nlm.nih.gov/32809751/ AANA Documenting Anesthesia Care, 2016 https://issuu.com/aanapublishing/docs/4_-_documenting_anesthesia_care?fr=sNDZlYTU2NDAxMjU Standards for Basic Anesthetic Monitoring (asahq.org), 2020 https://www.asahq.org/standards-and-practice-parameters/standards-for-basic-anesthetic-monitoring Positive Pressure Ventilation https://pubmed.ncbi.nlm.nih.gov/32809751/ AANA Documenting Anesthesia Care, 2016 https://issuu.com/aanapublishing/docs/4_-_documenting_anesthesia_care?fr=sNDZlYTU2NDAxMjU Standards for Basic Anesthetic Monitoring (asahq.org), 2020 https://www.asahq.org/standards-and-practice-parameters/standards-for-basic-anesthetic-monitoring |
| 4-C-10 | AANA Documenting Anesthesia Care, 2016 https://issuu.com/aanapublishing/docs/4_-_documenting_anesthesia_care?fr=sNDZlYTU2NDAxMjU Standards for Basic Anesthetic Monitoring (asahq.org), 2020 https://www.asahq.org/standards-and-practice-parameters/standards-for-basic-anesthetic-monitoring Understanding noninvasive ventilation, 2021 https://www.myamericannurse.com/understanding-noninvasive-ventilation/ |
| 4-C-11 | AANA Documenting Anesthesia Care, 2016 https://issuu.com/aanapublishing/docs/4_-_documenting_anesthesia_care?fr=sNDZlYTU2NDAxMjU Standards for Basic Anesthetic Monitoring (asahq.org), 2020 https://www.asahq.org/standards-and-practice-parameters/standards-for-basic-anesthetic-monitoring |
| 4-C-12 | AANA Documenting Anesthesia Care, 2016 https://issuu.com/aanapublishing/docs/4_-_documenting_anesthesia_care?fr=sNDZlYTU2NDAxMjU Standards for Basic Anesthetic Monitoring (asahq.org), 2020 https://www.asahq.org/standards-and-practice-parameters/standards-for-basic-anesthetic-monitoring Understanding noninvasive ventilation, 2021 https://www.myamericannurse.com/understanding-noninvasive-ventilation/ Indian Journal of Aneaesthesia, Anaaesthesia Gas Supply: Gas Cylinders, 2013 https://www.ncbi.nlm.nih.gov/pmc/articles/PMC3821267/ |
| 4-C-13 | AANA Documenting Anesthesia Care, 2016 https://issuu.com/aanapublishing/docs/4_-_documenting_anesthesia_care?fr=sNDZlYTU2NDAxMjU Standards for Basic Anesthetic Monitoring (asahq.org), 2020 https://www.asahq.org/standards-and-practice-parameters/standards-for-basic-anesthetic-monitoring International Standards Organization (ISO) ISO5358”1992(en) Anaesthetic machines for use with humans, 1992 https://www.iso.org/obp/ui/#iso:std:iso:5358:ed-2:v1:en ISO5358”1992(en) Continuous flow inhalational anaesthetic apparatus (anaesthetic machine) for use with humans, 1992 https://cdn.standards.iteh.ai/samples/11384/8da97623dbe74f6ab594cc26391c7c76/ISO-5358-1980.pdf |
| 4-C-14 | AANA Documenting Anesthesia Care, 2016 https://issuu.com/aanapublishing/docs/4_-_documenting_anesthesia_care?fr=sNDZlYTU2NDAxMjU American Nurse, Understanding end-tidal CO2 monitoring, 2012 https://www.myamericannurse.com/understanding-end-tidal-co2-monitoring/ Standards for Basic Anesthetic Monitoring (asahq.org), 2020 https://www.asahq.org/standards-and-practice-parameters/standards-for-basic-anesthetic-monitoring ASA Statement on Continuum of Depth of Sedation: Definition of General Anesthesia and Levels of Sedation/Analgesia https://www.asahq.org/standards-and-practice-parameters/statement-on-continuum-of-depth-of-sedation-definition-of-general-anesthesia-and-levels-of-sedation-analgesia |
| 4-C-15 | Standards for Basic Anesthetic Monitoring (asahq.org), 2020 https://www.asahq.org/standards-and-practice-parameters/standards-for-basic-anesthetic-monitoring International Standards Organization (ISO) ISO5358”1992(en) Anaesthetic machines for use with humans, 1992 https://www.iso.org/obp/ui/#iso:std:iso:5358:ed-2:v1:en ISO5358”1992(en) Continuous flow inhalational anaesthetic apparatus (anaesthetic machine) for use with humans, 1992 https://cdn.standards.iteh.ai/samples/11384/8da97623dbe74f6ab594cc26391c7c76/ISO-5358-1980.pdf |
| 4-C-16 | National Library of Medicine, Pin Index Safety, 2022 https://www.ncbi.nlm.nih.gov/books/NBK532908/#article-27225.s1 Anaesthesia Gas Supply: Gas Cylinders - PMC, 2013 https://www.ncbi.nlm.nih.gov/pmc/articles/PMC3821267/ |
| 4-C-17 | OSHA Anesthetic Gases: Guidelines for Workplace Exposures, 2000 https://www.osha.gov/waste-anesthetic-gases/workplace-exposures-guidelines |
| 4-E-7 | NFPA 99, 2012 Chapter 5 Gas and Vacuum Systems https://up.codes/viewer/centers-for-medicare-and-medicaid-services/nfpa-99-2012/chapter/5/gas-and-vacuum-systems#5 World Class Healthcare Compliance, Medical Gas Systems: The Definitive Guideline https://f.hubspotusercontent20.net/hubfs/479873/bonus%20content/medical-gas-systems-guide.pdf?__hstc=1717358.4f83df3156ea0e81eee9d942814fad43.1726598873503.1726598873503.1726598873503.1&__hssc=1717358.1.1726598873503&__hsfp=2901579814&hsCtaTracking=4a8af79e-62cb-4897-ae24-627d87fe0fcc%7C030bdec8-b6d4-44c4-b056-b9088173751a |
| 5-A-3 | A Study on Performance and Safety Tests of Defibrillator Equipment - PMC (nih.gov) Automated External Defibrillators (AEDs) ¦ FDA FDA-Approved AED Devices https://www.fda.gov/medical-devices/cardiovascular-devices/automated-external-defibrillators-aeds#approved |
| 5-B-2 | The No-Nonsense Guide to NFPA 110 Compliance for Emergency Power Systems https://ckpower.com/wp-content/uploads/2018/04/NFPA-110-Final.pdf CMS S&C 07-21 Generators in Ambulatory Surgical Centers (ASC) www.cms.gov/Medicare/Provider-Enrollment-and-Certification/SurveyCertificationGenInfo/Downloads/SCLetter07-21.pdf |
| 6-A-1 | AORN Guidelines in Practice: Medication Safety https://aornjournal.onlinelibrary.wiley.com/doi/epdf/10.1002/aorn.14034 USP 797 Key Changes https://www.ashp.org/-/media/assets/pharmacy-practice/resource-centers/compounding/docs/USP-797-Key-Changes.pdf ASA Statement on Security of Medications in the Operating Room, 2023 https://www.asahq.org/standards-and-practice-parameters/statement-on-security-of-medications-in-the-operating-room AANA Safe Injection Guidelines for Needle and Syringe Use, 2022 https://issuu.com/aanapublishing/docs/8_-_safe_injection_guidelines_for_needle_and_syrin?fr=sNzEyZTU2NDAxMjU American Society of Ophthalmic Registered Nurses (ASORN) Use of Multi-dose Medications https://asorn.org/professional-resources/policies-and-recommendations/asorn-recommended-practice-use-of-multi-dose-medications/ Using Multidose Eyedrops in a Health Care Setting, 2014 https://jamanetwork.com/journals/jamaophthalmology/article-abstract/1901216 USP General Chapter Labeling: Expiration Date FAQs December 2023 https://go.usp.org/USP_GC_7_FAQs?_gl=1*9t81ki*_gcl_au*MTE5NjEzMzM3OS4xNzA3NDE4MTA0*_ga*MTY4NDc2MjkyOS4xNzA3NDE4MTA1*_ga_DTGQ04CR27*MTcwNzQxODEwNC4xLjAuMTcwNzQxODEwNC4wLjAuMA |
| 6-A-2 | CDC Single-Dose or Multi-Dose https://www.cdc.gov/injection-safety/media/pdfs/Injection-Safety-For-Healthcare-P.pdf CDC Safe Injection Practices https://www.cdc.gov/injection-safety/hcp/clinical-guidance/index.html American Society of Ophthalmic Registered Nurses (ASORN) Use of Multi-dose Medications https://asorn.org/professional-resources/policies-and-recommendations/asorn-recommended-practice-use-of-multi-dose-medications/ Using Multidose Eyedrops in a Health Care Setting, 2014 https://jamanetwork.com/journals/jamaophthalmology/article-abstract/1901216 CDC Preventing Unsafe Infection Practices https://www.cdc.gov/injection-safety/hcp/clinical-safety/index.html#:~:text=Key%20points%20for%20multi%2Ddose%20vials%20*%20An,never%20exceed%20the%20manufacturer's%20original%20expiration%20date. |
| 6-A-5 | EPA Information for Hospitals, Pharmacies and Other Businesses that Have Medicines to Dispose https://www.epa.gov/household-medication-disposal/information-hospitals-pharmacies-and-other-businesses-have-medicines Search List of Extended Use Dates to Assist with Drug Shortages ¦ FDA https://www.fda.gov/drugs/drug-shortages/search-list-extended-use-dates-assist-drug-shortages |
| 6-A-6 | ISMP Launches New Perioperative Medication Safety Guidelines https://home.ecri.org/blogs/ismp-news/ismp-launches-new-perioperative-medication-safety-guidelines ISMP Facility Endorsements https://www.ismp.org/sites/default/files/attachments/2021-08/PerioperativeAssessment-Endorsers-20210817.pdf (Please note that QUAD A is an endorsing organization!) ASA Statement on Security of Medications in the Operating Room, 2023 https://www.asahq.org/standards-and-practice-parameters/statement-on-security-of-medications-in-the-operating-room AANA USP General Chapter 797, 2023 https://www.aana.com/practice/clinical-practice/clinical-practice-resources/usp-general-chapter/ AANA Safe Injection Guidelines for Needle and Syringe Use, 2022 www.aana.com/PracticeManual. AORN Guideline for Medication Safety, 2023 https://aornguidelines.org/guidelines/content?sectionid=173722338&view=book#173722338 |
| 6-A-8 | AORN Guidelines in Practice: Medication Safety https://aornjournal.onlinelibrary.wiley.com/doi/epdf/10.1002/aorn.14034 USP 797 Key Changes https://www.ashp.org/-/media/assets/pharmacy-practice/resource-centers/compounding/docs/USP-797-Key-Changes.pdf ASA Statement on Security of Medications in the Operating Room, 2023 https://www.asahq.org/standards-and-practice-parameters/statement-on-security-of-medications-in-the-operating-room AANA Safe Injection Guidelines for Needle and Syringe Use, 2022 https://issuu.com/aanapublishing/docs/8_-_safe_injection_guidelines_for_needle_and_syrin?fr=sNzEyZTU2NDAxMjU American Society of Ophthalmic Registered Nurses (ASORN) Use of Multi-dose Medications https://asorn.org/professional-resources/policies-and-recommendations/asorn-recommended-practice-use-of-multi-dose-medications/ Using Multidose Eyedrops in a Health Care Setting, 2014 https://jamanetwork.com/journals/jamaophthalmology/article-abstract/1901216 USP General Chapter Labeling: Expiration Date FAQs December 2023 https://go.usp.org/USP_GC_7_FAQs?_gl=1*9t81ki*_gcl_au*MTE5NjEzMzM3OS4xNzA3NDE4MTA0*_ga*MTY4NDc2MjkyOS4xNzA3NDE4MTA1*_ga_DTGQ04CR27*MTcwNzQxODEwNC4xLjAuMTcwNzQxODEwNC4wLjAuMA |
| 6-C-2 | Clinical Procedures for Safe Patient Care, 8.7 Transfusion of Blood and Blood Products, 2015 https://opentextbc.ca/clinicalskills/chapter/blood-and-blood-product-administration/ |
| 6-D-1 | DEA Practitioner’s Manual, An Informational Outline of the Controlled Substance Act www.deadiversion.usdoj.gov/GDP/(DEA-DC-071)(EO-DEA226)_Practitioner's_Manual_(final).pdf DEA Registration Q&A https://deadiversion.usdoj.gov/faq/registration-faq.html Narcotic Drugs: Handling and Documentation,2023 www.rn.org/courses/coursematerial-10004.pdf |
| 6-D-3 | DEA Practitioner’s Manual, An Informational Outline of the Controlled Substance Act www.deadiversion.usdoj.gov/GDP/(DEA-DC-071)(EO-DEA226)_Practitioner's_Manual_(final).pdf DEA Registration Q&A https://deadiversion.usdoj.gov/faq/registration-faq.html Narcotic Drugs: Handling and Documentation,2023 www.rn.org/courses/coursematerial-10004.pdf DEA Theft/Loss Reporting https://www.deadiversion.usdoj.gov/21cfr_reports/theft/theft-loss.html |
| 6-D-4 | DEA Practitioner’s Manual, An Informational Outline of the Controlled Substance Act www.deadiversion.usdoj.gov/GDP/(DEA-DC-071)(EO-DEA226)_Practitioner's_Manual_(final).pdf DEA Registration Q&A https://deadiversion.usdoj.gov/faq/registration-faq.html Narcotic Drugs: Handling and Documentation,2023 www.rn.org/courses/coursematerial-10004.pdf |
| 6-D-5 | DEA Practitioner’s Manual, An Informational Outline of the Controlled Substance Act www.deadiversion.usdoj.gov/GDP/(DEA-DC-071)(EO-DEA226)_Practitioner's_Manual_(final).pdf DEA Registration Q&A https://deadiversion.usdoj.gov/faq/registration-faq.html Narcotic Drugs: Handling and Documentation,2023 www.rn.org/courses/coursematerial-10004.pdf |
| 6-E-1 | Crash cart supply & equipment checklist for medical emergencies https://acls.net/acls-crash-cart AHA CPR & ECC Guidelines Algorithms https://cpr.heart.org/en/resuscitation-science/cpr-and-ecc-guidelines/algorithms |
| 6-E-4 | Crash cart supply & equipment checklist for medical emergencies https://acls.net/acls-crash-cart AHA CPR & ECC Guidelines Algorithms https://cpr.heart.org/en/resuscitation-science/cpr-and-ecc-guidelines/algorithms |
| 6-E-5 | AHA Cardiac Emergency Response Plan https://cpr.heart.org/-/media/CPR-Files/Training-Programs/2024-CERP/2024-CERP-Resources/CERP-Drills-and-Evaluation.pdf?sc_lang=en |
| 6-F-4 | Stability of Succinylcholine Solutions Stored at Room Temperature www.researchgate.net/publication/6456254_Stability_of_succinylcholine_solutions_stored_at_room_temperature_studied_by_nuclear_magnetic_resonance_spectroscopy Succinylcholine Chloride, 2023 https://www.ncbi.nlm.nih.gov/books/NBK499984/ |
| 6-F-5 | National Library of Medicine, Reversal agents in anaesthesia and critical care, 2015 https://www.ncbi.nlm.nih.gov/pmc/articles/PMC4645356/ |
| 6-F-10 | Rescue Medications for Seizures https://www.verywellhealth.com/medications-used-for-seizure-emergencies-5100921 Seizure Rescue Therapies https://www.epilepsy.com/treatment/seizure-rescue-therapies#What-are- Medical management of status epilepticus: Emergency room to intensive care unit https://www.seizure-journal.com/article/S1059-1311(19)30204-3/fulltext |
| 6-F-12 | Internet Book of Critical Care (IBCC) Local Anesthetic Systemic Toxicity (LAST), 2021 https://emcrit.org/ibcc/last/ |
| 6-G-1 | AANA Malignant Hypothermia Crisis Prevention and Treatment https://issuu.com/aanapublishing/docs/11_-_malignant_hyperthermia_crisis_preparedness_an AANA Malignant Hyperthermia https://www.aana.com/practice/clinical-practice/clinical-practice-resources/malignant-hyperthermia/ MHAUS Recommendations for Managing an MH Crisis https://www.mhaus.org/healthcare-professionals/ AORN Competency Verification Tool: Malignant Hyperthermia - RN https://aornguidelines.org/tool/content?gbosid=396610 MHAUS Recommendations for Managing an MH Crisis https://www.mhaus.org/healthcare-professionals/ |
| 6-G-2 | MHAUS Frequently Asked Questions, 2024 https://www.mhaus.org/faqs MHAUS Recommendations for Managing an MH Crisis, 2024 https://www.mhaus.org/healthcare-professionals/ |
| 6-G-5 | MHAUS Recommendations for Managing an MH Crisis https://www.mhaus.org/healthcare-professionals/ MH Crisis Hotline https://www.mhaus.org/healthcare-professionals/ 1-800-644-9737, outside of North America 001-209-417-3722 Be prepared to give your name, number, facility, and email. |
| 6-G-9 | MHAUS Recommendations https://www.mhaus.org/healthcare-professionals/mhaus-recommendations/ |
| 6-G-10 | NSHHR Reporting https://anest.ufl.edu/namhr/namhr-report-forms/ |
| 7-A-1 | CDC’s Core Infection Prevention and Control Practices for Safe Healthcare Delivery in All Settings, 2024 https://www.cdc.gov/infection-control/hcp/core-practices/index.html CDC Standard Precautions for All Patient Care, 2024 https://www.cdc.gov/infection-control/hcp/basics/standard-precautions.html?CDC_AAref_Val=https://www.cdc.gov/infectioncontrol/basics/standard-precautions.html FDA Personal Protective Equipment for Infection Control, 2020 https://www.fda.gov/medical-devices/general-hospital-devices-and-supplies/personal-protective-equipment-infection-control WHO Standard Precautions for the Prevention and Control of Infections https://iris.who.int/bitstream/handle/10665/356855/WHO-UHL-IHS-IPC-2022.1-eng.pdf?sequence=1 |
| 7-A-7 | WHO Infection prevention and control – Hand hygiene https://www.who.int/teams/integrated-health-services/infection-prevention-control/hand-hygiene CDC Clinical Safety Hand Hygiene for Healthcare Workers https://www.cdc.gov/clean-hands/hcp/clinical-safety/index.html |
| 7-A-10 | AORN Surgical Attire in the Operating Room, an AORN Guideline https://www.aorn.org/article/surgical-attire-in-the-operating-room--an-aorn-guideline#:~:text=The%20AORN%20guideline%20for%20surgical,surgical%20attire%20guidelines%20from%20AORN CDC's Core Infection Prevention and Control Practices for Safe Healthcare Delivery in All Settings, 2024 https://www.cdc.gov/infection-control/hcp/core-practices/index.html CDC Laundry and Bedding, 2003 https://www.cdc.gov/infection-control/hcp/environmental-control/laundry-bedding.html Operating Theatre Attire and Personal Protective Equipment, 2016 https://onlinelibrary.wiley.com/doi/10.1002/9781119548935.ch6 WHO Infection Prevent and Control https://www.who.int/health-topics/infection-prevention-and-control#tab=tab_1 |
| 7-B-1 | AORN e Guidelines for Hand Hygiene https://aornjournal.onlinelibrary.wiley.com/doi/abs/10.1002/aorn.13964 CDC Clinical Safety: Hand Hygiene for Healthcare Workers https://www.cdc.gov/clean-hands/hcp/clinical-safety/index.html WHO Infection prevention and control – Hand hygiene https://www.who.int/teams/integrated-health-services/infection-prevention-control/hand-hygiene Outpatient Surgery, How to Perform a Proper Hand Scrub, 2009 https://www.aorn.org/outpatient-surgery/article/2009-May-how-to-perform-a-proper-hand-scrub |
| 7-C-2 | ANSI/AAMI ST79:2017 & 2020 Amendments; Comprehensive guide to steam sterilization and sterility assurance in health care facilities https://www.standards-global.com/wp-content/uploads/pdfs/preview/1997188 |
| 7-C-4 | FDA Reprocessing Single-Use Medical Devices: Information for Health Care Facilities https://www.fda.gov/medical-devices/products-and-medical-procedures/reprocessing-single-use-medical-devices-information-health-care-facilities CDC Reuse of Single-Use Devices, 2008 https://www.cdc.gov/infection-control/hcp/disinfection-sterilization/reuse-single-use-devices.html |
| 7-D-1 | AAO Guidelines for the Cleaning and Sterilization of Intraocular Surgical Instruments - 2018 https://www.aao.org/education/clinical-statement/guidelines-cleaning-sterilization-intraocular ANSI/AAMI ST79:2017/(R)2022; Comprehensive guide to steam sterilization and sterility assurance in health care facilities https://array.aami.org/doi/book/10.2345/9781570208027 CDC Sterilization Practices https://www.cdc.gov/infection-control/hcp/disinfection-sterilization/sterilizing-practices.html CDC Recommendations for Disinfection and Sterilization Guidelines in Healthcare Facilities, 2023 https://www.cdc.gov/infection-control/hcp/disinfection-sterilization/summary-recommendations.html#tocBox |
| 7-D-2 | ANSI/AAMI ST79:2017 & 2020 Amendments; Comprehensive guide to steam sterilization and sterility assurance in health care facilities https://www.standards-global.com/wp-content/uploads/pdfs/preview/1997188 AAO Guidelines for the Cleaning and Sterilization of Intraocular Surgical Instruments - 2018 https://www.aao.org/education/clinical-statement/guidelines-cleaning-sterilization-intraocular Toxic anterior segment syndrome (TASS): A review and update, 2023 https://www.ncbi.nlm.nih.gov/pmc/articles/PMC10841787/ WHO Decontamination and Reprocessing of Medical Devices for Health-care Facilities https://iris.who.int/server/api/core/bitstreams/d128e952-f919-4462-bdb0-392312908782/content |
| 7-D-3 | CDC Ethylene Oxide “Gas” Sterilization https://www.cdc.gov/infection-control/hcp/disinfection-sterilization/ethylene-oxide-sterilization.html CDC Peracetic Acid Sterilization https://www.cdc.gov/infection-control/hcp/disinfection-sterilization/peracetic-acid-sterilization.html |
| 7-D-5 | Sample Sterilization Log Sheet https://www.crosstexbms.com/media/1216/0918-ddoc00400-rev-a_sterilization-log-sheet.pdf Sample In-Office Biological Monitoring System - Record Keeper https://www.crosstexbms.com/media/1170/recordkeeperlog_ctx1140.pdf CDC Recommendations for Disinfection and Sterilization Guidelines in Healthcare Facilities, 2023 https://www.cdc.gov/infection-control/hcp/disinfection-sterilization/summary-recommendations.html#tocBox CDC Sterilization Practices, 2023 https://www.cdc.gov/infection-control/hcp/disinfection-sterilization/sterilizing-practices.html Halyard Health Sterilization Pouches: What You Need to Know About the Essential Medical Sterilization Product, 2023 https://www.halyardhealth.com/articles/sterilization/sterilization-pouches-what-you-need-to-know WHO Decontamination and Reprocessing of Medical Devices for Health-care Facilities https://iris.who.int/bitstream/handle/10665/250232/9789241549851-eng.pdf?sequence=1 Crosstex Resources: Compliance Support and Information https://www.crosstexbms.com/resources/tools/ |
| 7-D-6 | CDC Sterilization Practices, 2023 https://www.cdc.gov/infection-control/hcp/disinfection-sterilization/sterilizing-practices.html Understanding the Parts and Functions of Surgical Instruments for Sterile Processing, 2024 https://sterileprocessingtech.org/understanding-the-parts-and-functions-of-surgical-instruments-for-sterile-processing/ WHO Decontamination and Reprocessing of Medical Devices for Health-care Facilities https://iris.who.int/bitstream/handle/10665/250232/9789241549851-eng.pdf?sequence=1 |
| 7-D-7 | CDC Sterilization Practices, 2023 https://www.cdc.gov/infection-control/hcp/disinfection-sterilization/sterilizing-practices.html WHO Decontamination and Reprocessing of Medical Devices for Health-care Facilities https://iris.who.int/bitstream/handle/10665/250232/9789241549851-eng.pdf?sequence=1 |
| 7-D-9 | CDC Sterilization Practices, 2023 https://www.cdc.gov/infection-control/hcp/disinfection-sterilization/sterilizing-practices.html CDC Best Practices for Sterilization Monitoring in Dental Settings, 2024 www.cdc.gov/oralhealth/infectioncontrol/faqs/monitoring.htmlCDC Sterilization Practices, 2023 https://www.cdc.gov/infection-control/hcp/disinfection-sterilization/sterilizing-practices.html CDC Best Practices for Sterilization Monitoring in Dental Settings, 2024 www.cdc.gov/oralhealth/infectioncontrol/faqs/monitoring.html |
| 7-D-10 | CDC Sterilization Practices, 2023 https://www.cdc.gov/infection-control/hcp/disinfection-sterilization/sterilizing-practices.html CDC Best Practices for Sterilization Monitoring in Dental Settings, 2024 www.cdc.gov/oralhealth/infectioncontrol/faqs/monitoring.html |
| 7-D-11 | ANSI/AAMI ST79:2017/(R)2022; Comprehensive guide to steam sterilization and sterility assurance in health care facilities https://array.aami.org/doi/book/10.2345/9781570208027 APIC Immediate-Use Steam Sterilization https://www.apic.org/Resource_/TinyMceFileManager/Position_Statements/Immediate_Use_Steam_Sterilization_022011.pdf CDC Flash Sterilization https://www.cdc.gov/infection-control/hcp/disinfection-sterilization/flash-sterilization.html |
| 7-E-1 | CDC Disinfection of Healthcare Equipment, 2023 https://www.cdc.gov/infection-control/hcp/disinfection-sterilization/healthcare-equipment.html WHO Decontamination and Reprocessing of Medical Devices for Health-care Facilities https://iris.who.int/bitstream/handle/10665/250232/9789241549851-eng.pdf?sequence=1 |
| 7-E-2 | Essential Elements of a Reprocessing Program for Flexible Endoscopes – Recommendations of the Healthcare Infection Control Practices Advisory Committee (HICPAC), 2015 https://www.cdc.gov/hicpac/media/pdfs/essential-elements-508.pdf CDC Disinfection and Sterilization – Summary, 2023 https://www.cdc.gov/infection-control/hcp/disinfection-and-sterilization/?CDC_AAref_Val=https://www.cdc.gov/infectioncontrol/guidelines/disinfection/index.htm |
| 7-E-3 | CDC Guidelines for Environmental Infection Control in Health-Care Facilities (2003) Appendix B. Air https://www.cdc.gov/infection-control/hcp/environmental-control/appendix-b-air.html |
| 7-F-2 | CDC Appendix B2 – Cleaning procedure summaries for specialized patient areas https://www.cdc.gov/healthcare-associated-infections/hcp/cleaning-global/appendix-b2.html |
| 7-F-3 | CDC Environmental Cleaning Procedures https://www.cdc.gov/healthcare-associated-infections/hcp/cleaning-global/procedures.html#:~:text=Confine%20the%20spill%20and%20wipe,detergent%20and%20warm%20water%20solution. OSHA Bloodborne Pathogens and Needlestick Prevention https://www.osha.gov/bloodborne-pathogens/standards |
| 7-F-4 | OSHA Worker Protections Against Occupational Exposure to Infectious Diseases https://www.osha.gov/bloodborne-pathogens/worker-protections OSHA Bloodborne pathogens https://www.osha.gov/laws-regs/regulations/standardnumber/1910/1910.1030 CDC Environmental Cleaning Procedures https://www.cdc.gov/healthcare-associated-infections/hcp/cleaning-global/procedures.html#:~:text=Confine%20the%20spill%20and%20wipe,detergent%20and%20warm%20water%20solution. |
| 7-F-5 | CDC Environmental Cleaning Procedures, 2024 https://www.cdc.gov/healthcare-associated-infections/hcp/cleaning-global/procedures.html |
| 7-F-6 | CDC Cleaning, 2023 https://www.cdc.gov/infection-control/hcp/disinfection-sterilization/cleaning.html CDC Disinfection and Sterilization Guidelines https://www.cdc.gov/infection-control/hcp/disinfection-and-sterilization/index.html |
| 8-B-2 | Implementation Manual: WHO Surgical Safety Checklist 2009 https://iris.who.int/bitstream/handle/10665/44186/9789241598590_eng.pdf?sequence=1 |
| 8-B-23 | Completion of the Updated Caprini Risk Assessment Model https://www.ncbi.nlm.nih.gov/pmc/articles/PMC6714938/ Caprini Risk Assessment Model for Venous thromboembolism, Recommended Intervention for Thromboprophylaxis Based on Risk of VTE. https://thrombosiscanada.ca/wp-content/uploads/2017/04/VTE-Risk-Assessment-Tool-Caprini-Score-Card-Eng-30Apr2018.pdf |
| 8-G-1 | ASC Quality Collaboration – Prevention of Wrong Site Surgery Toolkit https://ascquality.org/toolkits/wrong-site-surgery/ WHO Safety Checklist Tool https://cdn.who.int/media/docs/default-source/patient-safety/safe-surgery/starter_kit-sssl.pdf?sfvrsn=9cef94b8_7 WHO Surgical Safety Checklist https://www.who.int/teams/integrated-health-services/patient-safety/research/safe-surgery/tool-and-resources WHO Surgical Safety Checklist Adaptation Guide https://cdn.who.int/media/docs/default-source/patient-safety/safe-surgery/checklist-adaptation.pdf?sfvrsn=dcbb632f_6 The WHO safer surgery checklist time out procedure revisited: Strategies to optimize compliance and safety https://www.sciencedirect.com/science/article/pii/S174391911930158X AANA Patient-Centered Perianesthesia Communication, 2023 https://issuu.com/aanapublishing/docs/9_-_patient-centered_perianesthesia_communication AORN, Wrong Surgeries Up 26% in 2023 https://www.aorn.org/about-aorn/aorn-newsroom/periop-today-newsletter/periop-today-newsletter/wrong-surgeries-up-26--in-2023 |
| 8-G-2 | WHO Safety Checklist Tool https://cdn.who.int/media/docs/default-source/patient-safety/safe-surgery/starter_kit-sssl.pdf?sfvrsn=9cef94b8_7 WHO Surgical Safety Checklist https://www.who.int/teams/integrated-health-services/patient-safety/research/safe-surgery/tool-and-resources WHO Surgical Safety Checklist Adaptation Guide https://cdn.who.int/media/docs/default-source/patient-safety/safe-surgery/checklist-adaptation.pdf?sfvrsn=dcbb632f_6 The WHO safer surgery checklist time out procedure revisited: Strategies to optimize compliance and safety https://www.sciencedirect.com/science/article/pii/S174391911930158X AANA Patient-Centered Perianesthesia Communication, 2023 https://issuu.com/aanapublishing/docs/9_-_patient-centered_perianesthesia_communication AORN, Wrong Surgeries Up 26% in 2023 https://www.aorn.org/about-aorn/aorn-newsroom/periop-today-newsletter/periop-today-newsletter/wrong-surgeries-up-26--in-2023 |
| 8-H-1 | AANA Documenting Anesthesia Care https://issuu.com/aanapublishing/docs/4_-_documenting_anesthesia_care?fr=sNDZlYTU2NDAxMjU AANA Standards for Nurse Anesthesia Practice https://issuu.com/aanapublishing/docs/standards_for_nurse_anesthesia_practice_2.23?fr=sOGNhNjU2NDAxMjU ASA Standards for Basic Anesthetic Monitoring, 2020 https://www.asahq.org/standards-and-practice-parameters/standards-for-basic-anesthetic-monitoring ASA Practice Guidelines for Sedation and Analgesia by Non-Anesthesiologists https://pubs.asahq.org/anesthesiology/article/96/4/1004/39315/Practice-Guidelines-for-Sedation-and-Analgesia-by |
| 8-H-2 | AANA Documenting Anesthesia Care https://issuu.com/aanapublishing/docs/4_-_documenting_anesthesia_care?fr=sNDZlYTU2NDAxMjU AANA Standards for Nurse Anesthesia Practice https://issuu.com/aanapublishing/docs/standards_for_nurse_anesthesia_practice_2.23?fr=sOGNhNjU2NDAxMjU ASA Standards for Basic Anesthetic Monitoring, 2020 https://www.asahq.org/standards-and-practice-parameters/standards-for-basic-anesthetic-monitoring ASA Practice Guidelines for Sedation and Analgesia by Non-Anesthesiologists https://pubs.asahq.org/anesthesiology/article/96/4/1004/39315/Practice-Guidelines-for-Sedation-and-Analgesia-by |
| 8-H-3 | AANA Documenting Anesthesia Care https://issuu.com/aanapublishing/docs/4_-_documenting_anesthesia_care?fr=sNDZlYTU2NDAxMjU AANA Standards for Nurse Anesthesia Practice https://issuu.com/aanapublishing/docs/standards_for_nurse_anesthesia_practice_2.23?fr=sOGNhNjU2NDAxMjU ASA Standards for Basic Anesthetic Monitoring, 2020 https://www.asahq.org/standards-and-practice-parameters/standards-for-basic-anesthetic-monitoring ASA Practice Guidelines for Sedation and Analgesia by Non-Anesthesiologists https://pubs.asahq.org/anesthesiology/article/96/4/1004/39315/Practice-Guidelines-for-Sedation-and-Analgesia-by |
| 8-H-4 | AANA Documenting Anesthesia Care https://issuu.com/aanapublishing/docs/4_-_documenting_anesthesia_care?fr=sNDZlYTU2NDAxMjU AANA Standards for Nurse Anesthesia Practice https://issuu.com/aanapublishing/docs/standards_for_nurse_anesthesia_practice_2.23?fr=sOGNhNjU2NDAxMjU ASA Standards for Basic Anesthetic Monitoring, 2020 https://www.asahq.org/standards-and-practice-parameters/standards-for-basic-anesthetic-monitoring ASA Practice Guidelines for Sedation and Analgesia by Non-Anesthesiologists https://pubs.asahq.org/anesthesiology/article/96/4/1004/39315/Practice-Guidelines-for-Sedation-and-Analgesia-by |
| 8-H-5 | AANA Documenting Anesthesia Care https://issuu.com/aanapublishing/docs/4_-_documenting_anesthesia_care?fr=sNDZlYTU2NDAxMjU AANA Standards for Nurse Anesthesia Practice https://issuu.com/aanapublishing/docs/standards_for_nurse_anesthesia_practice_2.23?fr=sOGNhNjU2NDAxMjU ASA Standards for Basic Anesthetic Monitoring, 2020 https://www.asahq.org/standards-and-practice-parameters/standards-for-basic-anesthetic-monitoring ASA Practice Guidelines for Sedation and Analgesia by Non-Anesthesiologists https://pubs.asahq.org/anesthesiology/article/96/4/1004/39315/Practice-Guidelines-for-Sedation-and-Analgesia-by |
| 8-H-9 | AANA Documenting Anesthesia Care https://issuu.com/aanapublishing/docs/4_-_documenting_anesthesia_care?fr=sNDZlYTU2NDAxMjU AANA Standards for Nurse Anesthesia Practice https://issuu.com/aanapublishing/docs/standards_for_nurse_anesthesia_practice_2.23?fr=sOGNhNjU2NDAxMjU ASA Standards for Basic Anesthetic Monitoring, 2020 https://www.asahq.org/standards-and-practice-parameters/standards-for-basic-anesthetic-monitoring ASA Practice Guidelines for Sedation and Analgesia by Non-Anesthesiologists https://pubs.asahq.org/anesthesiology/article/96/4/1004/39315/Practice-Guidelines-for-Sedation-and-Analgesia-by |
| 8-H-11 | AANA Documenting Anesthesia Care https://issuu.com/aanapublishing/docs/4_-_documenting_anesthesia_care?fr=sNDZlYTU2NDAxMjU AANA Standards for Nurse Anesthesia Practice https://issuu.com/aanapublishing/docs/standards_for_nurse_anesthesia_practice_2.23?fr=sOGNhNjU2NDAxMjU ASA Standards for Basic Anesthetic Monitoring, 2020 https://www.asahq.org/standards-and-practice-parameters/standards-for-basic-anesthetic-monitoring ASA Practice Guidelines for Sedation and Analgesia by Non-Anesthesiologists https://pubs.asahq.org/anesthesiology/article/96/4/1004/39315/Practice-Guidelines-for-Sedation-and-Analgesia-by |
| 8-H-12 | AANA Documenting Anesthesia Care https://issuu.com/aanapublishing/docs/4_-_documenting_anesthesia_care?fr=sNDZlYTU2NDAxMjU AANA Standards for Nurse Anesthesia Practice https://issuu.com/aanapublishing/docs/standards_for_nurse_anesthesia_practice_2.23?fr=sOGNhNjU2NDAxMjU ASA Standards for Basic Anesthetic Monitoring, 2020 https://www.asahq.org/standards-and-practice-parameters/standards-for-basic-anesthetic-monitoring ASA Practice Guidelines for Sedation and Analgesia by Non-Anesthesiologists https://pubs.asahq.org/anesthesiology/article/96/4/1004/39315/Practice-Guidelines-for-Sedation-and-Analgesia-by |
| 8-H-13 | AANA Documenting Anesthesia Care https://issuu.com/aanapublishing/docs/4_-_documenting_anesthesia_care?fr=sNDZlYTU2NDAxMjU AANA Standards for Nurse Anesthesia Practice https://issuu.com/aanapublishing/docs/standards_for_nurse_anesthesia_practice_2.23?fr=sOGNhNjU2NDAxMjU ASA Standards for Basic Anesthetic Monitoring, 2020 https://www.asahq.org/standards-and-practice-parameters/standards-for-basic-anesthetic-monitoring ASA Practice Guidelines for Sedation and Analgesia by Non-Anesthesiologists https://pubs.asahq.org/anesthesiology/article/96/4/1004/39315/Practice-Guidelines-for-Sedation-and-Analgesia-by |
| 8-H-14 | AANA Documenting Anesthesia Care https://issuu.com/aanapublishing/docs/4_-_documenting_anesthesia_care?fr=sNDZlYTU2NDAxMjU AANA Standards for Nurse Anesthesia Practice https://issuu.com/aanapublishing/docs/standards_for_nurse_anesthesia_practice_2.23?fr=sOGNhNjU2NDAxMjU ASA Standards for Basic Anesthetic Monitoring, 2020 https://www.asahq.org/standards-and-practice-parameters/standards-for-basic-anesthetic-monitoring ASA Practice Guidelines for Sedation and Analgesia by Non-Anesthesiologists https://pubs.asahq.org/anesthesiology/article/96/4/1004/39315/Practice-Guidelines-for-Sedation-and-Analgesia-by |
| 8-H-15 | AANA Documenting Anesthesia Care https://issuu.com/aanapublishing/docs/4_-_documenting_anesthesia_care?fr=sNDZlYTU2NDAxMjU AANA Standards for Nurse Anesthesia Practice https://issuu.com/aanapublishing/docs/standards_for_nurse_anesthesia_practice_2.23?fr=sOGNhNjU2NDAxMjU ASA Standards for Basic Anesthetic Monitoring, 2020 https://www.asahq.org/standards-and-practice-parameters/standards-for-basic-anesthetic-monitoring ASA Practice Guidelines for Sedation and Analgesia by Non-Anesthesiologists https://pubs.asahq.org/anesthesiology/article/96/4/1004/39315/Practice-Guidelines-for-Sedation-and-Analgesia-by |
| 8-H-16 | AANA Documenting Anesthesia Care https://issuu.com/aanapublishing/docs/4_-_documenting_anesthesia_care?fr=sNDZlYTU2NDAxMjU AANA Standards for Nurse Anesthesia Practice https://issuu.com/aanapublishing/docs/standards_for_nurse_anesthesia_practice_2.23?fr=sOGNhNjU2NDAxMjU ASA Standards for Basic Anesthetic Monitoring, 2020 https://www.asahq.org/standards-and-practice-parameters/standards-for-basic-anesthetic-monitoring ASA Practice Guidelines for Sedation and Analgesia by Non-Anesthesiologists https://pubs.asahq.org/anesthesiology/article/96/4/1004/39315/Practice-Guidelines-for-Sedation-and-Analgesia-by |
| 8-I-2 | AANA Patient-Centered Perianesthesia Communication, Transfer of Care https://issuu.com/aanapublishing/docs/9_-_patient-centered_perianesthesia_communication?fr=sNTcwZjU2NDAxMjU |
| 8-I-3 | AANA Patient Centered Perianesthesia Communication, Transfer of Care https://issuu.com/aanapublishing/docs/9_-_patient-centered_perianesthesia_communication?fr=sNTcwZjU2NDAxMjU ASA Standards for Basic Anesthetic Monitoring, 2020 https://www.asahq.org/standards-and-practice-parameters/standards-for-basic-anesthetic-monitoring |
| 8-I-4 | AANA Patient Centered Perianesthesia Communication, Transfer of Care https://issuu.com/aanapublishing/docs/9_-_patient-centered_perianesthesia_communication?fr=sNTcwZjU2NDAxMjU AHRQ Tool: Handoff, 2023 https://www.ahrq.gov/teamstepps-program/curriculum/communication/tools/handoff.html APSF Improving Post Anesthesia Care Unit (PACU) Handoff by Implementing a Succinct Checklist https://www.apsf.org/article/improving-post-anesthesia-care-unit-pacu-handoff-by-implementing-a-succinct-checklist/ ASA Standards for Basic Anesthetic Monitoring, 2020 https://www.asahq.org/standards-and-practice-parameters/standards-for-basic-anesthetic-monitoring |
| 8-I-5 | AANA Patient-Centered Perianesthesia Communication, Transfer of Care https://issuu.com/aanapublishing/docs/9_-_patient-centered_perianesthesia_communication?fr=sNTcwZjU2NDAxMjU AHRQ Tool: Handoff, 2023 https://www.ahrq.gov/teamstepps-program/curriculum/communication/tools/handoff.html APSF Improving Post Anesthesia Care Unit (PACU) Handoff by Implementing a Succinct Checklist https://www.apsf.org/article/improving-post-anesthesia-care-unit-pacu-handoff-by-implementing-a-succinct-checklist/ ASA Standards for Basic Anesthetic Monitoring, 2020 https://www.asahq.org/standards-and-practice-parameters/standards-for-basic-anesthetic-monitoring |
| 8-I-6 | AANA Patient-Centered Perianesthesia Communication, Transfer of Care https://issuu.com/aanapublishing/docs/9_-_patient-centered_perianesthesia_communication?fr=sNTcwZjU2NDAxMjU AHRQ Tool: Handoff, 2023 https://www.ahrq.gov/teamstepps-program/curriculum/communication/tools/handoff.html APSF Improving Post Anesthesia Care Unit (PACU) Handoff by Implementing a Succinct Checklist https://www.apsf.org/article/improving-post-anesthesia-care-unit-pacu-handoff-by-implementing-a-succinct-checklist/ ASA Standards for Basic Anesthetic Monitoring, 2020 https://www.asahq.org/standards-and-practice-parameters/standards-for-basic-anesthetic-monitoring |
| 8-J-6 | Standards for Postanesthesia Care, 2019 https://www.asahq.org/standards-and-practice-parameters/standards-for-postanesthesia-care Practice Guidelines for Postanesthetic Care: An Updated Report by the American Society of Anesthesiologists Task Force on Postanesthetic Care https://pubs.asahq.org/anesthesiology/article/118/2/291/13600/Practice-Guidelines-for-Postanesthetic-CareAn |
| 8-K-4 | AANA Postanesthesia Care https://issuu.com/aanapublishing/docs/12_-_postanesthesia_care?fr=sMWQxZTU2NDAxMjU Aldrete score https://www.sciencedirect.com/topics/nursing-and-health-professions/aldrete-score Practice Guidelines for Postanesthetic Care: An Updated Report by the American Society of Anesthesiologists Task Force on Postanesthetic Care https://pubs.asahq.org/anesthesiology/article/118/2/291/13600/Practice-Guidelines-for-Postanesthetic-CareAn |
| 8-K-8 | AANA position paper - Discharge After Sedation or Anesthesia on the Day of the Procedure: Patient Transportation With or Without a Responsible Adult https://issuu.com/aanapublishing/docs/8_-_discharge_after_sedation_or_anesthesia_on_the_?fr=sOTE3YjU2NDAxMjU Practice Guidelines for Postanesthetic Care: An Updated Report by the American Society of Anesthesiologists Task Force on Postanesthetic Care https://pubs.asahq.org/anesthesiology/article/118/2/291/13600/Practice-Guidelines-for-Postanesthetic-CareAn Legal Update: The Ride Home: Uber Complicated or Easy Lyft? https://www.aorn.org/outpatient-surgery/article/2019-February-legal-update-the-ride-home-uber-complicated-or-easy-lyft |
| 10-D-0 | Business Associate Contracts https://www.hhs.gov/hipaa/for-professionals/covered-entities/sample-business-associate-agreement-provisions/index.html Covered Entities and Business Associates https://www.hhs.gov/hipaa/for-professionals/covered-entities/index.html Model BAA https://www.hhs.gov/sites/default/files/model-business-associate-agreement.pdf HIPAA Business Associate Agreement https://www.hipaajournal.com/hipaa-business-associate-agreement/ QUAD Sample BAA https://6276684.fs1.hubspotusercontent-na1.net/hubfs/6276684/Applications/HIPAA%20BAA%202022%20122021-2.pdf |
| 11-C-5 | Guidelines for Teaching Physicians, Interns, & Residents www.cms.gov/files/document/guidelines-teaching-physicians-interns-and-residents.pdf |
| 11-C-7 | American Board of Medical Specialties, Verify Certification https://www.abms.org/board-certification/verify-certification/ Health Guide USA, Medical License Lookup https://www.healthguideusa.org/medical_license_lookup.htm National Council of State Boards of Nursing (NCSBN) Nurse Licensure Look Up https://www.nursys.com/ |
| 11-C-9 | What's a Nurse Practitioner (NP)? https://www.aanp.org/about/all-about-nps/whats-a-nurse-practitioner American Association of Physician Assistants https://www.aapa.org/career-central/become-a-pa/ |
| 11-C-10 | AMA Code of Ethics https://code-medical-ethics.ama-assn.org/principles |
| 11-D-8 | American Society of Dentist Anesthesiologists: Parameters of Care, 2018 https://pmc.ncbi.nlm.nih.gov/articles/PMC6148692/ Guidelines for the Use of Sedation and General Anesthesia by Dentists, 2016 https://www.ada.org/-/media/project/ada-organization/ada/ada-org/files/resources/research/ada_sedation_use_guidelines.pdf?rev=313932b4f5eb49e491926d4feac00a14&hash=C7C55D7182C639197569D4ED8EDCDDF6 Parameters of Care: Clinical Practice Guidelines for Oral and Maxillofacial Surgery, Anesthesia in Outpatient Facilities (AAOMS ParCare 2023) https://aaoms.org/wp-content/uploads/2024/08/parcare_anesthesia_in-outpatient.pdf |
| 11-G-2 | US Legal Direct Supervision Law and Legal Definition https://definitions.uslegal.com/d/direct-supervision/ |
| 11-H-3 | OSHA https://www.osha.gov/laws-regs/regulations/standardnumber/1910/1910.1020 Health Information Privacy https://www.hhs.gov/hipaa/for-professionals/privacy/laws-regulations/index.html ADA Title 42 Section 12101 Equal Opportunity for Individuals with Disabilities https://www.ada.gov/law-and-regs/ada/ |
| 11-H-5 | ADA Title 42 Section 12101 Equal Opportunity for Individuals with Disabilities https://www.ada.gov/law-and-regs/ada/ (Refer to Section 12112(d) Medical Examinations and Inquiries). |
| 11-H-10 | Healthcare Personnel Vaccination Recommendations www.immunize.org/wp-content/uploads/catg.d/p2017.pdf OSHA Hepatitis B Vaccination Protection https://www.osha.gov/publications/bbfact05 OSHA Hepatitis B Declination (Mandatory) www.osha.gov/laws-regs/regulations/standardnumber/1910/1910.1030AppA Hepatitis B Vaccination: Information for Healthcare Providers https://www.cdc.gov/vaccines/vpd/hepb/hcp/ |
| 11-H-11 | OSHA Hepatitis B Vaccination Protection https://www.osha.gov/publications/bbfact05 OSHA Hepatitis B Declination (Mandatory) www.osha.gov/laws-regs/regulations/standardnumber/1910/1910.1030AppA Hepatitis B Vaccination: Information for Healthcare Providers https://www.cdc.gov/vaccines/vpd/hepb/hcp/ |

SPECIAL THANKS & RECOGNITION

QUAD A and its Board of Directors would like to express their gratitude to the team of outstanding professionals who volunteered and contributed their vast knowledge, experience, expertise, and time to ensure that QUAD A is able to attain its mission of improving patient safety worldwide. Their months of extensive work, sacrifice, and collaboration are greatly appreciated.

| Dianne Bourque, RN, CNOR CASC Surgical Nursing & Infection Control, QUAD A Board of Directors Subject Matter Expert, QUAD A Surveyor | Hilda Hebberd, MSN, BSN, RN Standards Research & Development Analyst, QUAD A |
| --- | --- |
| Courtney Brashier, DDS, MSD Pediatric Dentistry & Anesthesia Subject Matter Expert | Richard Hillyer, DPT, MBA, MSM Outpatient Physical Therapy, Subject Matter Expert, VP of Accreditation, QUAD A Board of Directors, QUAD A Surveyor |
| Lillian Carson, RN Surgical Nursing Standards Committee Member, QUAD A Surveyor | Janice Izlar, DNAP, CRNA Anesthesia Standards Committee Chair, QUAD A Board of Directors |
| Patricia Chmielewski, MS, BSN, RN Standards Development & Research Analyst, QUAD A | Leon Kurtz, MD Gastroenterology & Infection Control Subject Matter Expert |
| Michele Closson Project Coordinator, QUAD A | Carson McCaffery, MSN, RN, CNOR, CNAMB, CSRN Ophthalmology Subject Matter Expert, QUAD A Surveyor |
| Elsie Crawford, RN, BSN, MHA Rural Healthcare Standards Committee Member, QUAD A Board of Directors, QUAD A Surveyor | Erik Painter MHA, COTA Outpatient Therapy Subject Matter Expert, QUAD A Surveyor |
| Debbi Conn, RN, HCRM Surgical Nursing Subject Matter Expert | Beverly Robins, MBA, BSN, RN Director of Survey Operations, QUAD A |
| Elethia Dean, DNP, RN Surgical Nursing & Rural Healthcare Standards Committee Member, QUAD A Surveyor | William Rosenblatt, MD Plastic Surgery President, QUAD A Board of Directors, QUAD A Surveyor |
| Bonnie Denholm, DNP, CNOR Surgical Nursing Standards Committee Member, QUAD A Board of Directors, QUAD A Surveyor | Monda Shaver, MSHM, BSN, RN Standards Development & Program Consultant, QUAD A |
| Monte Goldstein, MD Anesthesia Standards Committee Member, QUAD A Board of Directors. QUAD A Surveyor | Gil Weitzman, MD Gastroenterology Subject Matter Expert, QUAD A Board of Directors, QUAD A Surveyor |
| Abdussami Hadi, MD Pain Management Subject Matter Expert | Jonathan Wong, DMD Pediatric Dentistry & Anesthesia Subject Matter Expert |
| Randi Hamilton Director of Marketing, QUAD A |  |

The American Association For Accreditation

Of Ambulatory Surgery Facilities

QUAD A OFFICE MAILING ADDRESS:

600 Central Ave. Ste 265

Highland Park, IL 60035

TOLL-FREE: +1-888-545-5222

PHONE: +1-847-775-1970

FAX: +1-847-775-1985

EMAIL: info@QUAD A.org

URL: www.quada.org

yeah right